## Slide 1: WMWG update to wms June 3, 2026 Amanda Frazier, WMWG Chair

## Slide 2: AGENDA
NPRRS ready for WMS vote:
  None
NPRRs Still with WMWG
  NPRR1278 - Establishing Advanced Grid Support Service as an Ancillary Service
  NPRR 1328 – Generation firming program
Other Business
  Soc observations during 1/28 rucs
  Development of FPA §202(c) Requests

## Slide 3
Discussion of Revision Requests
  NPRR1278 - Establishing Advanced Grid Support Service as an Ancillary Service – Tabled for additional discussion
  ENGIE provided an update on NPRR1278 that establishes an RFP-based framework for ERCOT to procure grid-forming capability as an ancillary service. The NPRR intends to ensure grid-forming capability is deployed in locations where it provides the greatest reliability benefit, rather than relying solely on interconnection requirements established in NOGRR272.
  Discussion also addressed newly submitted NPRR1333, which proposes a voluntary one-time payment mechanism for inverter-based resources to provide grid-forming capability. ENGIE has planned further discussion with ERCOT staff to determine how NPRR1278 and NPRR1333 may interact. Stakeholders also discussed potentially expanding the NPRR1278 proposal into a more technology-neutral framework.

## Slide 4
Discussion of Revision Requests
  NPRR1328 – Generation Firming Program – Tabled for additional discussion
  ERCOT reviewed stakeholder comments on NPRR1328, which implements the Generation Firming Program required under HB1500. Comments from TSSA, NextEra, and TCPA focused on refinements to firming transfer timelines, PUN exemption eligibility and withdrawal processes, and settlement transparency. ERCOT agreed to several clarifications such as LORH language additions, post-season reporting of exemptions and long and short quantities, and review of PUN attestation timing edge cases.
  Stakeholders raised concerns that the proposed firming penalty formulas could create disproportionate penalties for resources selling firming capacity. In response, ERCOT presented a revised approach intended to better align penalties with actual firming transfer quantities and resource performance.
  TSSA also raised concerns regarding notice timelines for Seasonal Average Generation Capability calculations, firming transfer validation windows, and treatment of Day-Ahead Market purchases within the penalty framework.
  ERCOT indicated additional NPRR revisions are expected in forthcoming comments as stakeholders work toward a September Board approval timeline.

## Slide 5
Other Business
  SOC Observations During 1/28 RUCs
  ERCOT presented stakeholder-requested analysis of January 28 RUC commitments, focusing on how ESR State Of Charge influenced HRUC outcomes and resulting ancillary service projections.
    Approximately two-thirds of ESRs submitted dynamic Hour Beginning SOC COPs, while one-third submitted flat profiles. The RUC SOC constraint limited those flat profile resources’ ability to receive energy and ancillary service awards in RUC, except for RRS due to its ASDF of zero.
    During tight morning peak conditions, fleet-wide SOC declined from roughly 44% to 10%. This depletion and static COP SOC submissions contributed to ancillary service shortfall signals during Hour Ending 8-10 that drove RUC commitments. These shortfalls were significantly more severe in RUC than in Real Time SCED.
  Inaccurate COP SOC data was identified as a key factor that can understate ESR capability in the RUC engine.
    Stakeholders debated whether flat SOC profiles should trigger compliance implications. Others argued they reflect expected ancillary service deployment behavior and suggested this is a reason RUC ASDFs should be reassessed.
    ERCOT will continue evaluating impacts of the ASDFs and SOC constraints on RUC recommendations.

## Slide 6
Other Business
  Development of FPA §202(c) Requests
  ERCOT Legal addressed stakeholder feedback from the April WMWG meeting regarding the §202(c) emergency order process and ERCOT’s current approach to DOE relief requests.
    ERCOT emphasized that 202(c) requests are rare, last-resort actions tied to forecasted EEA conditions and initiated when significant reliability risk is anticipated. ERCOT also relies on generators to notify ERCOT when specific units may need inclusion in a DOE relief request during those emergency conditions.
    In response to stakeholder requests for more structure and transparency, ERCOT agreed to explore sending market notices at the time a request is submitted to the DOE, but noted DOE approval and timelines remain uncertain and highly compressed.
    While certain elements such as market notifications and post-event communication may be standardized, ERCOT warned against codifying the 202 (c) process too rigidly due to DOE-specific requirements and event-driven constraints. ERCOT confirmed post-event stakeholder reporting is currently informal but is open to developing more structured stakeholder reporting going forward.
  Stakeholders also discussed whether 202(c) deployments such as backup generation and large load curtailment actions should be reflected in the RDPA. ERCOT acknowledged interest in incorporating these actions into the market but noted significant challenges in quantifying impacted megawatts consistently in Real Time.

## Slide 7: THANK YOU