## Instructions
Batch Zero Load Information Form
This form is a draft template provided for stakeholder review and process development purposes only and remains subject to change, revision, or withdrawal pending further ERCOT review and stakeholder feedback. Final versions of this form will not be issued or implemented unless and until PGRR145 is approved by both the ERCOT Board of Directors and the Public Utility Commission of Texas (“PUCT”)
Purpose of this Workbook
This workbook supports the coordination, collection, validation, and tracking of submission materials required for the ERCOT Batch Zero Process for Large Load Interconnections
The workbook is intended to function as the primary coordination and readiness tracking tool used by ILLEs, Interconnecting TSPs/DSPs, and ERCOT throughout the Batch Zero submission and review process
The workbook is used to:
identify the applicable Batch Zero eligibility pathway;
determine applicable submission requirements;
assign review and validation responsibilities;
track submission completeness and outstanding items;
document supporting materials and validation status; and
confirm readiness for ERCOT submission.
This workbook does not replace official ERCOT forms, attestations, technical submissions, or formal ERCOT eligibility determinations
How to Use This Workbook
Complete Section 1 – Large Load Demographics
Enter the Large Load project information, including the Interconnecting Large Load Entity (ILLE), Interconnecting TSP, Interconnecting DSP (if applicable), project location, interconnection information, and load characteristics. Information should be consistent with all supporting Batch Zero materials and ERCOT submissions.
Identify Submission Responsibility in Section 1D
Identify the party responsible for coordinating collection, validation, and submission readiness prior to ERCOT submission. The TSP and DSP should coordinate responsibility for collection, validation, and submission activities prior to ERCOT submission.
Select the Applicable Eligibility Path in Section 2
Select the Batch Zero eligibility path applicable to the Large Load request. The selected eligibility path determines which documents and supporting materials are applicable in Section 3.
Review Section 3 – Eligibility Requirements
Review all listed requirements and identify which submission items are applicable for the selected eligibility path. Some items may be Required, Conditional, or Not Required depending on the selected pathway.
For applicable attestation-based submission items, the workbook also identifies the corresponding attestation template and page reference in the “ILLE attestation location” column.
Assign Responsibility for Collection and Validation
For each applicable submission requirement, the TSP and DSP shall coordinate and assign responsibility for review and validation activities prior to ERCOT submission. The reviewing entity identified in the workbook is responsible for reviewing applicable submission materials, validating completeness and consistency, documenting completion status and identifying deficiencies/follow-up requests (if applicable)
Track Completion Status
The Completion Status field is used to track whether applicable submission items have been received and reviewed for completeness by the responsible reviewing entity.
A status of “Complete” indicates that the applicable reviewing entity has completed its review of the submission item for completeness and consistency purposes. Final eligibility determinations remain subject to ERCOT review and approval.
Enter Associated File Names
For each applicable submission item, enter the associated file name or document identifier corresponding to the supporting material received from the ILLE or other responsible party.
Identify Applicable Attestation Template References
For applicable ILLE attestation-based submission items, the “ILLE attestation location” column identifies the corresponding draft attestation template and page reference where the submission requirement is addressed.
These references are intended to support coordination between the ILLE, TSP/DSP, and ERCOT during preparation and review of submission materials.
Confirm Package Readiness Prior to Submission
Once all applicable required documents have been received, reviewed, and validated by the responsible TSP and/or DSP, Cell I1 shall display:
“LOAD APPLICATION READY TO BE SUBMITTED”
This indicates that:
all applicable required submission items have been received;
required reviews and validations have been completed;
the submission package has been coordinated between the applicable TSP/DSP; and
the package is considered ready for ERCOT submission.
This readiness confirmation does not constitute ERCOT eligibility approval.
Section 3 – Eligibility Requirements Field Definitions (Section 3 in "Batch Zero LIF" sheet)
Requirement / Submission Item – Identifies each document, form, attestation, evidence item, or technical submission required for the selected Batch Zero eligibility pathway
Applicability – Indicates whether the item is Required, Conditional, or Not Required for the selected eligibility pathway.
Submission Format – Identifies the required submission format for the applicable submission item (e.g., Evidence, Attestation, Form, Technical documentation, TSP confirmation, or ERCOT determination).
Submitting Party – Identifies the party responsible for preparing and/or providing the submission item into the Batch Zero process, as applicable. This may include the ILLE, Interconnecting TSP/DSP, or ERCOT depending on the submission requirement.
ILLE Attestation Location – Identifies the applicable ERCOT draft attestation template and associated page reference corresponding to the submission item, where applicable. This field is intended to support navigation, preparation, and review of ILLE attestation materials.
Reviewing Entity – Identifies the TSP or DSP responsible for reviewing and validating the applicable submission item.
Completion Status – Indicates the review status of the submission item in the LIF
Supporting File Name(s) – Records the name(s) of the file(s), attachment(s), or document identifier(s) associated with the submission item
ERCOT Validation – Used to record ERCOT’s validation outcome for the submission item, including confirmation, follow-up requests, deficiency identification, or final validation status, as applicable
Notes / Comments – Optional field for comments, clarifications, deficiency notes, follow-up items, attestation references, or other coordination observations related to the submission item.
Submission Coordination
The TSP and DSP are responsible for coordinating submission responsibilities between themselves prior to ERCOT submission.
The submitting entity identified in Section 1D is responsible for transmitting the final Batch Zero submission package to ERCOT. ERCOT generally expects the Interconnecting TSP to transmit the final submission package to ERCOT and copy the Interconnecting DSP, if applicable.
The final submission package may include:
the completed LIF;
supporting documentation and evidence;
required ERCOT forms and attestations; and
any required TSP/DSP confirmations or notifications under the Planning Guide.
The workbook may also reference applicable ERCOT draft attestation templates and associated page references for coordination and review purposes.
Dynamic load models and supporting dynamic model documentation may require direct submission by the ILLE to ERCOT in accordance with ERCOT instructions and applicable Batch Zero requirements.

## Batch Zero LIF
This form is a draft template provided for stakeholder review and process development purposes only and remains subject to change, revision, or withdrawal pending further ERCOT review and stakeholder feedback
Final versions of this form will not be issued or implemented unless and until PGRR145 is approved by both the ERCOT Board of Directors and the Public Utility Commission of Texas (“PUCT”)
Batch Zero Load Information Form (LIF)
Section 1 - Large Load Demographics
Section 1A - Project Identification
| Field |  | Format | Instructions |  | Notes
| Large Load Project Name |  | Text |  |  | ILLE's project name
| Alternative Large Load Project Name |  | Text |  |  | Use if Interconnecting TSP assigned the project a different name for internal tracking
| LLI Number |  | Number |  |  | If assigned
| RPG Project Name |  | Text |  |  | If Load Large included in one or more RPG studies, identify the RPG project name(s)
| RPG Project Number |  | Text |  |  | If Large Load included in one or more RPG studies, identify all RPG study number(s)
| TSP Assigned Large Load Project Identifier |  | Text |  |  | Use if Interconnecting TSP assigned a unique identifier to the Large Load
| ILLE Name |  | Text |  |  | Interconnecting Large Load Entity
| TSP Assigned Alternative ILLE Name |  | Text |  |  | Use if Interconnecting TSP assigned the ILLE a different name for internal tracking
| Interconnecting TSP Name |  | Text |  |  | Interconnecting TSP
| Interconnecting DSP Name |  | Text |  |  | If applicable
| Qualifying study lane(s) |  | Text | List all the applicable ones |  | Indicate all the channels through which the project was studied (e.g., RPG, LLIS etc.)
| Modeled in November 2025 SSWG Cases |  | Yes/No | Indicate whether the load was represented in the November 2025 SSWG base cases
| Included in 2026 RTP RFI |  | Yes/No | Indicate whether the load was included in ERCOT’s 2026 RTP request-for-information process
| Net-Metering with Generation (Non-WLPUN) |  | Yes/No | Indicate whether the load is associated with a proposed PURA §39.169 net-metering arrangement
| Type of load |  |  | Choose one from the list. If "Other", specify under Notes
Section 1B (i) - Location and Interconnection
| Field |  | Format | Instructions |  | Notes
| County |  | Text |  |  | Project location
| Service Delivery Point |  | Text |  |  | POI / substation
| Service Delivery Voltage (kV) |  | Number |  |  | Transmission voltage
| Latitude |  | Decimal |  |  | Decimal format
| Longitude |  | Decimal |  |  | Decimal format
| ERCOT Load Zone |  | Text |  |  | If known
Section 1B (ii) - ERCOT Operational Identification (Conditional)
| Field |  | Format | Instructions |  | Notes
| ERCOT Substation Acronym |  | Text | Provide substation acronym as reflected in ERCOT Network Operations Model |  | Required for energized loads and loads qualifying under May QSA or earlier IVRT pathway
| ERCOT Load Point Name(s) |  | Text | Provide load point name(s) exactly as reflected in ERCOT Network Operations Model |  | Required for energized loads and loads qualifying under May QSA or earlier IVRT pathway
Section 1C - Load Characteristics
| Field |  | Format | Instructions |  | Notes
| Peak Demand (MW) |  | Number |  |  | Requested load
| Peak Demand (MVAr) |  | Number |  |  | If available
| Power Factor |  | Decimal |  |  | At peak
| Actual Initial Energization Date |  | Date |  |  | If energized only
| Desired Initial Energization Date |  | Date |  |  | Planned in-service
Section 1D - Submission Responsibility and ILLE POCs
| Field |  | Format | Instructions |  | Notes
| Submitting Entity to ERCOT |  | TSP / DSP
| Primary Contact Name |  | Text
| Email |  | Text
| Phone |  | Text
| ILLE Authorized Representative Name |  | Text |  |  | Authorized representative for Batch Zero communications and confirmations
| ILLE Authorized Representative Email |  | Text
| ILLE Authorized Representative Phone |  | Text
| ILLE Technical Contact Name |  | Text |  |  | Technical point of contact for studies and modeling
| ILLE Technical Contact Email |  | Text
| ILLE Technical Contact Phone |  | Text
Section 1E - WLPUN Configuration (Applicable to WLPUN Pathway Only)
| Field |  | Format | Instructions |  | Notes
| Resource Entity (RE) |  | Text |  |  | Only one permitted
| Interconnecting Entity (IE) |  | Text |  |  | Only one permitted
| Associated INR Name(s) |  | Text |  |  | List all associated INRs
Section 2 - Batch Zero Eligibility Path
| Studied Load |  | Select ONE of: (a)–(g), Studied Load, PCLR, WLPUN
Section 3 - Eligibility Requirements
ID | Requirement / Submission Item | Applicability | Submission Format | Submitting Party | ILLE attestation location | Reviewing Entity | Completion status | Supporting File Name(s) | ERCOT validation | Notes / Comments
1 | Initial Energization Status | Not Required | TSP confirmation | TSP/DSP
2 | Stability / Interim VRT Qualification Status | Not Required | TSP confirmation | TSP/DSP
3 | Permian Basin Reliability Plan Study Inclusion | Not Required | TSP confirmation | TSP/DSP
4 | Complete and valid interconnection study determination | Not Required | TSP confirmation | TSP/DSP | [5 empty] | ERCOT determination referenced by the TSP/DSP as part of the Batch Zero eligibility package
5 | TSP notarized attestation of study validity | Conditional | Attestation (Notarized) | TSP/DSP | [5 empty] | Applicable only for studies evaluated under Section 9.2.1.4(3)(d)
6 | Similar request disclosure | Required | Attestation (Notarized) | ILLE | DRAFT Path 9.2.1.2(1) Attestation Form - Page 2 |  |  |  |  | Consolidated attestation for items 6-11
7 | Site studies and engineering progress | Required | Attestation (Notarized) | ILLE | DRAFT Path 9.2.1.2(1) Attestation Form - Page 2 |  |  |  |  | Consolidated attestation for items 6-11
8 | Permitting status | Required | Attestation (Notarized) | ILLE | DRAFT Path 9.2.1.2(1) Attestation Form - Page 3 |  |  |  |  | Consolidated attestation for items 6-11
9 | Phased energization schedule | Required | Attestation (Notarized) | ILLE | DRAFT Path 9.2.1.2(1) Attestation Form - Page 3 |  |  |  |  | Consolidated attestation for items 6-11
10 | On-site backup generation | Required | Attestation (Notarized) | ILLE | DRAFT Path 9.2.1.2(1) Attestation Form - Page 3 |  |  |  |  | Consolidated attestation for items 6-11
11 | Power procurement strategy | Required | Attestation (Notarized) | ILLE | DRAFT Path 9.2.1.2(1) Attestation Form - Page 4 |  |  |  |  | Consolidated attestation for items 6-11
12 | Equipment order attestation | Not Required | Attestation (Notarized) | ILLE
13 | Notice to proceed (NTP) attestation | Not Required | Attestation (Notarized) | ILLE
14 | End-use customer / developer attestation | Not Required | Attestation (Notarized) | ILLE
15 | Transmission upgrade financial security | Required | TSP confirmation | TSP/DSP | [5 empty] | TSP/DSP confirmation that required financial security has been posted
16 | Direct interconnection cost (CIAC) responsibility | Not Required | TSP confirmation | TSP/DSP
17 | Site control evidence | Required | Attestation (Notarized) + Evidence | ILLE | DRAFT Path 9.2.1.2(1) Attestation Form - Page 1
18 | General contractor contract | Not Required | Attestation (Notarized) | ILLE
19 | Substation contractor contract | Not Required | Attestation (Notarized) | ILLE
20 | Site approvals | Not Required | Attestation (Notarized) + Evidence | ILLE
21 | PURA §39.169 application / net metering proceeding | Not Required | TSP confirmation | TSP/DSP
22 | Full technical data package | Required | Technical documentation | ILLE
23 | Preliminary Load Commissioning Plan (LCP) | Required | Technical documentation | TSP/DSP | [5 empty] | Initial schedule provided by the ILLE; maintained and updated by the Interconnecting TSP
24 | Written acknowledgement of change notification obligations | Required | Attestation (Non-notarized) | ILLE | DRAFT Path 9.2.1.2(1) Attestation Form - Page 4
25 | Dynamic load model and supporting documentation | Required | Technical documentation | ILLE | [5 empty] | Submitted directly by the ILLE to ERCOT and the Interconnecting TSP pursuant to Section 9.2.2(3)
26 | Prior stability-study impact determination | Conditional | TSP confirmation | TSP/DSP | [5 empty] | Required only if a prior dynamic stability study has been performed
27 | Form W – Part A (notarized) | Not Required | Form (Notarized) | ILLE
28 | Form X (notarized) | Not Required | Form (Notarized) | ILLE
29 | Generator FIS request | Not Required | TSP confirmation | TSP/DSP
30 | 2026 RTP load information | Not Required | TSP confirmation | TSP/DSP
31 | Most recent LCP | Not Required | Technical documentation | TSP/DSP | [5 empty] | Existing LCP maintained by the Interconnecting TSP for operational or previously studied loads
32 | Executed IA or equivalent agreement | Not Required | Technical documentation | TSP/DSP
33 | List of already energized loads | Not Required | TSP confirmation | TSP/DSP
34 | List of LL qualifying under VRT pathway | Not Required | TSP confirmation | TSP/DSP
35 | List of Large Loads qualifying under PBRP | Not Required | TSP confirmation | TSP/DSP
36 | IDEV files | Required | Technical documentation | ILLE | [5 empty] | Required only if load is unenergized

## LCP
Load Commissioning Plan
Large Load Interconnection Dates and Consumption Amounts (The peak loads are the amounts that can be served after the transmission upgrades to the right are completed, where applicable.) |  |  | Required Transmission Upgrade Projects (If any transmission upgrade(s) are required to serve the indicated level of demand, identify them here. Leave blank if no upgrade is required. If more upgrades are required than fit in the given number of rows, select an entire row within the desired date, right click, and select insert.) |  |  | The information on this form is current as of date
Date | Cumulative Peak Load (MW) | MVAR | Upgrade Project Title/Description | TPIT/RPG No. (N/A if Unsubmitted) | Upgrade Project ISD | 2025-12-15
2026-01-01 | 200 | 40 | Bus A to Bus B: 138 kV Line Rebuild | 70000 | 2025-11-26
|  |  | Bus C: Construct New Distribution Station | 70001 | 2025-02-25
|  |  | New transformer (T2) at Substation C | 70002 | 2025-03-24
2027-02-01 | 400 | 80 | Substation F: 345 kV Reconfigure | 70003 | 2027-01-01
|  |  | Texas Region Rebuild Project Phase 1 | 35RPG0099, 70004, 70005 | 2027-01-15
2028-03-01 | 600 | 120
2029-05-01 | 700 | 140 | Rebuild the Bus L (Bus #100001) – Bus M (Bus #100002) 345 kV double-circuit line with normal and emergency ratings of at least 1900 MVA | N/A | 2029-05-01
2030-05-01 | 800 | 160
2031-05-01 | 900 | 180

## Attestation Matrix (hidden)
Requirement / Submission Item | Submission Format | Submitting Party | Base Load Section 9.2.1.1(1)(a) | Base Load Section 9.2.1.1(1)(b) | Base Load Section 9.2.1.1(1)(c) | Base Load Section 9.2.1.1(1)(d) | Base Load Section 9.2.1.1(1)(e) | Base Load Section 9.2.1.1(1)(f) | Base Load Section 9.2.1.1(1)(g) | Studied Load | PCLR | WLPUN
Similar request disclosure | Attestation (Notarized) | ILLE |  |  |  |  | DRAFT Path 9.2.1.1(1)(e) Attestation - Page 1 | DRAFT Path 9.2.1.1(1)(f) Attestation - Page 1 | DRAFT Path 9.2.1.1(1)(g) Attestation - Page 1 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 2 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 2 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 2
Site studies and engineering progress | Attestation (Notarized) | ILLE |  |  |  |  | DRAFT Path 9.2.1.1(1)(e) Attestation - Page 2 | DRAFT Path 9.2.1.1(1)(f) Attestation - Page 2 | DRAFT Path 9.2.1.1(1)(g) Attestation - Page 2 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 2 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 2 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 2
Permitting status | Attestation (Notarized) | ILLE |  |  |  |  | DRAFT Path 9.2.1.1(1)(e) Attestation - Page 2 | DRAFT Path 9.2.1.1(1)(f) Attestation - Page 2 | DRAFT Path 9.2.1.1(1)(g) Attestation - Page 2 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 3 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 3 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 3
Phased energization schedule | Attestation (Notarized) | ILLE |  |  |  |  | DRAFT Path 9.2.1.1(1)(e) Attestation - Page 2 | DRAFT Path 9.2.1.1(1)(f) Attestation - Page 2 | DRAFT Path 9.2.1.1(1)(g) Attestation - Page 2 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 3 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 3 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 3
On-site backup generation | Attestation (Notarized) | ILLE |  |  |  |  | DRAFT Path 9.2.1.1(1)(e) Attestation - Page 3 | DRAFT Path 9.2.1.1(1)(f) Attestation - Page 3 | DRAFT Path 9.2.1.1(1)(g) Attestation - Page 2 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 3 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 3 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 3
Power procurement strategy | Attestation (Notarized) | ILLE |  |  |  |  | DRAFT Path 9.2.1.1(1)(e) Attestation - Page 3 | DRAFT Path 9.2.1.1(1)(f) Attestation - Page 3 | DRAFT Path 9.2.1.1(1)(g) Attestation - Page 3 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 4 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 4 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 4
Equipment order attestation | Attestation (Notarized) | ILLE |  |  |  |  | DRAFT Path 9.2.1.1(1)(e) Attestation - Page 3
Notice to proceed (NTP) attestation | Attestation (Notarized) | ILLE |  |  |  |  | DRAFT Path 9.2.1.1(1)(e) Attestation - Page 3
End-use customer / developer attestation | Attestation (Notarized) | ILLE |  |  |  |  | DRAFT Path 9.2.1.1(1)(e) Attestation - Page 3
Site control evidence | Attestation (Notarized) + Evidence | ILLE |  |  |  |  | DRAFT Path 9.2.1.1(1)(e) Attestation - Page 4 | DRAFT Path 9.2.1.1(1)(f) Attestation - Page 4 |  | DRAFT Path 9.2.1.2(1) Attestation Form - Page 1 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 1 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 1
General contractor contract | Attestation (Notarized) | ILLE | [5 empty] | DRAFT Path 9.2.1.1(1)(f) Attestation - Page 4
Substation contractor contract | Attestation (Notarized) | ILLE | [5 empty] | DRAFT Path 9.2.1.1(1)(f) Attestation - Page 4
Site approvals | Attestation (Notarized) + Evidence | ILLE | [5 empty] | DRAFT Path 9.2.1.1(1)(f) Attestation - Page 3
Full technical data package | Technical documentation | ILLE
Written acknowledgement of change notification obligations | Attestation (Non-notarized) | ILLE |  |  | DRAFT Path 9.2.1.1(1)(c) and (d) Attestation - Page 1 | DRAFT Path 9.2.1.1(1)(c) and (d) Attestation - Page 1 | DRAFT Path 9.2.1.1(1)(e) Attestation - Page 4 | DRAFT Path 9.2.1.1(1)(f) Attestation - Page 4 |  | DRAFT Path 9.2.1.2(1) Attestation Form - Page 4 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 4 | DRAFT Path 9.2.1.2(1) Attestation Form - Page 4
Dynamic load model and supporting documentation | Technical documentation | ILLE
Form W – Part A (notarized) | Form (Notarized) | ILLE | [8 empty] | NPRR1325 - Page 47
Form X (notarized) | Form (Notarized) | ILLE | [9 empty] | NPRR1325 - Page 55
IDEV files | Technical documentation | ILLE

## Assumptions (hidden)
Document / Evidence | Base Load Section 9.2.1.1(1)(a) | Base Load Section 9.2.1.1(1)(b) | Base Load Section 9.2.1.1(1)(c) | Base Load Section 9.2.1.1(1)(d) | Base Load Section 9.2.1.1(1)(e) | Base Load Section 9.2.1.1(1)(f) | Base Load Section 9.2.1.1(1)(g) | Studied Load | PCLR | WLPUN | Format | Owner | Check | Check
Initial Energization Status | Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP | 0 | 0
Stability / Interim VRT Qualification Status | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP | 0 | 0
Permian Basin Reliability Plan Study Inclusion | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP | 0 | 0
Complete and valid interconnection study determination | Not Required | Not Required | Not Required | Not Required | Required | Required | Not Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP | 0 | 0
TSP notarized attestation of study validity | Not Required | Not Required | Not Required | Not Required | Conditional | Conditional | Not Required | Conditional | Conditional | Conditional | Attestation (Notarized) | TSP/DSP | 0 | 0
Similar request disclosure | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required | Attestation (Notarized) | ILLE | 1 | 0
Site studies and engineering progress | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required | Attestation (Notarized) | ILLE | 1 | 0
Permitting status | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required | Attestation (Notarized) | ILLE | 1 | 0
Phased energization schedule | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required | Attestation (Notarized) | ILLE | 1 | 0
On-site backup generation | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required | Attestation (Notarized) | ILLE | 1 | 0
Power procurement strategy | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required | Attestation (Notarized) | ILLE | 1 | 0
Equipment order attestation | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Attestation (Notarized) | ILLE | 0 | 0
Notice to proceed (NTP) attestation | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Attestation (Notarized) | ILLE | 0 | 0
End-use customer / developer attestation | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Attestation (Notarized) | ILLE | 0 | 0
Transmission upgrade financial security | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required | TSP confirmation | TSP/DSP | 1 | 0
Direct interconnection cost (CIAC) responsibility | Not Required | Not Required | Not Required | Not Required | Required | Required | Not Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP | 0 | 0
Site control evidence | Not Required | Not Required | Not Required | Not Required | Required | Required | Not Required | Required | Required | Required | Attestation (Notarized) + Evidence | ILLE | 1 | 0
General contractor contract | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Attestation (Notarized) | ILLE | 0 | 0
Substation contractor contract | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Attestation (Notarized) | ILLE | 0 | 0
Site approvals | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Attestation (Notarized) + Evidence | ILLE | 0 | 0
PURA §39.169 application / net metering proceeding | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP | 0 | 0
Full technical data package | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Technical documentation | ILLE | 1 | 0
Preliminary Load Commissioning Plan (LCP) | Not Required | Required | Required | Required | Not Required | Not Required | Not Required | Required | Required | Required | Technical documentation | TSP/DSP | 1 | 0
Written acknowledgement of change notification obligations | Required | Required | Required | Required | Required | Required | Not Required | Required | Required | Required | Attestation (Non-notarized) | ILLE | 1 | 0
Dynamic load model and supporting documentation | Conditional | Conditional | Conditional | Required | Required | Required | Required | Required | Required | Required | Technical documentation | ILLE | 1 | 0
Prior stability-study impact determination | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Conditional | Conditional | Conditional | TSP confirmation | TSP/DSP | 0 | 0
Form W – Part A (notarized) | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Form (Notarized) | ILLE | 0 | 0
Form X (notarized) | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Form (Notarized) | ILLE | 0 | 0
Generator FIS request | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Conditional | TSP confirmation | TSP/DSP | 0 | 0
2026 RTP load information | Not Required | Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP | 0 | 0
Most recent LCP | Not Required | Required | Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Technical documentation | TSP/DSP | 0 | 0
Executed IA or equivalent agreement | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Technical documentation | TSP/DSP | 0 | 0
List of already energized loads | Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP | 0 | 0
List of LL qualifying under VRT pathway | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP | 0 | 0
List of Large Loads qualifying under PBRP | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP | 0 | 0
IDEV files | Not Required | Not Required | Conditional | Required | Required | Required | Required | Required | Required | Required | Technical documentation | ILLE | 1 | 0
[13 empty] | 13 | 0
| Complete |  | Data Centers (non-crypto)
| Incomplete |  | Hydrogen and Electrofuel Production
| Not applicable |  | Cryptocurrency Mining
Steel and Aluminum Manufacturing
Oil and Chemical Refining
Oil and Gas Production, Processing, and Transmission
Government and Medical
Transportation
Other