## Slide 1: June PLWG Update
Mina Turner, PLWG Chair
June 2nd, 2026

## Slide 2
PGRR 128, Regional Planning Group Review of Grid Enhancing Technologies
  The revised language would add a new Planning Guide Section 3.1.10 requiring ERCOT only to facilitate scheduling of an annual meeting on grid-enhancing technologies.
  Tabletop edits made to change “ERCOT transmission system” to “ERCOT Transmission Grid”.
  PGRR with PLWG comments from May 12th moving to ROS for vote.
PGRR 130 - Related to NPRR 1295, GTC Exit Solutions
  Stakeholders working together on new language tied to routine evaluation of GTC exit strategies.
  Language has been circulated with ERCOT, and optimistic agreement can be reached by next PLWG meeting.
  If agreement can be reached PGRR 130 may no longer be needed and focus will be on NPRR1295.
  PGRR tabled for another month.

## Slide 3
PGRR 134 – Interconnection Studies Reform for Dispatchable Loads
  PGRR was withdrawn
PGRR 140 – Related to NPRR1317, Creation of Non-Settled Generator (NSG) and Clarification of the Types, Usage, and Registration of Distributed Generation
  ERCOT filed recent comments to address Priority Power concern about energy less than 10 MW. Priority Power generally happy with where the language has laned.
  Vistra still has concerns with issue related to Lone Star Infrastructure Protection Act.
  The PGRR was moved to ROS for vote. Vistra filed comments on May 28th ahead of the ROS meeting for discussion on June 4th ROS meeting.

## Slide 4
PGRR 141 – Large Load Interconnection Study Reform for Substantiated Load
  Discussion with sponsor and they would like this tabled at PLWG.
  Continue to be tabled at PLWG.
PGRR 142 – In-Kind Definition for Generation
  ERCOT still has concerns as before: the draft definition was vague and could allow equipment changes bypassing the normal generation interconnection process.
  Discussion on the “same or better performance” for software while removing sentence about hardware.
  LCRA and Oncor share ERCOT’s concern that “similar” or “better” leaves too much to discretion and needs to be evaluated case by case.
  PGRR moved to ROS for vote. Expect additional comments and discussion at ROS.

## Slide 5
PGRR 144 – Dynamic Model Submission and Review Requirements for Large Loads Including Large Electronic Loads
  ERCOT posted updated language. The main updates were:
    replacing LEL terminology with LCL / large computational load to align with the current NPRR language
    revising the data-submission language so dynamic data would go to both ERCOT and the interconnecting TSP, allowing collaborative review of whether updated models change prior stability-study results
    clarifying that ERCOT does not intend to impose BRT requirements on loads that are not otherwise subject to those requirements.
  Eric Goff said he planned to file formal comments and asked that the item stay at PLWG for one more month.
  PGRR144 will be tabled for another month to allow for further discussion.

## Slide 6
Tabled Items
PGRR 126- Related to NPRR 1284.
PGRR 122 -Reliability Performance Criteria for Loss of Load – Pending ongoing large load conversations.
PGRR 124 - ESR Maintenance Exception to Modifications- Sponsor would like to continue to table while they have conversations with ERCOT.
Nominations for Vice Chair

## Slide 7: Questions ?