## Slide 1: Resource Integration Topics Jenifer Fernandes Manager, Resource Integration ERCOT Resource Integration Working Group June 18th , 2026
Outline:
Quarterly Stability Assessment (QSA)

## Slide 2: Quarterly Stability Assessment (QSA)
Planning Guide 5.3.5, Quarterly Stability Assessment
QSA 45 deadline
FIS studies finalized and posted in RIOO-IS 45 days prior to quarterly stability assessment deadline.
Dynamic models (PSEE, PSCAD, TSAT (UDM)) and MQT report submitted in RIOO-IS.
Issue’s seen in previous QSA’s
  10 day comment period for FIS
    Needs to be complete before QSA deadline
    TSPs need to plan for it
  Dynamic/PSCAD Model Review
    Dependent on FIS Stability study
    Need to meet PG 6.9 15 to 30 days prior to QSA deadline
PSSE Model Quality Test Required
PSCAD Model Quality Test, Unit Model Validation and Template is required. PSCAD template is required starting August 1st QSA.
TSAT Model Required – If PSSE model is UDM, then TSAT model should be UDM and should include MQT
From Planning guide Section 5.3.5 (2): Last Day for an IE to meet prerequisites as listed in paragraph (4) below | 45 day deadline
Prior August 1 | June 17
Prior November 1 | September 17
Prior February 1 | December 18
Prior May 1 | March 17
All-Inclusive Generation Resource Initial Synchronization Date | Last Day for an IE to meet prerequisites as listed in paragraph (4) below | Completion of Quarterly Stability Assessment
Upcoming January, February, March | Prior August 1 | End of October
Upcoming April, May, June | Prior November 1 | End of January
Upcoming July, August, September | Prior February 1 | End of April
Upcoming October, November, December | Prior May 1 | End of July
Notes: Delete this slide before presenting

## Slide 3: Active Revision Requests
PGRR124: ESR Maintenance Exception to Modifications
PGRR142: In-kind Definition for Generation

## Slide 4: Generation Interconnection Requests
1,960 active generation interconnection requests totaling 458 GW as of May 31st, 2026 (Solar 163 GW, Wind 48 GW, Gas 71 GW, Battery 172 GW / 412 GWh, and Other 5 GW)
A break-out by zone can be found in the monthly Generator Interconnection Status (GIS) reports available on the ERCOT Resource Adequacy Page: http://www.ercot.com/gridinfo/resource
Chart: Large Generator Monthly Capacity by GIM Milestone plus Project Count, 13-Month Rolling Basis
| May-25 | Jun-25 | Jul-25 | Aug-25 | Sep-25 | Oct-25 | Nov-25 | Dec-25 | Jan-26 | Feb-26 | Mar-26 | Apr-26 | May-26
# Signed Interconnect Agreement | 511 | 510 | 517 | 535 | 532 | 530 | 528 | 539 | 574 | 576 | 583 | 578 | 569
# Completed Full Study | 106 | 114 | 119 | 111 | 117 | 116 | 122 | 121 | 121 | 122 | 128 | 116 | 113
# in Full Study | 1223 | 1237 | 1242 | 1201 | 1196 | 1164 | 1159 | 1150 | 1136 | 1134 | 1135 | 1115 | 1120
# Screening Study Complete | 89 | 88 | 86 | 82 | 94 | 94 | 91 | 90 | 79 | 78 | 77 | 85 | 89
# Initial Screening study | 21 | 27 | 27 | 33 | 20 | 11 | 9 | 5 | 17 | 25 | 19 | 9 | 4
GW Capacity | 408.9081 | 419.6478 | 432.1004 | 427.4415 | 431.1647 | 431.2039 | 434.4146 | 440.2987 | 449.5541 | 452.8891 | 457.5034 | 452.6039 | 457.707

## Slide 5: Generation Interconnection Requests
Small Gen- 28 projects Not Model Ready, 37 projects Model Ready
Chart: Monthly Capacity by Fuel Type plus Project Count, 13-Month Rolling Basis
| May-25 | Jun-25 | Jul-25 | Aug-25 | Sep-25 | Oct-25 | Nov-25 | Dec-25 | Jan-26 | Feb-26 | Mar-26 | Apr-26 | May-26
Natural Gas | 32.4898 | 35.2601 | 39.5577 | 39.4028 | 43.6952 | 47.8484 | 52.6559 | 53.7161 | 57.4034 | 60.7149 | 63.8999 | 64.7456 | 70.6787
Nuclear | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 1.9365 | 1.9365
Coal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | 40.8855 | 41.4141 | 45.0483 | 44.6486 | 46.0934 | 46.4223 | 44.7857 | 46.1909 | 47.9609 | 47.793 | 48.0888 | 48.3492 | 48.2747
Solar | 158.4904 | 161.6767 | 162.7027 | 160.192 | 159.9318 | 158.1506 | 159.537 | 161.8072 | 162.0668 | 162.9267 | 165.2514 | 163.4791 | 163.0914
Biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery | 173.9969 | 177.9286 | 181.3938 | 179.8383 | 178.0528 | 175.5791 | 174.369 | 175.459 | 178.7028 | 177.6419 | 176.745 | 171.1058 | 171.5668
Other | 3.2084 | 3.5013 | 3.5013 | 3.5013 | 3.5625 | 3.3845 | 3.2579 | 3.2579 | 3.5725 | 3.8853 | 3.5713 | 3.5513 | 2.7525
Total Project Count | 2031 | 2054 | 2066 | 2041 | 2042 | 1999 | 1994 | 1984 | 2008 | 2008 | 2013 | 1965 | 1960
Cancelled Project Count | 26 | 17 | 21 | 30 | 25 | 51 | 13 | 17 | 20 | 21 | 15 | 43 | 13

## Slide 6: Next RIWG Meeting
Next meeting will be in person on August 27th at the Met.

## Slide 7: Questions/Comments?
ResourceIntegrationDepartment@ercot.com
is distribution list for Resource Integration department
Mailing List
  RESOURCE_INTEGRATION@LISTS.ERCOT.COM