## Instructions
Batch Zero Load Information Form
This form is a draft template provided for stakeholder review and process development purposes only and remains subject to change, revision, or withdrawal pending further ERCOT review and stakeholder feedback. Final versions of this form will not be issued or implemented unless and until PGRR145 is approved by both the ERCOT Board of Directors and the Public Utility Commission of Texas (“PUCT”)
Purpose of this Workbook
This workbook supports the coordination, collection, validation, and tracking of submission materials required for the ERCOT Batch Zero Process for Large Load Interconnections
The workbook is intended to function as the primary coordination and readiness tracking tool used by ILLEs, Interconnecting TSPs/DSPs, and ERCOT throughout the Batch Zero submission and review process
The workbook is used to:
identify the applicable Batch Zero eligibility pathway;
determine applicable submission requirements;
assign review and validation responsibilities;
track submission completeness and outstanding items;
document supporting materials and validation status; and
confirm readiness for ERCOT submission.
This workbook does not replace official ERCOT forms, attestations, technical submissions, or formal ERCOT eligibility determinations
How to Use This Workbook
Complete Section 1 – Large Load Demographics
Enter the Large Load project information, including the Interconnecting Large Load Entity (ILLE), Interconnecting TSP, Interconnecting DSP (if applicable), project location, interconnection information, and load characteristics. Information should be consistent with all supporting Batch Zero materials and ERCOT submissions.
Identify Submission Responsibility in Section 1D
Identify the party responsible for coordinating collection, validation, and submission readiness prior to ERCOT submission. The TSP and DSP should coordinate responsibility for collection, validation, and submission activities prior to ERCOT submission.
Select the Applicable Eligibility Path and Entry Path in Section 2
Select the Batch Zero eligibility path applicable to the Large Load request. The selected eligibility path determines which eligibility requirements, supporting documentation, attestations, and validations are applicable in Section 3.
For projects qualifying through LLIS, RPG, PBRP, or combinations thereof, also select the applicable Entry Path
The Entry Path determines the methodology used to construct the Load Commissioning Plan (LCP) and the resulting modeled load schedule.
Depending on the selected Entry Path, the Interconnecting TSP/DSP may be required to complete the LCP section using LLIS, RPG, PBRP, transmission upgrade, TPIT, and Interconnection Agreement information.
The Eligibility Path and Entry Path serve different purposes and may not be identical. The Eligibility Path determines eligibility requirements, while the Entry Path determines load modeling methodology.
Review Section 3 – Eligibility Requirements
Review all listed requirements and identify which submission items are applicable for the selected eligibility path. Some items may be Required, Conditional, or Not Required depending on the selected pathway.
For applicable attestation-based submission items, the workbook also identifies the corresponding attestation template and page reference in the “ILLE attestation location” column.
Assign Responsibility for Collection and Validation
For each applicable submission requirement, the TSP and DSP shall coordinate and assign responsibility for review and validation activities prior to ERCOT submission. The reviewing entity identified in the workbook is responsible for reviewing applicable submission materials, validating completeness and consistency, documenting completion status and identifying deficiencies/follow-up requests (if applicable)
Track Completion Status
The Completion Status field is used to track whether applicable submission items have been received and reviewed for completeness by the responsible reviewing entity.
A status of “Complete” indicates that the applicable reviewing entity has completed its review of the submission item for completeness and consistency purposes. Final eligibility determinations remain subject to ERCOT review and approval.
Enter Associated File Names
For each applicable submission item, enter the associated file name or document identifier corresponding to the supporting material received from the ILLE or other responsible party.
Identify Applicable Attestation Template References
For applicable ILLE attestation-based submission items, the “ILLE attestation location” column identifies the corresponding draft attestation template and page reference where the submission requirement is addressed.
These references are intended to support coordination between the ILLE, TSP/DSP, and ERCOT during preparation and review of submission materials.
Confirm Package Readiness Prior to Submission
Once all applicable required documents have been received, reviewed, and validated by the responsible TSP and/or DSP, Cell I1 shall display:
“LOAD APPLICATION READY TO BE SUBMITTED”
This indicates that:
all applicable required submission items have been received;
required reviews and validations have been completed;
the submission package has been coordinated between the applicable TSP/DSP; and
the package is considered ready for ERCOT submission.
This readiness confirmation does not constitute ERCOT eligibility approval.
Eligibility Requirements Field Definitions (Section 3 in "Batch Zero LIF" sheet)
Requirement / Submission Item – Identifies each document, form, attestation, evidence item, or technical submission required for the selected Batch Zero eligibility pathway
Applicability – Indicates whether the item is Required, Conditional, or Not Required for the selected eligibility pathway.
Submission Format – Identifies the required submission format for the applicable submission item (e.g., Evidence, Attestation, Form, Technical documentation, TSP confirmation, or ERCOT determination).
Submitting Party – Identifies the party responsible for preparing and/or providing the submission item into the Batch Zero process, as applicable. This may include the ILLE, Interconnecting TSP/DSP, or ERCOT depending on the submission requirement.
ILLE Attestation Location – Identifies the applicable ERCOT draft attestation template. This field is intended to support navigation, preparation, and review of ILLE attestation materials.
Reviewing Entity – Identifies the TSP or DSP responsible for reviewing and validating the applicable submission item
Completion Status – Indicates the review status of the submission item in the LIF
Supporting File Name(s) – Records the name(s) of the file(s), attachment(s), or document identifier(s) associated with the submission item
ERCOT Validation – Used to record ERCOT’s validation outcome for the submission item, including confirmation, follow-up requests, deficiency identification, or final validation status, as applicable
Notes / Comments – Optional field for comments, clarifications, deficiency notes, follow-up items, attestation references, or other coordination observations related to the submission item.
Submission Coordination
The TSP and DSP are responsible for coordinating submission responsibilities between themselves prior to ERCOT submission.
For pathways requiring an LCP, the Interconnecting TSP/DSP is responsible for selecting the applicable Entry Path and completing the LCP using the instructions associated with that Entry Path.
The submitting entity identified in Section 1D is responsible for transmitting the final Batch Zero submission package to ERCOT. ERCOT generally expects the Interconnecting TSP to transmit the final submission package to ERCOT and copy the Interconnecting DSP, if applicable.
The final submission package may include:
the completed LIF;
supporting documentation and evidence;
required ERCOT forms and attestations; and
any required TSP/DSP confirmations or notifications under the Planning Guide.
The workbook may also reference applicable ERCOT draft attestation templates and associated page references for coordination and review purposes.
Dynamic load models and supporting dynamic model documentation may require direct submission by the ILLE to ERCOT in accordance with ERCOT instructions and applicable Batch Zero requirements.

## Batch Zero LIF
This form is a draft template provided for stakeholder review and process development purposes only and remains subject to change, revision, or withdrawal pending further ERCOT review and stakeholder feedback
Final versions of this form will not be issued or implemented unless and until PGRR145 is approved by both the ERCOT Board of Directors and the Public Utility Commission of Texas (“PUCT”)
Batch Zero Load Information Form (LIF)
Section 1 - Large Load Demographics
Section 1A - Project Identification
| Field |  | Format | Instructions |  |  | Notes
| Large Load Project Name |  | Text |  |  |  | ILLE's project name
| Alternative Large Load Project Name |  | Text |  |  |  | Use if Interconnecting TSP assigned the project a different name for internal tracking
| LLI Number |  | Number |  |  |  | If assigned
| Batch Zero ID Number |  | Number |  |  |  | If assigned
| RPG Project Name |  | Text |  |  |  | If Load Large included in one or more RPG studies, identify the RPG project name(s)
| RPG Project Number |  | Text format (i.e., YY"RPG"###) |  |  |  | If Large Load included in one or more RPG studies, identify all RPG study number(s)
| TSP Assigned Large Load Project Identifier |  | Text |  |  |  | Use if Interconnecting TSP assigned a unique identifier to the Large Load
| ILLE Name |  | Text |  |  |  | Interconnecting Large Load Entity
| TSP Assigned Alternative ILLE Name |  | Text |  |  |  | Use if Interconnecting TSP assigned the ILLE a different name for internal tracking
| Interconnecting TSP Name |  | Text |  |  |  | Interconnecting TSP
| Interconnecting DSP Name |  | Text |  |  |  | If applicable
| Qualifying study lane(s) |  | Text | List all the applicable ones |  |  | Indicate all the channels through which the project was studied (e.g., RPG, LLIS etc.)
| Included in 2026 RTP RFI |  | Yes/No | Indicate whether the load was included in ERCOT’s 2026 RTP request-for-information process
| Net-Metering with Generation (Non-WLPUN) |  | Yes/No | Indicate whether the load is associated with a proposed PURA §39.169 net-metering arrangement
| Type of load |  |  | Choose one from the list. If "Other", specify under Notes
Section 1B (i) - Location and Interconnection
| Field |  | Format | Instructions |  |  | Notes
| County |  | Text |  |  |  | Project location
| Service Delivery Point |  | Text |  |  |  | POI / substation
| POI Substation Voltage (kV) |  | Number
| Latitude |  | Positive decimal | Latitude of the Large Load facility |  |  | Decimal format
| Longitude |  | Positive decimal | Longitude of the Large Load facility |  |  | Decimal format
| ERCOT Load Zone |  | Text |  |  |  | If known
Section 1B (ii) - ERCOT Operational Identification (Conditional)
| Field |  | Format | Instructions |  |  | Notes
| ERCOT Substation Acronym |  | Text | Provide substation acronym as reflected in ERCOT Network Operations Model |  |  | Required for energized loads and loads qualifying under May QSA or earlier IVRT pathway
| ERCOT Load Point Name(s) |  | Text | Provide load point name(s) exactly as reflected in ERCOT Network Operations Model |  |  | Required for energized loads and loads qualifying under May QSA or earlier IVRT pathway
Section 1B (iii) - ERCOT Planning Identification
| Field |  | Format | Instructions |  |  | Notes
| Modeled in 25SSWG_U1 Cases |  | Yes/No | Indicate whether the load was modeled in the November 2025 SSWG base cases |  |  | All large load information in the November 2025 SSWG base cases will be reconciled and updated for Batch Zero
| SSWG Bus Number(s) |  | Number | Provide the bus number for the load |  |  | If modeled in the November 2025 SSWG base cases
| SSWG Load ID(s) |  | Text | Provide the two-character load identifier |  |  | If modeled in the November 2025 SSWG base cases
| Batch Zero "Topology Only" Bus Number |  | Number | Provide the bus number for the load in the Batch Zero "Topology Only" case, including any TSP-submitted modifications |  |  | Required even if the bus number is the same as in the November 2025 SSWG cases
| Batch Zero "Topology Only" Load ID |  | Text | Provide the two-character load identifier in the Batch Zero "Topology Only" case, including any TSP-submitted modifications |  |  | Required even if the load identifier is the same as in the November 2025 SSWG cases
Section 1C - Load Characteristics
| Field |  | Format | Instructions |  |  | Notes
| Peak Demand (MW) |  | Number | Value should match highest values in the LCP |  |  | Requested load
| Peak Demand (MVAr) |  | Number | Value should match highest values in the LCP |  |  | If available
| Power Factor |  | Decimal |  |  |  | At peak
| Actual Initial Energization Date |  | Date |  |  |  | If energized only
| Desired Initial Energization Date |  | Date |  |  |  | Planned in-service
Section 1D - Submission Responsibility and ILLE POCs
| Field |  | Format | Instructions |  |  | Notes
| Submitting Entity to ERCOT |  | TSP / DSP
| Primary Contact Name |  | Text
| Email |  | Text
| Phone |  | Text
| ILLE Authorized Representative Name |  | Text |  |  |  | Authorized representative for Batch Zero communications and confirmations
| ILLE Authorized Representative Email |  | Text
| ILLE Authorized Representative Phone |  | Text
| ILLE Technical Contact Name |  | Text |  |  |  | Technical point of contact for studies and modeling
| ILLE Technical Contact Email |  | Text
| ILLE Technical Contact Phone |  | Text
Section 1E - Configuration information for Large Loads co-locating with Generation Resources or ESRs
| Field |  | Format | Instructions |  |  | Notes
| Resource Entity (RE) |  | Text |  |  |  | Only one permitted
| Interconnecting Entity (IE) |  | Text |  |  |  | Only one permitted
| Associated INR Number(s) |  | Text |  |  |  | List all associated INRs
| Resource Mnemonic Code |  | Text |  |  |  | Applies only to generation that is already synchronized to the ERCOT grid
Section 2 - Batch Zero Eligibility and Entry Path
| PCLR | Eligibility path: select the Batch Zero eligibility category under which the Large Load qualifies. This selection determines the applicable eligibility requirements and modeling methodology
| PBRP Only | Entry path: Select the study path used to establish the load levels and schedule reflected in the LCP. The Interconnecting TSP/DSP is responsible for completing the LCP section ("LCP New" tab) based on the selected Entry Path
The selected Entry Path determines the methodology used to construct the LCP, including the applicable study information, transmission upgrades, TPIT adjustments, and Interconnection Agreement comparisons
Section 3 - Eligibility Requirements
ID | Requirement / Submission Item | Applicability | Submission Format | Responsible party | Due date1 | ILLE attestation location | Reviewing Entity | Completion status | Supporting File Name(s) | ERCOT validation | Notes / Comments
1 | Initial Energization Status | Not Required | TSP confirmation | TSP/DSP | 2026-07-24
2 | Stability / Interim VRT Qualification Status | Not Required | TSP confirmation | TSP/DSP | 2026-07-24
3 | Permian Basin Reliability Plan Study Inclusion | Not Required | TSP confirmation | TSP/DSP | 2026-07-24
4 | Complete and valid interconnection study determination | Not Required | TSP confirmation | TSP/DSP | 2026-07-24 | [5 empty] | ERCOT determination referenced by the TSP/DSP as part of the Batch Zero eligibility package
5 | TSP notarized attestation of study validity | Conditional | Attestation (Notarized) | TSP/DSP | 2026-07-24 | [5 empty] | Applicable only for studies evaluated under Section 9.2.1.4(3)(d)
6 | Similar request disclosure | Required | Attestation (Notarized) | ILLE | 2026-07-10 | ERCOT Section 9.2.1.2(1) Attestation Form |  |  |  |  | Consolidated attestation for items 6-14, 17, 24
7 | Site studies and engineering progress | Required | Attestation (Notarized) | ILLE | 2026-07-10 | ERCOT Section 9.2.1.2(1) Attestation Form |  |  |  |  | Consolidated attestation for items 6-14, 17, 24
8 | Permitting status | Required | Attestation (Notarized) | ILLE | 2026-07-10 | ERCOT Section 9.2.1.2(1) Attestation Form |  |  |  |  | Consolidated attestation for items 6-14, 17, 24
9 | Phased energization schedule | Required | Attestation (Notarized) | ILLE | 2026-07-10 | ERCOT Section 9.2.1.2(1) Attestation Form |  |  |  |  | Consolidated attestation for items 6-14, 17, 24
10 | On-site backup generation | Required | Attestation (Notarized) | ILLE | 2026-07-10 | ERCOT Section 9.2.1.2(1) Attestation Form |  |  |  |  | Consolidated attestation for items 6-14, 17, 24
11 | Power procurement strategy | Required | Attestation (Notarized) | ILLE | 2026-07-10 | ERCOT Section 9.2.1.2(1) Attestation Form |  |  |  |  | Consolidated attestation for items 6-14, 17, 24
12 | Equipment order attestation | Not Required | Attestation (Notarized) | ILLE | 2026-07-10 | [5 empty] | Consolidated attestation for items 6-14, 17, 24
13 | Notice to proceed (NTP) attestation | Not Required | Attestation (Notarized) | ILLE | 2026-07-10 | [5 empty] | Consolidated attestation for items 6-14, 17, 24
14 | End-use customer / developer attestation | Not Required | Attestation (Notarized) | ILLE | 2026-07-10 | [5 empty] | Consolidated attestation for items 6-14, 17, 24
15 | Transmission upgrade financial security | Required | TSP confirmation | TSP/DSP | 2026-07-24 | [5 empty] | TSP/DSP confirmation that required financial security has been posted
16 | Direct interconnection cost (CIAC) responsibility | Not Required | TSP confirmation | TSP/DSP | 2026-07-24 | [5 empty] | TSP/DSP confirmation that required CIAC satisfied
17 | Site control evidence | Required | Attestation (Notarized) + Evidence | ILLE | 2026-07-10 | ERCOT Section 9.2.1.2(1) Attestation Form |  |  |  |  | Consolidated attestation for items 6-14, 17, 24
18 | General contractor contract | Not Required | Attestation (Notarized) | ILLE | 2026-07-10
19 | Substation contractor contract | Not Required | Attestation (Notarized) | ILLE | 2026-07-10
20 | Site approvals | Not Required | Attestation (Notarized) + Evidence | ILLE | 2026-07-10
21 | PURA §39.169 application / net metering proceeding | Not Required | TSP confirmation | TSP/DSP | 2026-07-24
22 | Full technical data package | Required | Technical documentation | ILLE | 2026-07-10
23 | Preliminary Load Commissioning Plan (LCP) | Required | Technical documentation | TSP/DSP | 2026-07-24 | [5 empty] | Initial schedule provided by the ILLE; maintained and updated by the Interconnecting TSP
24 | Written acknowledgement of change notification obligations | Required | Attestation (Non-notarized) | ILLE | 2026-07-10 | ERCOT Section 9.2.1.2(1) Attestation Form |  |  |  |  | Consolidated attestation for items 6-14, 17, 24
25 | Dynamic load model and supporting documentation | Required | Technical documentation | ILLE | 2026-07-10 | [5 empty] | Submitted directly by the ILLE to ERCOT and the Interconnecting TSP pursuant to Section 9.2.2(3)
26 | Prior stability-study impact determination | Conditional | TSP confirmation | TSP/DSP | 2026-07-24 | [5 empty] | Required only if a prior dynamic stability study has been performed
27 | Form W – Part A (notarized) | Required | Form (Notarized) | ILLE | 2026-07-10 | NPRR1325 - Form W
28 | Form X (notarized) | Not Required | Form (Notarized) | ILLE | 2026-07-10
29 | Generator FIS request | Not Required | TSP confirmation | TSP/DSP | 2026-07-24
30 | 2026 RTP load information | Not Required | TSP confirmation | TSP/DSP | 2026-07-24
31 | Most recent LCP | Not Required | Technical documentation | TSP/DSP | 2026-07-24 | [5 empty] | Existing LCP maintained by the Interconnecting TSP for operational or previously studied loads
32 | Executed IA or equivalent agreement | Not Required | Technical documentation | TSP/DSP | 2026-07-24
33 | List of already energized loads | Not Required | TSP confirmation | TSP/DSP | 2026-07-24
34 | List of LL qualifying under VRT pathway | Not Required | TSP confirmation | TSP/DSP | 2026-07-24
35 | List of Large Loads qualifying under PBRP | Not Required | TSP confirmation | TSP/DSP | 2026-07-24
36 | IDEV files | Required | Technical documentation | TSP/DSP | 2026-07-24 | [5 empty] | Required only if load is unenergized
1Note: Due dates shown in this workbook are indicative only and are intended as a summary of key PGRR145 milestones. Users should refer to the approved PGRR145 language and applicable ERCOT governing documents for detailed requirements, exceptions, and implementation guidance.
Section 4 - Reserved for future use
| Field |  | Format | Instructions |  |  | Notes
For use only at direction of ERCOT
For use only at direction of ERCOT
For use only at direction of ERCOT
Formulas:
Due date1 = VLOOKUP([Field],Assumptions!$B3:T38,19,0)

## LCP New
This form is a draft template provided for stakeholder review and process development purposes only and remains subject to change, revision, or withdrawal pending further ERCOT review and stakeholder feedback
Final versions of this form will not be issued or implemented unless and until PGRR145 is approved by both the ERCOT Board of Directors and the Public Utility Commission of Texas (“PUCT”)
Load Commissioning Plan (LCP)
| Entry Path | PBRP Only |  |  |  | NOTE: This section must be completed by the Interconnecting TSP/DSP. The Interconnecting TSP/DSP is responsible for preparing the LCP, applying the applicable Batch Zero study-path logic, and entering al required data in this tab
|  | IA or Equivalent Agreement This section is required for all Large Loads |  |  | LLIS Load Commissioning Plan (LCP) as modified by TPIT This section is required if a LLIS is being used to qualify for Batch Zero as either base load or studied load | [6 empty] | RPG as modified by TPIT This section is required if a RPG study is being used to qualify for Batch Zero as base load |  | Permian Basin Reliabilty Plan This section is required if the Permian Basin Reliability Plan (PBRP) study is being used to qualify for Batch Zero as base load | DO NOT MODIFY THIS SECTION
| Date | Interconnection Agreement Peak MW | MVAR | 2026 RTP RFI Peak Demand (if available) | LCP Peak MW | MVAR | LLIS Required controlling upgrade | LLIS TPIT ISD | LLIS TPIT Project Number | LLIS TPIT Project Tier | Included in 25SSWG_U1 Cases? |  |  |  | RPG Step effective date | LLIS Step effective date | RPG TPIT-Adjusted Peak MW | LLIS TPIT-Adjusted Peak MW | Combined TPIT-Adjusted Peak MW | Output Peak MW | Load Treatment
| 2028-12-31 |  | 20 |  | 100 | 20 | Upgrade A | 2029-08-01 |  |  |  | Peak Demand (MW) modeled in RPG Study | 1000 | Peak Demand (MW) modeled in PBRP Study | 2031-05-01 | 2029-08-01 | 0 | 0 | 0 | 0 | Base Load
| 2029-12-31 |  | 40 |  | 300 | 40 | [5 empty] | Peak MVAR modeld in RPG Study | 200 | Peak MVAR modeld in PBRP Study | 2031-05-01 | 2029-12-31 | 0 | 0 | 0 | 0 | Base Load
| 2030-12-31 |  | 60 |  | 500 | 60 | [5 empty] | In service date of final RPG upgrade element as shown in TPIT | 2031-05-01 | In service date of final PBRP upgrade element as shown in TPIT | 2031-05-01 | 2030-12-31 | 0 | 0 | 0 | 0 | Base Load
| 2031-12-31 |  | 80 |  | 700 | 80 | [8 empty] | 2031-12-31 | 2031-12-31 | 0 | 0 | 0 | 0 | Base Load
| 2032-12-31 | 1000 | 100 |  | 1000 | 100 | [8 empty] | 2032-12-31 | 2032-12-31 | 0 | 0 | 0 | 0 | Base Load
Instructions and explanation for completing this section
2 | Populate Interconnection Agreement Peak MW and MVAR using the executed Interconnection Agreement (IA) or equivalent agreement
3 | Populate Peak Demand (MW) modeled in PBRP Study and Peak MVAR modeled in PBRP Study using the PBRP study that qualified the Large Load for Batch Zero
4 | Populate In service date of final PBRP upgrade element as shown in TPIT using the latest TPIT in-service date for the final PBRP upgrade required to support the Large Load
5 | Leave all LLIS inputs blank
6 | Leave all RPG inputs blank
7 | Do not modify RPG Step effective date, LLIS Step effective date, RPG TPIT-Adjusted Peak MW, LLIS TPIT-Adjusted Peak MW, Combined TPIT-Adjusted Peak MW, Output Peak MW, or Load Treatment. These fields are calculated automatically
8 | The PBRP TPIT-Adjusted Peak MW schedule is determined automatically using the Peak Demand modeled in the PBRP study and the TPIT in-service date of the final PBRP upgrade
9 | Prior to the PBRP TPIT in-service date, the PBRP-adjusted Peak MW is set to zero. Beginning with the first applicable study year after the PBRP TPIT in-service date, the PBRP-adjusted Peak MW is set equal to the Peak Demand modeled in the PBRP study
10 | Prior to the PBRP TPIT in-service date, Output Peak MW is determined using the Interconnection Agreement Peak MW schedule and the load is treated as Studied Load
11 | Beginning with the first applicable study year after the PBRP TPIT in-service date, Output Peak MW is determined as the lower of the Interconnection Agreement Peak MW schedule and the Combined TPIT-Adjusted Peak MW schedule
12 | The load is treated as Studied Load prior to the PBRP TPIT in-service date and Base Load thereafter, consistent with Section 9.2.1.2(3)
13
14
15
16
17
18
19
20
21
22
23
24
25
Formulas:
RPG Step effective date = IF(S11="",DATE(2034,12,31),IF(S11<[Date],DATE(YEAR([Date]),12,31),S11))
LLIS Step effective date = IF([LLIS TPIT ISD]<>"",[LLIS TPIT ISD],IF([LLIS Required controlling upgrade]<>"",DATE(2034,12,31),[Date]))
LLIS Step effective date = IF(AND(ISNUMBER([LLIS Step effective date, row above]),[LLIS Step effective date, row above]>DATE(YEAR([Date]),12,31)), [LLIS Step effective date, row above], IF([LLIS TPIT ISD]<>"",[LLIS TPIT ISD],IF([LLIS Required controlling upgrade]<>"",DATE(2034,12,31),[Date])) )

## Attestation Matrix (hidden)
Requirement / Submission Item | Submission Format | Submitting Party | Base Load Section 9.2.1.1(1)(a) - Energized before 3/25/2022 | Base Load Section 9.2.1.1(1)(b) - Energized between 3/25/2022 and 7/10/26 | Base Load Section 9.2.1.1(1)(c) - QSA or IVRT Assessment | Base Load Section 9.2.1.1(1)(d) - Permian Basin Reliability Plan Study Load | Base Load Section 9.2.1.1(1)(e) - Advancing Large Load | Base Load Section 9.2.1.1(1)(f) - Committed Large Load | Base Load Section 9.2.1.1(1)(g) - PURA §39.169 Net Metering Proceeding Load | Studied Load | PCLR | WLPUN
Similar request disclosure | Attestation (Notarized) | ILLE |  |  |  |  | ERCOT Section 9.2.1.1(1)(e) Attestation | ERCOT Section 9.2.1.1(1)(f) Attestation | ERCOT Section 9.2.1.1(1)(g) Attestation | ERCOT Section 9.2.1.2(1) Attestation Form | ERCOT Section 9.2.1.2(1) Attestation Form | ERCOT Section 9.2.1.2(1) Attestation Form
Site studies and engineering progress | Attestation (Notarized) | ILLE |  |  |  |  | ERCOT Section 9.2.1.1(1)(e) Attestation | ERCOT Section 9.2.1.1(1)(f) Attestation | ERCOT Section 9.2.1.1(1)(g) Attestation | ERCOT Section 9.2.1.2(1) Attestation Form | ERCOT Section 9.2.1.2(1) Attestation Form | ERCOT Section 9.2.1.2(1) Attestation Form
Permitting status | Attestation (Notarized) | ILLE |  |  |  |  | ERCOT Section 9.2.1.1(1)(e) Attestation | ERCOT Section 9.2.1.1(1)(f) Attestation | ERCOT Section 9.2.1.1(1)(g) Attestation | ERCOT Section 9.2.1.2(1) Attestation Form | ERCOT Section 9.2.1.2(1) Attestation Form | ERCOT Section 9.2.1.2(1) Attestation Form
Phased energization schedule | Attestation (Notarized) | ILLE |  |  |  |  | ERCOT Section 9.2.1.1(1)(e) Attestation | ERCOT Section 9.2.1.1(1)(f) Attestation | ERCOT Section 9.2.1.1(1)(g) Attestation | ERCOT Section 9.2.1.2(1) Attestation Form | ERCOT Section 9.2.1.2(1) Attestation Form | ERCOT Section 9.2.1.2(1) Attestation Form
On-site backup generation | Attestation (Notarized) | ILLE |  |  |  |  | ERCOT Section 9.2.1.1(1)(e) Attestation | ERCOT Section 9.2.1.1(1)(f) Attestation | ERCOT Section 9.2.1.1(1)(g) Attestation | ERCOT Section 9.2.1.2(1) Attestation Form | ERCOT Section 9.2.1.2(1) Attestation Form | ERCOT Section 9.2.1.2(1) Attestation Form
Power procurement strategy | Attestation (Notarized) | ILLE |  |  |  |  | ERCOT Section 9.2.1.1(1)(e) Attestation | ERCOT Section 9.2.1.1(1)(f) Attestation | ERCOT Section 9.2.1.1(1)(g) Attestation | ERCOT Section 9.2.1.2(1) Attestation Form | ERCOT Section 9.2.1.2(1) Attestation Form | ERCOT Section 9.2.1.2(1) Attestation Form
Equipment order attestation | Attestation (Notarized) | ILLE |  |  |  |  | ERCOT Section 9.2.1.1(1)(e) Attestation
Notice to proceed (NTP) attestation | Attestation (Notarized) | ILLE |  |  |  |  | ERCOT Section 9.2.1.1(1)(e) Attestation
End-use customer / developer attestation | Attestation (Notarized) | ILLE |  |  |  |  | ERCOT Section 9.2.1.1(1)(e) Attestation
Site control evidence | Attestation (Notarized) + Evidence | ILLE |  |  |  |  | ERCOT Section 9.2.1.1(1)(e) Attestation | ERCOT Section 9.2.1.1(1)(f) Attestation |  | ERCOT Section 9.2.1.2(1) Attestation Form | ERCOT Section 9.2.1.2(1) Attestation Form | ERCOT Section 9.2.1.2(1) Attestation Form
General contractor contract | Attestation (Notarized) | ILLE | [5 empty] | ERCOT Section 9.2.1.1(1)(f) Attestation
Substation contractor contract | Attestation (Notarized) | ILLE | [5 empty] | ERCOT Section 9.2.1.1(1)(f) Attestation
Site approvals | Attestation (Notarized) + Evidence | ILLE | [5 empty] | ERCOT Section 9.2.1.1(1)(f) Attestation
Full technical data package | Technical documentation | ILLE
Written acknowledgement of change notification obligations | Attestation (Non-notarized) | ILLE |  | ERCOT Sections 9.2.1.1(1)(b) Form | ERCOT Sections 9.2.1.1(1)(c) and (d) Form | ERCOT Sections 9.2.1.1(1)(c) and (d) Form | ERCOT Section 9.2.1.1(1)(e) Attestation | ERCOT Section 9.2.1.1(1)(f) Attestation |  | ERCOT Section 9.2.1.2(1) Attestation Form | ERCOT Section 9.2.1.2(1) Attestation Form | ERCOT Section 9.2.1.2(1) Attestation Form
Dynamic load model and supporting documentation | Technical documentation | ILLE
Form W – Part A (notarized) | Form (Notarized) | ILLE | [8 empty] | NPRR1325 - Form W
Form X (notarized) | Form (Notarized) | ILLE | [9 empty] | NPRR1325 - Form X
IDEV files | Technical documentation | ILLE

## Assumptions (hidden)
Document / Evidence | Base Load Section 9.2.1.1(1)(a) - Energized before 3/25/2022 | Base Load Section 9.2.1.1(1)(b) - Energized between 3/25/2022 and 7/10/26 | Base Load Section 9.2.1.1(1)(c) - QSA or IVRT Assessment | Base Load Section 9.2.1.1(1)(d) - Permian Basin Reliability Plan Study Load | Base Load Section 9.2.1.1(1)(e) - Advancing Large Load | Base Load Section 9.2.1.1(1)(f) - Committed Large Load | Base Load Section 9.2.1.1(1)(g) - PURA §39.169 Net Metering Proceeding Load | Studied Load | PCLR | WLPUN |  |  |  | Format |  | Owner | Due Date | Check | Check
Initial Energization Status | Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required |  |  |  | TSP confirmation |  | TSP/DSP | 2026-07-24 | 0 | 0
Stability / Interim VRT Qualification Status | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required |  |  |  | TSP confirmation |  | TSP/DSP | 2026-07-24 | 0 | 0
Permian Basin Reliability Plan Study Inclusion | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required |  |  |  | TSP confirmation |  | TSP/DSP | 2026-07-24 | 0 | 0
Complete and valid interconnection study determination | Not Required | Not Required | Not Required | Not Required | Required | Required | Not Required | Not Required | Not Required | Not Required |  |  |  | TSP confirmation |  | TSP/DSP | 2026-07-24 | 0 | 0
TSP notarized attestation of study validity | Not Required | Not Required | Not Required | Not Required | Conditional | Conditional | Not Required | Conditional | Conditional | Conditional |  |  |  | Attestation (Notarized) |  | TSP/DSP | 2026-07-24 | 0 | 0
Similar request disclosure | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required |  |  |  | Attestation (Notarized) |  | ILLE | 2026-07-10 | 1 | 0
Site studies and engineering progress | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required |  |  |  | Attestation (Notarized) |  | ILLE | 2026-07-10 | 1 | 0
Permitting status | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required |  |  |  | Attestation (Notarized) |  | ILLE | 2026-07-10 | 1 | 0
Phased energization schedule | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required |  |  |  | Attestation (Notarized) |  | ILLE | 2026-07-10 | 1 | 0
On-site backup generation | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required |  |  |  | Attestation (Notarized) |  | ILLE | 2026-07-10 | 1 | 0
Power procurement strategy | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required |  |  |  | Attestation (Notarized) |  | ILLE | 2026-07-10 | 1 | 0
Equipment order attestation | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required |  |  |  | Attestation (Notarized) |  | ILLE | 2026-07-10 | 0 | 0
Notice to proceed (NTP) attestation | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required |  |  |  | Attestation (Notarized) |  | ILLE | 2026-07-10 | 0 | 0
End-use customer / developer attestation | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required |  |  |  | Attestation (Notarized) |  | ILLE | 2026-07-10 | 0 | 0
Transmission upgrade financial security | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required |  |  |  | TSP confirmation |  | TSP/DSP | 2026-07-24 | 1 | 0
Direct interconnection cost (CIAC) responsibility | Not Required | Not Required | Not Required | Not Required | Required | Required | Not Required | Not Required | Not Required | Not Required |  |  |  | TSP confirmation |  | TSP/DSP | 2026-07-24 | 0 | 0
Site control evidence | Not Required | Not Required | Not Required | Not Required | Required | Required | Not Required | Required | Required | Required |  |  |  | Attestation (Notarized) + Evidence |  | ILLE | 2026-07-10 | 1 | 0
General contractor contract | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required |  |  |  | Attestation (Notarized) |  | ILLE | 2026-07-10 | 0 | 0
Substation contractor contract | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required |  |  |  | Attestation (Notarized) |  | ILLE | 2026-07-10 | 0 | 0
Site approvals | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required |  |  |  | Attestation (Notarized) + Evidence |  | ILLE | 2026-07-10 | 0 | 0
PURA §39.169 application / net metering proceeding | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required |  |  |  | TSP confirmation |  | TSP/DSP | 2026-07-24 | 0 | 0
Full technical data package | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Required | Required |  |  |  | Technical documentation |  | ILLE | 2026-07-10 | 1 | 0
Preliminary Load Commissioning Plan (LCP) | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required |  |  |  | Technical documentation |  | TSP/DSP | 2026-07-24 | 1 | 0
Written acknowledgement of change notification obligations | Not Required | Required | Required | Required | Required | Required | Not Required | Required | Required | Required |  |  |  | Attestation (Non-notarized) |  | ILLE | 2026-07-10 | 1 | 0
Dynamic load model and supporting documentation | Conditional | Conditional | Conditional | Required | Required | Required | Required | Required | Required | Required |  |  |  | Technical documentation |  | ILLE | 2026-07-10 | 1 | 0
Prior stability-study impact determination | Not Required | Not Required | Conditional | Conditional | Conditional | Conditional | Conditional | Conditional | Conditional | Conditional |  |  |  | TSP confirmation |  | TSP/DSP | 2026-07-24 | 0 | 0
Form W – Part A (notarized) | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Not Required |  |  |  | Form (Notarized) |  | ILLE | 2026-07-10 | 1 | 0
Form X (notarized) | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Required |  |  |  | Form (Notarized) |  | ILLE | 2026-07-10 | 0 | 0
Generator FIS request | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Conditional |  |  |  | TSP confirmation |  | TSP/DSP | 2026-07-24 | 0 | 0
2026 RTP load information | Not Required | Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required |  |  |  | TSP confirmation |  | TSP/DSP | 2026-07-24 | 0 | 0
Most recent LCP | Not Required | Required | Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required |  |  |  | Technical documentation |  | TSP/DSP | 2026-07-24 | 0 | 0
Executed IA or equivalent agreement | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required |  |  |  | Technical documentation |  | TSP/DSP | 2026-07-24 | 0 | 0
List of already energized loads | Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required |  |  |  | TSP confirmation |  | TSP/DSP | 2026-07-24 | 0 | 0
List of LL qualifying under VRT pathway | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required |  |  |  | TSP confirmation |  | TSP/DSP | 2026-07-24 | 0 | 0
List of Large Loads qualifying under PBRP | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required |  |  |  | TSP confirmation |  | TSP/DSP | 2026-07-24 | 0 | 0
IDEV files | Not Required | Not Required | Conditional | Required | Required | Required | Required | Required | Required | Required |  |  |  | Technical documentation |  | TSP/DSP | 2026-07-24 | 1 | 0
[18 empty] | 14 | 0
| Complete |  | Data Centers (non-crypto)
| Incomplete |  | Hydrogen and Electrofuel Production
| Not applicable |  | Cryptocurrency Mining
Steel and Aluminum Manufacturing
| Yes |  | Oil and Chemical Refining
| No |  | Oil and Gas Production, Processing, and Transmission
Government and Medical
Transportation
Other
|  |  | LLIS Only | Populate Interconnection Agreement Peak MW and MVAR using the executed Interconnection Agreement (IA) or equivalent agreement | Populate LCP Peak MW and MVAR using the approved LLIS Load Commissioning Plan (LCP) | For each load increase that depends on a transmission upgrade, enter the controlling transmission upgrade in LLIS Required controlling upgrade. If the upgrade is included in the latest TPIT report, enter the latest TPIT in-service date in LLIS TPIT ISD. If the upgrade is not included in the latest TPIT report, leave LLIS TPIT ISD blank | Leave all RPG study inputs blank | Leave all Permian Basin Reliability Plan (PBRP) inputs blank | Do not modify RPG Step effective date, LLIS Step effective date, RPG TPIT-Adjusted Peak MW, LLIS TPIT-Adjusted Peak MW, Combined TPIT-Adjusted Peak MW, Output Peak MW, or Load Treatment. These fields are calculated automatically | For load increases that depend on a transmission upgrade, the LLIS TPIT-Adjusted Peak MW schedule will be modified automatically to reflect the latest TPIT in-service date. If the TPIT in-service date is later than the date reflected in the approved LLIS LCP, the corresponding load increase will not be reflected until the TPIT in-service year | Output Peak MW is determined automatically as the lower of the Interconnection Agreement Peak MW schedule and the Combined TPIT-Adjusted Peak MW schedule for each year | The resulting Output Peak MW schedule is modeled as Base Load in all years
|  |  | RPG Only | Populate Interconnection Agreement Peak MW and MVAR using the executed Interconnection Agreement (IA) or equivalent agreement | Populate Peak Demand (MW) modeled in RPG Study and Peak MVAR modeled in RPG Study using the RPG study that qualified the Large Load for Batch Zero | Populate In service date of final RPG upgrade element as shown in TPIT using the latest TPIT in-service date for the final RPG upgrade required to support the Large Load | Leave all LLIS inputs blank | Leave all Permian Basin Reliability Plan (PBRP) inputs blank | Do not modify RPG Step effective date, LLIS Step effective date, RPG TPIT-Adjusted Peak MW, LLIS TPIT-Adjusted Peak MW, Combined TPIT-Adjusted Peak MW, Output Peak MW, or Load Treatment. These fields are calculated automatically | The RPG TPIT-Adjusted Peak MW schedule is determined automatically using the Peak Demand modeled in the RPG study and the TPIT in-service date of the final RPG upgrade | Prior to the RPG TPIT in-service date, the RPG TPIT-Adjusted Peak MW is set to zero. Beginning with the first applicable study year after the RPG TPIT in-service date, the RPG TPIT-Adjusted Peak MW is set equal to the Peak Demand modeled in the RPG study | Prior to the RPG TPIT in-service date, Output Peak MW is determined using the Interconnection Agreement Peak MW schedule and the load is treated as Studied Load | Beginning with the first applicable study year after the RPG TPIT in-service date, Output Peak MW is determined as the lower of the Interconnection Agreement Peak MW schedule and the Combined TPIT-Adjusted Peak MW schedule | The load is treated as Studied Load prior to the RPG TPIT in-service date and Base Load thereafter, consistent with Section 9.2.1.2(3)
|  |  | RPG and Complete and Valid LLIS | Populate Interconnection Agreement Peak MW and MVAR using the executed Interconnection Agreement (IA) or equivalent agreement | Populate LCP Peak MW and MVAR using the approved LLIS Load Commissioning Plan (LCP) | For each load increase that depends on a transmission upgrade, enter the controlling transmission upgrade in LLIS Required controlling upgrade and enter the latest TPIT in-service date for that upgrade in LLIS TPIT ISD on the row corresponding to the affected load increase | If a load increase does not depend on a transmission upgrade, leave LLIS Required controlling upgrade and LLIS TPIT ISD blank. If a load increase depends on a transmission upgrade but the upgrade is not included in the latest TPIT report, enter the controlling transmission upgrade in LLIS Required controlling upgrade and leave LLIS TPIT ISD blank | Populate Peak Demand (MW) modeled in RPG Study and Peak MVAR modeled in RPG Study using the RPG study that qualifies the Large Load for Batch Zero | Populate In service date of final RPG upgrade element as shown in TPIT using the latest TPIT in-service date for the final RPG upgrade required to support the Large Load | Leave all PBRP inputs blank | Do not modify RPG Step effective date, LLIS Step effective date, RPG TPIT-Adjusted Peak MW, LLIS TPIT-Adjusted Peak MW, Combined TPIT-Adjusted Peak MW, Output Peak MW, or Load Treatment. These fields are calculated automatically | The RPG TPIT-Adjusted Peak MW schedule will be modified automatically to reflect the latest TPIT in-service date for the final RPG upgrade | The LLIS TPIT-Adjusted Peak MW schedule will be modified automatically to reflect the latest TPIT in-service date for each LLIS-controlled step | Combined TPIT-Adjusted Peak MW reflects the higher of the RPG TPIT-Adjusted Peak MW schedule and the LLIS TPIT-Adjusted Peak MW schedule for each year | Output Peak MW is determined automatically as the lower of the Interconnection Agreement Peak MW schedule and the Combined TPIT-Adjusted Peak MW schedule for each year | The resulting Output Peak MW schedule is modeled as Base Load in all years
|  |  | PBRP Only | Populate Interconnection Agreement Peak MW and MVAR using the executed Interconnection Agreement (IA) or equivalent agreement | Populate Peak Demand (MW) modeled in PBRP Study and Peak MVAR modeled in PBRP Study using the PBRP study that qualified the Large Load for Batch Zero | Populate In service date of final PBRP upgrade element as shown in TPIT using the latest TPIT in-service date for the final PBRP upgrade required to support the Large Load | Leave all LLIS inputs blank | Leave all RPG inputs blank | Do not modify RPG Step effective date, LLIS Step effective date, RPG TPIT-Adjusted Peak MW, LLIS TPIT-Adjusted Peak MW, Combined TPIT-Adjusted Peak MW, Output Peak MW, or Load Treatment. These fields are calculated automatically | The PBRP TPIT-Adjusted Peak MW schedule is determined automatically using the Peak Demand modeled in the PBRP study and the TPIT in-service date of the final PBRP upgrade | Prior to the PBRP TPIT in-service date, the PBRP-adjusted Peak MW is set to zero. Beginning with the first applicable study year after the PBRP TPIT in-service date, the PBRP-adjusted Peak MW is set equal to the Peak Demand modeled in the PBRP study | Prior to the PBRP TPIT in-service date, Output Peak MW is determined using the Interconnection Agreement Peak MW schedule and the load is treated as Studied Load | Beginning with the first applicable study year after the PBRP TPIT in-service date, Output Peak MW is determined as the lower of the Interconnection Agreement Peak MW schedule and the Combined TPIT-Adjusted Peak MW schedule | The load is treated as Studied Load prior to the PBRP TPIT in-service date and Base Load thereafter, consistent with Section 9.2.1.2(3)
|  |  | PBRP and Complete and Valid LLIS | Populate Interconnection Agreement Peak MW and MVAR using the executed Interconnection Agreement (IA) or equivalent agreement | Populate LCP Peak MW and MVAR using the approved LLIS Load Commissioning Plan (LCP) | For each load increase that depends on a transmission upgrade, enter the controlling transmission upgrade in LLIS Required controlling upgrade and enter the latest TPIT in-service date for that upgrade in LLIS TPIT ISD on the row corresponding to the affected load increase | If a load increase does not depend on a transmission upgrade, leave LLIS Required controlling upgrade and LLIS TPIT ISD blank. If a load increase depends on a transmission upgrade but the upgrade is not included in the latest TPIT report, enter the controlling transmission upgrade in LLIS Required controlling upgrade and leave LLIS TPIT ISD blank | Populate Peak Demand (MW) modeled in PBRP Study and Peak MVAR modeled in PBRP Study using the Permian Basin Reliability Plan (PBRP) study that qualifies the Large Load for Batch Zero | Populate In service date of final PBRP upgrade element as shown in TPIT using the latest TPIT in-service date for the final PBRP upgrade required to support the Large Load | Leave all RPG inputs blank | Do not modify RPG Step effective date, LLIS Step effective date, RPG TPIT-Adjusted Peak MW, LLIS TPIT-Adjusted Peak MW, Combined TPIT-Adjusted Peak MW, Output Peak MW, or Load Treatment. These fields are calculated automatically | The PBRP TPIT-Adjusted Peak MW schedule will be modified automatically to reflect the latest TPIT in-service date for the final PBRP upgrade | The LLIS TPIT-Adjusted Peak MW schedule will be modified automatically to reflect the latest TPIT in-service date for each LLIS-controlled step | Combined TPIT-Adjusted Peak MW reflects the higher of the PBRP TPIT-Adjusted Peak MW schedule and the LLIS TPIT-Adjusted Peak MW schedule for each year | Output Peak MW is determined automatically as the lower of the Interconnection Agreement Peak MW schedule and the Combined TPIT-Adjusted Peak MW schedule for each year | The resulting Output Peak MW schedule is modeled as Base Load in all years
|  |  | Studied Load / PCLR / WLPUN | Populate Interconnection Agreement Peak MW and MVAR using the executed Interconnection Agreement (IA), if applicable | Populate LCP Peak MW and MVAR using the customer-requested load schedule or other applicable schedule supporting the selected eligibility pathway | Leave 2026 RTP RFI Peak Demand, RPG Peak MW, PBRP Peak MW, RPG TPIT ISD, LLIS Required Controlling Upgrade, and LLIS TPIT ISD blank | Do not modify RPG Step Effective Date, LLIS Step Effective Date, RPG TPIT-Adjusted Peak MW, LLIS TPIT-Adjusted Peak MW, Combined TPIT-Adjusted Peak MW, or Output Peak MW. These fields are calculated automatically | Output Peak MW is equal to the LCP Peak MW value for each model year
|  |  | Energized / QSA / IVRT Load | Populate LCP Peak MW and MVAR using the Load Commissioning Plan (LCP) submitted by the Interconnecting TSP/DSP for Batch Zero. This may be the most recent LCP previously provided to ERCOT or an updated LCP submitted on or before July 24, 2026 | Populate 2026 RTP RFI Peak Demand, if available, using the peak Demand reported to ERCOT as part of the 2026 RTP RFI. If the load was not included in the 2026 RTP RFI, leave this field blank | Leave Interconnection Agreement Peak MW and MVAR, RPG Peak MW, PBRP Peak MW, RPG TPIT ISD, LLIS Required Controlling Upgrade, and LLIS TPIT ISD blank | Do not modify RPG Step Effective Date, LLIS Step Effective Date, RPG TPIT-Adjusted Peak MW, LLIS TPIT-Adjusted Peak MW, Combined TPIT-Adjusted Peak MW, Output Peak MW, or Load Treatment. These fields are calculated automatically | If both LCP Peak MW and 2026 RTP RFI Peak Demand are provided, Output Peak MW is determined automatically as the lower of the two values for each model year. If no 2026 RTP RFI Peak Demand is provided, Output Peak MW is equal to the LCP Peak MW value | The resulting Output Peak MW schedule is modeled as Base Load in all years