## Slide 1: Activity Update: Triennial Reliability Assessment, CDR Report, NERC Long-Term Reliability Assessment Pete Warnken ERCOT Resource Adequacy Department Supply Analysis Working Group June 26, 2026

## Slide 2: Triennial Reliability Assessment Planning
June 18, 2026 Commission Open Meeting
  Approval of the Batch Zero Large Load interconnection process (PGRR145 and NPRR1325)
  The PUCT adopted the Batch Zero base load forecast approach for the 2026 Long Term Load Forecast
  Initial Batch Zero data will be available by August 7, and this initial data will be used for the 2026 LTLF
For the reliability assessment load forecast scenarios, propose using “studied load” bookend forecasts added to the Batch Zero forecast
ERCOT will be working with PUCT Staff on a revised reliability assessment schedule and modeling assumptions list

## Slide 3: Remaining Batch Zero Milestones
Source: ERCOT, CEO Revised Update, Board of Director’s meeting, June 1-2, 2026

## Slide 4: 2026 SERVM Updates for the Reliability Assessment
PowerGem completed development of logic to optimize supply between reserve programs (including DRRS) during scarcity conditions and is currently implementing and testing this logic
The Emergency Pricing Plan is implemented as a post-processing mechanism; testing is ongoing
“Net Metering Arrangement” modeling under development
Data currently being updated include:
  May 2026 Resource Forecast (in lieu of the May CDR report)​
  Unit outage modeling using NERC GADS data for 2021-2025
  PUN probabilistic relationship between load and PUN output
  Renewables day-ahead uncertainty modeling with 2025 data
  Neighbor region updates for DC tie interchange modeling

## Slide 5: Cost of New Entry (CONE) Study Update
At the May 7 Open Meeting, the Commissioners agreed with Staff’s recommendation to use a large frame Combustion Turbine (CT) as the reference technology for an updated CONE value
  The CONE cost analysis to assume a return to normal turbine market conditions
  Brattle/Sargent & Lundy recommends the GE 7HA.03 model as the preferred large frame CT technology type
  Expect that initial CONE results will be presented at the September 25th SAWG meeting

## Slide 6: Capacity, Demand and Reserves (CDR) Report
The PUCT formally approved not releasing a May CDR report this year during the June 18 Open Meeting; expect to release the December CDR report per the Protocol Section 3.2.6(1) release schedule
Anticipate including the same load forecast scenarios used for the reliability assessment simulations

## Slide 7: NERC 2026 Long-Term Reliability Study (LTRA)
LTRA preliminary data submission includes a “placeholder” long-term load forecast; final LTRA data submission, in mid-to-late September, will include the official Batch Zero LTLF
  Placeholder LTLF is comprised of the Base forecast plus the forecasted Large Loads from last year’s 2025 Adjusted Load Forecast
The data submission requires a “Reference Margin Level”; this is the benchmark or target Planning Reserve Margin to be used to determine if there is sufficient resource capacity for the seasonal peak load hours (forecast period: summer 2027 through 3036, winter 2027-28 through 2036-37)
  Submitted provisional RML values of 22% for summer seasons and 20% for winter seasons based on the SERVM trial reliability assessment simulations for baseline-year 2026

## Slide 8: Thank you!
Pete.Warnken@ercot.com