IBRWG Update
July 2026
Chair: Julia Matevosyan, Vice-Chair: Miguel Cova Acosta

IBRWG met on June 15th (Webex).

The agenda and presentation slides are available here:

~67 people attended the meeting (at peak)

IBRWG Meeting

PSS/E v36 Transition: OEM DLL Status Update

Christian Danielson, ERCOT

- ERCOT reviewed progress on the transition to PSS®E v36 and noted that the June 1, 2026 deadline for submission of v36-compatible dynamic models has passed.

- Generator owners remain dependent on OEM release of v36-compatible DLLs before complete model packages can be submitted.

- ERCOT has been coordinating directly with OEMs regarding outstanding DLL releases and model submissions.

- Current OEM DLL status in planning cases: Tesla, Siemens Gamesa, SMA, Power Electronics, Ingeteam and EPC complete; GE partial; Vestas and Sungrow missing.

NPRR1333 Establish an Incentive Program for Advanced Grid Support

Fred Huang, ERCOT

- The NPRR proposes a one-time incentive mechanism to encourage resources that are not otherwise required to provide advanced grid support capabilities to voluntarily implement them.

- The proposal is primarily focused on economic incentives and broader adoption of advanced grid-support functionality rather than establishing new reliability requirements.

- The NPRR had already been discussed at PRS and no substantial concerns had been raised.

- Because the proposal is primarily market-oriented, it is expected to receive further discussion at WMS before continuing through the stakeholder process.

NERC Updates

Mark Henry, TRE

- FERC Order 901 Milestone 2 standards (PRC‑028‑1, PRC‑029‑1 and PRC‑030‑1) have been approved.

- Project 2025‑05 Ride-through Revisions (PRC‑029‑2) narrowly missed passing its ballot; final filing remains targeted for August 28, 2026.

- Milestone 3 standards associated with model verification (MOD‑026‑2 and MOD‑033‑3) and validation were approved by FERC in February 2026.

- Project 2022‑02 Uniform Modeling Framework for IBRs continues with draft for MOD‑032‑2, TOP‑003‑8 and IRO‑010‑6.

- Project 2025‑04 Order 901 Planning Studies (TPL‑001‑6) achieved passing votes and quorum.

- Project 2025‑03 Operational Studies did not achieve passing votes.

- Project 2022‑04 EMT Modeling remains under development; industry comments from the first ballot are under review.

- Project 2023‑01 EOP‑004 IBR Event Reporting was approved and is headed to the NERC Board. The ERCOT reporting threshold for IBR disturbances increased from 500 MW to 800 MW.

- NERC finalized the Category 2 GO/GOP registration initiative. Mark noted that 32 generators were registered in Texas RE and roughly 800 entities across NERC’s six Regions.

- IRPS activities include work on large-load EMT modeling, IBR commissioning best practices, equipment model validation, and interconnection study guidance.

Other Industry Updates

Julia Matevosyan, ESIG

- France now requires grid-forming capability for newly interconnecting battery energy storage systems above specified thresholds effective May 2026.

- Mexico’s regulator CNE established grid-forming capability requirements for energy storage systems, with detailed technical specifications to be developed by CENACE.

- DOE i2X STITCH continues to focus on harmonization, standardization and automation of interconnection studies. The June 23rd meeting will focus on ERCOT and MISO study processes.

- DOE i2X FIRST Season 3 launched on June 4 with a deep dive into PRC‑029 implementation and future sessions covering Milestone 4 projects, EMT modeling and IEEE 2800.2.

- ESIG and Elevate Energy Consulting continue to provide DOE-funded i2X Technical Assistance Hours. Sign up here https://www.esig.energy/i2x-initiatives/#Office-Hours