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IBRWG met on June 15th (Webex).
The agenda and presentation slides are available here: 
~67 people attended the meeting (at peak)
IBRWG Meeting
PSS/E v36 Transition: OEM DLL Status Update
Christian Danielson, ERCOT
· ERCOT reviewed progress on the transition to PSS®E v36 and noted that the June 1, 2026 deadline for submission of v36-compatible dynamic models has passed.
· Generator owners remain dependent on OEM release of v36-compatible DLLs before complete model packages can be submitted.
· ERCOT has been coordinating directly with OEMs regarding outstanding DLL releases and model submissions.
· Current OEM DLL status in planning cases: Tesla, Siemens Gamesa, SMA, Power Electronics, Ingeteam and EPC complete; GE partial; Vestas and Sungrow missing.
NPRR1333 Establish an Incentive Program for Advanced Grid Support
Fred Huang, ERCOT
· The NPRR proposes a one-time incentive mechanism to encourage resources that are not otherwise required to provide advanced grid support capabilities to voluntarily implement them.
· The proposal is primarily focused on economic incentives and broader adoption of advanced grid-support functionality rather than establishing new reliability requirements.
· The NPRR had already been discussed at PRS and no substantial concerns had been raised.
· Because the proposal is primarily market-oriented, it is expected to receive further discussion at WMS before continuing through the stakeholder process.
NERC Updates
Mark Henry, TRE
· FERC Order 901 Milestone 2 standards (PRC‑028‑1, PRC‑029‑1 and PRC‑030‑1) have been approved. 
· Project 2025‑05 Ride-through Revisions (PRC‑029‑2) narrowly missed passing its ballot; final filing remains targeted for August 28, 2026. 
· Milestone 3 standards associated with model verification (MOD‑026‑2 and MOD‑033‑3) and validation were approved by FERC in February 2026. 
· Project 2022‑02 Uniform Modeling Framework for IBRs continues with draft for MOD‑032‑2, TOP‑003‑8 and IRO‑010‑6.
· Project 2025‑04 Order 901 Planning Studies (TPL‑001‑6) achieved passing votes and quorum. 
· Project 2025‑03 Operational Studies did not achieve passing votes.
· Project 2022‑04 EMT Modeling remains under development; industry comments from the first ballot are under review. 
· Project 2023‑01 EOP‑004 IBR Event Reporting was approved and is headed to the NERC Board. The ERCOT reporting threshold for IBR disturbances increased from 500 MW to 800 MW. 
· NERC finalized the Category 2 GO/GOP registration initiative. Mark noted that 32 generators were registered in Texas RE and roughly 800 entities across NERC’s six Regions.
· IRPS activities include work on large-load EMT modeling, IBR commissioning best practices, equipment model validation, and interconnection study guidance. 


Other Industry Updates
Julia Matevosyan, ESIG
· France now requires grid-forming capability for newly interconnecting battery energy storage systems above specified thresholds effective May 2026.
· Mexico’s regulator CNE established grid-forming capability requirements for energy storage systems, with detailed technical specifications to be developed by CENACE.
· DOE i2X STITCH continues to focus on harmonization, standardization and automation of interconnection studies. The June 23rd meeting will focus on ERCOT and MISO study processes. 
· DOE i2X FIRST Season 3 launched on June 4 with a deep dive into PRC‑029 implementation and future sessions covering Milestone 4 projects, EMT modeling and IEEE 2800.2. 
· ESIG and Elevate Energy Consulting continue to provide DOE-funded i2X Technical Assistance Hours. Sign up here https://www.esig.energy/i2x-initiatives/#Office-Hours 
