## Slide 1: July PLWG Update
Mina Turner, PLWG Chair
July 9th , 2026

## Slide 2
PGRR 146 – Rename Quarterly Stability Assessment and Modify the Assessment Schedule
  ERCOT introduced the PGRR; Cycle will change from every four months to every three months.
  The complexity of the QSA studies have increased as well as the number of generators and now large load assessments are part of the QSA.
  There is a 45-day model submission deadline aligning with the generator requirements.
  ERCOT is looking to see if new technologies can help. In the past they have tried to add more resources and computing power to help with the QSA.
  Pattern commented that resource adequacy concerns and the decreased timeline could impact generation development.
  ERCOT commented revision needed as temporary measure to facilitate study progression while balancing objectives of the study.
  Southern Power reviewed comments and had minor edits. ERCOT to review and fix errors as suggested by Southern Power.
  ERCOT would like stakeholder input on the two options for the transition plan.
  PGRR moved to ROS for a vote with the Southern Power edits.

## Slide 3
PGRR 147 - Allowable Non-Consequential Load Loss Alignment -Rayburn County Electric Cooperative
  NERC mandates long lead time equipment availability as part of the TPL and ERCOTs current definition are more restrictive.
  NERC allows for non-consequential load loss and would like to align the ERCOT guidelines to match NERC TPL standards permitting more planning flexibility and operational practicality.
  Discussion about managing non-consequential load loss as an operational solution instead of immediate project planning.
  Oncor will reach out to Rayburn on alternative solutions and new language.
  PGRR tabled for another month.

## Slide 4
PGRR 122 – Reliability Performance Criteria for Loss of Load
  ERCOT presented the proposed criteria to address new reliability risks due to significant load loss and system wide stability concerns.
  Concerns over significant load growth and from recent VRT assessment identifying load groups at risk of large load loss.
  Discussion of activities since PGRR 122 was filed with the approval of PGRR 115 and NOGRR 282 addressing ride through concerns for large computational loads.
  Several assessments conducted that determine maximum load loss threshold at 3200 MW.
  Introduction of new section called maximum load loss criteria and framework to include transmission measures including a $200 million cap, and operational mitigations.
  Discussion at PLWG over potential solutions and the dollar cap as well as battery charging factoring into frequency issues.
  PGRR will remain tabled at PLWG while ERCOT engages stakeholder at PLWG and DWG

## Slide 5
PGRR 130 - Related to NPRR 1295, GTC Exit Solutions
  Sponsor suggested if NPRR language can be agreed upon then this PGRR can be withdrawn with focus on NPRR 1295
  Discussion regarding bottled up generation.
  ERCOT expressed concerns about the feasibility and vagueness of the additional language.
  Concerns from stakeholders regarding persistent GTC’s and slow mitigation process.
  PGRR tabled for another month.

## Slide 6
PGRR 140 – Related to NPRR1317, Creation of Non-Settled Generator (NSG) and Clarification of the Types, Usage, and Registration of Distributed Generation
  The PGRR was moved to ROS for vote in June.
  Brief discussion at PLWG regarding concerns raised by Vistra and the aim to prevent the NSG from exporting onto the grid.
  ERCOT is reviewing the comments internally and may potentially file comments on the NPRR or the PGRR or both.

## Slide 7
PGRR 142 – In-Kind Definition for Generation
  PGRR moved to ROS for vote and negotiations on going regarding language.
PGRR 144 – Dynamic Model Submission and Review Requirements for Large Loads Including Large Electronic Loads
  ERCOT provided an update regarding presentation made at LLWG the prior week.
  ERCOT adjusted the PGRR language and LLWG accepted the latest revision of the changes as well as the Data Center Coalition.
  PGRR144 moved to ROS for a vote.

## Slide 8
Tabled Items
PGRR 126- Related to NPRR 1284.
PGRR 124 - ESR Maintenance Exception to Modifications- Sponsor would like to continue to table while they have conversations with ERCOT.
Nominations for Vice Chair
Two candidates for Vice-Chair
  Kiran Kota with Infinium and Evan Neel with Lancium.
  PLWG requests two Vice-Chairs for the remainder of 2026 with the intention of one of the Vice-Chairs moving to Chair in 2027.

## Slide 9: Questions ?