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[bookmark: _Toc227660897]Report Highlights 
The unofficial ERCOT peak load for May 2026 was 77,822 MW and occurred on 05/29/2026 during hour ending 17:00, this is 577 MW higher than the May 2025 peak demand of 78,399 MW on 05/23/2025 hour ending 18:00.
On 15-minute settlement interval basis, maximum demand of 78,008 MW occurred on 5/29/2026 during interval ending 16:45 and minimum demand of 40,589 MW occurred on 5/02/2026 during interval ending 03:30.

There were 2 frequency events.
There were no events which required automatic/manual deployment of Load Resources that were controlled by an Under-Frequency Relays.
There were 0 OCNs.
There were 0 Advisories.
1 Watch – A transmission watch was issued due to storm damage in the Rio Grande Valley of Harlingen, Brownsville and South Padre Island area from 5/9/26 15:46 to 5/10/26 23:55.
There were 0 Emergency Notices.
There were 76 RUC commitments.
A PVGR Generation Record of 34,498 MW was set on 05/13/2026 at 12:43.
A PVGR Penetration Record of 72.74% was set on 05/02/2026 at 11:28.
A Wind Generation Record of 29,011 MW was set on 05/18/2026 at 00:01.
A Renewable Generation Record of 47,960 was set on 05/14/2026 at 15:20.
The following GTCs saw congestion in May: 
	GTC
	Days Congestion

	Nelson Sharpe - Rio Hondo
	21

	North Edinburg - Lobo
	19

	North - Houston
	18

	West Texas
	15

	South Texas Export Pawnee - Spruce
	14

	East Texas
	13

	Wharton
	12

	Panhandle
	11

	South Texas Export Pawnee - Tango
	11

	Valley Export
	9

	McCamey
	5

	Rio Grande Valley Import
	1

	Zapata Starr
	1

	South Texas Import Katoen - Lonhill
	1



[bookmark: _Toc227660898]Frequency Control
[bookmark: _Toc227660899]Frequency Events
2 Event (2 in previous month)
CPS1 = 184.80 %
CPS1 for same month last year = 181.08%
The ERCOT Interconnection experienced 2 frequency events.
A summary of the frequency events is provided below. The reported frequency events meet one of the following criteria: Delta Frequency is 60 mHz or greater; the MW loss is 350 MW or greater; resource trip event triggered ECRS deployment. Frequency events that have been identified as Frequency Measurable Events (FME) for purposes of BAL-001-TRE-2 analysis are highlighted in blue. When analyzing frequency events, ERCOT evaluates PMU data according to industry standards. Events with an oscillating frequency of less than 1 Hz are inter-area, while higher frequencies indicate local events. Industry standards specify that damping ratio for inter-area oscillations should be 3.0% or greater. For the frequency event listed below, the ERCOT system met these standards and transitioned well after the disturbance. In the case of negative delta frequency, the MW Loss column could refer to load loss.

	Date and Time
	Delta Frequency
	Max/Min Frequency
	[bookmark: RANGE!D1]Duration of Event
	[bookmark: RANGE!E1]PMU Data 
	MW Loss
	Load
	IRR
	Inertia

	
	[bookmark: RANGE!B2](Hz)
	(Hz)
	
	Oscillation Mode (Hz)
	Damping Ratio
	
	(MW)
	% 
	[bookmark: RANGE!J2](MW-s)

	5/20/2026 23:17:35
	0.063
	59.948
	00:04:06
	0.44
	16%
	780
	    54,420 
	15%
	  289,106 

	5/27/2026 0:29:39
	0.048
	59.954
	00:03:32
	0.77
	6%
	515
	    51,247 
	13%
	  277,347 



[bookmark: _Hlk221870743]
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[bookmark: _Toc90113254][bookmark: _Toc90367425](Note: All data on this graph encompasses frequency event analysis based on BAL-001-TRE-2.)
[bookmark: _Toc227660900]Automatic/Manual Load Resource Deployments
	Resource Location
	# of Resources
	Operating Day
	Total # of Hours Committed
	Total MWhs 
	Reason for Commitment
	MWs of ECRS Deployed 
	MWs of RRS Deployed 

	
	
	
	
	
	
	
	



There were no events which required automatic/manual deployment of Load Resources that were controlled by an Under-Frequency Relays.

[bookmark: _Toc227660901]Reliability Unit Commitment
ERCOT reports on Reliability Unit Commitments (RUC) monthly. Commitments are reported grouped by operating day and weather zone. The total number of hours committed is the sum of the hours for all the units in the specified region. Additional information on RUC commitments can be found on the MIS secure site at Grid  Generation  Reliability Unit Commitment.
There were 76 RUC commitments.
	Resource Location
	# of Resources
	Operating Day
	Total # of Hours Committed
	 Total MWhs 
	Reason for Commitment

	 EAST, NORTH, NORTH_CENTRAL 
	6
	May 2, 2026
	27
	         7,592.0 
	 Capacity 

	 COAST, NORTH_CENTRAL 
	6
	May 5, 2026
	44
	         4,829.5 
	 Capacity, DPHRCTR5, MKRWDHM5 

	 NORTH_CENTRAL 
	1
	May 6, 2026
	4
	         1,740.0 
	 Capacity 

	 NORTH_CENTRAL 
	1
	May 7, 2026
	4
	            956.0 
	 Capacity 

	 NORTH_CENTRAL 
	2
	May 8, 2026
	8
	         2,696.0 
	 Capacity 

	 NORTH_CENTRAL, SOUTHERN 
	7
	May 9, 2026
	36
	         8,088.0 
	 Capacity 

	 COAST, NORTH_CENTRAL 
	2
	May 11, 2026
	10
	         1,616.3 
	 Capacity 

	 COAST, EAST, NORTH, NORTH_CENTRAL 
	14
	May 12, 2026
	69
	       15,983.2 
	 Capacity 

	 EAST, NORTH_CENTRAL, SOUTH_CENTRAL 
	10
	May 13, 2026
	56
	       11,551.2 
	 Capacity, DCDHTVW5, DWAP_BI5, XCRD58 

	 NORTH, NORTH_CENTRAL 
	3
	May 14, 2026
	22
	         2,542.7 
	 MKRWDHM5, SHC2EXC5 

	 COAST, NORTH_CENTRAL 
	2
	May 19, 2026
	8
	         2,416.0 
	 Capacity 

	 NORTH_CENTRAL 
	1
	May 20, 2026
	4
	         1,740.0 
	 Capacity 

	 NORTH_CENTRAL 
	1
	May 21, 2026
	4
	         1,740.0 
	 Capacity 

	 NORTH_CENTRAL 
	3
	May 24, 2026
	12
	         4,264.0 
	 Capacity 

	 NORTH_CENTRAL 
	2
	May 25, 2026
	8
	         2,524.0 
	 Capacity 

	 COAST, EAST, NORTH_CENTRAL 
	5
	May 26, 2026
	32
	         3,754.1 
	 Capacity 

	 NORTH_CENTRAL, SOUTHERN 
	5
	May 27, 2026
	30
	         2,586.0 
	 Capacity 

	 NORTH_CENTRAL 
	5
	May 28, 2026
	32
	         1,752.0 
	 Capacity 





[bookmark: _Toc227660902]IRR, Wind, and Solar Generation as a Percent of Load
[bookmark: _Hlk83634375]The graph below shows the maximum, minimum and average aggregate solar, wind and IRR output as a percentage of total ERCOT load when evaluated as 10-minute averaged intervals, over the past 13 months. Current wind and solar generation and penetration records are listed in the footnote below[footnoteRef:2]. Maximum IRR penetration for May 2026 was 85.07% on 5/04/2026 interval ending 09:40 and minimum IRR penetration for May 2026 was 6.57% on 5/27/2026 interval ending 20:30. [2:  Current Wind Generation Record: 29,011 MW on 05/18/2026 at 00:01 | Current Wind Penetration Record: 69.15% on 04/10/2022 at 01:43
  Current Solar Generation Record: 33,981 MW on 05/13/2026 at 12:43 | Current Solar Penetration Record: 72.74% on 05/02/2026 at 11:28] 


[image: ]

During the hour of peak load for the month, hourly integrated wind generation was 16,587 MW and solar generation was 23,881 MW. The graph below shows the wind and solar penetration percentage during the hour of the peak load in the last 13 months.

    [image: ]

Lastly, the graph below shows the minimum wind, solar, and IRR output during the peak load hour as a percentage of the daily peak load for every day in the month.

[image: ]


[bookmark: _Toc227660903][bookmark: _Hlk80277108][bookmark: _Hlk130892461]Largest Net-Load Ramps
The net-load ramp is defined as the change in net-load (load minus wind and PVGR generation) during the defined time horizon. Such a variation in net-load needs to be accommodated in grid operations to ensure that the reliability of the grid is satisfactorily maintained. The largest net-load ramps over 5-minute, 10-minute, 15-minute, 30-minute, and 60-minute intervals in May 2026 were 2,438 MW, 3,901 MW, 4,825 MW, 9,111 MW, and 16,825 MW respectively. A comparison with historical values is provided in the table below.
	Month and Year
	5 min
	10 min
	15 min
	30 min
	60 min

	15-May
	1156 MW
	1770 MW
	2088 MW
	3242 MW
	5318 MW

	16-May
	871 MW
	1324 MW
	1804 MW
	2945 MW
	4897 MW

	17-May
	1109 MW
	1422 MW
	1883 MW
	3149 MW
	5348 MW

	18-May
	1173 MW
	1330 MW
	1845 MW
	3382 MW
	6508 MW

	19-May
	1066 MW
	1767 MW
	2483 MW
	4227 MW
	5146 MW

	20-May
	988 MW
	1529 MW
	1852 MW
	3104 MW
	5757 MW

	21-May
	1414 MW
	1664 MW
	1967 MW
	2874 MW
	4860 MW

	22-May
	1,647 MW
	1,663 MW
	2,154 MW
	4,140 MW
	7,012 MW

	23-May
	986 MW
	1,590 MW
	2,191 MW
	3,670 MW
	5,981 MW

	24-May
	1,771 MW
	2,318 MW
	3,153 MW
	4,974 MW
	8,686 MW

	25-May
	3,797 MW
	3,562 MW
	3,985 MW
	6,901 MW
	12,067 MW

	
	5/28/2025
	5/28/2025
	5/9/2025
	5/9/2025
	5/9/2025

	
	(IE 10:27)
	(IE 10:27)
	(IE 19:20)
	(IE 19:31)
	(IE 19:45)

	
26-May

	2,438 MW
	3,901 MW
	4,825 MW
	9,111 MW
	16,825 MW

	
	5/3/2026
	5/3/2026
	5/3/2026
	5/2/2026
	5/2/2026

	
	(IE 18:39)
	(IE 18:40)
	(IE 18:48)
	(IE 19:27)
	(IE 19:26)

	All Months in
2014-2026

	3,797 MW
	3,901 MW
	4,825 MW
	9,111 MW
	16,825 MW

	
	5/28/2025
	5/3/2026
	5/3/2026
	5/2/2026
	5/2/2026

	
	(IE 10:27)
	(IE 18:40)
	(IE 18:48)
	(IE 19:27)
	(IE 19:26)







[bookmark: _Toc227660904]Congestion Analysis
[bookmark: _Toc227660905]Notable Constraints
294 reportable events (303 last month)
1096 total congestion events (1128 last month, 1229 two months ago)
[bookmark: _Hlk92804220]Nodal protocol section 3.20 specifies that ERCOT shall identify transmission constraints that are binding in Real-Time three or more Operating Days within a calendar month. As part of this process, ERCOT reports congestion that meets this criterion to ROS. In addition, ERCOT also highlights notable constraints that have an estimated congestion rent exceeding $1,000,000 for a calendar month. These constraints are detailed in the table below, including approved transmission upgrades from TPIT that may provide some congestion relief based on ERCOT’s engineering judgement. Rows highlighted in blue indicate the congestion was affected by one or more outages. For a list of all constraints activated in SCED, please see Appendix A at the end of this report.

	Data Item1
	Contingency Name
	Overloaded Element
	Contingency Name
	Overloaded Element
	# of Days Constraint Binding
	Congestion Rent
	Transmission Project

	
	
	
	
	
	
	
	
	

	n/a_n/a_WESTEX
	BASE CASE
	WESTEX
	Basecase
	WESTEX GTC
	13
	$24,980,858.69
	Permian Basin Relibility Plan (765-kV import paths) (The PUCT approved ,helps improve, but not fully exit, the GTC yet.)
	

	MGSES_CATSW_6945__A
	SRGRMGS5
	6945__A
	MORGAN CREEK SES to RANGER CAMP SWITCH LIN _A
	Morgan Creek Ses - Cattleman Switch 345kV
	14
	$15,252,131.85
	West Texas 345-kV Infrastructure Rebuild Project (23RPG034)
	

	LA_PALMA_VCAVAZOS_LA_PAL_VCAVAZ1_1
	SMV_PAR8
	LA_PAL_VCAVAZ1_1
	CENTRAL AVENUE SUB to CENTRAL AVENUE SUB LIN 1
	La Palma - Villa Cavazos 138kV
	1
	$9,254,181.84
	 
	

	RIOHONDO_MV_RIOHO_RIOHND_ERIOHND_1
	MLAPVCA8
	RIOHND_ERIOHND_1
	manual La Palma to Villa Cavazos
	Rio Hondo - East Rio Hondo Sub 138kV
	1
	$6,772,332.43
	 
	

	LNGSW_PRLSW_6965__A
	DBAKCED5
	6965__A
	BAKESW-CEDACA 345kV & BAKESW-CEDACA 345kV
	Longshore Switch - Prairieland Switch 345kV
	16
	$6,424,601.03
	Oncor_FW_81268_Longshore – Consavvy 345 kV Double-Circuit Line Rebuild (MOD 81268, 23RPG034)
	

	STP_WAP_STPWAP39_1
	DWPWFWP5
	STPWAP39_1
	TWR(345) WAP-WLF64 & WAP-WLY72
	South Texas Project - Wa Parish 345kV
	14
	$5,885,974.55
	 
	

	HHGT_OMEGA_HHGTOM_1
	BASE CASE
	HHGTOM_1
	Basecase
	Omega - Horse Hollow Generation Tie 345kV
	11
	$3,615,735.67
	 
	

	CMNSW_CMNTP_651__B
	SCMNCPS5
	651__B
	COMANCHE SWITCH (Oncor) to COMANCHE PEAK SES LIN _A
	Comanche Tap - Comanche Switch (Oncor) 138kV
	11
	$3,512,611.74
	 
	

	NLARSW_PILONCIL_NLARSW_PILONC1_1
	DFOAVLO5
	NLARSW_PILONC1_1
	FOWLERTON to LOBO & AVANZADA
	North Laredo Switch - Piloncillo 138kV
	20
	$3,470,841.66
	 
	

	FORTMA_YELWJCKT_FORTMA_YELWJC1_1
	DBIGKEN5
	FORTMA_YELWJC1_1
	Bighil-Kendal 345kV
	Yellow Jacket - Fort Mason 138kV
	13
	$3,294,022.32
	 
	

	ADK_ADK_ADK_AT1
	XTH158
	ADK_AT1
	TH WHARTON TRX THW_AT3 345/138
	Addicks 138kV
	1
	$3,142,420.55
	 
	

	WHITE_PT_WHITE_PT_WHITE_PT_T3L
	SANGNAI5
	WHITE_PT_T3L
	Angstrom to NAISMITH LIN 1
	Whitepoint 138kV
	1
	$3,082,040.96
	 
	

	BCKSW_CGRSW_6215__A
	DSCOTKW5
	6215__A
	SCOSW TO TKWSW 345 DBLCKT
	Bluff Creek Switch - China Grove Switch 138kV
	12
	$2,909,154.78
	 
	

	MDO_PHR_MDOPHR99_A
	DWAP_OB5
	MDOPHR99_A
	TWR (345) OB-WAP98 & OB-WAP99
	Meadow - Ph Robinson 345kV
	15
	$2,826,775.21
	CNP_28TPIT103344_PH_Robinson_to_WA_Parish_Hardening (MOD 103344 Phase 103435, 25RPG028)
	

	SCRCV_KNAPP_6437__F
	DMTSCOS5
	6437__F
	DMTSW TO SCOSW 345 DBLCKT
	Knapp - Scurry Chevron 138kV
	18
	$2,705,929.83
	Oncor_FW_102849_Union 138 kV Switch (MOD 102849)
	

	BCESW_SNDSW_421__A
	SSNDBGR5
	421__A
	SANDOW SWITCH to BADGER SWITCH LIN _A
	Sandow Switch - Bell County East Switch 345kV
	10
	$2,703,273.07
	 
	

	HCKSW_EXCSW_107__B
	SHC2EXC5
	107__B
	HICKS SWITCH to EXCHANGE SWITCH LIN _C
	Hicks Switch - Exchange Switch 345kV
	3
	$2,578,201.34
	 
	

	ODEHV_ODEHV_ODEHV_MR1H
	DODEMOS5
	ODEHV_MR1H
	ODEHV-MOSSW 345&ODEHV-WLFSW 345_DBLCKT
	Odessa Ehv Switch 345kV
	2
	$2,443,478.09
	 
	

	BRTSW_JUNPR_12020__B
	DLONPK25
	12020__B
	DBL_PKRSW-GRSES_PKRSW-LONSW_345KV
	Barton Chapel Wind Farm - Juniper Sub 138kV
	13
	$2,365,762.50
	 
	

	MDO_PHR_MDOPHR99_A
	DPHRCTR5
	MDOPHR99_A
	Ctr-Phr&Cby 345kV
	Meadow - Ph Robinson 345kV
	12
	$2,268,467.35
	CNP_28TPIT103344_PH_Robinson_to_WA_Parish_Hardening (MOD 103344 Phase 103435, 25RPG028)
	

	LPLMK_LPLNE_LPLMK_LPLNE_1
	SBWDDBM5
	LPLMK_LPLNE_1
	BLACKWATER DRAW SWITCH to DOUBLE MOUNTAIN SWITCH LIN 1
	Mackenzie Substation - Northeast Substation 115kV
	11
	$2,204,340.41
	 
	

	GN_PZ_GN_PZ_08_A
	SMDOOAS5
	GN_PZ_08_A
	MEADOW to OASIS LIN A
	Grant - Plaza 138kV
	9
	$2,165,116.44
	 
	

	SAMSW_VENSW_35055__A
	DTCRTHS5
	35055__A
	THSES TO FBRSW & TCRSW 345 DBLCKT
	Sam Switch - Venus Switch 345kV
	5
	$2,144,780.71
	 
	

	GRSES_GRMES_6375__A
	DLONPK25
	6375__A
	DBL_PKRSW-GRSES_PKRSW-LONSW_345KV
	Graham Ses - Graham East 138kV
	5
	$2,132,286.99
	 
	

	WLY_WAP_WAPWLY72_A
	DBLW2JC5
	WAPWLY72_A
	TWR (345) JCK-WAT62 & BLY-JCK57
	Wa Parish - Whaley 345kV
	17
	$2,078,481.88
	 
	

	n/a_n/a_NELRIO
	BASE CASE
	NELRIO
	Basecase
	NELRIO GTC
	19
	$2,051,627.71
	The Lower Rio Grande Valley (LRGV) System Enhancement Project (21RPG017) 
	

	JN_BI_BI_JN_64_A
	DWAP_BI5
	BI_JN_64_A
	TWR (345) WAP-BI50 & SMITHERS-BI98
	Bellaire - Jeanetta 345kV
	7
	$1,771,892.86
	 
	

	KLNSW_HHSTH_630__B
	DSALKLN5
	630__B
	SALSW TO KLNSW 345 DBLCKT
	Harker Heights South - Killeen Switch 138kV
	7
	$1,690,238.63
	ONCOR_SE_87699_Belton - Killeen 138 kV_Line (MOD 87699, 24RPG001)
	

	SALDS_SONTERRA_1710__A
	DSALHUT5
	1710__A
	SALSW - HUTTO 345KV
	Salado South - Sonterra 138kV
	8
	$1,628,652.04
	 
	

	LA_PALMA_VCAVAZOS_LA_PAL_VCAVAZ1_1
	BASE CASE
	LA_PAL_VCAVAZ1_1
	Basecase
	La Palma - Villa Cavazos 138kV
	1
	$1,561,700.93
	 
	

	LA_PALMA_VCAVAZOS_LA_PAL_VCAVAZ1_1
	DL_FBR89
	LA_PAL_VCAVAZ1_1
	L_FRESNO - LOMA_ALT (138) & LA_PALMA - BROWNSVL (69)
	La Palma - Villa Cavazos 138kV
	3
	$1,478,061.10
	 
	

	TREADWEL_YELWJCKT_TREADW_YELWJC1_1
	DBIGKEN5
	TREADW_YELWJC1_1
	Bighil-Kendal 345kV
	Yellow Jacket - Treadwell 138kV
	5
	$1,408,067.89
	 
	

	HARLNSW_OLEANDER_HARLNS_OLEAND1_1
	MTGULAP5
	HARLNS_OLEAND1_1
	manual GULCH-LA_PALMA 345 temp
	Oleander - Harlingen Switch 138kV
	3
	$1,365,563.92
	 
	

	n/a_n/a_NE_LOB
	BASE CASE
	NE_LOB
	Basecase
	NE_LOB GTC
	12
	$1,348,083.94
	San Antonio South Reliability I Project (22RPG048)
LRGV Transmission Improvement Project (21RPG017)
San Antonio South Reliability II Project (23RPG032)
	

	LAKENASW_SAMATHIS_LAKENA_SAMATH1_1
	DBAKCED5
	LAKENA_SAMATH1_1
	BAKESW-CEDACA 345kV & BAKESW-CEDACA 345kV
	Lake Nasworthy - San Angelo Mathis Field 69kV
	13
	$1,217,029.89
	 
	

	SAMSW_VENSW_35055__A
	SVENFTS5
	35055__A
	FORT SMITH SWITCH to FORT SMITH SWITCH LIN _B
	Sam Switch - Venus Switch 345kV
	5
	$1,134,606.64
	 
	

	n/a_n/a_EASTEX
	BASE CASE
	EASTEX
	Basecase
	EASTEX GTC
	13
	$1,027,408.19
	 
	

	ALAZAN_B_DAVIS_ALAZAN_B_DAVI1_1
	SN_SLON5
	ALAZAN_B_DAVI1_1
	LON HILL to NELSON SHARPE LIN 1
	Barney Davis - Alazan 138kV
	7
	$1,021,417.42
	 
	

	BOW_BOW_BOW_FMR1
	DRILKRW5
	BOW_FMR1
	RILEY TO KRWSW 345 DBLCKT
	Bowie 138kV
	5
	$994,964.40
	 
	

	YELWJCKT_FORTMA_FORTMA_YELWJC1_1
	SBIGOR55
	FORTMA_YELWJC1_1
	Big HiLL to ORSTED LIN 1
	Yellow Jacket - Fort Mason 138kV
	9
	$933,413.02
	 
	

	ZEN_THW_THWZEN71_A
	DRNS_TB5
	THWZEN71_A
	Rns-Rtw & Sng-Tb 345kV
	Th Wharton - Zenith 345kV
	11
	$752,835.84
	 
	

	CRDSW_OLNEY_6830__B
	SGRMGRS8
	6830__B
	GRAHAM EAST to GRAHAM EAST LIN _A
	Cottonwood Road Switch - Olney Pod 69kV
	10
	$673,462.03
	 
	

	MV_HBRG4_MV_WESL4_WESLCO_HIDLBRG_1
	MHARNED5
	WESLCO_HIDLBRG_1
	Manual dbl ckt for NEDIN-BONILLA 345kV & RIOH-PRIM138kV
	Heidelburg Sub - Weslaco Sub 138kV
	6
	$624,590.10
	 
	

	WLY_WAP_WAPWLY72_A
	DOASSEB5
	WAPWLY72_A
	TWR(345) DOW-OAS 18 & OAS-SEB 27
	Wa Parish - Whaley 345kV
	6
	$616,777.05
	 
	

	TYPRK_PLYAM_6200__F
	DCDHTVW5
	6200__F
	TVWSW TO CDHSW 345 AND CDHSW TO VENSW 345 DBLCKT
	Poly-America - Tyre Park Sub 138kV
	3
	$612,707.27
	 
	

	NORTMC_CROSSOVE_CROSSO_NORTMC1_1
	DBIGSCH5
	CROSSO_NORTMC1_1
	Big Hill - Schneeman Draw & Big Hill - Schneeman Draw 2
	North Mccamey - Crossover 138kV
	5
	$573,570.62
	 
	

	SEA_SEA_SEA_AAT1
	DFRYTM58
	SEA_AAT1
	DOUBLE FRYSW-TMPSW 138 & KNBSW-SALSW 345
	Seaton 138kV
	4
	$544,289.04
	 
	

	ARGYL_LWSVH_587__A
	MRNKDHM5
	587__A
	MANUAL RNKSW TO DHMSW 345&KRWSW TO DHMSW 345 DBLCKT
	Argyle - Highlands Tnp 138kV
	5
	$517,778.82
	 
	

	PALOUSE_WOLFCAMP_PALOUS_WOLFCA1_1
	DBIGSCH5
	PALOUS_WOLFCA1_1
	Big Hill - Schneeman Draw & Big Hill - Schneeman Draw 2
	Palouse - Wolfcamp 138kV
	9
	$507,181.05
	 
	

	ESCONDID_GANSO_ESCOND_GANSO1_1
	SBRAHAM8
	ESCOND_GANSO1_1
	BRACKETTVILLE to HAMILTON ROAD LIN 1
	Escondido - Ganso 138kV
	6
	$488,968.29
	Escondido to Hamilton Road 138 kV Line Rebuild Project (22RPG044)
	

	NUECES_B_WHITE_PT_NUECES_WHITE_2_1
	SMAYWHI8
	NUECES_WHITE_2_1
	GILA to MAYO LIN 1
	Nueces Bay - Whitepoint 138kV
	13
	$463,546.86
	 
	

	n/a_n/a_WHARTN
	BASE CASE
	WHARTN
	Basecase
	WHARTN GTC
	8
	$436,560.03
	 
	

	BERGHE_BERGHE_BERGHE_AT1H
	DZORHAY5
	BERGHE_AT1H
	ZORN - HAYSEN 345KV
	Bergheim 345kV
	4
	$425,596.72
	 
	

	FMRVL_RYSSW_400__A
	SFMRRYS5
	400__A
	Farmersville Switch to Farmersville Switch LIN _A
	Royse Switch - Farmersville Switch 345kV
	11
	$422,738.46
	ONCOR_MNE_99066_Royse Switch – Farmersville Switch 345 kV Double-Circuit Line (MOD 99066, 25RPG004)
	

	HECKER_RESNIK_HECKER_RESNIK1_1
	DMCDUPS8
	HECKER_RESNIK1_1
	MCCAMPBE - RESNIK & I_DUPSW 138kV
	Hecker - Resnik 138kV
	7
	$403,033.00
	Rebuild the Hecker to Resnik 138 kV line  76286
	

	ZEN_THW_THWZEN71_A
	SZENTH35
	THWZEN71_A
	TH WHARTON to Zenith LIN A
	Th Wharton - Zenith 345kV
	3
	$385,538.35
	 
	

	DILLEYSW_DILLEYSW_DILLEYSW_XF1H
	DDILCOT8
	DILLEYSW_XF1H
	Dilleysw-Sanmgsw&Cotulas 138kV
	Dilley Switch Aep 138kV
	10
	$350,269.32
	 
	

	SGRSW_JEWET_235__A
	DVENFTS5
	235__A
	VENSW-FTSSW & VENSW-SAMSW 345 DBLCKT
	Jewett - Stranger Switch 345kV
	4
	$348,545.52
	 
	

	CRDSW_OLNEY_6830__B
	DGRMGRS8
	6830__B
	FIREROCK TO BRNWD 138 AND FIREROCK TO BANGS 69 DBLCKT
	Cottonwood Road Switch - Olney Pod 69kV
	9
	$333,421.68
	 
	

	BRUNI_BRUNI_BRUNI_69_1
	DFOAVLO5
	BRUNI_69_1
	FOWLERTON to LOBO & AVANZADA
	Bruni Sub 138kV
	4
	$313,645.23
	 
	

	BALLINGE_HUMBLTAP_BALLIN_HUMBLT1_1
	SCOLBAL8
	BALLIN_HUMBLT1_1
	BALLINGER to COLEMAN LAKE IVIE TAP LIN 1
	Ballinger - Ballinger Humble Tap 69kV
	6
	$305,371.81
	 
	

	HAMILTON_MAVERICK_HAMILT_MAVERI1_1
	SBRAPIN8
	HAMILT_MAVERI1_1
	BRACKETTVILLE to BRACKETTVILLE LIN 1
	Hamilton Road - Maverick 138kV
	15
	$259,991.98
	 
	

	THW_NB_NB_THW97_A
	DRNS_TB5
	NB_THW97_A
	Rns-Rtw & Sng-Tb 345kV
	North Belt - Th Wharton 345kV
	8
	$257,729.92
	 
	

	WOLFCAMP_SANTARIT_SANTAR_WOLFCA1_1
	DBIGSCH5
	SANTAR_WOLFCA1_1
	Big Hill - Schneeman Draw & Big Hill - Schneeman Draw 2
	Santa Rita - Wolfcamp 138kV
	6
	$249,647.26
	 
	

	DPREA_RCSES_1561__A
	XPRS58
	1561__A
	PARIS SWITCH TRX PRSSW_3_1 345/138
	Rivercrest Ses - Deport Rea 138kV
	5
	$246,920.22
	 
	

	ARGYL_LWSVH_587__A
	MDHMLWS5
	587__A
	MANUAL DHMSW TO LWSSW 345 DBLCKT
	Argyle - Highlands Tnp 138kV
	3
	$233,662.87
	 
	

	BLESSING_BLESSING_BLESSING_1382
	DSTPREF5
	BLESSING_1382
	TWR(345) JCK-REF27 & JCK-STP18
	Blessing 345kV
	5
	$232,424.48
	 
	

	HONDOCK_DEVINESW_HON_DEVI_1
	SHONF38
	HON_DEVI_1
	HONDO to HONDO CREEK SWITCHING STATION LIN 1
	Hondo Creek Switching Station - Devine Switch 69kV
	10
	$227,330.22
	 
	

	WLVSW_GAILS_6217__A
	SVEAW_L5
	6217__A
	wett_long_draw to VEALMOOR - Sharyland Utilities LIN 1
	Willow Valley Switch - Gail Sub 138kV
	8
	$222,443.98
	 
	

	SONR_ATSO_ATSO_SONR1_1
	SCARFRI8
	ATSO_SONR1_1
	Carver to Carver LIN 1
	Atlantic Sonora - Sonora 69kV
	6
	$211,363.00
	 
	

	ELKTN_ELKTN_ELKTN_MR3H
	DMLSENT5
	ELKTN_MR3H
	MARTIN LAKE - SCSES and - ENTERPRISE
	Elkton 345kV
	4
	$208,060.35
	 
	

	FORTMA_YELWJCKT_FORTMA_YELWJC1_1
	SBIGOR55
	FORTMA_YELWJC1_1
	Big HiLL to ORSTED LIN 1
	Yellow Jacket - Fort Mason 138kV
	9
	$199,461.71
	 
	

	MEXTP_ITALY_2270__B
	SBLURDH8
	2270__B
	BLUM to RED HILL SWITCH LIN _G
	Milford Exxon Tap - Italy 69kV
	7
	$199,378.21
	 
	

	MDO_PHR_MDOPHR99_A
	DKG_NB_5
	MDOPHR99_A
	TWR(345) JOR-KG97 & JOR-NB99
	Meadow - Ph Robinson 345kV
	6
	$199,024.82
	CNP_28TPIT103344_PH_Robinson_to_WA_Parish_Hardening (MOD 103344 Phase 103435, 25RPG028)
	

	LOBO_LARDVNTH_LARDVN_LOBO2_1
	SLARDUS8
	LARDVN_LOBO2_1
	Dust Devil to Dust Devil LIN 1
	Lobo - Laredo Vft North 138kV
	6
	$194,838.49
	 
	

	MADDUX_TREADWEL_MADDUX_TREADW1_1
	DBIGKEN5
	MADDUX_TREADW1_1
	Bighil-Kendal 345kV
	Maddux - Treadwell 138kV
	4
	$190,049.70
	 
	

	FLTSW_PRSSW_1545__A
	SPRSPAR8
	1545__A
	PARIS SWITCH to PARIS LIN _A
	Paris Switch - Flying Tiger Switch 138kV
	9
	$166,796.28
	 
	

	LNGSW_PRLSW_6965__A
	MCATPRL5
	6965__A
	MAN_SGL_CATSW-PRLSW_345KV
	Longshore Switch - Prairieland Switch 345kV
	4
	$165,621.36
	Oncor_FW_81268_Longshore – Consavvy 345 kV Double-Circuit Line Rebuild (MOD 81268, 23RPG034)
	

	SACRC_DPCRK_6240__C
	DMTSCOS5
	6240__C
	DMTSW TO SCOSW 345 DBLCKT
	Sacroc - Deep Creek Sub 138kV
	3
	$165,501.40
	 
	

	BLESSING_BLESSING_BLESSING_1382
	DSTPSTA5
	BLESSING_1382
	Double STP to HLJ & Static 345 KV
	Blessing 345kV
	6
	$148,867.00
	 
	

	n/a_n/a_E_PASP
	BASE CASE
	E_PASP
	Basecase
	E_PASP GTC
	8
	$148,767.03
	San Antonio South Reliability I Project , 22RPG048
LRGV Transmission Improvement Project (21RPG017)
San Antonio South Reliability II Project (23RPG032)
	

	TWINBU_HARGROVE_HARGRO_TWINBU1_1
	DBAKCED5
	HARGRO_TWINBU1_1
	BAKESW-CEDACA 345kV & BAKESW-CEDACA 345kV
	Hargrove - Twin Buttes 138kV
	6
	$147,436.69
	 
	

	FRONTERA_S_MISSIN_BENTS_FRTER_1B_1
	SSHAFRO8
	BENTS_FRTER_1B_1
	FRONTERA to SHARYLAND LIN 1
	Frontera - South Mission 138kV
	12
	$144,720.98
	 
	

	FOWLRTON_TILDEN_FWLRTN_TILDEN_1
	DFOWSMG5
	FWLRTN_TILDEN_1
	FOWLRTON TO SAN MIGUEL DOUBLE CIRCUIT CONTINGENCY
	Fowlerton - Tilden 138 Sub 138kV
	4
	$144,053.37
	 
	

	YELWJCKT_FORTMA_FORTMA_YELWJC1_1
	DBIGKEN5
	FORTMA_YELWJC1_1
	Bighil-Kendal 345kV
	Yellow Jacket - Fort Mason 138kV
	13
	$143,559.57
	 
	

	COLETO_VICTORIA_COLETO_VICTOR2_1
	DVICVI89
	COLETO_VICTOR2_1
	VICTORIA - FANNIN 69 & COLETO - VICTORIA 1 138
	Coleto Creek - Victoria 138kV
	4
	$134,337.89
	 
	

	PALOUSE_CROSSOVE_CROSSO_PALOUS1_1
	DBAKCED5
	CROSSO_PALOUS1_1
	BAKESW-CEDACA 345kV & BAKESW-CEDACA 345kV
	Crossover - Palouse 138kV
	5
	$112,500.61
	 
	

	ELKTN_ELKTN_ELKTN_MR3L
	DMLSENT5
	ELKTN_MR3L
	MARTIN LAKE - SCSES and - ENTERPRISE
	Elkton 138kV
	3
	$107,124.05
	 
	

	BOW_BOW_BOW_FMR1
	SLKAWFS8
	BOW_FMR1
	ALVORD TAP to ALVORD TAP LIN _F
	Bowie 138kV
	5
	$106,185.56
	 
	

	HAMILTON_MAVERICK_HAMILT_MAVERI1_1
	SBRAHAM8
	HAMILT_MAVERI1_1
	BRACKETTVILLE to HAMILTON ROAD LIN 1
	Hamilton Road - Maverick 138kV
	6
	$103,156.69
	 
	

	FROWS_MCLSW_1025__B
	SMCLWNE8
	1025__B
	MCLANE SWITCH to WACO NORTHEAST TAP LIN _A
	Mclane Switch - Frow Sub 138kV
	3
	$93,310.17
	 
	

	KNBSW_TMPSW_270__A
	DSALHUT5
	270__A
	SALSW - HUTTO 345KV
	Temple Switch - Knob Creek Switch 345kV
	5
	$91,896.41
	 
	

	ASHERTON_CATARINA_ASHERT_CATARI1_1
	DLOFOAV5
	ASHERT_CATARI1_1
	Double LOBO - FOWLERTON & AVANZADA
	Asherton - Catarina 138kV
	5
	$91,349.46
	 
	

	BIG_FOOT_PLEASANT_BIG_FO_PLEASA1_1
	SHONMOO8
	BIG_FO_PLEASA1_1
	MOORE SWITCHING STATION to HONDO CREEK SWITCHING STATION LIN 1
	Big Foot - Pleasanton 138kV
	7
	$80,560.44
	 
	

	COLETO_VICTORIA_COLETO_VICTOR2_1
	SVICCO28
	COLETO_VICTOR2_1
	COLETO CREEK to VICTORIA LIN 1
	Coleto Creek - Victoria 138kV
	4
	$78,050.94
	 
	

	ENWSW_TMPTN_940__A
	SENWSHK8
	940__A
	ENNIS WEST SWITCH to ENNIS WEST SWITCH LIN _B
	Ennis West Switch - Templeton 138kV
	3
	$77,302.65
	 
	

	SNYDR_AMOTP_6695__B
	SSNYCGR8
	6695__B
	SNYDER to CHINA GROVE SWITCH LIN _A
	Amoco Tap - Snyder 69kV
	4
	$77,198.12
	 
	

	FROWS_MCLSW_1025__B
	SELMTH25
	1025__B
	ELM MOTT to ELM MOTT LIN _A
	Mclane Switch - Frow Sub 138kV
	6
	$76,601.49
	 
	

	TMPSW_FRYSW_1715__B
	DSALHUT5
	1715__B
	SALSW - HUTTO 345KV
	Temple Switch - Fryers Creek 138kV
	4
	$70,443.39
	 
	

	NVKSW_ANARN_6840__B
	SRICGRS8
	6840__B
	GRAHAM SES to RICE SWITCH LIN _A
	Anarene - Navy Kickapoo Switch 69kV
	8
	$67,657.79
	 
	

	SSPSW_LBRPD_690__C
	DCSHSSP5
	690__C
	CSHSW-SSPSW 345&ALNSW-SCRSW 345 DBLCKT
	Sulphur Springs Switch - Liberty Pod (Oncor) 138kV
	5
	$66,240.04
	 
	

	n/a_n/a_VALEXP
	BASE CASE
	VALEXP
	Basecase
	VALEXP GTC
	5
	$61,520.31
	 
	

	CATARINA_ASHERTON_ASHERT_CATARI1_1
	DFOAVLO5
	ASHERT_CATARI1_1
	FOWLERTON to LOBO & AVANZADA
	Asherton - Catarina 138kV
	3
	$60,441.63
	 
	

	ENWSW_TMPTN_940__A
	SPEBTRU8
	940__A
	GAMMA to GAMMA LIN _D
	Ennis West Switch - Templeton 138kV
	7
	$58,095.87
	 
	

	NORTMC_CROSSOVE_CROSSO_NORTMC1_1
	SBAKNOR5
	CROSSO_NORTMC1_1
	BAKERSFIELD SWITCHYARD to NORTH McCAMEY LIN 1
	North Mccamey - Crossover 138kV
	3
	$54,538.22
	 
	

	SOLSTICE_SOLSTICE_SOLSTICE_PST1
	DBAKSOL5
	SOLSTICE_PST1
	Bakersfield - Solstice line 1 and 2
	Solstice 138kV
	3
	$53,488.34
	 
	

	SAPOWER_MADDUX_MADDUX_SAPOWE1_1
	SMA2SAP8
	MADDUX_SAPOWE1_1
	MADDUX to SAN ANGELO POWER STATION LIN 1
	Maddux - San Angelo Power Station 138kV
	5
	$51,995.26
	 
	

	FURHMAN_RAYBURN_RAYBUR_FURHMAN_1
	SFURVAN8
	RAYBUR_FURHMAN_1
	FURHMAN to VANDERBILT SWITCHING STATION LIN 1
	Sam Rayburn Switchyd - Furhman 138kV
	21
	$47,204.09
	 
	

	RS_FB_FB_RS_60_A
	MATHEB_8
	FB_RS_60_A
	MANUAL ATHENA TO EAST BERNARD LIN A
	Fort Bend - Rosenberg 138kV
	3
	$45,014.51
	 
	

	MV_BURNS_MV_HBRG4_BURNS_HEIDLBRG_1
	MHARNED5
	BURNS_HEIDLBRG_1
	Manual dbl ckt for NEDIN-BONILLA 345kV & RIOH-PRIM138kV
	Burns Sub - Heidelburg Sub 138kV
	4
	$40,466.89
	STEC_71926_Burns_Heidelberg_Upgrade (MOD 71926)
	

	BNDVS_ELMGROVE_BEN_ELMG_1
	SWALWLN8
	BEN_ELMG_1
	WALLACE SWITCH to WALLACE SWITCH LIN 1
	Ben Davis - Elmgrove 138kV
	12
	$36,496.63
	 
	

	FMRVL_RYSSW_381__A
	SFMRRY25
	381__A
	Farmersville Switch to ROYSE SWITCH LIN _A
	Farmersville Switch - Royse Switch 345kV
	3
	$34,589.42
	 
	

	TNFXTAIL_FLAT_TOP_138_FLT_FXT_1
	DSLKSOL5
	138_FLT_FXT_1
	Sand Lake - Solstice line 1 and 2
	Foxtail Tnp - Flat Top Tnp 138kV
	4
	$22,969.07
	 
	

	DOWNIES_MOORE_2585_1
	DRAZSA89
	2585_1
	Double Circuit RAZORBAC to DRYFRIO 138 kV & UVALDE to SABINAL 69 kV
	Moore Switching Station - Downie Switching Station 138kV
	5
	$22,218.96
	 
	

	IH20_TNCOLIET_138_IH2_COT_1
	SSTAWIC8
	138_IH2_COT_1
	STAGHORN TNP to WICKETT TNP LIN 1
	Ih 20 Tnp - Collie Field Tap Tnp 138kV
	10
	$18,785.36
	 
	

	SACRC_DPCRK_6240__C
	SSUNRGR8
	6240__C
	SUN SWITCH to RANGER CAMP SWITCH LIN _B
	Sacroc - Deep Creek Sub 138kV
	4
	$15,199.56
	 
	

	FTST_LEONCRK_138_FTS_LNC_1
	BASE CASE
	138_FTS_LNC_1
	Basecase
	Leon Creek Tnp - Fort Stockton Plant 138kV
	10
	$15,116.91
	 
	

	HUBRD_HAN1_1210__B
	SBLURDH8
	1210__B
	BLUM to RED HILL SWITCH LIN _G
	Hubbard - Haney Bepc 138kV
	5
	$15,005.89
	 
	

	MAXWELL_HAMILTON_HAMILT_MAXWEL1_1
	SILLFTL8
	HAMILT_MAXWEL1_1
	FORT LANCASTER to FORT LANCASTER LIN 1
	Hamilton Road - Maxwell 138kV
	3
	$13,439.87
	 
	

	PILONCIL_NLARSW_NLARSW_PILONC1_1
	DLOFOAV5
	NLARSW_PILONC1_1
	Double LOBO - FOWLERTON & AVANZADA
	North Laredo Switch - Piloncillo 138kV
	3
	$12,937.79
	 
	

	n/a_n/a_PNHNDL
	BASE CASE
	PNHNDL
	Basecase
	PNHNDL GTC
	5
	$12,094.20
	 
	

	SNYDR_SNYDR_SNYDR_FMR1
	SSNYCGR8
	SNYDR_FMR1
	SNYDER to CHINA GROVE SWITCH LIN _A
	Snyder 138kV
	4
	$12,068.82
	 
	

	BRUNI_BRUNI_BRUNI_69_1
	SLAQLOB8
	BRUNI_69_1
	LAQUINTA to LOBO LIN 1
	Bruni Sub 138kV
	3
	$10,711.74
	 
	

	MAXWELL_WHITING_MAXWEL_WHITIN1_1
	SHAMMAX8
	MAXWEL_WHITIN1_1
	HAMILTON ROAD TRX PS2 138/138
	Maxwell - Whiting 138kV
	4
	$10,266.13
	 
	

	FRONTERA_S_MISSIN_BENTS_FRTER_1B_1
	SBENS_M8
	BENTS_FRTER_1B_1
	SOUTH MCALLEN to BENTSEN LIN 1
	Frontera - South Mission 138kV
	15
	$9,796.25
	 
	

	MADDUX_SAPOWER_MADDUX_SAPOWE1_1
	SMA2SAP8
	MADDUX_SAPOWE1_1
	MADDUX to SAN ANGELO POWER STATION LIN 1
	Maddux - San Angelo Power Station 138kV
	5
	$8,631.04
	 
	

	LA_PALMA_HAINE_DR_HAINE__LA_PAL1_1
	MHARNED5
	HAINE__LA_PAL1_1
	Manual dbl ckt for NEDIN-BONILLA 345kV & RIOH-PRIM138kV
	Haine Drive - La Palma 138kV
	3
	$8,498.84
	 
	

	CMNSW_CMNTP_651__B
	DBUCRGP5
	651__B
	MANUAL DOUBLE RGPSW - KLNSW 345 KV & BUCSW - KLNSW 345 KV
	Comanche Tap - Comanche Switch (Oncor) 138kV
	6
	$7,419.56
	 
	

	TNNALVIN_ALVIN_138_ALV_NAL_1
	SMDOPHR5
	138_ALV_NAL_1
	MEADOW to PH ROBINSON LIN A
	North Alvin Tnp - Alvin Tnp 138kV
	3
	$3,571.10
	 
	

	NEVADA_SABNCRKT_SABIN_NEVAD_1
	SWALWLN8
	SABIN_NEVAD_1
	WALLACE SWITCH to WALLACE SWITCH LIN 1
	Sabine Creek Tap - Nevada 138kV
	5
	$3,043.83
	 
	

	NLARSW_PILONCIL_NLARSW_PILONC1_1
	DLOFOAV5
	NLARSW_PILONC1_1
	Double LOBO - FOWLERTON & AVANZADA
	North Laredo Switch - Piloncillo 138kV
	3
	$56.59
	 
	



[bookmark: _Toc227660906][bookmark: _Hlk219801104]Generic Transmission Constraint Congestion
	GTC
	Days Congestion

	Nelson Sharpe - Rio Hondo
	21

	North Edinburg - Lobo
	19

	North - Houston
	18

	West Texas
	15

	South Texas Export Pawnee - Spruce
	14

	East Texas
	13

	Wharton
	12

	Panhandle
	11

	South Texas Export Pawnee - Tango
	11

	Valley Export
	9

	McCamey
	5

	Rio Grande Valley Import
	1

	Zapata Starr
	1

	South Texas Import Katoen - Lonhill
	1



There was no activity on the remaining GTCs during the month.
Note: This is how many times a constraint has been activated to avoid exceeding a GTC limit, it does not imply an exceedance of the GTC occurred or that the GTC was binding.
[bookmark: _Toc227660907][bookmark: _Hlk164677736]Manual Overrides
· None


[bookmark: _Toc227660908]Congestion Costs for Calendar Year 2026
The following table represents the top twenty active constraints for the calendar year based on the estimated congestion rent attributed to the congestion. ERCOT updates this list on a monthly basis.
	Contingency
	Overloaded Element
	# of 5-min SCED
	Estimated
	Transmission

	Basecase
	WESTEX GTC
	12,178
	67,874,335.06
	Permian Basin Relibility Plan (765-kV import paths) (The PUCT approved ,helps improve, but not fully exit, the GTC yet.)

	MANUAL HCKSW-RAMSW 345 kV_2
	Hicks Switch 138kV
	1,363
	51,703,803.38
	0

	BAKESW-CEDACA 345kV & BAKESW-CEDACA 345kV
	Longshore Switch - Prairieland Switch 345kV
	11,303
	45,788,437.08
	Oncor_FW_81268_Longshore – Consavvy 345 kV Double-Circuit Line Rebuild (MOD 81268, 23RPG034)

	MANUAL RNKSW TO DHMSW 345&KRWSW TO DHMSW 345 DBLCKT
	Argyle - Highlands Tnp 138kV
	6,584
	34,073,875.92
	0

	Basecase
	EASTEX GTC
	4,567
	32,188,817.64
	0

	SALSW TO KLNSW 345 DBLCKT
	Killeen Switch - Stagecoach 138kV
	2,796
	31,304,486.27
	ONCOR_SE_87703_Belton_Killeen_138 kV Line (via Nolanville) (MOD 87703, 24RPG001)

	DOUBLE NVARO-LEG & NVARO-OUTSW 345 KV
	Big Brown Ses - Jewett 345kV
	504
	26,003,760.95
	ONCOR_SE_99622_PIN_OAK_SWITCH (MOD 99622, 25RPG004)

	BLACKWATER DRAW SWITCH to DOUBLE MOUNTAIN SWITCH LIN 1
	Mackenzie Substation - Northeast Substation 115kV
	5,771
	24,293,502.93
	0

	BAKESW-CEDACA 345kV & BAKESW-CEDACA 345kV
	Hargrove - Twin Buttes 138kV
	4,160
	20,328,157.39
	0

	Basecase
	E_PASP GTC
	7,183
	19,334,223.48
	San Antonio South Reliability I Project , 22RPG048
LRGV Transmission Improvement Project (21RPG017)
San Antonio South Reliability II Project (23RPG032)

	SALSW TO KLNSW 345 DBLCKT
	Harker Heights South - Killeen Switch 138kV
	3,535
	17,440,143.97
	ONCOR_SE_87699_Belton - Killeen 138 kV_Line (MOD 87699, 24RPG001)

	DMTSW TO SCOSW 345 DBLCKT
	Knapp - Scurry Chevron 138kV
	8,424
	17,067,441.40
	Oncor_FW_102849_Union 138 kV Switch (MOD 102849)

	Basecase
	Omega - Horse Hollow Generation Tie 345kV
	7,311
	16,645,667.19
	0

	STP-Elmcreek&WAP 345kV
	South Texas Project - Elmcreek 345kV
	355
	15,792,038.58
	0

	MORGAN CREEK SES to RANGER CAMP SWITCH LIN _A
	Morgan Creek Ses - Cattleman Switch 345kV
	1,496
	15,699,076.23
	West Texas 345-kV Infrastructure Rebuild Project  (23RPG034)

	MANUAL SINGLE SANDOW SWITCH to BADGER SWITCH 345
	Sandow Switch - Bell County East Switch 345kV
	2,202
	15,471,465.60
	0

	FOWLERTON to LOBO & AVANZADA
	Lobo - Laredo Vft North 138kV
	5,426
	15,369,961.62
	0

	MAN_SGL_RGRSW-MGSES_345KV
	Morgan Creek Ses - Cattleman Switch 345kV
	2,380
	14,991,540.47
	West Texas 345-kV Infrastructure Rebuild Project  (23RPG034)

	MEADOW to OASIS LIN A
	Brays - H O Clarke 138kV
	2,154
	14,775,630.35
	0

	Basecase
	NE_LOB GTC
	14,219
	14,698,212.33
	San Antonio South Reliability I Project (22RPG048)
LRGV Transmission Improvement Project (21RPG017)
San Antonio South Reliability II Project (23RPG032)


[bookmark: _Toc227660909][bookmark: _Hlk219797360]System Events
[bookmark: _Toc227660910]ERCOT Peak Load
The unofficial ERCOT peak load for May 2026 was 77,822 MW and occurred on 05/29/2026 during hour ending 18:00, this is 577 MW lower than the May 2025 demand of 78,399 MW on 05/23/2025 during hour ending 17:00. Instantaneous peak for May 2026 was 78,211 MW. Actual instantaneous peak for the same month last year was 79,475 MW.
[bookmark: _Toc227660911]Load Shed Events
· None.
[bookmark: _Toc227660912]Stability Events
· None.
[bookmark: _Toc227660913]Notable PMU Events
ERCOT analyzes PMU data for any significant system disturbances that do not fall into the Frequency Events category reported in section 2.1. The results are summarized in this section once the analysis has been completed.
There were no PMU events outside of those reported in section 2.1.
[bookmark: _Toc227660914]DC Tie Curtailment
	Date
	DC Tie
	Curtailing Period
	# of Tags Curtailed
	Initiating Event
	Curtailment Reason2,3

	5/19/2026
	DC_L
	5/19/26 11:11 – 5/20/26 00:15
	3
	Faulty equipment
	Planned outage extended due to leak

	5/27/20[footnoteRef:3]26 [3:  All DC Tie Curtailments are posted publicly on the ERCOT Market Information System.  See that posting for additional details for the event(s) in question.
3 See DC Tie Operating Procedure (http://www.ercot.com/mktrules/guides/procedures) for more details.] 

	DC_E
	00:03 – 02:45
	3
	Overschedule issues
	Bring tie within limit

	5/27/2026
	DC_N
	00:04 – 02:44
	4
	Overschedule issues
	Bring tie within limit



[bookmark: _Toc227660915][bookmark: _Hlk164863863][bookmark: _Toc13724670]TRE/DOE Reportable Events
· AEN Submitted a DOE-417 for 5/6/2026 for Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more
· Oncor Submitted an EOP-004-4 for 5/13/2026 for Damage of destruction of a Facility and Physical threat to its Facility
· Oncor Submitted a DOE-417 for 5/13/2026 for Damage of destruction of a Facility and Physical threat to its Facility
· Lubbock Power Submitted an EOP-004-4 for 5/26/2026 for Damage of destruction of a Facility and Physical threat to its Facility


[bookmark: _Toc227660916]New/Updated Constraint Management Plans
· None
[bookmark: _Toc227660917]New/Modified/Removed RAS
· None
[bookmark: _Toc227660918]New Procedures/Forms/Operating Bulletins
	[bookmark: _Hlk207973620]Date
	Subject
	Bulletin No.

	5/29/2026
	   Transmission and Security Desk Operating Procedure V2    Rev 6       
	2029

	5/29/2026
	Real Time Desk V2 Rev 3
	2028



[bookmark: _Toc227660919][bookmark: _Hlk164863872]Emergency Conditions
[bookmark: _Toc227660920]OCNs
· None
[bookmark: _Toc227660921]Advisories
· None

[bookmark: _Toc227660922]Watches
	Date and Time
	Message

	May 9, 2026 15:45
	ERCOT is issuing a Transmission Watch due to storm damage in the Rio Grande Valley of Harlingen, Brownsville and South Padre Island area.



[bookmark: _Toc227660923]Emergency Notices
· None
[bookmark: _Toc227660924]Application Performance
[bookmark: _Toc227660925]TSAT/VSAT Performance Issues
	Date and Time
	Message

	
	


[bookmark: _Toc227660926]Communication Issues
· None.
[bookmark: _Toc227660927][bookmark: _Hlk164863883]Market System Issues
· None.

[bookmark: _Toc227660928]Model Updates
The Downstream Production Change (DPC) process allows ERCOT to make changes in the one-line Network Operations Model without loading a completely new model.  The purpose of this process is to allow for reliable grid operations as system conditions change between designated Network Operations Model database loads.  The DPC process is limited in scope to just those items listed below, with equipment ratings updates being the most common.  ERCOT has seen a rise in the use of the DPC process to make on-line updates to the Network Operations Model in recent years, instead of through the standard Network Operations Model Change Request process.
· Static Line ratings (Interim Update)
· Dynamic Line ratings (non-Interim Update)
· Autotransformer ratings (non-Interim Update)
· Breaker and Switch Normal status (Interim Update)
· Contingency Definitions (Interim Update)
· RAP and RAS changes or additions (Interim Update)
· Net Dependable and Reactive Capability (NDCRC) values (Interim Update)
· Impedance Updates (non-Interim)
[image: ]
A total of 82 DPCs were implemented in May 2026. 217 DPCs have been implemented year to date. DPCs submitted by TDSPs are mainly updates to transmission element ratings. DPCs submitted by ERCOT are mainly updates to manual contingency definitions. 
	Transmission Operator
	Number of DPCs

	AEP TEXAS COMPANY (TDSP)
	11

	BRAZOS ELECTRIC POWER CO OP INC (TDSP)
	0

	BROWNSVILLE PUBLIC UTILITIES BOARD (TDSP)
	0

	BRYAN TEXAS UTILITIES (TDSP)
	0

	CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP)
	11

	CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP)
	2

	CITY OF COLLEGE STATION (TDSP)
	0

	CITY OF GARLAND (TDSP)
	0

	CPS ENERGY (TDSP)
	3

	CROSS TEXAS TRANSMISSION LLC (TSP))
	0

	DENTON MUNICIPAL ELECTRIC (TDSP)
	0

	ELECTRIC TRANSMISSION TEXAS LLC (TDSP)
	1

	ERCOT
	0

	LCRA TRANSMISSION SERVICES CORPORATION (TDSP)
	27

	LONE STAR TRANSMISSION LLC (TSP)
	1

	ONCOR ELECTRIC DELIVERY COMPANY LLC (TDSP)
	21

	PEDERNALES ELECTRIC CO OP INC (TDSP)
	1

	RAYBURN COUNTRY CO OP DBA RAYBURN ELECTRIC (TDSP)
	0

	SHARYLAND UTILITIES LP (TDSP)
	0

	SOUTH TEXAS ELECTRIC CO OP INC (TDSP)
	3

	TEXAS MUNICIPAL POWER AGENCY (TDSP)
	0

	TEXAS-NEW MEXICO POWER CO (TDSP)
	2

	WIND ENERGY TRANSMISSION TEXAS LLC (TSP)
	1





[bookmark: _Toc227660929]Appendix A: Real-Time Constraints
The following is a complete list of constraints activated in SCED. Full contingency descriptions can be found in the Standard Contingencies List located on the MIS secure site at Grid  Generation  Reliability Unit Commitment.
	Year
	Month
	Contingency Name
	Overloaded Element
	From Station
	To Station
	Count of Days

	2026
	May
	SFURVAN8
	RAYBUR_FURHMAN_1
	FURHMAN
	RAYBURN
	24

	2026
	May
	DFOAVLO5
	NLARSW_PILONC1_1
	NLARSW
	PILONCIL
	22

	2026
	May
	BASE CASE
	NELRIO
	n/a
	n/a
	21

	2026
	May
	DMTSCOS5
	6437__F
	SCRCV
	KNAPP
	20

	2026
	May
	BASE CASE
	NE_LOB
	n/a
	n/a
	19

	2026
	May
	BASE CASE
	N_TO_H
	n/a
	n/a
	18

	2026
	May
	DBLW2JC5
	WAPWLY72_A
	WLY
	WAP
	18

	2026
	May
	SBRAPIN8
	HAMILT_MAVERI1_1
	HAMILTON
	MAVERICK
	17

	2026
	May
	SRGRMGS5
	6945__A
	MGSES
	CATSW
	17

	2026
	May
	DBAKCED5
	LAKENA_SAMATH1_1
	LAKENASW
	SAMATHIS
	17

	2026
	May
	DWPWFWP5
	STPWAP39_1
	STP
	WAP
	17

	2026
	May
	DBAKCED5
	6965__A
	LNGSW
	PRLSW
	16

	2026
	May
	SBENS_M8
	BENTS_FRTER_1B_1
	FRONTERA
	S_MISSIN
	16

	2026
	May
	DWAP_OB5
	MDOPHR99_A
	MDO
	PHR
	15

	2026
	May
	DDILCOT8
	DILLEYSW_XF1H
	DILLEYSW
	DILLEYSW
	15

	2026
	May
	BASE CASE
	WESTEX
	n/a
	n/a
	15

	2026
	May
	SHONF38
	HON_DEVI_1
	HONDOCK
	DEVINESW
	15

	2026
	May
	SFMRRYS5
	400__A
	FMRVL
	RYSSW
	15

	2026
	May
	BASE CASE
	E_PASP
	n/a
	n/a
	14

	2026
	May
	SSTAWIC8
	138_IH2_COT_1
	IH20
	TNCOLIET
	14

	2026
	May
	SMAYWHI8
	NUECES_WHITE_2_1
	NUECES_B
	WHITE_PT
	14

	2026
	May
	SBWDDBM5
	LPLMK_LPLNE_1
	LPLMK
	LPLNE
	14

	2026
	May
	DLONPK25
	12020__B
	BRTSW
	JUNPR
	14

	2026
	May
	DBIGKEN5
	FORTMA_YELWJC1_1
	FORTMA
	YELWJCKT
	14

	2026
	May
	DBIGKEN5
	FORTMA_YELWJC1_1
	YELWJCKT
	FORTMA
	14

	2026
	May
	SSHAFRO8
	BENTS_FRTER_1B_1
	FRONTERA
	S_MISSIN
	13

	2026
	May
	BASE CASE
	EASTEX
	n/a
	n/a
	13

	2026
	May
	DSCOTKW5
	6215__A
	BCKSW
	CGRSW
	13

	2026
	May
	SWALWLN8
	BEN_ELMG_1
	BNDVS
	ELMGROVE
	13

	2026
	May
	DPHRCTR5
	MDOPHR99_A
	MDO
	PHR
	12

	2026
	May
	BASE CASE
	HHGTOM_1
	HHGT
	OMEGA
	12

	2026
	May
	SCMNCPS5
	651__B
	CMNSW
	CMNTP
	12

	2026
	May
	BASE CASE
	WHARTN
	n/a
	n/a
	12

	2026
	May
	BASE CASE
	HHGTOM_1
	OMEGA
	HHGT
	12

	2026
	May
	SVEAW_L5
	6217__A
	WLVSW
	GAILS
	11

	2026
	May
	BASE CASE
	138_FTS_LNC_1
	FTST
	LEONCRK
	11

	2026
	May
	SPRSPAR8
	1545__A
	FLTSW
	PRSSW
	11

	2026
	May
	BASE CASE
	PNHNDL
	n/a
	n/a
	11

	2026
	May
	SMDOOAS5
	GN_PZ_08_A
	GN
	PZ
	11

	2026
	May
	BASE CASE
	E_PATA
	n/a
	n/a
	11

	2026
	May
	DBIGSCH5
	PALOUS_WOLFCA1_1
	PALOUSE
	WOLFCAMP
	11

	2026
	May
	DRNS_TB5
	THWZEN71_A
	ZEN
	THW
	11

	2026
	May
	SSNDBGR5
	421__A
	BCESW
	SNDSW
	10

	2026
	May
	DMCDUPS8
	HECKER_RESNIK1_1
	HECKER
	RESNIK
	10

	2026
	May
	SGRMGRS8
	6830__B
	CRDSW
	OLNEY
	10

	2026
	May
	SBLURDH8
	2270__B
	MEXTP
	ITALY
	10

	2026
	May
	SELMTH25
	1025__B
	FROWS
	MCLSW
	10

	2026
	May
	DBAKCED5
	HARGRO_TWINBU1_1
	TWINBU
	HARGROVE
	9

	2026
	May
	SMA2SAP8
	MADDUX_SAPOWE1_1
	MADDUX
	SAPOWER
	9

	2026
	May
	BASE CASE
	VALEXP
	n/a
	n/a
	9

	2026
	May
	SBIGOR55
	FORTMA_YELWJC1_1
	FORTMA
	YELWJCKT
	9

	2026
	May
	SBIGOR55
	FORTMA_YELWJC1_1
	YELWJCKT
	FORTMA
	9

	2026
	May
	SRICGRS8
	6840__B
	NVKSW
	ANARN
	9

	2026
	May
	SHONMOO8
	BIG_FO_PLEASA1_1
	BIG_FOOT
	PLEASANT
	9

	2026
	May
	SMA2SAP8
	MADDUX_SAPOWE1_1
	SAPOWER
	MADDUX
	9

	2026
	May
	DGRMGRS8
	6830__B
	CRDSW
	OLNEY
	9

	2026
	May
	DSALKLN5
	630__B
	KLNSW
	HHSTH
	8

	2026
	May
	DSALHUT5
	1710__A
	SALDS
	SONTERRA
	8

	2026
	May
	SN_SLON5
	ALAZAN_B_DAVI1_1
	ALAZAN
	B_DAVIS
	8

	2026
	May
	DSTPSTA5
	BLESSING_1382
	BLESSING
	BLESSING
	8

	2026
	May
	SSNYCGR8
	SNYDR_FMR1
	SNYDR
	SNYDR
	8

	2026
	May
	DSALHUT5
	270__A
	KNBSW
	TMPSW
	8

	2026
	May
	SPEBTRU8
	940__A
	ENWSW
	TMPTN
	8

	2026
	May
	SLARDUS8
	LARDVN_LOBO2_1
	LOBO
	LARDVNTH
	8

	2026
	May
	DRNS_TB5
	NB_THW97_A
	THW
	NB
	8

	2026
	May
	SBRAHAM8
	ESCOND_GANSO1_1
	ESCONDID
	GANSO
	8

	2026
	May
	SBLURDH8
	1210__B
	HUBRD
	HAN1
	8

	2026
	May
	SCARFRI8
	ATSO_SONR1_1
	SONR
	ATSO
	7

	2026
	May
	DWAP_BI5
	BI_JN_64_A
	JN
	BI
	7

	2026
	May
	SMDOPHR5
	138_ALV_NAL_1
	TNNALVIN
	ALVIN
	7

	2026
	May
	DRAZSA89
	2585_1
	DOWNIES
	MOORE
	7

	2026
	May
	DCSHSSP5
	690__C
	SSPSW
	LBRPD
	7

	2026
	May
	SILLFTL8
	CARVER_TINSLE1_1
	CARVER
	TINSLEY
	7

	2026
	May
	DBIGSCH5
	CROSSO_NORTMC1_1
	NORTMC
	CROSSOVE
	7

	2026
	May
	SBRAHAM8
	HAMILT_MAVERI1_1
	HAMILTON
	MAVERICK
	7

	2026
	May
	DBIGSCH5
	SANTAR_WOLFCA1_1
	WOLFCAMP
	SANTARIT
	7

	2026
	May
	XPRS58
	1561__A
	DPREA
	RCSES
	7

	2026
	May
	SCOLBAL8
	BALLIN_HUMBLT1_1
	BALLINGE
	HUMBLTAP
	7

	2026
	May
	DSALHUT5
	1715__B
	TMPSW
	FRYSW
	6

	2026
	May
	DKG_NB_5
	MDOPHR99_A
	MDO
	PHR
	6

	2026
	May
	DSTPREF5
	BLESSING_1382
	BLESSING
	BLESSING
	6

	2026
	May
	MHARNED5
	WESLCO_HIDLBRG_1
	MV_HBRG4
	MV_WESL4
	6

	2026
	May
	DLONPK25
	6375__A
	GRSES
	GRMES
	6

	2026
	May
	MCATPRL5
	6965__A
	LNGSW
	PRLSW
	6

	2026
	May
	DLOFOAV5
	ASHERT_CATARI1_1
	ASHERTON
	CATARINA
	6

	2026
	May
	SHAMMAX8
	MAXWEL_WHITIN1_1
	MAXWELL
	WHITING
	6

	2026
	May
	DOASSEB5
	WAPWLY72_A
	WLY
	WAP
	6

	2026
	May
	DBUCRGP5
	651__B
	CMNSW
	CMNTP
	6

	2026
	May
	SLKAWFS8
	BOW_FMR1
	BOW
	BOW
	6

	2026
	May
	SSUNRGR8
	6240__C
	SACRC
	DPCRK
	6

	2026
	May
	DLOFOAV5
	ASHERT_CATARI1_1
	CATARINA
	ASHERTON
	6

	2026
	May
	DFOAVLO5
	BRUNI_69_1
	BRUNI
	BRUNI
	6

	2026
	May
	DRILKRW5
	BOW_FMR1
	BOW
	BOW
	5

	2026
	May
	DBAKCED5
	CROSSO_PALOUS1_1
	PALOUSE
	CROSSOVE
	5

	2026
	May
	SBLURDH8
	1275__A
	WDBSW
	HLSBR
	5

	2026
	May
	STARLEO8
	138_FTS_LNC_1
	LEONCRK
	FTST
	5

	2026
	May
	DVENFTS5
	235__A
	SGRSW
	JEWET
	5

	2026
	May
	SSNYCGR8
	6695__B
	SNYDR
	AMOTP
	5

	2026
	May
	SWALWLN8
	SABIN_NEVAD_1
	NEVADA
	SABNCRKT
	5

	2026
	May
	BASE CASE
	MCCAMY
	n/a
	n/a
	5

	2026
	May
	DBAKSOL5
	SOLSTICE_PST1
	SOLSTICE
	SOLSTICE
	5

	2026
	May
	DTCRTHS5
	35055__A
	SAMSW
	VENSW
	5

	2026
	May
	SVENFTS5
	35055__A
	SAMSW
	VENSW
	5

	2026
	May
	DMTSCOS5
	6240__C
	SACRC
	DPCRK
	5

	2026
	May
	DFOAVLO5
	ASHERT_CATARI1_1
	CATARINA
	ASHERTON
	5

	2026
	May
	MRNKDHM5
	587__A
	ARGYL
	LWSVH
	5

	2026
	May
	SBAKNOR5
	CROSSO_NORTMC1_1
	NORTMC
	CROSSOVE
	5

	2026
	May
	DSLKSOL5
	138_FLT_FXT_1
	TNFXTAIL
	FLAT_TOP
	5

	2026
	May
	DBIGKEN5
	TREADW_YELWJC1_1
	TREADWEL
	YELWJCKT
	5

	2026
	May
	MLNGPR25
	16050__B
	CRTRVLLE
	HILGR
	4

	2026
	May
	DBIGKEN5
	MADDUX_TREADW1_1
	MADDUX
	TREADWEL
	4

	2026
	May
	SLAQLOB8
	BRUNI_69_1
	BRUNI
	BRUNI
	4

	2026
	May
	MHARNED5
	BURNS_HEIDLBRG_1
	MV_BURNS
	MV_HBRG4
	4

	2026
	May
	SENWSHK8
	940__A
	ENWSW
	TMPTN
	4

	2026
	May
	SVICCO28
	COLETO_VICTOR2_1
	COLETO
	VICTORIA
	4

	2026
	May
	DFOWSMG5
	FWLRTN_TILDEN_1
	FOWLRTON
	TILDEN
	4

	2026
	May
	SHC2EXC5
	107__B
	HCKSW
	EXCSW
	4

	2026
	May
	SPAWCAL5
	COLETO_ROSATA1_1
	COLETO
	ROSATA
	4

	2026
	May
	SGRMGRS8
	6830__C
	GRAHM
	OLNEY
	4

	2026
	May
	DMLSENT5
	ELKTN_MR3H
	ELKTN
	ELKTN
	4

	2026
	May
	MATHEB_8
	FB_RS_60_A
	RS
	FB
	4

	2026
	May
	DFRYTM58
	SEA_AAT1
	SEA
	SEA
	4

	2026
	May
	DZORHAY5
	BERGHE_AT1H
	BERGHE
	BERGHE
	4

	2026
	May
	DVICVI89
	COLETO_VICTOR2_1
	COLETO
	VICTORIA
	4

	2026
	May
	SGRMGRS8
	6830__C
	OLNEY
	GRAHM
	4

	2026
	May
	SILLFTL8
	HAMILT_MAXWEL1_1
	MAXWELL
	HAMILTON
	3

	2026
	May
	DL_FBR89
	LA_PAL_VCAVAZ1_1
	LA_PALMA
	VCAVAZOS
	3

	2026
	May
	SFMRRY25
	381__A
	FMRVL
	RYSSW
	3

	2026
	May
	DCDHTVW5
	6200__F
	TYPRK
	PLYAM
	3

	2026
	May
	DCAGCO58
	656T656_1
	KENDAL
	BERGHE
	3

	2026
	May
	SRICGRS8
	6840__A
	ANARN
	CRDSW
	3

	2026
	May
	SZENTH35
	THWZEN71_A
	ZEN
	THW
	3

	2026
	May
	MDHMLWS5
	587__A
	ARGYL
	LWSVH
	3

	2026
	May
	SCMNCPS5
	651__C
	CMNTP
	SHILO
	3

	2026
	May
	MTGULAP5
	HARLNS_OLEAND1_1
	HARLNSW
	OLEANDER
	3

	2026
	May
	DLOFOAV5
	NLARSW_PILONC1_1
	PILONCIL
	NLARSW
	3

	2026
	May
	SBONRIO5
	VERTRE_WESLAU1_1
	VERTREES
	WESLAU
	3

	2026
	May
	SCROPAL8
	SANTAR_WOLFCA1_1
	WOLFCAMP
	SANTARIT
	3

	2026
	May
	SPRAWAL8
	155T217_1
	BELLSO
	PT
	3

	2026
	May
	DVLSPAC5
	1561__A
	DPREA
	RCSES
	3

	2026
	May
	DMLSENT5
	ELKTN_MR3L
	ELKTN
	ELKTN
	3

	2026
	May
	SBRAPIN8
	ESCOND_GANSO1_1
	ESCONDID
	GANSO
	3

	2026
	May
	DBUCRGP5
	FORTMA_YELWJC1_1
	YELWJCKT
	FORTMA
	3

	2026
	May
	SSPUASP8
	SPUR_69_1
	SPUR
	SPUR
	3

	2026
	May
	DLOFOAV5
	BRUNI_69_1
	BRUNI
	BRUNI
	3

	2026
	May
	DLOFOAV5
	NLARSW_PILONC1_1
	NLARSW
	PILONCIL
	3

	2026
	May
	SBNBPK25
	6005__A
	PKRSW
	BNBSW
	3

	2026
	May
	SGRSPK25
	6041__B
	LONSW
	PKRSW
	3

	2026
	May
	MHARNED5
	HAINE__LA_PAL1_1
	LA_PALMA
	HAINE_DR
	3

	2026
	May
	SMCLWNE8
	1025__B
	FROWS
	MCLSW
	3

	2026
	May
	DRILKRW5
	12020__B
	BRTSW
	JUNPR
	2

	2026
	May
	SWORBRD8
	138_WIC_STG_1
	WICKETT
	STAGHORN
	2

	2026
	May
	DFERWIR8
	40T189_1
	FERGUS
	WIRTZ
	2

	2026
	May
	SBCESN35
	455__A
	BGRSW
	SNDSW
	2

	2026
	May
	DFOWSMG5
	COTULL_REVEIL1_1
	REVEILLE
	COTULLA
	2

	2026
	May
	SDUKNED8
	HEC_NEDIN2_1
	HEC
	NEDIN
	2

	2026
	May
	DELMSAN5
	PAWNEE_SPRUCE_1
	PAWNEE
	CALAVERS
	2

	2026
	May
	SFURVAN8
	RAY_L_46_1
	RAYBURN
	L_463S
	2

	2026
	May
	DELMSAN5
	SIGMOR_THREE_1_1
	SIGMOR
	THREE_RI
	2

	2026
	May
	DMTSCOS5
	6437__A
	KNAPP
	BCKSW
	2

	2026
	May
	BASE CASE
	BENTS_FRTER_1B_1
	FRONTERA
	S_MISSIN
	2

	2026
	May
	DELMTEX5
	BLESSING_1382
	BLESSING
	BLESSING
	2

	2026
	May
	MKRWDHM5
	EXCSW_MR1L
	EXCSW
	EXCSW
	2

	2026
	May
	SWCOWCO8
	G138_15_1
	WCOLLOCL
	ANGLETON
	2

	2026
	May
	SFTLMES8
	MIDW_OZONA1_1
	OZONA
	MIDW
	2

	2026
	May
	DCENFRE5
	NLARSW_UNITEC1_1
	NLARSW
	UNITEC
	2

	2026
	May
	SMOOPEA8
	PALDRO_DILLEY_1
	PALODURO
	DILLEYSW
	2

	2026
	May
	STARLEO8
	SOLSTICE_PST1
	SOLSTICE
	SOLSTICE
	2

	2026
	May
	DSTPREF5
	STPWAP39_1
	STP
	WAP
	2

	2026
	May
	XFTS89
	ALPINE_BRONCO1_1
	BRONCO
	ALPINE
	2

	2026
	May
	DCE_RIO5
	GARZA_XF1L
	GARZA
	GARZA
	2

	2026
	May
	DFOAVLO5
	LARDVN_LASCRU1_1
	LARDVNTH
	LASCRUCE
	2

	2026
	May
	DSALHUT5
	421__A
	BCESW
	SNDSW
	2

	2026
	May
	MLNGPR25
	5025__A
	RGRSW
	PRMSW
	2

	2026
	May
	DCAGCI58
	656T656_1
	KENDAL
	BERGHE
	2

	2026
	May
	DMGSRIC8
	6840__B
	NVKSW
	ANARN
	2

	2026
	May
	SCRDLOF9
	BOW_FMR1
	BOW
	BOW
	2

	2026
	May
	DODEMOS5
	ODEHV_MR1H
	ODEHV
	ODEHV
	2

	2026
	May
	MLONOR58
	SND_ORAN_1
	ORNGROV
	SNDIEGS
	2

	2026
	May
	SNEDSTE5
	WESLCO_HIDLBRG_1
	MV_HBRG4
	MV_WESL4
	2

	2026
	May
	DVENFTS5
	505__B
	FBRSW
	THSES
	2

	2026
	May
	SCLCGTN8
	6360__A
	BRKTP
	BRKRG
	2

	2026
	May
	DKLNRGP5
	651__B
	CMNSW
	CMNTP
	2

	2026
	May
	DRAPMO58
	GARZA_XF1L
	GARZA
	GARZA
	2

	2026
	May
	DDNEDBP5
	NLARSW_UNITEC1_1
	NLARSW
	UNITEC
	2

	2026
	May
	BASE CASE
	RAYBUR_FURHMAN_1
	FURHMAN
	RAYBURN
	2

	2026
	May
	SGALRIC8
	RAYBUR_FURHMAN_1
	FURHMAN
	RAYBURN
	2

	2026
	May
	DFOAVLO5
	FREER_LOBO1_1
	LOBO
	FREER
	2

	2026
	May
	SWCOWCO8
	G138_15_1
	ANGLETON
	WCOLLOCL
	2

	2026
	May
	SGOOFRO8
	GARZA_XF1H
	GARZA
	GARZA
	2

	2026
	May
	SRIOGUL5
	HARLNS_OLEAND1_1
	HARLNSW
	OLEANDER
	2

	2026
	May
	DFOWSMG5
	TILDEN_GEOWEST_1
	TILDEN
	GEOWEST
	2

	2026
	May
	MGTNHTN5
	235__A
	SGRSW
	JEWET
	2

	2026
	May
	SBOMJC25
	6085__E
	WFSSW
	NSTAR
	2

	2026
	May
	DSCOTKW5
	6474__B
	SUNSW
	RGRSW
	2

	2026
	May
	XCB2Y58
	BT_CBY88_A
	CBY
	BT
	2

	2026
	May
	DSTPREF5
	CKT_3124_1
	STP
	HLJ
	2

	2026
	May
	SHAMMAX8
	CTHR_TINSLE1_1
	CTHR
	TINSLEY
	2

	2026
	May
	SPAWCAL5
	F2_11_1
	KENEDSW
	F2
	2

	2026
	May
	DFOWSMG5
	GEO_SIG_1
	GEOWEST
	SIGMOR
	2

	2026
	May
	DSTPSTA5
	RAYBUR_FURHMAN_1
	FURHMAN
	RAYBURN
	2

	2026
	May
	SFORRAY8
	RAY_L_46_1
	RAYBURN
	L_463S
	2

	2026
	May
	SHCKEXC5
	106__C
	HCKSW
	EXCSW
	2

	2026
	May
	DSCOTKW5
	6240__C
	SACRC
	DPCRK
	2

	2026
	May
	DGRMGRS8
	6830__C
	OLNEY
	GRAHM
	2

	2026
	May
	SP5CAG8
	D5_S1_1
	HOWARD
	LEON_CRK
	2

	2026
	May
	DWO5_EU8
	DT_PK_91_A
	PK
	DT
	2

	2026
	May
	DFRIILL8
	HAMILT_MAXWEL1_1
	MAXWELL
	HAMILTON
	2

	2026
	May
	SCISPUT8
	LENSW_PUTN2_1
	PUTN
	LENSW
	2

	2026
	May
	SKGJOR5
	MDOPHR99_A
	MDO
	PHR
	2

	2026
	May
	SWOLPAL8
	MIDW_OZONA1_1
	OZONA
	MIDW
	2

	2026
	May
	DCEDERE5
	NLARSW_UNITEC1_1
	NLARSW
	UNITEC
	2

	2026
	May
	XTH158
	ADK_AT1
	ADK
	ADK
	1

	2026
	May
	SGRSMNW8
	AGN_WTH_1
	WTHSW
	AGNESSW
	1

	2026
	May
	SMARALM9
	ALMC_PAIS1_1
	ALMC
	PAIS
	1

	2026
	May
	SFORFOR8
	BROOKT_JOSLIN1_1
	JOSLIN
	BROOKTAP
	1

	2026
	May
	XFER85
	CARVER_TINSLE1_1
	CARVER
	TINSLEY
	1

	2026
	May
	MLNGPR25
	CRTVLE_EINSTEN_1
	EINSTEIN
	CRTRVLLE
	1

	2026
	May
	SGULLA_5
	HARLNS_OLEAND1_1
	HARLNSW
	OLEANDER
	1

	2026
	May
	BASE CASE
	I_KALO
	n/a
	n/a
	1

	2026
	May
	SMV_PAR8
	LA_PAL_VCAVAZ1_1
	LA_PALMA
	VCAVAZOS
	1

	2026
	May
	DLOBCEN5
	LON_HI_WWKS_T1_1
	LON_HILL
	WWKS_TAP
	1

	2026
	May
	UNEDBES1
	NEDNBRG_WEDNBG_1
	NEDIN
	MV_WEDN4
	1

	2026
	May
	SWHILON5
	NUECES_WHITE_2_1
	NUECES_B
	WHITE_PT
	1

	2026
	May
	DHJWFCK5
	STPWAP39_1
	STP
	WAP
	1

	2026
	May
	SHLSWH28
	2270__B
	MEXTP
	ITALY
	1

	2026
	May
	DVENFTS5
	255__A
	BALSW
	SGRSW
	1

	2026
	May
	SRA2D18
	2585_1
	DOWNIES
	MOORE
	1

	2026
	May
	STMPTMP5
	300__A
	TMPCR
	TMPSW
	1

	2026
	May
	DSALHUT5
	445__A
	BLHSW
	AUSTRO
	1

	2026
	May
	DSALHUT5
	450__B
	WCRSW
	AUSTRO
	1

	2026
	May
	DJOHMAR5
	4T250_1
	ZORN
	CLEASP
	1

	2026
	May
	MLWSWDE5
	587__A
	ARGYL
	LWSVH
	1

	2026
	May
	DBYRBOW5
	6011__B
	RILEY
	FSHSW
	1

	2026
	May
	DCDHTVW5
	6200__E
	PRKRW
	TYPRK
	1

	2026
	May
	DODEMOS5
	6513__A
	ODESA
	ODNTH
	1

	2026
	May
	SWCAE8
	AE_STR26_A
	AE
	STR
	1

	2026
	May
	SSFB1I8
	BI_SF_37_A
	BI
	SF
	1

	2026
	May
	SPAWCAL5
	BLESSING_1382
	BLESSING
	BLESSING
	1

	2026
	May
	SHA2MAX8
	CTHR_TINSLE1_1
	CTHR
	TINSLEY
	1

	2026
	May
	SFURRAY8
	FURHMAN_VANDB_1
	FURHMAN
	VANBLTSS
	1

	2026
	May
	SJUNYEL9
	HEXT_YELWJC1_1
	YELWJCKT
	HEXT
	1

	2026
	May
	DBUCRGP5
	MADDUX_TREADW1_1
	MADDUX
	TREADWEL
	1

	2026
	May
	DRIZACE5
	NLARSW_UNITEC1_1
	NLARSW
	UNITEC
	1

	2026
	May
	SFTLMES8
	PALOUS_WOLFCA1_1
	PALOUSE
	WOLFCAMP
	1

	2026
	May
	UCOLCOL1
	RAY_L_46_1
	RAYBURN
	L_463S
	1

	2026
	May
	MLAPVCA8
	RIOHND_ERIOHND_1
	RIOHONDO
	MV_RIOHO
	1

	2026
	May
	MCPRJCK8
	SN_STR26_A
	SN
	STR
	1

	2026
	May
	XVIS84
	GREENL_WEAVER1_1
	GREENLK
	WEAVERRD
	1

	2026
	May
	DBIGKEN5
	HAMILT_MAXWEL1_1
	MAXWELL
	HAMILTON
	1

	2026
	May
	BASE CASE
	LA_PAL_VCAVAZ1_1
	LA_PALMA
	VCAVAZOS
	1

	2026
	May
	DBAKSOL5
	LYNX_TOMBST1_1
	LYNX
	TOMBSTNE
	1

	2026
	May
	SCOMHA38
	MAXWEL_WHITIN1_1
	MAXWELL
	WHITING
	1

	2026
	May
	DMCEBUT8
	MKLT_TRNT1_1
	TRNT
	MKLT
	1

	2026
	May
	MTGURIO5
	VERTRE_WESLAU1_1
	VERTREES
	WESLAU
	1

	2026
	May
	SANGNAI5
	WHITE_PT_T3L
	WHITE_PT
	WHITE_PT
	1

	2026
	May
	BASE CASE
	ZAPSTR
	n/a
	n/a
	1

	2026
	May
	SHLSWH28
	1210__B
	HUBRD
	HAN1
	1

	2026
	May
	DHWKRCS8
	1545__A
	FLTSW
	PRSSW
	1

	2026
	May
	DCAGCI58
	255T279_1
	PIPECR
	MEDILA
	1

	2026
	May
	SBRTGRM8
	6275__D
	BCPSW
	AZLES
	1

	2026
	May
	DPAIMUR8
	6635__G
	MRVLY
	ESTLD
	1

	2026
	May
	SSCLWF18
	6840__B
	NVKSW
	ANARN
	1

	2026
	May
	SZORMAR5
	BERGHE_AT1H
	BERGHE
	BERGHE
	1

	2026
	May
	DWPWFWP5
	BLESSING_1382
	BLESSING
	BLESSING
	1

	2026
	May
	MGTKBHC8
	BR_HOC09_A
	BR
	HOC
	1

	2026
	May
	DCOTWR25
	FARMLAND_LONGD_1
	FARMLAND
	W_LD_345
	1

	2026
	May
	SMDOOAS5
	G138_8A_1
	PHR
	HDNLAKES
	1

	2026
	May
	DCE_RIO5
	GARZA_XF1H
	GARZA
	GARZA
	1

	2026
	May
	DROMCEN5
	GARZA_XF1H
	GARZA
	GARZA
	1

	2026
	May
	SGOOFRO8
	GARZA_XF1L
	GARZA
	GARZA
	1

	2026
	May
	DYETRJU8
	HEXT_YELWJC1_1
	YELWJCKT
	HEXT
	1

	2026
	May
	SOXYIN28
	I_DUPP_I_DUPS1_1
	I_DUPP1
	I_DUPSW
	1

	2026
	May
	DNOETWL5
	LAKENA_SAMATH1_1
	LAKENASW
	SAMATHIS
	1

	2026
	May
	SBOSWHT8
	LKW_WHT_1
	LKWHITNY
	WHTNY
	1

	2026
	May
	DBLBYWF5
	STPWAP39_1
	STP
	WAP
	1

	2026
	May
	SFURRAY8
	VAN_VNDB_1
	VANBLTSS
	VANBLT69
	1

	2026
	May
	MKRWDHM5
	109__A
	EXCSW
	RNKSW
	1

	2026
	May
	SKLNSAL5
	271__A
	KLNSW
	SALSW
	1

	2026
	May
	SBOMJC25
	35020__B
	GRVSW
	GRSES
	1

	2026
	May
	MAUSWCR5
	445__A
	BLHSW
	AUSTRO
	1

	2026
	May
	SMARALM9
	ALMC_PAIS1_1
	PAIS
	ALMC
	1

	2026
	May
	DFRYTM58
	BELCNTY_XFMR
	BELCNTY
	BELCNTY
	1

	2026
	May
	DREFSTP5
	BLESSING_1382
	BLESSING
	BLESSING
	1

	2026
	May
	XJN58
	BR_HOC09_A
	BR
	HOC
	1

	2026
	May
	DFOAVLO5
	CATARI_PILONC1_1
	PILONCIL
	CATARINA
	1

	2026
	May
	SFTLMES8
	CROSSO_NORTMC1_1
	NORTMC
	CROSSOVE
	1

	2026
	May
	XDIL89
	DILLEYSW_XF1H
	DILLEYSW
	DILLEYSW
	1

	2026
	May
	DWPWFWP5
	DOWOAS18_A
	DOW
	OAS
	1

	2026
	May
	MBIKBHC8
	DT_PK_91_A
	DT
	PK
	1

	2026
	May
	DSALGA58
	GABRIE_AT1
	GABRIE
	GABRIE
	1

	2026
	May
	SBRAPIN8
	GANSO_MAVERI1_1
	MAVERICK
	GANSO
	1

	2026
	May
	MNLFIWO8
	GARZA_XF1L
	GARZA
	GARZA
	1

	2026
	May
	DTWLCED5
	HARGRO_TWINBU1_1
	TWINBU
	HARGROVE
	1

	2026
	May
	MTGURIO5
	HARLNS_OLEAND1_1
	HARLNSW
	OLEANDER
	1

	2026
	May
	SCOLBAL8
	HUMBLT_NOVICT1_1
	HUMBLTAP
	NOVICTAP
	1

	2026
	May
	DBIGKEN5
	MAXWEL_WHITIN1_1
	MAXWELL
	WHITING
	1

	2026
	May
	BASE CASE
	MDOPHR99_A
	MDO
	PHR
	1

	2026
	May
	MPASTNE5
	PANTER_WESMER1_1
	WESMER
	PANTERA
	1

	2026
	May
	SNEDSTE5
	PANTER_WESMER1_1
	WESMER
	PANTERA
	1

	2026
	May
	DELMTEX5
	RAYBUR_FURHMAN_1
	FURHMAN
	RAYBURN
	1

	2026
	May
	DMSSZEN5
	SNGXGC75_1
	GIBCRK
	SNG
	1

	2026
	May
	DWPWFCK5
	STPWAP39_1
	STP
	WAP
	1

	2026
	May
	MPASTNE5
	VERTRE_WESLAU1_1
	VERTREES
	WESLAU
	1

	2026
	May
	DTHSLCS5
	1020__A
	ELMOT
	MCTYE
	1

	2026
	May
	DWPWFWP5
	155T217_1
	BELLSO
	PT
	1

	2026
	May
	SWDDMNS5
	1561__A
	DPREA
	RCSES
	1

	2026
	May
	DRILKRW5
	6085__E
	WFSSW
	NSTAR
	1

	2026
	May
	SCMNCPS5
	651__F
	SHILO
	HAS
	1

	2026
	May
	XCMB58
	661__A
	STNVL
	CPSES
	1

	2026
	May
	SPEBTRU8
	940__B
	TMPTN
	WXHCH
	1

	2026
	May
	MDHLYTC5
	970__C
	ELKTN
	LLPOI
	1

	2026
	May
	SWMMLCS8
	1025__B
	FROWS
	MCLSW
	1

	2026
	May
	DREDNC85
	1350__E
	NCSTP
	LFKSW
	1

	2026
	May
	DALASOA8
	138_FTS_LNC_1
	FTST
	LEONCRK
	1

	2026
	May
	SPIGTNF8
	138_FXT_PG2_1
	PIGCREEK
	TNFXTAIL
	1

	2026
	May
	SBAKCED5
	BAKRFLD_CEDCAN_1
	CEDACA
	BAKESW
	1

	2026
	May
	DSTEXP12
	BLESSI_LOLITA1_1
	LOLITA
	BLESSING
	1

	2026
	May
	XCRD58
	CRD_CRD2
	CRD
	CRD
	1

	2026
	May
	SCISPUT8
	ESTES_SOLANU1_1
	ESTES
	SOLANUM
	1

	2026
	May
	SV_DVI28
	GREENL_WEAVER1_1
	WEAVERRD
	GREENLK
	1

	2026
	May
	DBAKCED5
	JERRY_PUMPJA1_1
	PUMPJACK
	JERRY
	1

	2026
	May
	DRYSALN5
	NEWM_WAL_1
	NEWMAN
	WALNUT1
	1

	2026
	May
	DPROPOM5
	NLARSW_UNITEC1_1
	NLARSW
	UNITEC
	1

	2026
	May
	SL_4RAY8
	RAYBURN_69_2
	RAYBURN
	RAYBURN
	1

	2026
	May
	SORNLON8
	SND_ORAN_1
	ORNGROV
	SNDIEGS
	1

	2026
	May
	DBUCRGP5
	TREADW_YELWJC1_1
	TREADWEL
	YELWJCKT
	1

	2026
	May
	DFVLFTS5
	2270__B
	MEXTP
	ITALY
	1

	2026
	May
	DVENFTS5
	2270__B
	MEXTP
	ITALY
	1

	2026
	May
	DSALHUT5
	455__A
	BGRSW
	SNDSW
	1

	2026
	May
	SBOMJC25
	6085__B
	NSTAR
	LKARH
	1

	2026
	May
	DGRSLO25
	6375__B
	GRMES
	GRMSW
	1

	2026
	May
	SFLTTUD8
	6635__G
	MRVLY
	ESTLD
	1

	2026
	May
	SHLSWDB8
	810__G
	RDHSW
	BLUMS
	1

	2026
	May
	DBNTTOW9
	BOW_FMR1
	BOW
	BOW
	1

	2026
	May
	SMDOOAS5
	BR_HOC09_A
	BR
	HOC
	1

	2026
	May
	DHONHON8
	DEV_NATA_1
	DEVINESW
	NATALISS
	1

	2026
	May
	DHUTGEA8
	GABRIE_AT1
	GABRIE
	GABRIE
	1

	2026
	May
	SGA2ROM8
	GARZA_XF1H
	GARZA
	GARZA
	1

	2026
	May
	DTWLCED5
	LAKENA_SAMATH1_1
	LAKENASW
	SAMATHIS
	1

	2026
	May
	SBGLTWI8
	LAKENA_SAMATH1_1
	LAKENASW
	SAMATHIS
	1

	2026
	May
	DSGTSCH5
	SANTAR_WOLFCA1_1
	WOLFCAMP
	SANTARIT
	1

	2026
	May
	SGULLA_5
	VERTRE_WESLAU1_1
	VERTREES
	WESLAU
	1

	2026
	May
	SSOAHOL8
	138_FTS_LNC_1
	FTST
	LEONCRK
	1

	2026
	May
	STNFTAR8
	138_FTS_LNC_1
	FTST
	LEONCRK
	1

	2026
	May
	DTHSLCS5
	281__A
	THSES
	LHLSW
	1

	2026
	May
	DCPSES12
	35055__A
	SAMSW
	VENSW
	1

	2026
	May
	SBCEBGR5
	421__A
	BCESW
	SNDSW
	1

	2026
	May
	DJCKHND5
	6041__B
	LONSW
	PKRSW
	1

	2026
	May
	SVEAW_L5
	6217__B
	GAILS
	KEYSB
	1

	2026
	May
	DVENFTS5
	810__G
	RDHSW
	BLUMS
	1

	2026
	May
	SPETSNU8
	AE_STR26_A
	AE
	STR
	1

	2026
	May
	SBENRAI8
	BENTS_FRTER_1B_1
	FRONTERA
	S_MISSIN
	1

	2026
	May
	SE3X28
	BIG_FO_PLEASA1_1
	BIG_FOOT
	PLEASANT
	1

	2026
	May
	SEBATH8
	FB_RS_60_A
	RS
	FB
	1

	2026
	May
	MNLFIWO8
	GARZA_XF1H
	GARZA
	GARZA
	1

	2026
	May
	SLISBAT8
	GARZA_XF1H
	GARZA
	GARZA
	1

	2026
	May
	SGA2ROM8
	GARZA_XF1L
	GARZA
	GARZA
	1

	2026
	May
	SRAYRI38
	HAINE__LA_PAL1_1
	LA_PALMA
	HAINE_DR
	1

	2026
	May
	SGRIRAP5
	MELONC_SEADRF1_1
	SEADRFTC
	MELONCRE
	1

	2026
	May
	SRIOGUL5
	RIOHND_ERIOHND_1
	RIOHONDO
	MV_RIOHO
	1

	2026
	May
	BASE CASE
	VALIMP
	n/a
	n/a
	1

	2026
	May
	DFVLFTS5
	1210__B
	HUBRD
	HAN1
	1

	2026
	May
	SW_BLNG5
	16050__B
	CRTRVLLE
	HILGR
	1

	2026
	May
	DFVLFTS5
	235__A
	SGRSW
	JEWET
	1

	2026
	May
	DNORCDH5
	3610__G
	PGTP1
	PDSES
	1

	2026
	May
	SVEAW_L5
	6217__D
	KEYSB
	LMESA
	1

	2026
	May
	DMTSCOS5
	6474__B
	SUNSW
	RGRSW
	1

	2026
	May
	DODEMOS5
	6520__H
	RTRSW
	YARBR
	1

	2026
	May
	MRGRMGS5
	6945__A
	MGSES
	CATSW
	1

	2026
	May
	SHLSWDB8
	810__B
	BLUMS
	RVSTP
	1

	2026
	May
	DFVLFTS5
	810__G
	RDHSW
	BLUMS
	1

	2026
	May
	BASE CASE
	BR_HOC09_A
	BR
	HOC
	1

	2026
	May
	SCITWEI8
	CLARK__LON_HI1_1
	LON_HILL
	CLARK_WD
	1

	2026
	May
	DLOBCEN5
	FALFUR_RACHAL1_1
	RACHAL
	FALFUR
	1

	2026
	May
	SAEDAB8
	FW_WEB04_A
	FW
	WEB
	1
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Frequency Events & Average Duration
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IRR Output / Total ERCOT Load
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Wind, Solar, IRR penetration during hour of Peak Load
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Minimum Wind, Solar, IRR Output during the peak load hour as percentage of daily peak Load in
April 2026
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