| NPRR Number | 1340 | NPRR Title | Dispatchable Reliability Reserve Service Ancillary Service with Energy Storage Resource Participation |
| --- | --- | --- | --- |

| Date | July 9, 2026 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Bryan Nicholson |
| E-mail Address | bnicholson@LoneStarESA.org |
| Company | Lone Star Energy Storage Alliance (LESA) |
| Phone Number | (202) 580-6280 |
| Cell Number | (703) 447-7023 |
| Market Segment | Not applicable |

Comments

The Lone Star Energy Storage Alliance (LESA) appreciates the opportunity to provide comments on Nodal Protocol Revision Request (NPRR) 1340. LESA is a coalition of standalone energy storage companies founded in late 2024 to protect and grow the Texas energy storage market. Our members develop, own, and operate a substantial share of the standalone battery energy storage systems (BESS) operating in ERCOT and have a vested interest in maintaining a reliable, efficient, and competitive power market in Texas. We appreciate ERCOT’s continued work to stand up the Dispatchable Reliability Reserve Service (DRRS) and to do so in a manner that reflects the full range of resources capable of providing it.

LESA supports NPRR1340 and the inclusion of Energy Storage Resources (ESRs) in DRRS. Consistent with the Public Utility Commission of Texas (PUCT) guidance at the March 26, 2026, Open Meeting that Energy Storage Resources (ESRs) be able to participate in DRRS, NPRR1340 provides the framework for eligible ESRs to participate in the service as it is stood up. LESA supports this outcome and ERCOT’s efforts to keep ESR participation on track so that storage can participate on implementation day.

LESA Appreciates ESR Inclusion Through a Capability Demonstration

LESA appreciates that NPRR1340 enables eligible ESRs to qualify for DRRS by demonstrating that capability through a qualification test. This capability-based approach is consistent with how ERCOT already qualifies Resources for Responsive Reserve (RRS) and ERCOT Contingency Reserve Service (ECRS), and with ERCOT’s Real-Time Co-optimization framework, under which awards are managed on an ongoing basis according to a Resource’s telemetered capability. Applying that same, proven methodology to DRRS is appropriate, provides regulatory certainty, and treats ESRs on comparable terms to other qualified Resources.

ESR Participation Reflects Technology-Neutral Market Design

Enabling eligible ESRs to provide DRRS is consistent with ERCOT’s longstanding, technology-neutral approach to market design and with the statutory framework for DRRS under Public Utility Regulatory Act (PURA) §39.159. Eligibility to provide an Ancillary Service should be based on whether a resource can meet the applicable performance and availability requirements of the service, and not on the Resource’s underlying technology type. ESRs that can meet the DRRS qualification requirements should be able to provide the service, and NPRR1340 appropriately provides the framework for them to do so.

ESR Participation Advances Reliability and Market Efficiency

ESRs are flexible, quick-ramping Resources that are well suited to manage the inter-hour uncertainty that DRRS is designed to address, and they are among the fastest-to-market dispatchable resources available in the ERCOT region. Enabling qualified ESRs to participate in DRRS expands the pool of Resources able to provide the service, supports competition, and advances the reliability objectives ERCOT has identified for DRRS.

Conclusion

LESA supports NPRR1340 and appreciates ERCOT’s work to enable ESR participation in DRRS on terms comparable to other qualified resources and in a manner ready for implementation day. We look forward to continued engagement with ERCOT and stakeholders as this effort moves forward.

Revised Cover Page Language

None

Revised Proposed Guide Language

None