## Slide 1: ERCOT GTC Updates Atiqul Islam ERCOT Operations Support July 9, 2026
Outline:
Sam Switch (Hill County) GTC Retirement

## Slide 2: Sam Switch (Hill County) GTC Retirement
ERCOT Operations Support conducted a stability assessment of the SamSW GTC to evaluate the impact of a new network topology of looping the existing Helix–Navarro 345-kV line through the Sam Switch 345-kV substation. The assessment concluded that the SamSW GTC would no longer be required once this configuration was energized
The new network configuration was energized on June 10, 2026
ERCOT issued a market notice on June 15, 2026, announcing the planned retirement of the SamSW GTC
ERCOT formally retired the SamSW GTC on July 1, 2026