## Slide 1: WMWG update to wms August 5, 2026 cara Sweeney, WMWG vice-Chair

## Slide 2: AGENDA
NPRRS ready for WMS vote:
  NPRR1337 – ERS Enhancements
NPRRs Still with WMWG
  NPRR1278 – Establishing Advanced Grid Support Service as an Ancillary Service
  NPRR1333 – Establish an Incentive Program for Advanced Grid SupporT
  (Pre-referral discussion) NPRR1340 – DRRS with ESR Participation
Other Business
  2027 AS methodology
  Discussion on COP SOC
  Discussion on FPA §202(c) Orders

## Slide 3
Discussion of Revision Requests
  NPRR1337 – ERS Enhancements
  ERCOT reviewed its NPRR1337 comments filed on July 24:
    Defined Naturally Dynamic Load and clarified the Alternate Baseline Test (ABT), including its purpose and sequence.
    Documented the ABT methodology in the ERS Technical Requirements and Scope of Work OBD to allow future updates to parameters (e.g. the pricing threshold) without an NPRR. Stakeholders discussed whether the ABT methodology belongs in the Protocols or the OBD.
  In comments filed on July 27, ERock and Generate proposed allowing resources that qualify for the default baseline to elect the alternate baseline if they pass the ABT.
    Some other stakeholders voiced support for the proposal as a compromise that retains the ABT while reducing implementation impacts. ERCOT opposed the proposal, citing concerns over resource availability and self-deployment.
    ERCOT will file comments responding to the proposal submitted by ERock and Generate. ERCOT would like to keep NPRR1337 on track to be considered at the September 2026 Board meeting.

## Slide 4
Discussion of Revision Requests
  NPRR1278 - Establishing Advanced Grid Support Service as an Ancillary Service – Tabled for additional discussion
  NPRR1333 - Establish an Incentive Program for Advanced Grid Support – Tabled for additional discussion
  ERCOT provided an overview of NPRR 1333, which would establish a one-time incentive program to encourage existing IBRs to implement AGS. The proposal includes a one-time payment of $1,500/MW, capped at $25 million, for eligible resources.
  Several stakeholders opposed the incentive approach, arguing that AGS upgrades should be funded by resource owners rather than consumers and expressing support for a technology-neutral market product under NPRR 1278 instead.
  ERCOT explained that NPRR 1333 is intended to accelerate AGS adoption in the near term so that a larger pool of AGS-capable resources would be available if a future market product, such as that contemplated under NPRR 1278, is established.
    ERCOT clarified that it is not opposed to NPRR 1278 but believes additional technical work is needed to define the service, quantify the system need, and determine procurement requirements before a market product can be developed.

## Slide 5
Discussion of Revision Requests
  NPRR1340 – Dispatchable Reliability Reserve Service Ancillary Service with Energy Storage Resource Participation
  ERCOT presented NPRR 1340, which would allow ESRs capable of sustaining maximum output for at least four hours to participate in DRRS, consistent with PUCT guidance to consider ESR participation separately from NPRRs 1309 and 1310.
  TCPA, represented by Vistra, expressed support for ESR participation but recommended further evaluation of the four-hour duration requirement.
    TCPA believes the duration requirement should be based on reliability needs rather than the statutory minimum, noting that longer-duration capability may be needed for extended winter events and that DRRS could provide a market signal that better values longer-duration resources.
  Stakeholders also discussed implementation details, including whether the duration requirement should be configurable in ERCOT systems to accommodate future changes without requiring additional implementation work.

## Slide 6
Other Business
  2027 AS Methodology
  ERCOT discussed an issue identified in the 2026 probabilistic model used for ECRS and Non-Spin. The corrected model would have produced approximately 3,700 MW higher quantities on average. ERCOT is coordinating with PUCT Staff to determine next steps.
  ERCOT reviewed proposed updates and refinements to the 2027 probabilistic methodology, while maintaining many of the same parameters used in 2026. ERCOT also provided an HTML-based scenario tool to support stakeholder review.
    A key proposed change is an increase in daytime risk credits, including 50% for online and offline resources and 64% for batteries, while maintaining 60% nighttime risk credits across all resources.
    Stakeholders questioned whether risk credits should rely on average historical availability or consider tighter system conditions and tail events.
    ERCOT noted that battery growth and additional available headroom support the proposed risk credits but acknowledged that evening battery depletion and future growth trends remain considerations.
  ERCOT confirmed there are no proposed methodology changes for Regulation or RRS, but quantities will be updated with ERCOT’s new Interconnection Frequency Response Obligation (IFRO), which is expected by the end of August.

## Slide 7
Other Business
  Update on COP SOC RUC Issue
  ERCOT initiated outreach to eight market participants that account for more than 60% of observed flat COP HBSOC submissions.
  All eight participants confirmed receipt of outreach, and ERCOT has scheduled meetings with six of them to review the data and discuss expectations. ERCOT expects to complete the initial round of meetings in the coming weeks and provide an update on observed improvements in September.
  Update on FPA §202(c) Orders
  ERCOT provided an update on efforts to develop an operational deployment notification and noted challenges associated with a manual control room process during emergency conditions.
  ERCOT is evaluating other implementation challenges, including limited visibility into available backup generation capacity, communication and compliance processes, and procedures for both deploying and recalling load.
    LCRA is exploring the feasibility of issuing an RFI to TSPs to improve ERCOT’s visibility into available backup generation capacity.

## Slide 8: THANK YOU