# System Planning

Monthly Status Report

- Report Highlights

- ERCOT is currently reviewing proposed transmission improvements with a total estimated cost of $22.531 billion as of June 30, 2026.

- Transmission Projects endorsed in 2026 total $12.111 billion as of June 30, 2026.

- All projects (in engineering, routing, licensing, and construction) total approximately $32.631 billion as of February 1, 2026.

- Transmission Projects energized in 2026 total approximately $8.900 million (as of February 1, 2026).

- Transmission Projects planned to energize during the remainder of 2026 total approximately $7.525 billion (as of February 1, 2026).

Regional Planning Group Reviews

# RPG Projects under Review:

- Oncor and LCRA TSC have submitted the Muscovy and Voss Lake 345/138-kV Project (RPG Project ID: 25RPG009). This is a Tier 1 project that is estimated to cost $381.83 million. ERCOT has completed the independent review on May 15, and the recommended project is estimated to cost $1.457 billion. TAC voted to endorse the project on May 19, 2026. ERCOT Board of Directors endorsed the project on June 1, 2026, and ERCOT will issue the ERCOT endorsement letter.

- Oncor and LCRA TSC have submitted the Muscovy and Voss Lake 345/138-kV Project (RPG Project ID: 25RPG009). This is a Tier 1 project that is estimated to cost $381.83 million. Phase 2 of this project is currently under ERCOT’s independent review.

- CPS Energy has submitted the Reactive Power Planning Project (RPG Project ID: 25RPG013). This is a Tier 1 project that is estimated to cost $116.50 million. ERCOT has completed the combined independent review on May 13, and the recommended project is estimated to cost $477.70 million. TAC voted to endorse the project on May 19, 2026. ERCOT Board of Directors endorsed the project on June 1, 2026, and ERCOT will issue the ERCOT endorsement letter.

- CPS Energy has submitted the Helotes 345/138-kV Switching Station and Autotransformer Addition at Eastside Switching Station Project (RPG Project ID: 25RPG017). This is a Tier 1 project that is estimated to cost $110.00 million. ERCOT has completed the combined independent review on May 13, and the recommended project is estimated to cost $477.70 million. TAC voted to endorse the project on May 19, 2026. ERCOT Board of Directors endorsed the project on June 1, 2026, and ERCOT will issue the ERCOT endorsement letter.

- CPS Energy has submitted the Large Load Additions Project (RPG Project ID: 25RPG020). This is a Tier 1 project that is estimated to cost $333.70 million. This project is currently under ERCOT’s independent review.

- Oncor has submitted the Paris Switch to Monticello Switch 345-kV Line Rebuild Project (RPG Project ID: 25RPG026). This is a Tier 1 project that is estimated to cost $231.75 million. ERCOT has completed the independent review on April 17, and the recommended project is estimated to cost $233.30 million. TAC voted to endorse the project on April 29, 2026. ERCOT Board of Directors endorsed the project on June 1, 2026, and ERCOT has issued the ERCOT endorsement letter.

- LP&L has submitted the West Loop Project (RPG Project ID: 25RPG037). This is a Tier 1 project that is estimated to cost $309.00 million. This project is currently under ERCOT’s independent review.

- STEC has submitted the Southeast Brownsville Large Load Transmission System Improvements Project (RPG Project ID: 25RPG039). This is a Tier 2 project that is estimated to cost $96.35 million. ERCOT completed the independent review on May 14, and the recommended project is estimated to cost $96.60 million. ERCOT will issue the ERCOT endorsement letter.

- Oncor has submitted the Set 1 North & Central Texas Reliability Project (RPG Project ID: 25RPG040). This is a Tier 1 project that is estimated to cost $1.798 billion. ERCOT has completed the combined independent review on May 15, and the recommended project is estimated to cost $2.363 billion. TAC voted to endorse the project on May 19, 2026. ERCOT Board of Directors endorsed the project on June 1, 2026, and ERCOT will issue the ERCOT endorsement letter.

- Oncor has submitted the Set 1 North Central & South Central Texas Reliability Project (RPG Project ID: 25RPG041). This is a Tier 1 project that is estimated to cost $943.92 million. ERCOT has completed the combined independent review on May 15, and the recommended project is estimated to cost $381.09 million. TAC voted to endorse the project on May 19, 2026. ERCOT Board of Directors endorsed the project on June 1, 2026, and ERCOT will issue the ERCOT endorsement letter.

- Oncor has submitted the Set 1 North Central & South Central Texas Reliability Project (RPG Project ID: 25RPG041). This is a Tier 1 project that is estimated to cost $943.92 million. Group 3 of this project is currently under ERCOT’s independent review.

- Oncor has submitted the Set 2 North & Central Texas Reliability Project (RPG Project ID: 25RPG042). This is a Tier 1 project that is estimated to cost $1,330 million. ERCOT has completed the combined independent review on May 15, and the recommended project is estimated to cost $2,363 million. TAC voted to endorse the project on May 19, 2026. ERCOT Board of Directors endorsed the project on June 1, 2026, and ERCOT will issue the ERCOT endorsement letter.

- Oncor has submitted the Set 2 North Central & South Central Texas Reliability Project (RPG Project ID: 25RPG043). This is a Tier 1 project that is estimated to cost $440.79 million. ERCOT has completed the combined independent review on May 15, and the recommended project is estimated to cost $381.09 million. TAC voted to endorse the project on May 19, 2026. ERCOT Board of Directors endorsed the project on June 1, 2026, and ERCOT will issue the ERCOT endorsement letter.

- Oncor has submitted the Set 2 North Central & South Central Texas Reliability Project (RPG Project ID: 25RPG043). This is a Tier 1 project that is estimated to cost $440.79 million. Group 3 of this project is currently under ERCOT’s independent review.

- STEC has submitted the Medina County Large Load Additions Project (RPG Project ID: 25RPG046). This is a Tier 1 project that is estimated to cost $492.00 million. This project is currently under ERCOT’s independent review.

- LCRA TSC and CEHE have submitted the Euclid 765-kV Substation and Transmission Line Addition Project (RPG Project ID: 26RPG001). This is a Tier 1 project that is estimated to cost $1,830 million. ERCOT has completed the independent review on May 15, and the recommended project is estimated to cost $1.831 billion. TAC voted to endorse the project on May 19, 2026. ERCOT Board of Directors endorsed the project on June 1, 2026, and ERCOT will issue the ERCOT endorsement letter.

- AEPSC has submitted the Laredo Area Upgrade Project (RPG Project ID: 26RPG004). This is a Tier 2 project that is estimated to cost $178.00 million. This project is currently under ERCOT’s independent review.

- DME has submitted the Denton Area Transmission Improvements Project (RPG Project ID: 26RPG005). This is a Tier 1 project that is estimated to cost $222.44 million. This project is currently under ERCOT’s independent review.

- BEC has submitted the Cooke County Resiliency Project (RPG Project ID: 26RPG007). This is a Tier 2 project that is estimated to cost $147.13 million. This project is currently under ERCOT’s independent review.

- AEPSC has submitted the Panhandle Project (RPG Project ID: 26RPG008). This is a Tier 1 project that is estimated to cost $10.469 billion. This project is currently under ERCOT’s independent review.

- AEPSC has submitted the Rio Grande Valley System Improvement Project (RPG Project ID: 26RPG009). This is a Tier 1 project that is estimated to cost $4.870 billion. This project is currently under ERCOT’s independent review.

- Oncor has submitted the Dermott Area 138-kV Line Upgrades Project (RPG Project ID: 26RPG014). This is a Tier 3 project that is estimated to cost $78.00 million. The RPG review of this project was completed on April 7, and ERCOT has issued an acceptance letter.

- Oncor has submitted the Rockhound to Longshore 345-kV Double-Circuit Line Project (RPG Project ID: 26RPG015). This is a Tier 2 project that is estimated to cost $144.00 million. This project is currently under ERCOT’s independent review.

- CTT has submitted the Panhandle Reliability Transmission Plan Project (RPG Project ID: 26RPG016). This is a Tier 1 project that is estimated to cost $4,100 million. This project is currently under ERCOT’s independent review.

- TNMP has submitted the Climax to Bells Area Transmission System Improvements Project (RPG Project ID: 26RPG017). This is a Tier 1 project that is estimated to cost $225.40 million. This project is currently under ERCOT’s independent review.

- PEC has submitted the Liberty Hill Area Capacity Improvement Project (RPG Project ID: 26RPG018). This is a Tier 2 project that is estimated to cost $80.00 million. This project is currently under ERCOT’s independent review.

- CNP has submitted the 138-kV Newport to Jonte Ckt.86 Upgrade Project (RPG Project ID: 26RPG019). This is a Tier 3 project that is estimated to cost $104.82 million. The RPG review of this project was completed on June 1, and ERCOT has issued an acceptance letter.

- CNP has submitted the 138-kV Ckt.93 P.H. Robinson to Algoa Corner Hardening Project (RPG Project ID: 26RPG020). This is a Tier 3 project that is estimated to cost $104.25 million. The RPG review of this project was completed on June 10, and ERCOT will issue an acceptance letter.

- CNP has submitted the 138-kV Ckt.05A WAP to Missouri City Tap Partial Rebuild Project (RPG Project ID: 26RPG021). This is a Tier 3 project that is estimated to cost $65.00 million. The RPG review of this project was completed on June 15. Pursuant to the Protocol Section 3.11.4.3.1 (d), this project has been reclassified as a Tier 4 neutral project.

- AEN has submitted the Dunlap to Decker 138-kV Line Project (RPG Project ID: 26RPG022). This is a Tier 2 project that is estimated to cost $61.61 million. This project is currently under ERCOT’s independent review.

- CNP has submitted the North Houston and Tomball Area Upgrade Project (RPG Project ID: 26RPG023). This is a Tier 3 project that is estimated to cost $118.99 million. The RPG review of this project was completed on June 23, and ERCOT will issue an acceptance letter.

- CNP has submitted the 138-kV Ckt.05D Missouri City to Westchase Upgrade Project (RPG Project ID: 26RPG024). This is a Tier 3 project that is estimated to cost $50.33 million. The RPG review of this project was completed on June 25, and ERCOT will issue an acceptance letter.

- WETT has submitted the Nova Prime Second 345/138-kV Autotransformer Project (RPG Project ID: 26RPG025). This is a Tier 3 project that is estimated to cost $36.78 million. This project is currently in the RPG comment period.

# RPG Project Reviews Completed in 2026:

| RPG Project ID | RPG Project Name | Submitted Entity | Tier | Estimated Cost ($ Millions) | Review Completion Month |
| --- | --- | --- | --- | --- | --- |
| 25RPG044 | Whitney Autotransformer Upgrade Project | BEC | Tier 3 | 33.50 | January |
| 25RPG045 | Alice Area Improvements Transmission Project | AEPSC | Tier 3 | 67.00 | January |
| 25RPG012 | Ammonia Plant Load Project | STEC | Tier 1 | 117.38 | February |
| 25RPG028 | P.H. Robinson to W.A. Parish 345-kV Hardening Project | CNP | Reclassified from Tier 1 to Tier 4 per Protocol | 511.31 | February |
| 25RPG033 | Oncor Skyview 345/138-kV Switch Project | Oncor | Tier 2 | 56.82 | March |
| 26RPG002 | RW Miller Area Improvement 138-kV Line Rebuild Project | BEC & Oncor | Tier 3 | 186.89 | March |
| 26RPG003 | SAPS to SA Red Creek 138-kV Line Project | AEPSC | Reclassified from Tier 3 to Tier 4 per Protocol | 53.00 | March |
| 26RPG006 | Modification to the Baytown Area Load Project | CNP | Tier 3 | 309.14 | March |
| 26RPG010 | China Grove to Big Spring 138-kV Line Rebuild Project | Oncor | Tier 3 | 130.60 | March |
| 26RPG011 | HOC to University 69-kV to 138-kV Conversion Project | CNP | Tier 3 | 65.09 | March |
| 25RPG004 | Southern DFW Load Interconnection and General Grid Strengthening Project | Oncor | Tier 1 | 2,886 | April |
| 25RPG016 | Nueces Green Ammonia Load Interconnection Project | STEC | Tier 1 | 161.10 | April |
| 25RPG038 | Navarro and Ellis Area Reliability Project | Oncor & LST | Tier 1 (Combined with 25RPG004) | 759.95 | April |
| 26RPG012 | 138-kV Angleton to Clute Upgrades Project | CNP | Tier 3 | 169.82 | April |
| 26RPG013 | AJ Swope to Wallaby 345-kV Line Cut-In Project | Oncor | Tier 3 | 3.10 | April |
| 25RPG039 | Southeast Brownsville Large Load Transmission System Improvements Project | STEC | Tier 2 | 96.60 | May |
| 26RPG014 | Dermott Area 138-kV Line Upgrades Project | Oncor | Tier 3 | 78.00 | May |
| 25RPG013 | Reactive Power Planning Project | CPS | Tier 1 | 477.70 | June |
| 25RPG017 | Helotes 345/138-kV Switching Station and Autotransformer Addition at Eastside Switching Station Project | CPS | Tier 1 (Combined with 25RPG013) | 110.00 | June |
| 25RPG026 | Paris Switch to Monticello Switch 345-kV Line Rebuild Project | Oncor | Tier 1 | 233.30 | June |
| 25RPG040 | Set 1 North & Central Texas Reliability Project | Oncor | Tier 1 | 2,363 | June |
| 25RPG041 | Set 1 North Central & South Central Texas Reliability Project | Oncor | Tier 1 | 381.09 | June |
| 25RPG042 | Set 2 North & Central Texas Reliability Project | Oncor | Tier 1 (Combined with 25RPG040) | 1,330 | June |
| 25RPG043 | Set 2 North Central & South Central Texas Reliability Project | Oncor | Tier 1 (Combined with 25RPG041) | 440.79 | June |
| 26RPG001 | Euclid 765-kV Substation and Transmission Line Addition Project | LCRA TSC & CEHE | Tier 1 | 1,830 | June |
| 26RPG019 | 138-kV Newport to Jonte Ckt.86 Upgrade Project | CNP | Tier 3 | 104.82 | June |
| 26RPG020 | 138-kV Ckt.93 P.H. Robinson to Algoa Corner Hardening Project | CNP | Tier 3 | 104.25 | June |
| 26RPG021 | 138-kV Ckt.05A WAP to Missouri City Tap Partial Rebuild Project | CNP | Reclassified from Tier 3 to Tier 4 per Protocol | 65.00 | June |
| 26RPG023 | North Houston and Tomball Area Upgrade Project | CNP | Tier 3 | 119.00 | June |
| 26RPG024 | 138-kV Ckt.05D Missouri City to Westchase Upgrade Project | CNP | Tier 3 | 50.33 | June |

More information on current and past RPG projects can be found on the ERCOT MIS Secure (digital certificate required): https://mis.ercot.com/secure/data-products/grid/regional-planning

Past email communication on RPG projects can be found on the ERCOT listserv by signing up for the REGPLANGROUP list: http://lists.ercot.com/scripts/wa-ERCOT.exe?A0=REGPLANGROUP

- Planning Model Activities

The short-term calendar of major planning model events is as follows:

- By July 10, 2026		26SSWG Cases and TPIT will be posted

- By July 17, 2026		26SSWG Contingency and Planning Data Dictionary will be posted

The following table shows interconnection projects that met Planning Guide section 6.9(1) and 6.9(2) and were modeled in the SSWG cases as a full model or as a simple model in accordance with Planning Guide section 6.9.

- Permian Basin Oil Rig Count

- Other Notable Activities

- ERCOT presented the scope and assumptions for the 2026 Grid Reliability and Resiliency Assessment (GRRA) at the June 2026 RPG meeting.

+/- symbol indicates the increase or decrease from the previous month in oil rigs present in each county. There are 165 rigs, including an increase of 13 oil rigs, in the Permian Basin from May to June 2026.