## Slide 1: August PLWG Update
Mina Turner, Chair
Kiran Kota, Vice-Chair
Evan Neel, Vice-Chair
August 6th , 2026

## Slide 2
PGRR 122 – Reliability Performance Criteria for Loss of Load
  ERCOT continues to review comments and expects to provide feedback at the August PLWG meeting.
  PGRR will remain tabled at PLWG.
PGRR 130 - Related to NPRR 1295, GTC Exit Solutions
  Sponsors and ERCOT have reached agreement on language changes to NPRR 1295.
  NPRR1295 changes include clarifications to ERCOT's authority and removal of requirements for upgrades that would significantly improve GTCs.
  PGRR 130 will be withdrawn and NPRR 1295 will move to ROS for a vote.

## Slide 3
PGRR 147 - Allowable Non-Consequential Load Loss Alignment -Rayburn County Electric Cooperative
  LCRA presented comments that oppose PGRR147 as drafted, expressing concern that expanded non-consequential load loss could shift planning toward customer interruption as a reliability solution.
  ERCOT Operations agreed, noting that NERC requirements are minimum standards and that ERCOT's more stringent criteria prevent non-consequential load loss during N-1-1 conditions amid routine transmission outages.
  Rayburn representatives, supported the reliability objective but described cases in which strict N-1-1 assumptions can produce inefficient transmission solutions.
  Rayburn and Oncor discussed a narrower approach for contractually interruptible customers on dedicated facilities, using predefined operational measures while long-term upgrades are developed.
  ERCOT Operations noted that outage action plans and curtailment procedures are used in limited circumstances but cautioned that widespread use for new large loads could be difficult to manage and could blur the boundary between planning and operations.

## Slide 4
PGRR 147 - Allowable Non-Consequential Load Loss Alignment -Rayburn County Electric Cooperative – continued
  Electric Power Engineers suggested operational measures as an interim bridge where a long-term transmission plan exists. Participants sought clearer definitions for interruptible and non-consequential load, questioned contractual enforceability, and asked whether ERCOT had quantified projects and costs attributable to the current criterion.
  Pedernales Electric Cooperative emphasized ERCOT's limited interconnection and more stringent planning criteria. The group clarified that PGRR147 concerns bulk-transmission contingencies and that emergency load-disconnection provisions are not a substitute for planning criteria.
  Rayburn agreed to continue working with Oncor, other TSPs, ERCOT, and stakeholders on more specific language before the next meeting.
  PGRR tabled for further language proposals.

## Slide 5
Scheduling an In-Person GETs Workshop (PGRR128)
  During other business, Eric Goff (TEBA) proposed a full-day, in-person workshop on advanced transmission technologies, including grid-enhancing technologies, before final PGRR128 consideration. The workshop would cover technology operation, available tools, and application in transmission planning, including the CTP and batch-study processes.
  Eric will share his draft agenda with PLWG leadership.
  Robert Golen (ERCOT) noted that the September PLWG and RPG calendars are crowded. ERCOT remains open to a separate September date or a later date and will coordinate by email.
  PLWG leadership and ERCOT to coordinate the workshop date and agenda.

## Slide 6
Tabled Items
PGRR 124 - ESR Maintenance Exception to Modifications- Sponsor is having internal discussions and would like to continue to table the PGRR at PLWG.

## Slide 7: Questions ?