ERCOT Nodal Operating Guide

# Table of Contents

# August 1, 2026

1	Overview	2

1.1	Document Purpose	2

1.2	Document Relationship	2

1.3	Process for Nodal Operating Guide Revision	2

1.3.1	Introduction	2

1.3.2	Submission of a Nodal Operating Guide Revision Request	4

1.3.3	Nodal Operating Guide Revision Procedure	4

1.3.3.1	Review and Posting of Nodal Operating Guide Revision Requests	4

1.3.3.2	Withdrawal of a Nodal Operating Guide Revision Request	5

1.3.3.3	ROS Review and Action	6

1.3.3.4	Comments to the ROS Report	7

1.3.3.5	Nodal Operating Guide Revision Request Impact Analysis	7

1.3.3.6	ROS Review of Impact Analysis	8

1.3.3.7	ERCOT Impact Analysis Based on ROS Report	8

1.3.3.8	PRS Review of Project Prioritization	8

1.3.3.9	Technical Advisory Committee Vote	8

1.3.3.10	ERCOT Board Vote	10

1.3.3.11	PUCT Approval of Revision Requests	11

1.3.3.12	Appeal of Action	11

1.3.4	Urgent Requests	11

1.3.5	Nodal Operating Guide Revision Implementation	12

1.4	Definitions	13

1.5	Operational Training	19

1.5.1	System Operator Training Objectives	19

1.5.2	System Operator Training Requirements	19

1.5.3	ERCOT Operations Training Seminar	20

1.5.4	ERCOT Severe Weather Drill	20

1.5.5	Training Practices	21

1.5.6	ERCOT Operator Certification Program	21

2	System Operations and Control Requirements	1

2.1	Operational Duties	1

2.2	System Monitoring and Control	3

2.2.1	Overview	3

2.2.2	Security Criteria	5

2.2.3	Response to Transient Voltage Disturbance	5

2.2.4	Load Frequency Control	6

2.2.4.1	Maintenance and Verification	7

2.2.4.2	Regulation Provider Loss of AGC	7

2.2.4.3	ERCOT Loss of AGC	7

2.2.5	Automatic Voltage Regulators	8

2.2.6	Power System Stabilizers	10

2.2.7	Turbine Speed Governors	14

2.2.8	Performance/Disturbance/Compliance Analysis	15

2.2.9	Time Error and Time Synchronization	17

2.2.9.1	Time Error	17

2.2.9.2	Time Synchronization	18

2.2.10	Generation Resource and Energy Storage Resource Response Time Requirements	18

2.3	Ancillary Services	20

2.3.1	Responsive Reserve	27

2.3.1.1	Obligation	27

2.3.1.2	Additional Operational Details for Responsive Reserve Providers	27

2.3.1.2.1	Limit on Resources Providing RRS Using Primary Frequency Response	33

2.3.2	Non-Spinning Reserve Service	34

2.3.2.1	Additional Operational Details for Non-Spinning Reserve Service Providers	34

2.3.3	ERCOT Contingency Reserve Service	36

2.3.3.1	Additional Operational Details for ERCOT Contingency Reserve Service (ECRS) Providers	36

2.4	Outage Coordination	38

2.5	Reliability Unit Commitment	39

2.5.1	Criteria for Removing Contingencies from the Reliability Unit Commitment Analyses	39

2.6	Requirements for Under-Frequency and Over-Frequency Relaying	39

2.6.1	Automatic Firm Load Shedding	39

2.6.2	Frequency Ride-Through Requirements for Generation Resources and Energy Storage Resources	43

2.6.2.1	Frequency Ride-Through Requirements for Transmission-Connected Inverter-Based Resources (IBRs), Type 1 Wind-powered Generation Resources (WGRs) and Type 2 WGRs	44

2.6.2.1.1	Temporary Frequency Ride-Through Requirements for Transmission-Connected Inverter-Based Resources (IBRs), Type 1 Wind-powered Generation Resources (WGRs) and Type 2 WGRs	45

2.6.2.2	Frequency Ride-Through Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs)	46

2.6.3	Frequency Ride-Through Requirements for Direct Current Ties (DC Ties)	47

2.7	System Voltage Profile and Operational Voltage Control	48

2.7.1	Introduction	48

2.7.2	Maintaining Voltage Profile	48

2.7.3	Real-Time Operational Voltage Control	50

2.7.3.1	    Operational Guidelines	50

2.7.3.2	ERCOT Responsibilities	51

2.7.3.3	TO/TSP Responsibilities	53

2.7.3.3	TO/TSP Responsibilities	54

2.7.3.4	QSE Responsibilities	55

2.7.3.5	Resource Entity Responsibilities and Generation Resource and Energy Storage Resource Requirements	56

2.7.3.6	DCTO Responsibilities and DC Tie Requirements	57

2.7.4	Special Consideration for Nuclear Power Plants	58

2.7.5	 Parameters for Standard Reactor and Capacitor Switching Plan	58

2.7.6	 Unit Dispatch Beyond the Corrected Unit Reactive Limit or Unit Reactive Limit	59

2.8	Operation of Direct Current Ties	59

2.9	Voltage Ride-Through Requirements for Generation Resources and Energy Storage Resources	60

2.9.1	Voltage Ride-Through Requirements for Transmission-Connected Inverter-Based Resources (IBRs), Type 1 Wind-powered Generation Resources (WGRs), Type 2 WGRs and Type 3 WGRs	62

2.9.1.1	Preferred Voltage Ride-Through Requirements for Transmission-Connected Inverter-Based Resources (IBRs)	64

2.9.1.2	Legacy Voltage Ride-Through Requirements for Transmission-Connected Inverter-Based Resources (IBRs), Type 1 Wind-powered Generation Resources (WGRs) and Type 2 WGRs	67

2.9.2	Voltage Ride-Through Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs)	69

2.10	Voltage Ride-Through Requirements for DC Ties	70

2.11.1	Initial Frequency Ride-Through Capability Documentation and Reporting Requirements	71

2.11.2	Initial Voltage Ride-Through Capability Documentation and Reporting Requirements	73

2.12	Procedures for Frequency and Voltage Ride-Through Exemptions and Extensions for Transmission-Connected Inverter-Based Resources (IBRs), Type 1 Wind-powered Generation Resources (WGRs) and Type 2 WGRs	75

2.12.1	Exemptions and Extensions Process	75

2.12.1.1 	Submission of Exemption Requests	77

2.12.1.2 	Submission of Extension Requests	77

2.12.1.3 	Timeline for Submission and Determination of Extension Requests	79

2.13	Actions Following a Transmission-Connected Inverter-Based Resource (IBR), Type 1 Wind-powered Generation Resource (WGR) or Type 2 WGR Apparent Failure to Ride-Through	81

3	ERCOT and market participant responsibilities	1

3.1	System Control Interfaces with ERCOT	1

3.1.1	Introduction	1

3.1.2	Compliance with Dispatch Instructions	1

3.1.3	Dispatch Instructions	1

3.2	Qualified Scheduling Entities	3

3.2.1	Operating Obligations	3

3.2.2	Changes in Resource Status	4

3.2.3	Regulatory Required Incident and Disturbance Reports	5

3.2.4	Ancillary Service Qualification and Testing Program	6

3.3	Resource Entities	6

3.3.1	Unit Capability Requirements	8

3.3.2	Unit Reactive Capability Requirements	9

3.3.2.1	Corrected Unit Reactive Limits (CURL)	9

3.3.2.2	Reactive Testing Requirements	10

3.3.3	Resource Entity Responsibilities for Equipment Ratings	16

3.4	Load Resource Testing Requirement	17

3.5	ERCOT Implementation	17

3.6	Transmission Service Providers	18

3.7	Transmission Operators	18

3.7.1	Transmission Owner Responsibility for a Vegetation Management Program	21

3.7.2	Transmission Service Provider Responsibilities for Equipment Ratings	21

3.8	Requirements for Reporting Sabotage Information	22

4	EMERGENCY OPERATIONS	2

4.1	Introduction	2

4.2	Communication Prior to and During Emergency Conditions	2

4.2.1	Operating Condition Notice	2

4.2.2	Advisory	3

4.2.3	Watch	4

4.2.4	Emergency Notice	5

4.3	Operation to Maintain Transmission System Security	5

4.3.1	Real-Time and Short Term Planning	6

4.4	Block Load Transfers between ERCOT and Non-ERCOT System	6

4.5	Energy Emergency Alert (EEA)	6

4.5.1	General	6

4.5.2	Operating Procedures	7

4.5.3	Implementation	9

4.5.3.1 	General Procedures Prior to EEA Operations	11

4.5.3.2	General Procedures During EEA Operations	15

4.5.3.3	EEA Levels	17

4.5.3.4	Load Shed Obligation	23

4.5.3.5	EEA Termination	25

4.6	Black Start Service	26

4.6.1	Principles	26

4.6.2	Strategies	27

4.6.3	Priorities	27

4.6.4	Responsibilities	28

4.6.5	Black Start Emergency Back Up Communication Facilities Criteria	32

4.7       Geomagnetic Disturbance Operating Plan	32

4.7.1	Monitoring and Dissemination of Space Weather Information	32

4.7.2	Development and Submission of TO GMD Operating Procedures or Processes	32

4.7.3	ERCOT’s GMD Operating Plan and ERCOT Review of TO GMD Operating Procedures or

Processes	33

4.8	Responsive Reserve Service During Scarcity Conditions	34

4.8.1	Responsive Reserve Service Manual Deployment	34

4.8.2	Responsive Reserve Service Manual Recall	                                                                                  34

5	NETWORK OPERATIONS MODELING REQUIREMENTS	1

5.1	System Modeling Information	1

6	DISTURBANCE MONITORING AND SYSTEM PROTECTION	1

6.1	Disturbance Monitoring Requirements	1

6.1.1	Introduction	1

6.1.1.1	 Applicability	2

6.1.2	Fault Recording and Sequence of Events Recording Equipment	2

6.1.2.1	Fault Recording Requirements	2

6.1.2.2	Fault Recording and Sequence of Events Recording Equipment Location Requirements	3

6.1.2.3	Fault Recording and Sequence of Events Recording Data Requirements	5

6.1.2.4	Fault Recording and Sequence of Events Recording Data Retention and Reporting Requirements	7

6.1.3	Dynamic Disturbance Recording Equipment Including Phasor Measurement Unit Equipment	8

6.1.3.1	Dynamic Disturbance Recording Equipment Requirements	8

6.1.3.1.1	Recording and Triggering Requirements	8

6.1.3.1.2	Dynamic Disturbance Recording Equipment Location Requirements	9

6.1.3.1.3	Dynamic Disturbance Recording Data Recording and Redundancy Requirements	10

6.1.3.1.4	Dynamic Disturbance Recording Data Retention and Data Reporting Requirements	10

6.1.3.2	 Phasor Measurement Unit Requirements	11

6.1.3.2.1	Phasor Measurement Unit Recording Requirements	11

6.1.3.2.2	Phasor Measurement Unit Location Requirements	12

6.1.3.2.3      Phasor Measurement Unit Data Recording and Redundancy Requirements	14

6.1.3.2.4	Phasor Measurement Unit Data Retention and Data Reporting Requirements	15

6.1.4	Fault Recording, Sequence of Events Recording, and Phasor Measurement Unit Requirements for Inverter-Based Resources (IBRs)	16

6.1.4.1	Fault Recording and Sequence of Events Recording Equipment Requirements	16

6.1.4.1.1	Sequence of Events Recording Data Requirements	16

6.1.4.1.2	Fault Recording Data and Triggering Requirements	16

6.1.4.3	Phasor Measurement Unit Equipment Requirements	18

6.1.4.4	Data Retention and Data Reporting Requirements for Fault Recording, Sequence of Events Recording, and Phasor Measurement Unit Equipment	19

6.1.5	Maintenance and Testing Requirements	20

6.1.5.1	Geomagnetic Disturbance (GMD) Measurement Data Processes	20

6.1.6	Equipment Reporting Requirements	20

6.1.7	Review Process	21

6.2	System Protective Relaying	21

6.2.1	Introduction	21

6.2.1.1	Applicability	22

6.2.2	Design and Operating Requirements for ERCOT System Facilities	22

6.2.3	Performance Analysis Requirements for ERCOT System Facilities	23

6.2.4	Protective Relay System Failure Response	26

6.2.5	Maintenance and Testing Requirements for ERCOT System Facilities	27

6.2.6	Requirements and Recommendations for ERCOT System Facilities	27

6.2.6.1	General Protection Criteria	27

6.2.6.1.1	Dependability	27

6.2.6.1.2	Security	28

6.2.6.1.3	Dependability and Security	28

6.2.6.1.4	Operating Time	29

6.2.6.1.5	Testing and Maintenance	29

6.2.6.1.6	Analysis of System Performance and Associated Protection Systems	30

6.2.6.2	Equipment and Design Considerations	31

6.2.6.2.1	Current Transformers	31

6.2.6.2.2	Voltage Transformers and Potential Devices	32

6.2.6.2.3	Batteries and Direct Current Supply	32

6.2.6.2.4	AC Auxiliary Power	33

6.2.6.2.5	Circuit Breakers	33

6.2.6.2.6	Communications Channels	34

6.2.6.2.7	Control Cables and Wiring	34

6.2.6.2.8	Environment	35

6.2.6.3	Specific Application Considerations	36

6.2.6.3.1	Transmission Line Protection	36

6.2.6.3.2	Transmission Station Protection	37

6.2.6.3.3	Breaker Failure Protection	37

6.2.6.3.4	Generator and Energy Storage Resource Protection and Relay Requirements	38

6.2.6.3.5	Automatic Under-Frequency Load Shedding Protection Systems	39

6.2.6.3.6	Automatic Under-Voltage Load Shedding Protection Systems	40

7	Telemetry and Communication	1

7.1	ERCOT Wide Area Network	1

7.1.1	ERCOT Responsibilities	2

7.1.2	WAN Participant Responsibilities	2

7.1.3	Joint Responsibilities (Maintenance and Restoration)	11

7.2	ERCOT ICCP Interface	11

7.2.1	Quality Codes	11

7.2.2	Metric of Availability	12

7.3	Telemetry	12

7.3.1	Data from ERCOT to QSEs	13

7.3.2	Data from ERCOT to TSP	13

7.3.3	Data from WAN Participants to ERCOT	14

7.3.4	Resolving Real-Time Data Issues that affect ERCOT Network Security Analysis	15

7.3.5	TSP and QSE Telemetry Restoration	16

7.3.6	General Telemetry Performance Criterion	16

7.4	Calibration and Testing of Telemetry Responsibilities	16

8	ATTACHMENTS

8A Black Start Info

8B Protection System Misoperation Report

8C Turbine Governor Speed Tests

8D Seasonal Unit Net Real Power Capability Verification

8E Black Start Plan Template

8F Seasonal Hydro Responsive Reserve Net Capability Verification

8G Load Resource Tests

8H Unit Alternative Fuel Capability

8I Black Start Resource Availabiity Test Form

8J Initial and Sustained Measurements for Primary Frequency Response

8K Remedial Action Scheme (RAS) Template

8L Emergency Operations Plan

8M Selecting Buses for Capturing Sequence of Events Recording and Fault Recording Data

8N Procedure for Calculating RRS MW Limits for Individual Resources to Provide RRS Using Primary Frequency Response

9	Monitoring Programs	1

9.1	QSE and Resource Monitoring Program	1

9.1.1	Real-Time Data	1

9.1.2	Compliance with Valid Dispatch Instructions	1

9.1.3	Resource Outage Reporting	2

9.1.4	Current Operating Plan Metrics for QSEs	2

9.2	TSP Monitoring Program	3

9.2.1	Intentionally Left Blank	3

9.2.2	Real-Time Data Monitor	3

9.2.3	Transmission Outage Reporting	3

9.3	ERCOT Monitoring Program	4

9.3.1	Transmission Control	4

9.3.2	System and Resource Control	5

9.3.3	Computer and Communication Systems Real-Time Availability and Systems Security	6

9.4	Ancillary Services Monitoring Program	6

9.4.1	Hydro Responsive Testing	7

9.4.2	Resource-Specific Responsive Reserve Performance	7

9.4.3	Resource-Specific Non-Spinning Reserve	7

9.4.4	Resource-Specific ERCOT Contingency Reserve Service	7

10	Market Data Transparency	1

10.1 	Direct Current Tie Outage Information	1

11  CONSTRAINT MANAGEMENT PLANS AND REMEDIAL ACTION SCHEMES	1

11.1 	Introduction	1

11.2 	Remedial Action Schemes	2

11.2.1 	Reporting of RAS Operations	8

11.3	Automatic Mitigation Plans	9

11.4	Remedial Action Plan	10

11.4.1	Remedial Action Plan Process	11

11.5	Mitigation Plan	12

11.6	Pre-Contingency Action Plans	13

11.6.1	Pre-Contingency Action Plan Process	14

11.7	Temporary Outage Action Plan	14