APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 8000 Metropolis Drive (Building E), Suite 100 – Austin, Texas 78744

Thursday, June 4, 2026 – 9:30 a.m.

Attendance

ROS Representatives:

| Blankenship, David | CenterPoint Energy (CNP) |  |  |
| --- | --- | --- | --- |
| Bowen, Kenneth | CPS Energy |  | Via Teleconference |
| Burkhead, Brett | Constellation Energy Generation (Constellation) |  |  |
| Carter, Matt | Garland Power & Light |  | Via Teleconference |
| Cochran, Adam | Tenaska Power Services (TNSK) |  | Via Teleconference |
| Cook, Kristin | Southern Power Company |  | Via Teleconference |
| Fun, Meng | Chariot Energy |  | Via Teleconference |
| Garza, Beth | Residential Consumer |  |  |
| Haley, Ian | Morgan Stanley |  |  |
| Hendrix, Chris | Demand Control 2 |  | Via Teleconference |
| Henson, Martha | Oncor Electric Delivery (Oncor) |  | Alt. Rep. for Eithar Nashawati |
| Jackson, Daryll | Texas-New Mexico Power Company |  |  |
| King, Blake | Galaxy Power |  | Via Teleconference |
| Klug, Jack | City of Eastland |  |  |
| Koenig, Chris | Golden Spread Electric Cooperative (GSEC) |  | Via Teleconference |
| Kroskey, Tony | Brazos Electric Power Cooperative (Brazos) |  | Via Teleconference |
| Lutrick, Chris | Denton Municipal Electric (DME) |  | Via Teleconference |
| Matt, Kevin | Reliant Energy |  | Via Teleconference |
| Merta, Derek | South Texas Electric Cooperative (STEC) |  |  |
| Miller, Alex | EDF Renewables (EDF) |  | Via Teleconference |
| Mrini, Imane | Austin Energy |  | Via Teleconference |
| Reed, Cyrus | Sierra Club |  | Via Teleconference |
| Rich, Katie | Vistra Operations Company (Vistra) |  | Via Teleconference |
| Schmitt, Jennifer | Rhythm Ops |  | Via Teleconference |
| Smith, Chase | Southern Power Company |  | Via Teleconference |
| Spalek, Matthew | AEP Service Corporation (AEPSC) |  | Via Teleconference |
| Thomas, Shane | Shell Energy North America (SENA) |  |  |
| Urena, Chris | Lower Colorado River Authority (LCRA) |  | Alt. Rep. for Daniel Marr |
| Vara, John | Golden Spread Electric Cooperative (GSEC) |  | Via Teleconference |

| Guests: |  |  |
| --- | --- | --- |
| Aldridge, Ryan | AB Power | Via Teleconference |
| Aleman, Charles | Sharyland | Via Teleconference |
| Amaro, Andrew | LCRA | Via Teleconference |
| Anderson, Connor | AB Power Advisors | Via Teleconference |
| Ashley, Kristy | CES | Via Teleconference |
| Baker, Bryn |  | Via Teleconference |
| Baker, Jake | NRG | Via Teleconference |
| Bennett, Stacie | LS Power | Via Teleconference |
| Bernier, Leo |  | Via Teleconference |
| Bevill, Rob | TNMP |  |
| Blackshear, David |  | Via Teleconference |
| Blakey, Eric | PEC | Via Teleconference |
| Bonskowski, Ned | Vistra | Via Teleconference |
| Borkar, Sandeep |  | Via Teleconference |
| Bowen, Kenneth | CPS Energy | Via Teleconference |
| Bruce, Mark |  | Via Teleconference |
| Cardiel, Jonathan | PUCT | Via Teleconference |
| Carter, Cathey | GridAxon | Via Teleconference |
| Chenyan, Guo |  | Via Teleconference |
| Clearway, Regan Fink |  | Via Teleconference |
| Corrales, Susana | RWE | Via Teleconference |
| Cortez, Sarai | Priority Power | Via Teleconference |
| Dan Wilson, Joe | GSEC | Via Teleconference |
| Donohoo, Ken | OwlERC LLC | Via Teleconference |
| Downey , Marty | Vistra | Via Teleconference |
| Du, Pengwei |  | Via Teleconference |
| Duane, Ava |  | Via Teleconference |
| Ebby, John | CNP | Via Teleconference |
| Ferrei, Heverton | Gridmonitor | Via Teleconference |
| Filho, Renato |  | Via Teleconference |
| Finke, Sidne |  | Via Teleconference |
| Flessner, Teddi | TEC | Via Teleconference |
| Gayhart, Chris | Cim View | Via Teleconference |
| Gianni, Juliana | Goff Policy |  |
| Greth, Nolan |  | Via Teleconference |
| Helton, Bob | Engie North America | Via Teleconference |
| Holt, Blake | LCRA |  |
| Jayachandran, Marilyn |  | Via Teleconference |
| Jewell, Michael |  |  |
| Jha, Monica | Vistra | Via Teleconference |
| Jones, Joymesha |  | Via Teleconference |
| Judy, Doug |  | Via Teleconference |
| Kakarla, Raja | CNP | Via Teleconference |
| Kara, Beckmann | NextEra | Via Teleconference |
| King, Blake | Galaxy Power | Via Teleconference |
| King, Marc | CenterPoint Energy | Via Teleconference |
| Kota, Kiran | Infinium | Via Teleconference |
| Kozlowski, Brian |  | Via Teleconference |
| Kremling, Barry |  | Via Teleconference |
| Lee, Jim | CenterPoint Energy |  |
| Leija, Josh | REC |  |
| Lewis, Lauren | TIEC | Via Teleconference |
| Loyferman, Larisa |  | Via Teleconference |
| Majidi, Mohammad | COP | Via Teleconference |
| Management, Kevin Hanson Energy | Invenergy | Via Teleconference |
| Martha, Henson |  | Via Teleconference |
| Mathew, Shirley | Texas RE | Via Teleconference |
| Matos, Chris | Google | Via Teleconference |
| McClellan, Suzi |  | Via Teleconference |
| McDaniel Wyann, Constance | ETT |  |
| McDonnell, Alan | NSEE | Via Teleconference |
| McElroy, Randall | OPUC | Via Teleconference |
| Mendoza, Albert | OxyChem | Via Teleconference |
| Messmann, Paul | Tenasha Power Services | Via Teleconference |
| Mulholland, Chad | NRG | Via Teleconference |
| Ndusorouwa, Uchenna |  | Via Teleconference |
| Neel, Evan | Lancium | Via Teleconference |
| Newnam, Eric | Texas RE | Via Teleconference |
| Ortigoza, Gerardo | Terraflow Energy | Via Teleconference |
| Parekh, Vaibhav | New Project Media | Via Teleconference |
| Pearson, Arthur |  | Via Teleconference |
| Pearson, Kelsey | Longhorn Power |  |
| Penney, David | Texas RE | Via Teleconference |
| Preas, Dylan | LCRA | Via Teleconference |
| Ramirez, Chris | WETT | Via Teleconference |
| Rasmussen, Erin | AEP |  |
| Ravulapati, Bharath | Crusoe | Via Teleconference |
| Reed, Cyrus | Sierra Club | Via Teleconference |
| Reed, Ronald |  | Via Teleconference |
| Reid, Mike | Air Liquide | Via Teleconference |
| Richmond, Michele | TCPA | Via Teleconference |
| Rickey, Floyd |  | Via Teleconference |
| Robert, Bevill |  | Via Teleconference |
| Robertson, William | CPS Energy | Via Teleconference |
| Rochelle, Jenni | CES | Via Teleconference |
| Rurode, William | OPUC | Via Teleconference |
| Sanchez, Manuel | Oncor | Via Teleconference |
| Schubert, Eric | Google | Via Teleconference |
| Seaman, Chris | Rayburn |  |
| Sersen, Juliana |  | Via Teleconference |
| Silva, Patricio | Enel | Via Teleconference |
| Smith, Caitlin | Jupiter Power | Via Teleconference |
| Spenrath, Micalah |  | Via Teleconference |
| Springer, Tyler | AEP | Via Teleconference |
| Stanfill, Susan | MSP | Via Teleconference |
| Stephenson, Zach | TEC | Via Teleconference |
| Teng, Shuye | Constellation | Via Teleconference |
| Thompson, David |  | Via Teleconference |
| Townsend, Paul | TCPA | Via Teleconference |
| Turner, Mina | AEP | Via Teleconference |
| Upadhyay, Aditi |  | Via Teleconference |
| Utomi, Samuel |  | Via Teleconference |
| Varnell, John |  | Via Teleconference |
| Watson, Markham |  | Via Teleconference |
| Welch, Matt |  | Via Teleconference |
| Willmann, Sarah | Cim View | Via Teleconference |
| Wilson, Joe Dan | Golden Spread Electric Cooperative | Via Teleconference |
| Withrow, Kent |  | Via Teleconference |
| Wittmeyer, Bob |  |  |
| Woods, Brad | Texas RE | Via Teleconference |
| Wu, Xuan | PEC |  |
| Zech, David | CenterPoint Energy | Via Teleconference |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  |  |
| Boren, Ann |  | Via Teleconference |
| Cheng, Yunzhi |  | Via Teleconference |
| Clifton, Suzy |  | Via Teleconference |
| Fernandes, Jenifer |  | Via Teleconference |
| Fohn, Doug |  | Via Teleconference |
| Gallo, Adam |  | Via Teleconference |
| Garcia, Freddy |  |  |
| Gnanam, Prabhu |  | Via Teleconference |
| Golen, Robert |  | Via Teleconference |
| Gonzales, Nathan |  |  |
| Gross, Katherine |  |  |
| Hinojosa, Luis |  |  |
| Kang, Sun Wook |  | Via Teleconference |
| Koepke, Joel |  | Via Teleconference |
| Lee, Alex |  | Via Teleconference |
| Madam, Vamsi |  | Via Teleconference |
| Matlock, Robert |  | Via Teleconference |
| Mohanadhas, Thinesh Devadhas |  | Via Teleconference |
| Morales, Elizabeth |  | Via Teleconference |
| Opheim, Calvin |  | Via Teleconference |
| Ramthun, Eli |  | Via Teleconference |
| Springer, Agee |  |  |
| Thompson, Chad |  | Via Teleconference |
| Troublefield, Jordan |  | Via Teleconference |
| Troy, Anderson |  | Via Teleconference |
| Yan, Ping |  | Via Teleconference |
| Zuniga, Mariela |  | Via Teleconference |

Unless otherwise indicated, all Market Segments participated in the votes.

Nathan Gonzales called the June 4, 2026 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Gonzales directed attention to the Antitrust Admonition, which was displayed.

Election of 2026 ROS Leadership

Mr. Gonzales reviewed the leadership election process codified in the Technical Advisory Committee

Procedures and opened the floor for nominations.

Ian Haley nominated Shane Thomas for 2026 ROS Chair.  Mr. Thomas accepted the nomination.  Mr. Thomas was named 2026 ROS Chair by acclamation.

Martha Henson nominated David Blankenship for 2026 ROS Vice Chair.  Mr. Blankenship accepted the nomination.  Mr. Blankenship was named 2026 ROS Vice Chair by acclamation.

Agenda Review

# Mr. Thomas reviewed the agenda.

# Approval of ROS Meeting Minutes (see Key Documents)

# April 14, 2026

# April 23, 2026

# May 7, 2026

# Mr. Thomas noted the April, May, and June ROS meeting minutes would be considered for approval at the July 9, 2026 ROS meeting.

# Technical Advisory Committee (TAC) Update

# Mr. Thomas reviewed the disposition of items at the March 13, 2026 and May 19, 2026 TAC meetings.

# ERCOT Reports and Updates (see Key Documents)

# Operations Report

Alex Lee summarized the April 2026 ERCOT Monthly Operations Report.

# System Planning Report

Ping Yan summarized the April 2026 ERCOT System Planning Monthly Status Report.

ROS Revision Requests (Vote) (see Key Documents)

Impact Analysis

Nodal Operating Guide Revision Request (NOGRR) 273, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

NOGRR286, Addition of 765-kV Operational Voltage Limits

NOGRR287, Load Shed Provisions to Identify and Minimize Overlap of Essential Loads

Planning Guide Revision Request (PGRR) 123, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

Resource Registration Glossary Revision Request (RRGRR) 038, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

Participants discussed Nodal Protocol Revision Request (NPRR) 1264, Creation of a New Energy Attribute Certificate Program, NOGRR273, PGRR123, and their respective Impact Analyses; and that NOGRR286 should be tabled for an additional month to allow ERCOT to complete the Impact Analysis.  Mr. Thomas noted there were no objections to including these items on the Combined Ballot.

Language Review

PGRR146, Rename Quarterly Stability Assessment and Modify the Assessment Schedule

Yunzhi Cheng provided an overview of PGRR146.  Mr. Cheng confirmed he would remove duplicate months inadvertently left in the language and emphasized the need for longer review timelines due to greater study volume and complexity.  Participants discussed aligning PGRR146 with the language in PGRR145, Batch Zero Process for Large Load Interconnections, and requested further discussion to ensure alignment.  Participants agreed to refer PGRR146 to the Planning Working Group (PLWG) to further discuss transition challenges for PGRR146 and the batch process.  Mr. Thomas noted there were no objections to including this item on the Combined Ballot.

PGRR147, Allowable Non-Consequential Load Loss Alignment

Chris Seaman provided an overview of PGRR147.  Participants discussed the reliability implications of aligning Planning Guide language with North American Electric Reliability Corporation (NERC) requirements and agreed to refer the issue to PLWG for further review.  Mr. Thomas noted there were no objections to including this item on the Combined Ballot.

Dynamics Working Group (DWG)

DWG did not meet and therefore did not provide an update.

Network Data Support Working Group (NDSWG)

NDSWG Leadership

Teddi Flessner noted the nomination of Barrett Nibling of LCRA for NDSWG Vice Chair.  Mr. Thomas noted there were no objections to including this item on the Combined Ballot.

Operations Training Working Group (OTWG) (see Key Documents)

Manuel Sanchez reviewed OTWG activities.

Performance, Disturbance, Compliance Working Group (PDCWG) (see Key Documents)

PDCWG Leadership

Luis Hinojosa reviewed PDCWG activities and noted the nomination of Paul Messman of Tenaska Power Services for PDCWG Chair.  Mr. Thomas noted there were no objections to including this item on the Combined Ballot.

Mr. Hinojosa agreed to include the Frequency Measurable Events (FMEs) topic on the June 17, 2026 PDCWG agenda and confirmed that Energy Storage Resources (ESRs) have played a role in the reduction of FMEs.

Planning Working Group (PLWG) (see Key Documents)

Mina Turner reviewed PLWG activities.

Steady State Working Group (SSWG)

Chris Ramirez reviewed SSWG activities and stated that if cases for a major Load update are not finalized by June 12, 2026, Transmission Service Providers (TSPs) will be asked to submit IDEV files for the case.

Tabled Revision Requests (see Key Documents)

NOGRR284, Related to NPRR1310, Dispatchable Reliability Reserve Service Plus Energy Storage Resource Participation and Release Factor

PGRR073, Related to Nodal Protocol Revision Request (NPRR) 956, Designation of Providers of Transmission Additions

PGRR122, Reliability Performance Criteria for Loss of Load

PGRR124, ESR Maintenance Exception to Modifications

PGRR126, Related to NPRR1284, Guaranteed Reliability Load Process

PGRR130, Related to NPRR1295, GTC Exit Solutions

PGRR140, Related to NPRR1317, Creation of Non-Settled Generator (NSG) and Clarification of the Types, Usage, and Registration of Distributed Generation

PGRR141, Large Load Interconnection Study Reform for Substantiated Load Batch Process

NPRR1272, Voltage Support at Private Use Networks

NPRR1278, Establishing Advanced Grid Support Service as an Ancillary Service

NPRR1284, Guaranteed Reliability Load Process

NPRR1295, GTC Exit Solutions

NPRR1317, Creation of Non-Settled Generator (NSG) and Clarification of the Types, Usage, and Registration of Distributed Generation

NPRR1319, Modifications to Seasonal Mothball Periods and Clarifications to Evaluation Process

ROS took no action on these items.

PGRR128, Regional Transmission Plan Review of Grid Enhancing Technologies

Mina Turner confirmed PLWG had concluded discussions on PGRR128 and reviewed the 5/12/26 PLWG comments.     Mr. Thomas noted there were no objections to including this item on the Combined Ballot.

NPRR1286, Establish Multi-Value Criteria for Resiliency-Related Transmission Project Evaluation

Ms. Yan confirmed ERCOT had no concerns regarding the 5/19/26 Residential Consumer comments and was comfortable with NPRR1286 moving forward.  Participants requested ERCOT provide an economic analysis related to NPRR1286 to clarify the volume of projects impacted by the proposed resiliency threshold of 95%.  Mr. Thomas noted there were no objections to including this item on the Combined Ballot.

NPRR1319, Modifications to Seasonal Mothball Periods and Clarification to Evaluation Process

Katherine Gross provided an overview of NPRR1319, the 2/25/26 ERCOT comments, and noted the WMS endorsement in the 4/3/26 WMS comments.  Mr. Thomas noted there were no objections to including this item on the Combined Ballot.

Combined Ballot

Ms. Henson moved to approve the Combined Ballot as follows:

- To endorse and forward to TAC the 5/7/26 ROS Report and 5/26/26 Impact Analysis for NOGRR273

- To table NOGRR286

- To endorse and forward to TAC the 5/7/26 ROS Report, as amended by the 6/1/26 ERCOT comments, and the 4/22/26 Impact Analysis for NOGRR287

- To endorse and forward to TAC the 5/7/26 ROS Report and 5/26/26 Impact Analysis for PGRR123

- To endorse and forward to TAC the 5/7/26 ROS Report and 5/26/26 Impact Analysis for RRGRR038

- To table PGRR146 and refer the issue to PLWG

- To table PGRR147 and refer the issue to PLWG

- To endorse NDSWG leadership as submitted (Barrett Nibling, LCRA, Vice Chair)

- To endorse the PDCWG leadership as submitted (Paul Messman, Tenaska, Chair)

- To recommend approval of PGRR128 as amended by the 5/12/26 PLWG comments

- To endorse NPRR1286 as amended by the 5/19/26 Residential Consumer Comments

- To endorse NPRR1319 as amended by the 2/25/26 ERCOT comments

Chris Urena seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Other Business (see Key Documents)

Withdrawn

Mr. Thomas noted that PGRR134, Interconnection Studies Reform for Dispatchable Loads, PGRR136, Large Load Interconnection Study Scope Documentation, and PGRR138, Large Load Interconnection Study Review and Approval Process had been withdrawn.

Review Open Action Items List

ROS did not review the Open Action Items List.

No Report

- Black Start Working Group (BSWG)

- Dynamics Working Group (DWG)

- Inverter-Based Resource Working Group (IBRWG)

- Meter Working Group (MWG)

- Operations Working Group (OWG)

- System Protection Working Group (SPWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Mr. Thomas adjourned the June 4, 2026 ROS meeting at 11:52 a.m.

Key Documents referenced in these minutes may be accessed on the ERCOT website at: https://www.ercot.com/calendar/06042026-ROS-Meeting