ERCOT Impact Analysis Report
	NPRR Number
	1331
	NPRR Title
	Unannounced Generation Capacity Testing

	Impact Analysis Date
	August 7, 2026

	Estimated Cost/Budgetary Impact
	Less than $20k, which will be absorbed by the Operations & Maintenance (O&M) budgets of affected department.

	Estimated Time Requirements
	No project required.  This Nodal Protocol Revision Request (NPRR) can take effect within 1-2 months following Public Utility Commission of Texas (PUCT) approval.

	ERCOT Staffing Impacts (across all areas)
	Implementation Labor: 100% ERCOT; 0% Vendor

Ongoing Requirements: No impacts to ERCOT staffing.

	ERCOT Computer System Impacts
	The following ERCOT systems would be impacted:

· Net Dependable Capability and Reactive Capability   100%

	ERCOT Business Function Impacts
	No impacts to ERCOT business functions.

	Grid Operations & Practices Impacts
	ERCOT will update grid operations and practices to implement this NPRR.



	Evaluation of Interim Solutions or Alternatives for a More Efficient Implementation

	None offered.



	Comments

	None.
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