## Slide 1: Revision Request Summary for 8/26/26TAC
Revision Request | Reason for Revision | Impacts | ERCOT Opinion/ERCOT Market Impact Statement | CFSG Review | IMM Opinion
NPRR1214, Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk | Strategic Plan Objective 2 | $900K - $1.2M | ERCOT supports approval of NPRR1214. ERCOT Staff has reviewed NPRR1214 and believes the market impact for NPRR1214 introduces a Reliability Deployment Indifference Payment/Charge, which is intended to make Resources indifferent to any difference between their dispatch levels from the SCED dispatch run and the SCED pricing run. | ERCOT Credit Staff and the CFSG have reviewed NPRR1214 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM supports NPRR1214 6/22/26 IMM comments
NPRR1329, Resource Entity Requirements for Self-Limiting Facilities | Strategic Plan Objective 1 | $150K - $250K | ERCOT supports approval of NPRR1329. ERCOT Staff has reviewed NPRR1329 and believes it provides a positive market impact by supporting coordinated grid operations and reliability with joint accountability between Resource Entities and their QSEs for injection or withdrawal limits at the POI, and an attestation that ensures both parties fulfill compliance requirements and maintain system integrity. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1329 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1329
NPRR1331, Unannounced Generation Capacity Testing | General system and/or process improvement(s) | Less than $20K | ERCOT supports approval of NPRR1331. ERCOT Staff has reviewed NPRR1331 and believes that it provides a positive market impact through process improvement by aligning the allowed timeframe for “Combined Cycle Generators” during an unannounced generation capacity test with their observed operational performance, while preserving the reliability purpose of the unannounced High Sustained Limit (HSL) tests. | ERCOT Credit Staff and the CFSG have reviewed NPRR1331 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1331
NPRR1335, Implementation of PUCT Changes to Firm Fuel Supply Service for Phase 3 | Regulatory Requirements | Less than $10K | ERCOT supports approval of NPRR1335. ERCOT Staff has reviewed NPRR1335 and believes the market impact for NPRR1335 ensures that the Protocols are consistent with the PUCT’s FFSS rule as required by 16 TAC § 25.520(j). | ERCOT Credit Staff and the CFSG have reviewed NPRR1335 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1335
NPRR1336, Language Clean-up for NPRR1188 Implementation | General system and/or process improvement(s) | No impact | ERCOT supports approval of NPRR1336. ERCOT Staff has reviewed NPRR1336 and believes it provides process improvements by correcting language related to the implementation of NPRR1188. | ERCOT Credit Staff and the CFSG have reviewed NPRR1336 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1336
NPRR1337, ERS Enhancements | Strategic Plan Objective 1 | Less than $20K | ERCOT supports approval of NPRR1337. ERCOT Staff has reviewed NPRR1337 and believes it increases for the ERCOT System the benefit of the ERS program by enhancing qualification testing and performance evaluation of participating Resources. | ERCOT Credit Staff and the CFSG have reviewed NPRR1337 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM supports NPRR1337 8/11/26 IMM comments

## Slide 2: Revision Request Summary for 8/26/26 TAC
Revision Request | Reason for Revision | Impacts | ERCOT Opinion/ERCOT Market Impact Statement | CFSG Review | IMM Opinion
NPRR1338, Restructure Long-Term Auction Sequence Auctions to Six Monthly Optimizations | General system and/or process improvement(s) | $750K – $1.25M | ERCOT supports approval of NPRR1338. ERCOT Staff has reviewed NPRR1338 and believes restructuring the Long-Term Auction Sequence auctions to six single-months optimizations will increase optimization efficiency by defining credit constraints for each month, rather than the current credit constraint that spans all six months of the time-of-use. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1338 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1338
NPRR1339, Protocol Clean Up and Alignment with RTC+B Implementation | General system and/or process improvement(s) | No impact | ERCOT supports approval of NPRR1339. ERCOT Staff has reviewed NPRR1339 and believes this revision will have a positive impact on the market. By updating and clarifying these sections, we ensure consistency with operational practices and eliminate outdated references that could otherwise lead to confusion. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1339 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1339
NPRR1341, Related to LPGRR077, Profile Decision Tree Excel-to-Word Conversion | General system and/or process improvement(s) | No impact | ERCOT supports approval of NPRR1341. ERCOT Staff has reviewed NPRR1341 and believes that it provides a positive market impact through process improvement by aligning the Protocols with edits proposed in LPGRR077. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1341 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1341
NPRR1342, Mitigated Offer Caps for Contract for Capacity Resources | General system and/or process improvement(s) | $250K - $350K | ERCOT supports approval of NPRR1342. ERCOT Staff has reviewed NPRR1342 and believes that it provides a positive market impact and general process improvement by creating a new process for determining the MOC for C4C Resources procured through Section 6.5.1.1. | ERCOT Credit Staff and the CFSG have reviewed NPRR1342 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM supports NPRR1342
NPRR1344, Move OBD to Section 19 – Texas Market Test Plan | General system and/or process improvement(s) | No impact | ERCOT supports approval of NPRR1344. ERCOT Staff has reviewed NPRR1344 and believes it has a positive market impact by updating and clarifying the existing processes set forth in the TMTP, and incorporating the TMTP into the Protocols. | ERCOT Credit Staff and the CFSG have reviewed NPRR1344 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1344
LPGRR077, Profile Decision Tree Excel-to-Word Conversion | General system and/or process improvement(s) | No impact | ERCOT supports approval of LPGRR077. ERCOT Staff has reviewed LPGRR077 and believes that it provides a positive market impact through process improvement by relocating the majority of the Profile Decision Tree from its current Excel format into the Load Profiling Guide and updating language to align with current practices.. | Not applicable | IMM has no opinion on LPGRR077
RMGRR186, Related to LPGRR077, Profile Decision Tree Excel-to-Word Conversion | General system and/or process improvement(s) | No impact | ERCOT supports approval of RMGRR186. ERCOT Staff has reviewed RMGRR186 and believes that it provides a positive market impact through process improvement by aligning the Retail Market Guide with edits proposed in LPGRR077. | Not applicable | IMM has no opinion on RMGRR186

## Slide 3: Revision Request Summary for 8/26/26 TAC
Revision Request | Reason for Revision | Impacts | ERCOT Opinion/ERCOT Market Impact Statement | CFSG Review | IMM Opinion
PGRR144, Dynamic Model Submission and Review Requirements for Large Loads including Large Computational Loads | General system and/or process improvement(s) | $200K-$250K Annual Recurring Operations and Maintenance (O&M) 1 FTE | ERCOT supports approval of PGRR144. ERCOT Staff has reviewed PGRR144 and believes the market impact for PGRR144 helps establish critical modeling requirements for Large Loads to identify potential reliability issues early and ensure appropriate mitigation measures are in place. | Not applicable | IMM has no opinion on PGRR144