## Slide 1
Item 5: PRS Report
Diana Coleman
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
August 26, 2026

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR1336, Language Clean-up for NPRR1188 Implementation – URGENT
NPRR1339, Protocol Clean Up and Alignment with RTC+B Implementation
NPRR1341, Related to LPGRR077, Profile Decision Tree Excel-to-Word Conversion
NPRR1344, Move OBD to Section 19 – Texas Market Test Plan – URGENT

## Slide 3: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR1214, Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk
  IA: Between $900K and $1.2M Priority 2027; Rank 4940
NPRR1329, Resource Entity Requirements for Self-Limiting Facilities
  IA: Between $150K and $250K Priority 2028; Rank 5110
NPRR1331, Unannounced Generation Capacity Testing
  IA: Less than $20K (O&M) Priority n/a; Rank n/a
NPRR1335, Implementation of PUCT Changes to Firm Fuel Supply Service for Phase 3 – URGENT
  IA: Less than $10K (O&M) Priority n/a; Rank n/a

## Slide 4: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR1337, ERS Enhancements – URGENT
  IA: Less than $20K (O&M) Priority n/a; Rank n/a
NPRR1338, Restructure Long-Term Auction Sequence Auctions to Six Monthly Optimizations
  IA: Between $750K and $1.25M Priority 2027; Rank 4930
NPRR1342, Mitigated Offer Caps for Contract for Capacity Resources – URGENT
  IA: Between $250K and $350K Priority 2026; Rank 2970

## Slide 5: Appendix

## Slide 6: NPRR1214, Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk
Sponsor: Joint Sponsors
Revision Description: This NPRR revises the Real-Time On-Line Reliability Deployment Price Adder (RTRDPA) to: send appropriate locational price signals to avoid counterproductive Load and Resource responses to current RTRDPA price signals; limit Resource payment to the actual “indifference payment” (consistent with its definition), thereby reducing associated uplift by eliminating current RTRDPA payments to Resources that exacerbate constraints and eliminating payments to available capacity not requiring an indifference payment; eliminate Ancillary Service Imbalance Payments or Charges (ASIP/C) associated with RTRDPA, thereby reducing the risk associated with providing Ancillary Services; provide Resources an indifference payment under Real-Time Co-optimization (RTC) to eliminate the potentially large incentive to ignore Base Point instructions; and provide a stronger locational price signal around Resources committed by the Reliability Unit Commitment (RUC) process or other reliability actions for congestion, thereby reducing RUC Make-Whole Payment-related charges and uplifts and appropriately compensating impacted Qualified Scheduling Entities (QSEs).
Impact Analysis: Between $900K and $1.2M
Proposed Effective Date: Upon system implementation – Priority 2027; Rank 4940
PRS Decision: On 3/12/25, PRS voted unanimously to recommend approval of NPRR1214 as amended by the 1/28/25 ERCOT comments. On 6/10/26, PRS voted unanimously to endorse the 5/14/25 PRS Report as amended by the 6/5/26 ERCOT comments for NPRR1214; and to bring the Revised Impact Analysis back to PRS. On 8/12/26, PRS voted unanimously to endorse and forward to TAC the 7/15/26 PRS Report and 8/11/26 Revised Impact Analysis for NPRR1214 with a recommended priority of 2027 and rank of 4940.

## Slide 7: NPRR1329, Resource Entity Requirements for Self-Limiting Facilities
Sponsor: NextEra Energy Resources
Revision Description: This NPRR establishes a framework whereby two Resource Entities and their associated QSEs may jointly share the responsibility for managing the injection and withdrawal limits at a Point of Interconnection (POI) and formalizes the responsible QSE functions through an attestation process that is deemed acceptable to ERCOT.
Impact Analysis: Between $150K and $250K
Proposed Effective Date: Upon system implementation – Priority 2028; Rank 5110
PRS Decision: On 5/6/26, PRS voted unanimously to recommend approval of NPRR1329 as submitted. On 8/12/26, PRS voted unanimously to endorse and forward to TAC the 6/10/26 PRS Report as revised by PRS and 8/11/26 Impact Analysis for NPRR1329 with a recommended priority of 2028 and rank of 5110.

## Slide 8: NPRR1331, Unannounced Generation Capacity Testing
Sponsor: Constellation
Revision Description: This NPRR aligns the allowed timeframe for “Combined Cycle Generators” during an unannounced generation capacity test with their observed performance.
Impact Analysis: Less than $20K Operations & Maintenance (O&M)
Proposed Effective Date: Upon system implementation
PRS Decision: On 7/15/26, PRS voted unanimously to recommend approval of NPRR1331 as submitted. On 8/12/26, PRS voted unanimously to endorse and forward to TAC the 7/15/26 PRS Report and 8/7/26 Impact Analysis for NPRR1331.

## Slide 9: NPRR1335, Implementation of PUCT Changes to Firm Fuel Supply Service for Phase 3 – URGENT
Sponsor: ERCOT
Revision Description: This NPRR aligns the Protocols with the Public Utility Commission of Texas’ (PUCT's) recent adoption of a rule to govern Firm Fuel Supply Service (FFSS): 16 Texas Administrative Code (TAC) § 25.520.
Impact Analysis: Less than $10K O&M
Proposed Effective Date: The day following PUCT approval
PRS Decision: On 8/12/26, PRS voted unanimously to grant NPRR1335 Urgent status; to recommend approval of NPRR1335 as amended by the 7/1/26 ERCOT comments; and to forward to TAC NPRR1335 and the 5/26/26 Impact Analysis with a recommended effective date of the day after PUCT approval.

## Slide 10: NPRR1336, Language Clean-up for NPRR1188 Implementation – URGENT
Sponsor: ERCOT
Revision Description: This NPRR corrects language related to the implementation of NPRR1188, Implement Nodal Dispatch and Energy Settlement for Controllable Load Resources.
Impact Analysis: No impact (There are no additional impacts to this NPRR beyond what was captured in the Impact Analysis for NPRR1188)
Proposed Effective Date: Upon system implementation of NPRR1188
PRS Decision: On 8/12/26, PRS voted unanimously to grant NPRR1336 Urgent status; to recommend approval of NPRR1336 as amended by the 8/6/26 ERCOT comments; and to forward to TAC NPRR1336 and the 8/11/26 Revised Impact Analysis.

## Slide 11: NPRR1337, ERS Enhancements – URGENT
Sponsor: ERCOT
Revision Description: This NPRR implements an ERS Alternate Baseline test (“ABT”) to determine if an Emergency Response Service (ERS) Resource can qualify to have its performance based on the ERS Alternate Baseline and changes the availability performance metric from a QSE Portfolio Factor combining all ERS Time Periods to having an individual QSE Portfolio Factor for each ERS Time Period.
Impact Analysis: Less than $20K O&M
Proposed Effective Date: Upon system implementation
PRS Decision: On 8/12/26, PRS voted unanimously to grant NPRR1337 Urgent status; to recommend approval of NPRR1337 as amended by the 8/3/26 ERCOT comments; and to forward to TAC NPRR1337 and the 5/26/26 Impact Analysis.

## Slide 12: NPRR1338, Restructure Long-Term Auction Sequence Auctions to Six Monthly Optimizations
Sponsor: ERCOT
Revision Description: This NPRR restructures the Long-Term Auction Sequence auctions, currently structured as three time-of-use optimizations, to six single-month optimizations.
Impact Analysis: Between $750K and $1.2M
Proposed Effective Date: Upon system implementation – Priority 2027; Rank 4930
PRS Decision: On 7/15/26, PRS voted unanimously to recommend approval of NPRR1338 as submitted. On 8/12/26, PRS voted unanimously to endorse and forward to TAC the 7/15/26 PRS Report and 5/29/26 Impact Analysis for NPRR1338 with a recommended priority of 2027 and rank of 4930.

## Slide 13: NPRR1339, Protocol Clean Up and Alignment with RTC+B Implementation
Sponsor: ERCOT
Revision Description: This NPRR corrects misalignment of Protocol language with the Real-Time Co-optimization plus Batteries (RTC+B) implementation. The proposed changes are: corrects the duration requirement of ERCOT Contingency Reserve Service (ECRS). NPRR1282, Ancillary Service Duration under Real-Time Co-Optimization, set the duration requirement for ECRS to one hour, but certain sections were inadvertently omitted from NPRR1282 and still reflect the previous two-hour duration. This NPRR corrects those references to align with the as-built one-hour duration for ECRS; removes Fast-Responding Regulation Service (FRRS) reference in Section 4.4.7.3, Ancillary Service Trades, since FRRS was deleted with the RTC+B implementation; removes the requirement for Energy Storage Resources (ESRs) to telemeter the next Operating Hour Ancillary Service Responsibilities, which is no longer applicable following the removal of Ancillary Service Responsibilities under RTC+B; and removes references to Ancillary Service Responsibility and Ancillary Service Schedule, as language is no longer applicable under RTC+B, in several sections, and replaces the Ancillary Service Responsibilities with Ancillary Service awards wherever applicable.
Impact Analysis: No impact
Proposed Effective Date: The first of the month following PUCT approval
PRS Decision: On 7/15/26, PRS voted unanimously to recommend approval of NPRR1339 as submitted. On 8/12/26, PRS voted unanimously to endorse and forward to TAC the 7/15/26 PRS Report and 5/29/26 Impact Analysis for NPRR1339.

## Slide 14: NPRR1341, Related to LPGRR077, Profile Decision Tree Excel-to-Word
Sponsor: ERCOT
Revision Description: This NPRR relocates select terms from Load Profiling Guide Section 19.1, Definitions, to Protocol Section 2.1, Definitions, removes the term ‘Time of Use Schedule (TOUS)’, and updates section references related to the Profile Decision Tree.
Impact Analysis: No impact (There are no additional impacts to this NPRR beyond what was captured in the Impact Analysis for Load Profiling Guide Revision Request (LPGRR) 077, Profile Decision Tree Excel-to-Word Conversion)
Proposed Effective Date: Upon system implementation of LPGRR077
PRS Decision: On 7/15/26, PRS voted unanimously to recommend approval of NPRR1341 as submitted. On 8/12/26, PRS voted unanimously to endorse and forward to TAC the 7/15/26 PRS Report and 6/23/26 Impact Analysis for NPRR1341.

## Slide 15: NPRR1342, Mitigated Offer Caps for Contract for Capacity Resources – URGENT
Sponsor: ERCOT
Revision Description: This NPRR creates a new process for determining the Mitigated Offer Cap (MOC) for Contract for Capacity (C4C) Resources procured through Section 6.5.1.1, ERCOT Control Area Authority. This NPRR proposes using market design principles to allow the C4C Resource to be Dispatched but still be above other Resources that solve the same constraint.
Impact Analysis: Between $250K and $350K
Proposed Effective Date: Upon system implementation – Priority 2026; Rank 2970
PRS Decision: On 8/12/26, PRS voted unanimously to grant NPRR1342 Urgent status; to recommend approval of NPRR1342 as submitted; and to forward to TAC NPRR1342 and the 6/30/26 Impact Analysis with a recommended priority of 2026 and rank of 2970.

## Slide 16: NPRR1344, Move OBD to Section 19 – Texas Market Test Plan – URGENT
Sponsor: ERCOT
Revision Description: This NPRR incorporates the Other Binding Document “Texas Market Test Plan” into the Protocols to standardize the approval process.
Impact Analysis: No impact
Proposed Effective Date: The first of the month following PUCT approval
PRS Decision: On 8/12/26, PRS voted unanimously to grant NPRR1344 Urgent status; to recommend approval of NPRR1344 as submitted; and to forward to TAC NPRR1344 and the 7/28/26 Impact Analysis.

## Slide 17: 2026 Release Targets - Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
January 1/28-1/29 | February 2/25-2/26 | March 3/25-3/26 | April 4/29-4/30 | May 5/27-5/28 | June 6/24-6/25
NPRR1234(c) PGRR131 NPRR1283 NPRR1285 NPRR1299 | NPRR1266 NPRR1277 | NPRR1287 Add’l Public Data Products in ERCOT Data Portal | CRR Historical Data Removal | NPRR1265 OBDRR055 | SCR820 PGRR145 NPRR1325
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
R1
R2
R4
R5
R6
July 7/29-7/30 | August 8/26-8/27 | September 9/30-10/1 | October 10/28-10/29 |  | December 12/16-12/17
 | NPRR1290 NPRR1323 | NPRR1198 NPRR1281 NPRR1303 | NPRR1198 PGRR127 |  | NPRR1201
R7
R8
R10
R11
R3
R9
RTC+B Stabilization
NPRR1234(c) – RIOO changes for End-Use
Industry Classification to Loads
1/1
ü
ü
ü
ü
ü
2/1
SCR820 TO/QSE Testing (see TWG meetings)
3/2
E
E
ü
ü
3/1
ü
ü
Cipher Security Upgrades (see TWG meetings)
4/24
6/1
ü
ü
ü
E
E
NS
7/11
ü
ü
ü
E
NS