## Slide 1: ROS Report – August 26, 2026
Shane Thomas

## Slide 2: Voting Items
PGRR144, Dynamic Model Submission and Review Requirements for Large Loads including Large Electronic Loads
  Discussion was around TIEC 7/3/26 Comments with ERCOT indicating their concerns would be better taken up during the development of Batch 1+ and the Consolidated Transmission Planning Process
  Endorsed and forward to TAC the 7/9/26 ROS Report and 7/22/26 Revised Impact Analysis for PGRR144
    2 Abstentions from the Consumer segment
    Annual Recurring Operations and Maintenance (O&M) Staffing Cost: $200K – $250K
    1.0 Full-Time Employees (FTEs) to support this PGRR

## Slide 3: Recent ROS Action
NOGRR 289, Extension for LCL Cooling Load Ride-Through Compliance
  Urgently Tabled
  Waiting on ERCOT review and analysis
NPRR1295, GTC Exit Solutions
  Endorsed as amended by the 7/9/26 ERCOT
NPRR1317, Creation of Non-Settled Generator (NSG) and Clarification of the Types, Usage, and Registration of Distributed Generation
  Endorsed as amended by the 8/6/26 WMS comments
PGRR140, Related to NPRR1317
  Language endorsed as amended by the 5/6/26 ERCOT comments
  IA review expected at the next meeting
PGRR146, Rename Quarterly Stability Assessment and Modify the Assessment Schedule
  Language endorsed as amended by the 6/15/26 Southern Power Comments with a recommended effective date of 9/1/27
  IA review expected at the next meeting

## Slide 4: 2027 AS Methodology Discussion
Discussion focused on the probabilistic model and ECRS/Non-Spin procurement levels
  Risk credits were generally viewed negatively by the group. The vote taken would made them lower than the ERCOT recommended level but there were concerns with the resulting effect of increasing the procurement levels
  Consumers expressed concern with ESR treatment
ROS took a vote to endorse the 2027 AS Methodology but retain the 2026 Risk Credit parameters which did not pass
  9 Abstentions: Independent Generators (2), Independent Power Marketer (1), Independent REPs (2), Investor Owned Utilities (3), Municipals (1)
  11 (66.7%) Against: Consumers (4), Cooperatives (2), Independent REPs (2),Investor Owned Utilities (1), Municipals (2)
  5 (33.3%) For: Cooperatives (2), Independent Generators (2), Independent Power Marketer (1)

## Slide 5: NOGRRs Under ROS Review
NOGRR284, Related to NPRR1310, Dispatchable Reliability Reserve Service Plus Energy Storage Resource Participation and Release Factor
NOGRR288, Related to NPRR1340, Dispatchable Reliability Reserve Service Ancillary Service with Energy Storage Resource Participation (OWG)
NOGRR289, Extension for LCL Cooling Load Ride-Through Compliance (Urgent) (ROS)

## Slide 6: PGRRs Under ROS Review
PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions
PGRR122, Reliability Performance Criteria for Loss of Load (DWG, PLWG)
PGRR124, ESR Maintenance Exception to Modifications (DWG, PLWG)
PGRR130, Related to NPRR1295, GTC Exit Solutions (PLWG)
PGRR140, Related to NPRR1317, Creation of Non-Settled Generator (NSG) and Clarification of the Types, Usage, and Registration of Distributed Generation (ROS)
PGRR142, In-kind Definition for Generation (ROS)
PGRR144, Dynamic Model Submission and Review Requirements for Large Loads including Large Electronic Loads
PGRR146, Rename Quarterly Stability Assessment and Modify the Assessment Schedule (ROS)
PGRR147, Allowable Non-Consequential Load Loss Alignment (PLWG)

## Slide 7: NPRRs Under ROS Review
NPRR1272, Voltage Support at Private Use Networks (PLWG, VPWG)
NPRR1278, Establishing Advanced Grid Support Service as an Ancillary Service (OWG)
NPRR1295, GTC Exit Solutions (ROS)
NPRR1317, Creation of Non-Settled Generator (NSG) and Clarification of the Types, Usage, and Registration of Distributed Generation (ROS)
NPRR1340, Dispatchable Reliability Reserve Service Ancillary Service with Energy Storage Resource Participation (OWG, PDCWG)

## Slide 8: Meeting Schedule
September 3, 2026
October 1, 2026
November 5, 2026
December 3, 2026