## Slide 1: Monthly Review of Reliability Unit Commitment Market Impacts – July 2026 Wholesale Market Working Group ERCOT Market Analysis August 2026

## Slide 2: RUC Resource-Hours
July 2026 | Total | Capacity |  | Congestion | 
 |  | Opt-Out | Non-Opt-Out | Opt-Out | Non-Opt-Out
Instructed Resource-Hours |  |  |  |  | 
Total Count | 439.0 | 17.0 | 369.0 | 5.0 | 48.0
Effective Resource-Hours* |  |  |  |  | 
Total Count | 422.4 | 17.0 | 358.2 | 5.0 | 42.3
Average Megawatts (MW) for Effective Resource-Hours |  |  |  |  | 
Average LSL | 47.2 | 90.8 | 43.8 | 71.0 | 56.0
Average LDL | 54.0 | 113.8 | 49.3 | 122.9 | 61.9
Average BP | 57.2 | 157.0 | 50.4 | 144.3 | 63.9
Average HSL | 190.8 | 196.0 | 174.6 | 392.0 | 301.8
* The difference between “Instructed” and “Effective” values is a result of Resources starting up, shutting down, receiving partial hour instructions, or otherwise not being dispatchable by SCED.

## Slide 3: RUC Instruction Reasons: Last 13 Months
RUC activity decreased slightly in July compared to June.
89% of RUC effective Resource-hours in July 2026 were nominally attributed to address capacity needs.

## Slide 4: RUC Instruction Reasons in July 2026
There were 422.4 RUC total effective Resource-hours in July and 375.2 hours (89%) were committed to address capacity needs.
The highest effective Resource-hours in July occurred on July 29th to support capacity needs, which was associated with the higher projected load forecast.

## Slide 5: Non-opt-out and Opt-out Totals: Last 13 Months
July 2026 had a total of 400.0 non-opt-out effective Resource-hours (95%) and 22.0 opt-out effective Resource-hours (5%).

## Slide 6: Non-opt-out and Opt-out Totals: July 2026
July 2026 had a total of 400.4 non-opt-out effective Resource-hours (95%) and 22.0 opt-out effective Resource-hours (5%).

## Slide 7: RUC Lead Time Margin: July 2026
50% of RUC commitment windows had a lead time margin of 2 hours or less.
“Lead time” refers to the length of time between a RUC instruction and the start of the commitment window.
“Lead time margin” is the difference between lead time and the Resource’s startup time.
  In cases where a Resource is committed for multiple back-to-back time blocks, lead time margin is calculated from the first instruction.

## Slide 8: Average Resource Age: Last 13 Months
In July 2026, the average age of RUC-committed Resources was 57.6 years for non-opt-out Resource-hours.
Note: For Resource configurations with multiple physical generators, the age of the oldest generator is used.

## Slide 9: Age Category: Last 13 Months
In July 2026, 96% of RUC effective Resource-hours were provided by Resources that were at least 50 years old.
Note: For Resource configurations with multiple physical generators, the age of the oldest generator is used.
Non-Opt-Out
Opt-Out

## Slide 10: RUC-Instructed Resource Dispatch above Low Dispatch Limit (LDL) in Non-Opt-Out Hours
Out of 427.5 non-opt-out effective Resource-hours, RUC-instructed Resources were dispatched above their LDL for 13.9 resource-hours.
  In 0.3 of these Resource-hours, the Locational Marginal Price (LMP) for the RUC-instructed Resource exceeded the RUC offer floor.
  In 13.6 of these Resource-hours, the LMP for the RUC-instructed Resource fell below the RUC offer floor.​ All 13.6 Resource-hours saw the RUC-instructed Resource being mitigated.
There were Exceptional Fuel Cost submissions for a single RUC-Committed Resource in July 2026.

## Slide 11: Reliability Deployment Price Adder for Energy: Last 13 Months
July 2026 had a total of 138.3 RTRDPA hours with a time-weighted average value of $0.49/MWh.
These graphs show RTRDPA instances by reliability action: 'RUC Only' for instances triggered solely by Reliability Unit Commitment, 'RUC and other triggers' for instances with RUC and additional triggers, and 'Other triggers only' for instances with non-RUC triggers. The daily average RTRDPA is calculated using the total duration across all categories. See ERCOT protocol section 6.5.7.3.1 for details.

## Slide 12: Reliability Deployment Price Adder for Energy: July 2026
These graphs show RTRDPA instances by reliability action: 'RUC Only' for instances triggered solely by Reliability Unit Commitment, 'RUC and other triggers' for instances with RUC and additional triggers, and 'Other triggers only' for instances with non-RUC triggers. The daily average RTRDPA is calculated using the total duration across all categories. See ERCOT protocol section 6.5.7.3.1 for details.
July 22nd had the highest daily time-weighted average RTRDPA of $2.06/MWh.

## Slide 13: Reliability Deployment Price Adders for Ancillary Services: Last 8 Months
The average values are calculated as time-weighted average Real-Time Reliability Deployment Price Adders for each Ancillary Service during SCED intervals with RDPA active for any reliability event trigger. RDPAs for Ancillary Services are only available after RTC+B implementation on December 5, 2025
In July 2026, average Ancillary Service price adders decreased from June with the exception of Regulation Down.

## Slide 14: Reliability Deployment Price Adder for Ancillary Services: July 2026
The daily average values are calculated as time-weighted average Real-Time Reliability Deployment Price Adders (RDPA) for each Ancillary Service during SCED intervals with RDPA active for any reliability event trigger.
RDPA | Monthly Time Weighted Average ($/MWh)
Regulation Up (Reg-Up) | 0.09
Regulation Down (Reg-Down) | 0.02
Responsive Reserve Service (RRS) | 0.08
ERCOT Contingency Reserve Service (ECRS) | 0.15
Non-Spinning Reserves (Non-Spin) | 0.25

## Slide 15: RUC Clawback, Make-Whole, and Shortfall
Of the $889,608 in Make-Whole payments made in July 2026, $6.69 was uplifted to load due to rounding. The remaining amount was collected through Capacity-Short charges.
For July 2026, the total Clawback charge was $882. The total Make-Whole payment was $889,608.

## Slide 16: RUC Clawback by Settlement Type
Month | Initial Settlement ($) | Final Settlement Change ($) | True-up Settlement Change ($) | Net ($)
Jul ‘25 | 246,479 | 0 | -18,991 | 227,488
Aug ‘25 | 12,319 | 0 | -2,121 | 10,198
Sep ‘25 | 122,634 | 0 | 0 | 122,634
Oct ‘25 | 128,343 | 0 | -68,059 | 60,284
Nov ‘25 | 80,805 | 0 | -14,883 | 65,922
Dec ‘25 | 233,500 | 0 | -14,862 | 218,638
Jan ‘26 | 1,130,396 | 0 | -123,980 | 1,006,416
Feb ‘26 | 0 | 0 | 0 | 0
Mar ‘26 | 856,743 | - | - | -
Apr ‘26 | 242,784 | - | - | -
May ‘26 | 77,429 | - | - | -
Jun ‘26 | 138,880 | - | - | -
Jul ‘26 | 882 | - | - | -
Negative dollars represent a payment from ERCOT to a market participant
“-” indicates settlement has yet to be completed.
Net figures may differ slightly due to rounding.

## Slide 17: RUC Make-Whole by Settlement Type
Month | Initial Settlement ($) | Final Settlement Change ($) | True-up Settlement Change ($) | Net ($)
Jul ‘25 | -382,887 | 0 | -95,893 | -478,780
Aug ‘25 | -487,773 | 0 | -110,640 | -598,413
Sep ‘25 | -2,035,251 | 0 | -538,306 | -2,573,557
Oct ‘25 | -1,016,193 | 0 | -596,880 | -1,613,073
Nov ‘25 | -1,151,712 | 0 | -1,739,486 | -2,891,198
Dec ‘25 | -271,995 | 0 | -696,055 | -968,051
Jan ‘26 | -431,896 | 0 | 2 | -431,893
Feb ‘26 | 0 | 0 | 0 | 0
Mar ‘26 | -324,968 | - | - | -
Apr ‘26 | -76,725 | - | - | -
May ‘26 | -1,140,481 | - | - | -
Jun ‘26 | -1,301,171 | - | - | -
Jul ‘26 | -889,608 | - | - | -
Negative dollars represent a payment from ERCOT to a market participant
“-” indicates settlement has yet to be completed.
Net figures may differ slightly due to rounding.

## Slide 18: Questions/Comments