## Slide 1: LLWG Update to August TAC
Aug 26, 2026
Bob Wittmeyer
bob@longhornpwr.com

## Slide 2: Contents
NERC Update
Netted Network
VRT “Standard”
September LLWG Meeting – VRT Solutions

## Slide 3: NERC Update on Large Loads
On July 16th, FERC ordered NERC to file the following:
  • One or more new or modified Reliability Standards to address the reliability risks associated with the integration of computational loads, including any associated Glossary definitions, by December 31, 2026.
  • Submit revisions to NERC’s Rules of Procedure, expected by December 31, 2026.
Computational Load Site - One or more buildings, structures, or installations that:
1. Primarily contains information technology infrastructure used for:
◦ creating, executing, and delivering software applications and services;
◦ artificial intelligence training, deployment, and delivery;
◦ cryptocurrency mining; or
◦ other computational activities at a data center; and
2. is supplied through electrical equipment that is connected to the BPS.
Registration only applicable for Computational Load Sites greater than or equal to 50 MW that is connected at a voltage greater than or equal to 100 kV

## Slide 4: Dusted off Netted Network concept from 2024 – A lot of Interest
Discussed as a path forward: improves ERCOT visibility, provides the potential for WSL treatment, aligns with developments underway.
Still a lot of heavy lifting before this can move forward.
Short-term LLWG focus – BTM BESS for VRT Support – Netted Network will take time.

## Slide 5: ERCOT VRT becoming a standard?
Issue – ERCOT may set the Standard, but there is no current test or testing facility to prove compliance. ERCOT is uncomfortable disclosing who can meet the requirements.
Developers and Large Loads need a source to verify XYZ solution has demonstrated acceptable performance.
ERCOT VRT requirements are being looked at by other regions.
On July 22, PJM lost 3,800 MW of load as it transferred to backup generation.

## Slide 6: Next Meeting – VRT Solutions - Sept 17
Desire:
Data Centers that have proven VRT solutions
Vendors that have proven VRT solutions
Data Centers/Vendors that have ERCOT accepted Models for VRT
Vendors that have demo solutions
Vendors that have solutions on paper
Concepts for VRT
VRT Risk Areas
If you have a solution and would like to present, please contract:
Bob@longhornpwr.com and Patrick.Gravois@ercot.com
Focus on what is available now for VRT

## Slide 7: Questions?
Bob Wittmeyer
bob@longhornpwr.com