## Slide 1: Generation Interconnection Topics ERCOT Resource Integration Working Group August 27, 2026
Outline:
Grid Interconnection Organizational Changes
Quarterly Stability Assessment (QSA)
GINR Requests Overview

## Slide 2: New Structure
Grid Interconnections will be organized into two groups
GRID INTERCONNECTIONS
Resource Integration
Jennifer Fernandes
Senior Manager
Interconnection Support
& Development
Mario A. de la Garza
Manager

## Slide 3: Resource Integration
SCOPE
01
Application and screening
02
Full Interconnection Study (FIS)
03
SSR review and QSA support
04
Commissioning review
Applies to generators without behind-the-meter loads.
Jennifer Fernandes
Senior Manager, Resource Integration
John Lawson
Supervisor, Small Generation
Riaz Khan
Supervisor, Large Generation
Open
Supervisor, Large Generation
Notes: Delete this slide before presenting

## Slide 4: Interconnection Support & Development
SCOPE
Mario A. de la Garza
Manager, Interconnection Support & Development
Kenisha Webber
Supervisor, Grid Interconnections Support
01
Interconnection work
Large Load and behind-the-meter
interconnections
02
Operational support
Registration and commissioning support;
periodic testing of operational resources
03
Tools & Improvement
Coordinate internal tools and RIOO enhancements with both teams, and facilitate cross-team process improvements and Revision Request development
Notes: Delete this slide before presenting

## Slide 5: The Transition
The structure will be in effect on September 1st, 2026.
Both Resource Integration and Interconnection Support & Development will continue to identify process improvements and participate in RIOO enhancements and Revision Request development.
For Ride-through submittals please keep sending emails to gri@ercot.com
  Long-term we are planning to consolidate email inboxes (TBD)
GRID INTERCONNECTIONS
Resource Integration
Jennifer Fernandes
Senior Manager
Interconnection Support
& Development
Mario A. de la Garza
Manager

## Slide 6: Question from Market Participant
When the Interconnecting Entity receives their screening study and reads it, but before requesting the FIS, they decide they want to develop the project for 500 MW instead of 300 MW. They are prepared to request the FIS immediately, waiving an additional screening study.
New Interconnection request must be submitted per Planning Guide 5.2.4(4). However, is it preferred that they
  a) ‎cancel the existing 300 MW INR, and submit a completely new 500 MW, or
  b) submit a new 200 MW INR with the same name plus the suffix '2', and request that the FIS be done for the sum of the two INRs.
If option a, can they re-use the project name which they already like?
If option b, can the two projects be merged into a single INR?
ERCOT Response:
Per Planning Guide Section 5.2.4(4), if the IE increases the requested capacity of any proposed large generator by more than 20% of the amount requested in the initial application, the IE shall submit a new Interconnection Request for the additional capacity or for the entire project.
The IE may elect either Option a or Option b.
Option a: The IE may cancel the existing 300 MW INR and submit a new 500 MW INR. The IE may re-use the original project name by slightly appending it.
Option b: The IE may submit a new 200 MW INR (e.g., with the same name plus a "2" suffix) and request that the FIS evaluate the combined capacity. If the IE later wants the two projects merged into a single INR, ERCOT can cancel one of the INRs — selected by the IE, though ERCOT's preference is to retain the INR containing the most complete information — and merge the total MW into the remaining INR.

## Slide 7: Generation Interconnection Requests
1,906 active generation interconnection requests totaling 457 GW as of July 31st, 2026 (Solar 158 GW, Wind 49 GW, Gas 80 GW, Battery 166 GW / 398 GWh, and Other 4 GW)
A break-out by zone can be found in the monthly Generator Interconnection Status (GIS) reports available on the ERCOT Resource Adequacy Page: http://www.ercot.com/gridinfo/resource
Chart: Large Generator Monthly Capacity by GIM Milestone plus Project Count, 13-Month Rolling Basis
| Jul-25 | Aug-25 | Sep-25 | Oct-25 | Nov-25 | Dec-25 | Jan-26 | Feb-26 | Mar-26 | Apr-26 | May-26 | Jun-26 | Jul-26
# Signed Interconnect Agreement | 517 | 535 | 532 | 530 | 528 | 539 | 574 | 576 | 583 | 578 | 569 | 569 | 563
# Completed Full Study | 119 | 111 | 117 | 116 | 122 | 121 | 121 | 122 | 128 | 116 | 113 | 115 | 112
# in Full Study | 1242 | 1201 | 1196 | 1164 | 1159 | 1150 | 1136 | 1134 | 1135 | 1115 | 1120 | 1109 | 1122
# Screening Study Complete | 86 | 82 | 94 | 94 | 91 | 90 | 79 | 78 | 77 | 85 | 89 | 85 | 41
# Initial Screening study | 27 | 33 | 20 | 11 | 9 | 5 | 17 | 25 | 19 | 9 | 4 | 4 | 5
GW Capacity | 432.1004 | 427.4415 | 431.1647 | 431.2039 | 434.4146 | 440.2987 | 449.5541 | 452.8891 | 457.5034 | 452.6039 | 457.707 | 462.1715 | 456.0041

## Slide 8: Generation Interconnection Requests
Small Gen- 33 projects Not Model Ready, 30 projects Model Ready
Chart: Monthly Capacity by Fuel Type plus Project Count, 13-Month Rolling Basis
| May-25 | Jun-25 | Jul-25 | Aug-25 | Sep-25 | Oct-25 | Nov-25 | Dec-25 | Jan-26 | Feb-26 | Mar-26 | Apr-26 | May-26
Natural Gas | 32.4898 | 35.2601 | 39.5577 | 39.4028 | 43.6952 | 47.8484 | 52.6559 | 53.7161 | 57.4034 | 60.7149 | 63.8999 | 64.7456 | 70.6787
Nuclear | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 1.9365 | 1.9365
Coal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | 40.8855 | 41.4141 | 45.0483 | 44.6486 | 46.0934 | 46.4223 | 44.7857 | 46.1909 | 47.9609 | 47.793 | 48.0888 | 48.3492 | 48.2747
Solar | 158.4904 | 161.6767 | 162.7027 | 160.192 | 159.9318 | 158.1506 | 159.537 | 161.8072 | 162.0668 | 162.9267 | 165.2514 | 163.4791 | 163.0914
Biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery | 173.9969 | 177.9286 | 181.3938 | 179.8383 | 178.0528 | 175.5791 | 174.369 | 175.459 | 178.7028 | 177.6419 | 176.745 | 171.1058 | 171.5668
Other | 3.2084 | 3.5013 | 3.5013 | 3.5013 | 3.5625 | 3.3845 | 3.2579 | 3.2579 | 3.5725 | 3.8853 | 3.5713 | 3.5513 | 2.7525
Total Project Count | 2031 | 2054 | 2066 | 2041 | 2042 | 1999 | 1994 | 1984 | 2008 | 2008 | 2013 | 1965 | 1960
Cancelled Project Count | 26 | 17 | 21 | 30 | 25 | 51 | 13 | 17 | 20 | 21 | 15 | 43 | 13

## Slide 9: Next RIWG Meeting
Next meeting will be December 11,2026.

## Slide 10: Questions/Comments?
ResourceIntegrationDepartment@ercot.com
is distribution list for Resource Integration department
Mailing List
  RESOURCE_INTEGRATION@LISTS.ERCOT.COM