# Section 6:

NPRR1290 – Gap Resolutions and Clarifications for the Implementation of RTC+B

This Nodal Protocol Revision Request (NPRR) addresses several gaps and provides necessary clarifications in the Protocol language to support implementation of the Real-Time Co-optimization plus Batteries (RTC+B) initiative.

Revised Subsections:  6.5.7.3 and 6.6.9 [unboxed due to system implementation]

NPRR1323 – Correction to Inadvertent Removal of Real-Time MCPC Capping for NPRR1290 Phase 2

This Nodal Protocol Revision Request (NPRR) reinserts Protocol language regarding the capping of Real-Time Market Clearing Prices for Capacity (MCPCs) at the effective Value of Lost Load (VOLL) in grey-box language for NPRR1290, Gap Resolutions and Clarifications for the Implementation of RTC+B.  This capping of Real-Time MCPCs is part of existing Protocol language introduced as part of NPRR1268, RTC – Modification of Ancillary Service Demand Curves, and was inadvertently not included in the development of NPRR1290.

Revised Subsection:  6.5.7.3 [unboxed due to system implementation]