## ParkingDeck
List of Deferred Batch Zero discussions as of 8/27/2026
ERCOT Study Fee
Need Large Load Portal platform and requirements
ERCOT-ILLE-TSP process improvements for interconnection
Consider re-allocation of MW after non-committed projects in the refinement/restudy process
Allow loads to select what their minimum block size is
Methodology to determine financial security requirements for transmission upgrades and direct interconnection costs
Consider potential short circuit study changes
Dynamic model change evaluation by ERCOT not TSP
How to handle other changes after batch, e.g., in-service date is pushed out or the end use technology changes from what was studied.
Large Load reporting improvements: GIS-like reports and confidentiality
Expectations of BYOG Large Loads in case of an EEA3 load shed
BYOG enhancements (good enough for BatchZero but revisit)
PCLR enhancements (good enough for BatchZero but revisit)
Process for how LLs that didn't get their requested MWs allocated in prior batch can re-request in a subsequent batch
Questions of what happens if LLs did not commit: retain identifier, still need to pay the study fee, re-enter all information?
Modeling/case building improvements (may include changes to SSWG)
WLPUN exit - how to study and determine removal of operational limitations
What to do with WLPUN generation changes after commitment period
What to do about load ramps (requested LCP) that increase in years beyond the study scope (e.g., study is 2028-2032, load ramp in 2033/2034)
Any necessary Revision updates once the rule is adopted by the PUC for Project 58481
Determine if RRGRR (Resource Registraiton Glossary Revision Request) needed for WLPUN
Should TSPs still perform SSO studies?
Any necessary Revision updates to conform with NERC standard changes