## Summary of Commercial ADERs
Month | No. of Commercial ADERs | Qualified Amt. for Energy (MW) | Qualified Amt. for Non-Spin (MW) | Qualified Amt. for ECRS (MW)
2025-03 | 3 | 15.322 | 8.6 | 8.786
2025-04 | 3 | 15.537 | 8.6 | 8.84
2025-05 | 3 | 15.537 | 8.6 | 8.84
2025-06 | 3 | 15.537 | 8.6 | 8.84
2025-07 | 5 | 30.483 | 8.6 | 9.386
2025-08 | 5 | 60.644 | 16.5 | 31.586
2025-09 | 5 | 60.644 | 8.6 | 23.7
2025-10 | 6 | 64.677 | 32 | 32.8
2025-11 | 7 | 107.644 | 35.4 | 36.2
2025-12 | 7 | 107.644 | 35.4 | 49.9
2026-01 | 7 | 138.401 | 35.4 | 49.9
2026-02 | 7 | 158.172 | 35.4 | 49.9
2026-03 | 9 | 168.817 | 35.8 | 54.4
2026-04 | 9 | 235.738 | 46.9 | 77.8
2026-05 | 9 | 241.136 | 47.5 | 79
2026-06 | 9 | 241.282 | 64.3 | 97.2

## Monthly Participation
Month | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying Non-Spin | Intervals Released Non-Spin | Intervals Carrying ECRS | Intervals Released ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/ Non-Spin | Avg. Online Bid w/ ECRS | Avg. LMP While Dispatched | Avg. Non-Spin Offer | Avg. Non-Spin Offer w/ Award | Avg. ECRS Offer | Avg. ECRS Offer w/ Award
04/2025 | AR_ALD1 | 8817 | 5528 | 4668 | 4668 | 0 |  | 12 | 314.283 | 324.903 |  | 1753.53
04/2025 | BOERNE_ALD1 | 8817 | 7266 |  |  | 4360 |  | 2739 | 82.353 |  | 5 | 44.827
04/2025 | WEBBS_ALD1 | 8817 | 5528 | 4832 | 4832 | 0 |  | 4 | 320.751 | 330.843 |  | 423.934
05/2025 | AR_ALD1 | 9132 | 8499 | 6131 | 6131 | 0 |  | 39 | 340.76 | 340.318 |  | 643.564
05/2025 | BOERNE_ALD1 | 9132 | 7631 |  |  | 5265 |  | 4649 | 46.317 |  | 10 | 54.555
05/2025 | WEBBS_ALD1 | 9132 | 8499 | 5999 | 5999 | 0 |  | 33 | 298.779 | 293.13 |  | 848.524
06/2025 | AR_ALD1 | 8891 | 8889 | 6449 | 6449 | 0 |  | 13 | 312.738 | 305.246 |  | 867.598
06/2025 | BOERNE_ALD1 | 8891 | 7295 |  |  | 5154 |  | 2760 | 64.934 |  | 10 | 38.839
06/2025 | WEBBS_ALD1 | 8891 | 8889 | 6413 | 6413 | 0 |  | 2 | 307.037 | 301.046 |  | 380.48
07/2025 | AR_ALD1 | 9176 | 9174 | 6375 | 6375 | 12 |  | 11 | 820.83 | 842.372 | 349.33 | 756.793
07/2025 | BOERNE_ALD1 | 9176 | 7006 |  |  | 5101 | 10 | 2311 | 56.613 |  | 10.359 | 45.029
07/2025 | MIDNT_ALD1 | 2048 | [6 empty] | 1818.182
07/2025 | SANSM_ALD1 | 2048 | [6 empty] | 1341.463
07/2025 | WEBBS_ALD1 | 9176 | 9174 | 6350 | 6350 | 12 |  | 10 | 777.64 | 822.892 | 370.159 | 819.87
08/2025 | AR_ALD1 | 9158 | 1498 | 1092 | 1092 | 0 |  | 0 | 1463.804 | 1548.394
08/2025 | BOERNE_ALD1 | 9158 | 3470 |  |  | 1220 | 0 | 587 | 483.705 |  | 10 | 67.91
08/2025 | MIDNT_ALD1 | 9158 | [6 empty] | 2364.865
08/2025 | SANSM_ALD1 | 9158 | 26 |  |  | 13 |  | 16 | 2395.122 |  | 760.464 | 42.563
08/2025 | WEBBS_ALD1 | 9158 | 1498 | 1067 | 1067 | 0 |  | 0 | 1006.277 | 1399.159
09/2025 | AR_ALD1 | 8884 | 3723 | 2227 |  | 1 |  | 0 | 1033.972 | 1281.172 | 5000
09/2025 | BOERNE_ALD1 | 8884 | 7432 |  |  | 5171 | 1 | 1304 | 99.291 |  | 30 | 74.635
09/2025 | MIDNT_ALD1 | 8884 | 34 |  |  |  |  | 33 | 4501.603 |  |  | 29.847
09/2025 | SANSM_ALD1 | 8884 | 34 |  |  |  |  | 33 | 4620.066 |  |  | 19.392
09/2025 | WEBBS_ALD1 | 8884 | 3723 | 2227 |  | 1 |  | 2 | 1054.151 | 1391.322 |  | 316.357
10/2025 | AR_ALD1 | 9105 | 9105 | 6050 |  |  |  | 8 | 566.46 | 649.506 |  | 408.224
10/2025 | BOERNE_ALD1 | 9105 | 7348 |  |  | 5106 | 1 | 1326 | 95.217 |  | 34 | 66.722
10/2025 | MIDNT_ALD1 | 9105 | 48 |  |  |  |  | 48 | 2750 |  |  | 13.399
10/2025 | SANSM_ALD1 | 9105 | 60 |  |  |  |  | 58 | 2843.216 |  |  | 13.462
10/2025 | WEBBS_ALD1 | 9105 | 9105 | 6026 |  |  |  | 25 | 685.995 | 780.312 |  | 121.784
11/2025 | AR_ALD1 | 8537 | 8537 | 6439 |  |  |  | 20 | 364.834 | 311.991 |  | 133.425
11/2025 | BOERNE_ALD1 | 8537 | 5176 |  |  | 3710 |  | 517 | 44.212 |  | 16.667 | 83.282
11/2025 | MIDNT_ALD1 | 8537 | [6 empty] | 588.235
11/2025 | SANSM_ALD1 | 8537 | [6 empty] | 5000
11/2025 | WEBBS_ALD1 | 8537 | 8537 | 6534 |  |  |  | 9 | 358.906 | 305.047 |  | 119.095
12/2025 (PRE-RTC) | AR_ALD1 | 1170 | 1170 | 1122 |  |  |  |  | 302.662 | 302.775
12/2025 (RTC) | AR_ALD1 | 7872 | 5222 | 4538 | NA | 4470 | NA | 3 | 223.002 | 303.672 | 303.722 | 15.796 | 77.642 | 0.003 | 77.293 | 0
12/2025 (PRE-RTC) | BAR_ALD1 | 1170
12/2025 (RTC) | BAR_ALD1 | 7872 |  |  | NA |  | NA | 0 | 0
12/2025 (PRE-RTC) | BOERNE_ALD1 | 1170 | 978 |  |  | 686 | 1 | 176 | 108.259 |  | 30 | 162.438
12/2025 (RTC) | BOERNE_ALD1 | 7872 | 6571 |  | NA | 3302 | NA | 417 | 38.096 |  | 47.719 | 132.059 |  |  | 0.01 | 0.01
12/2025 (PRE-RTC) | MIDNT_ALD1 | 1170 | 35 |  |  |  |  | 35 | 2516.892 |  |  | 49.641
12/2025 (RTC) | MIDNT_ALD1 | 7872 | 7423 | 4061 | NA | 280 | NA | 3191 | 2278.467 | 2421.102 | 2441.629 | 36.708 | 564.898 | 0.01 | 1903.612 | 0.01
12/2025 (PRE-RTC) | OB_ALD1 | 1170 | 35 |  |  |  |  | 35 | 2516.892 |  |  | 46.918
12/2025 (RTC) | OB_ALD1 | 7872 | 7215 | 4187 | NA | 280 | NA | 3498 | 2224.005 | 2425.005 | 2458.437 | 24.818 | 518.109 | 0.01 | 1902.282 | 0.01
12/2025 (PRE-RTC) | SANSM_ALD1 | 1170 | 35 |  |  |  |  | 35 | 2447.917 |  |  | 43.984
12/2025 (RTC) | SANSM_ALD1 | 7872 | 7422 | 3807 | NA | 310 | NA | 4937 | 2275.798 | 2418.889 | 2549.081 | 32.338 | 583.708 | 0.01 | 1863.663 | 0.074
12/2025 (PRE-RTC) | WEBBS_ALD1 | 1170 | 1170 | 1098 |  |  |  |  | 405.361 | 412.27
12/2025 (RTC) | WEBBS_ALD1 | 7872 | 5222 | 4322 | NA | 4161 | NA | 14 | 231.149 | 306.743 | 306.915 | 266.964 | 142.557 | 0.003 | 142.31 | 0
01/2026 | AR_ALD1 | 8788 | 1 |  | NA |  | NA | 0 | 0.034 |  |  |  | 1.05 |  | 1.004
01/2026 | BAR_ALD1 | 8788 | 0 |  | NA |  | NA | 0 | 0
01/2026 | BOERNE_ALD1 | 8788 | 6526 |  | NA | 2417 | NA | 1381 | 33.849 |  | 47.291 | 106.397 |  |  | 0.01 | 0.01
01/2026 | MIDNT_ALD1 | 8788 | 7795 | 7502 | NA |  | NA | 3460 | 2097.051 | 2366.357 |  | 26.076 | 97.249 | 0.01 | 2000
01/2026 | OB_ALD1 | 8788 | 7807 | 7523 | NA |  | NA | 4177 | 2109.203 | 2375.145 |  | 24.31 | 94.958 | 0.01 | 2000
01/2026 | SANSM_ALD1 | 8788 | 7795 | 7468 | NA | 3 | NA | 3969 | 2097.263 | 2373.648 | 2354.651 | 28.09 | 94.787 | 0.01 | 1995.177
01/2026 | WEBBS_ALD1 | 8788 | 1 |  | NA |  | NA | 0 | 0.034 |  |  |  | 32.28 |  | 32.234
02/2026 | AR_ALD1 | 7889 | 5053 | 4571 | NA | 3193 | NA | 0 | 196.233 | 301.061 | 301.207 |  | 15.62 | 0.005 | 15.587 | 0.002
02/2026 | BAR_ALD1 | 7889 | 0 |  | NA |  | NA | 0 | 0
02/2026 | BOERNE_ALD1 | 7889 | 6262 |  | NA | 2550 | NA | 903 | 36.808 |  | 45.973 | 41.759 |  |  | 0.01 | 0.01
02/2026 | MIDNT_ALD1 | 7889 | 7601 | 6747 | NA | 466 | NA | 632 | 3458.205 | 3495.729 | 4555.056 | 8.854 | 230.334 | 0.01 | 1869.885 | 0.01
02/2026 | OB_ALD1 | 7889 | 7889 | 7009 | NA | 464 | NA | 783 | 3428.479 | 3305.796 | 4880.401 | 13.6 | 223.444 | 0.01 | 1874.318 | 0.01
02/2026 | SANSM_ALD1 | 7889 | 7889 | 6799 | NA | 466 | NA | 974 | 3724.151 | 3640.181 | 4870.813 | 11.016 | 276.343 | 0.011 | 1873.81 | 0.01
02/2026 | WEBBS_ALD1 | 7889 | 5053 | 4442 | NA | 2979 | NA | 0 | 198.104 | 301.272 | 301.206 |  | 80.176 | 0.006 | 80.143 | 0.002
03/2026 | AR_ALD1 | 8734 | 8317 | 7691 | NA | 424 | NA | 0 | 286.553 | 301.151 | 300 |  | 0.202 | 0.034 | 0.048 | 0.015
03/2026 | BAR_ALD1 | 8734 | 0 |  | NA |  | NA | 0 | 0
03/2026 | BOERNE_ALD1 | 8734 | 7554 |  | NA | 4827 | NA | 1087 | 40.861 |  | 47.227 | 50.44 |  |  | 0.01 | 0.01
03/2026 | MARION_ALD1 | 5821 | 5810 | 1153 | NA | 399 | NA | 1402 | 4038.567 | 4798.025 | 4755.127 | 33.577 | 1589.401 | 0.01 | 1859.011 | 0.01
03/2026 | MIDNT_ALD1 | 8734 | 8724 | 5404 | NA | 3069 | NA | 8206 | 4384.993 | 4474.93 | 4214.8 | 25.656 | 758.208 | 0.01 | 1243.867 | 0.01
03/2026 | OB_ALD1 | 8734 | 8722 | 5398 | NA | 3057 | NA | 6418 | 4781.816 | 4843.167 | 4716.412 | 27.206 | 758.128 | 0.01 | 1246.244 | 0.01
03/2026 | SANSM_ALD1 | 8734 | 8734 | 5417 | NA | 3070 | NA | 6694 | 4723.765 | 4803.332 | 4580.23 | 21.23 | 758.422 | 0.011 | 1243.954 | 0.01
03/2026 | WEBBS_ALD1 | 8734 | 8317 | 7665 | NA | 432 | NA | 0 | 286.23 | 300.953 | 300 |  | 0.207 | 0.034 | 0.05 | 0.014
04/2026 | AR_ALD1 | 8525 | 8357 | 7095 | NA | 178 | NA | 33 | 365.385 | 303.915 | 300 | 584.662 | 2.131 | 0.069 | 1.872 | 0.054
04/2026 | BAR_ALD1 | 8525 | 0 |  | NA |  | NA | 0 | 0
04/2026 | BOERNE_ALD1 | 8525 | 7127 |  | NA | 3238 | NA | 3136 | 32.618 |  | 45.471 | 66.611 |  |  | 0.01 | 0.01
04/2026 | CIBOLO_ALD1 | 8525 | 3817 | 2739 | NA | 2439 | NA | 0 | 0.141 | 0.438 | 0.492 |  | 65.381 | 0.119 | 64.904 | 0.003
04/2026 | MARION_ALD1 | 8525 | 8525 | 4044 | NA | 3631 | NA | 2901 | 4192.523 | 4440.573 | 4416.75 | 52.472 | 1049.135 | 0.01 | 1143.869 | 0.01
04/2026 | MIDNT_ALD1 | 8525 | 8525 | 4184 | NA | 4239 | NA | 6805 | 3899.518 | 3963.301 | 3873.828 | 40.173 | 1017.413 | 0.01 | 998.358 | 0.01
04/2026 | OB_ALD1 | 8525 | 8525 | 4125 | NA | 4279 | NA | 7278 | 4191.994 | 4292.075 | 4162.761 | 38.373 | 1031.391 | 0.01 | 989.308 | 0.01
04/2026 | SANSM_ALD1 | 8525 | 8513 | 4098 | NA | 4224 | NA | 7211 | 4153.28 | 4261.647 | 4152.282 | 39.041 | 1037.659 | 0.011 | 1000.357 | 0.01
04/2026 | WEBBS_ALD1 | 8525 | 8357 | 7088 | NA | 1536 | NA | 43 | 395.815 | 305.408 | 305.967 | 596.126 | 0.363 | 0.066 | 0.105 | 0.01

## Hourly Participation (04_2026)
Hour End | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying Non-Spin | Intervals Carrying ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/ Non-Spin | Avg. Online Bid w/ ECRS | Avg. LMP While Dispatched | Avg. Non-Spin Offer w/ Award | Avg. ECRS Offer w/ Award
HE_1 | AR_ALD1 | 352 | 351 | 317 | 4 | 0 | 494.886 | 310.726 | 300 |  | 0.041 | 0.088
HE_1 | BAR_ALD1 | 352 | 0 | 0 | 0 | 0 | 0
HE_1 | BOERNE_ALD1 | 352 | 0 | 0 | 0 | 0 | 0
HE_1 | CIBOLO_ALD1 | 352 | 159 | 111 | 94 | 0 | 0 | 0 | 0 |  | 0.007 | 0.001
HE_1 | MARION_ALD1 | 352 | 352 | 254 | 50 | 103 | 4241.016 | 4581.75 | 4361.713 | 32.049 | 0.01 | 0.01
HE_1 | MIDNT_ALD1 | 352 | 352 | 288 | 64 | 284 | 3764.473 | 3791.286 | 3643.814 | 29.605 | 0.01 | 0.01
HE_1 | OB_ALD1 | 352 | 352 | 288 | 64 | 261 | 3960.61 | 4044.718 | 3582.123 | 30.438 | 0.01 | 0.01
HE_1 | SANSM_ALD1 | 352 | 352 | 290 | 62 | 281 | 4232.979 | 4296.669 | 3935.075 | 28.339 | 0.01 | 0.01
HE_1 | WEBBS_ALD1 | 352 | 351 | 308 | 13 | 0 | 619.602 | 300 | 300 |  | 0.044 | 0.034
HE_2 | AR_ALD1 | 348 | 348 | 307 | 2 | 0 | 466.092 | 305.537 | 300 |  | 0.026 | 0.07
HE_2 | BAR_ALD1 | 348 | 0 | 0 | 0 | 0 | 0
HE_2 | BOERNE_ALD1 | 348 | 0 | 0 | 0 | 0 | 0
HE_2 | CIBOLO_ALD1 | 348 | 156 | 102 | 86 | 0 | 0 | 0 | 0 |  | 0.029 | 0
HE_2 | MARION_ALD1 | 348 | 348 | 266 | 54 | 92 | 4533.459 | 4662.616 | 4512.891 | 25.294 | 0.01 | 0.01
HE_2 | MIDNT_ALD1 | 348 | 348 | 282 | 66 | 282 | 3903.248 | 4006.031 | 3464.088 | 26.442 | 0.01 | 0.01
HE_2 | OB_ALD1 | 348 | 348 | 278 | 70 | 254 | 4038.166 | 4154.675 | 3575.457 | 26.077 | 0.01 | 0.01
HE_2 | SANSM_ALD1 | 348 | 348 | 280 | 68 | 272 | 4305.631 | 4416.289 | 3849.983 | 23.329 | 0.01 | 0.01
HE_2 | WEBBS_ALD1 | 348 | 348 | 307 | 2 | 0 | 623.276 | 300 | 300 |  | 0.026 | 0.07
HE_3 | AR_ALD1 | 349 | 349 | 311 | 3 | 0 | 461.605 | 300 | 300 |  | 0.019 | 0.033
HE_3 | BAR_ALD1 | 349 | 0 | 0 | 0 | 0 | 0
HE_3 | BOERNE_ALD1 | 349 | 0 | 0 | 0 | 0 | 0
HE_3 | CIBOLO_ALD1 | 349 | 157 | 104 | 87 | 0 | 0 | 0 | 0 |  | 0.04 | 0
HE_3 | MARION_ALD1 | 349 | 349 | 238 | 90 | 96 | 4552.286 | 4769.652 | 4350.475 | 24.611 | 0.01 | 0.01
HE_3 | MIDNT_ALD1 | 349 | 349 | 236 | 108 | 254 | 3895.301 | 4013.606 | 3653.469 | 27.25 | 0.01 | 0.01
HE_3 | OB_ALD1 | 349 | 349 | 237 | 106 | 246 | 4138.258 | 4291.447 | 3814.122 | 24.928 | 0.01 | 0.01
HE_3 | SANSM_ALD1 | 349 | 349 | 239 | 106 | 271 | 4359.64 | 4430.966 | 4186.972 | 23.068 | 0.012 | 0.01
HE_3 | WEBBS_ALD1 | 349 | 349 | 311 | 3 | 0 | 623.209 | 300 | 300 |  | 0.019 | 0.033
HE_4 | AR_ALD1 | 350 | 350 | 312 | 1 | 0 | 461.143 | 300 | 300 |  | 0.029 | 0.04
HE_4 | BAR_ALD1 | 350 | 0 | 0 | 0 | 0 | 0
HE_4 | BOERNE_ALD1 | 350 | 350 | 0 | 245 | 267 | 37.426 |  | 37.766 | 27.865 |  | 0.01
HE_4 | CIBOLO_ALD1 | 350 | 158 | 115 | 88 | 0 | 0 | 0 | 0 |  | 0.041 | 0
HE_4 | MARION_ALD1 | 350 | 350 | 262 | 61 | 77 | 4541.668 | 4565.146 | 4885.554 | 27.665 | 0.01 | 0.01
HE_4 | MIDNT_ALD1 | 350 | 350 | 282 | 67 | 261 | 3949.406 | 3937.957 | 3990.151 | 28.542 | 0.01 | 0.01
HE_4 | OB_ALD1 | 350 | 350 | 279 | 69 | 274 | 4397.612 | 4544.94 | 3787.611 | 25.39 | 0.01 | 0.01
HE_4 | SANSM_ALD1 | 350 | 350 | 280 | 68 | 282 | 4401.934 | 4404.875 | 4374.808 | 24.277 | 0.01 | 0.01
HE_4 | WEBBS_ALD1 | 350 | 350 | 312 | 1 | 0 | 622.286 | 300 | 300 |  | 0.017 | 0.04
HE_5 | AR_ALD1 | 348 | 348 | 313 | 6 | 0 | 462.069 | 300 | 300 |  | 0.011 | 0.02
HE_5 | BAR_ALD1 | 348 | 0 | 0 | 0 | 0 | 0
HE_5 | BOERNE_ALD1 | 348 | 348 | 0 | 204 | 17 | 49.186 |  | 49.194 | 51.192 |  | 0.01
HE_5 | CIBOLO_ALD1 | 348 | 156 | 113 | 104 | 0 | 0 | 0 | 0 |  | 0.034 | 0.001
HE_5 | MARION_ALD1 | 348 | 348 | 292 | 32 | 75 | 4650.434 | 4742.404 | 4630.671 | 31.329 | 0.01 | 0.01
HE_5 | MIDNT_ALD1 | 348 | 348 | 313 | 35 | 250 | 3922.297 | 3966.588 | 3526.207 | 28.121 | 0.01 | 0.01
HE_5 | OB_ALD1 | 348 | 348 | 309 | 39 | 290 | 4512.748 | 4565.192 | 4097.228 | 26.398 | 0.01 | 0.01
HE_5 | SANSM_ALD1 | 348 | 348 | 311 | 37 | 257 | 4402.414 | 4438.059 | 4102.809 | 24.734 | 0.01 | 0.01
HE_5 | WEBBS_ALD1 | 348 | 348 | 313 | 6 | 0 | 543.103 | 300 | 300 |  | 0.011 | 0.02
HE_6 | AR_ALD1 | 350 | 350 | 309 | 2 | 0 | 461.143 | 300 | 300 |  | 0.01 | 0.055
HE_6 | BAR_ALD1 | 350 | 0 | 0 | 0 | 0 | 0
HE_6 | BOERNE_ALD1 | 350 | 350 | 0 | 240 | 24 | 48.445 |  | 48.959 | 56.781 |  | 0.01
HE_6 | CIBOLO_ALD1 | 350 | 157 | 113 | 89 | 0 | 0 | 0 | 0 |  | 0.028 | 0
HE_6 | MARION_ALD1 | 350 | 350 | 318 | 12 | 88 | 4553.801 | 4720.269 | 4848.176 | 34.211 | 0.01 | 0.01
HE_6 | MIDNT_ALD1 | 350 | 350 | 338 | 12 | 262 | 3802.136 | 3770.064 | 4705.51 | 31.711 | 0.01 | 0.01
HE_6 | OB_ALD1 | 350 | 350 | 338 | 12 | 304 | 4484.3 | 4475.515 | 4731.74 | 30.308 | 0.01 | 0.01
HE_6 | SANSM_ALD1 | 350 | 350 | 338 | 12 | 276 | 4412.224 | 4396.313 | 4860.379 | 28.251 | 0.01 | 0.01
HE_6 | WEBBS_ALD1 | 350 | 350 | 309 | 2 | 0 | 461.143 | 300 | 300 |  | 0.01 | 0.055
HE_7 | AR_ALD1 | 349 | 349 | 306 | 3 | 0 | 461.605 | 300 | 300 |  | 0.019 | 0.003
HE_7 | BAR_ALD1 | 349 | 0 | 0 | 0 | 0 | 0
HE_7 | BOERNE_ALD1 | 349 | 349 | 0 | 237 | 39 | 47.833 |  | 48.398 | 52.45 |  | 0.01
HE_7 | CIBOLO_ALD1 | 349 | 157 | 110 | 90 | 0 | 0 | 0 | 0 |  | 0.042 | 0.001
HE_7 | MARION_ALD1 | 349 | 349 | 213 | 98 | 119 | 3824.784 | 4269.983 | 4137.292 | 38.972 | 0.01 | 0.01
HE_7 | MIDNT_ALD1 | 349 | 349 | 215 | 134 | 258 | 3676.079 | 3929.628 | 3269.265 | 34.003 | 0.01 | 0.01
HE_7 | OB_ALD1 | 349 | 349 | 211 | 138 | 331 | 4280.299 | 4508.707 | 3931.067 | 32.739 | 0.01 | 0.01
HE_7 | SANSM_ALD1 | 349 | 349 | 212 | 137 | 300 | 4190.464 | 4427.886 | 3823.066 | 31.16 | 0.01 | 0.01
HE_7 | WEBBS_ALD1 | 349 | 349 | 306 | 3 | 0 | 461.605 | 300 | 300 |  | 0.019 | 0.003
HE_8 | AR_ALD1 | 351 | 351 | 316 | 19 | 0 | 460.684 | 300 | 300 |  | 0.05 | 0.054
HE_8 | BAR_ALD1 | 351 | 0 | 0 | 0 | 0 | 0
HE_8 | BOERNE_ALD1 | 351 | 351 | 0 | 241 | 68 | 45.96 |  | 46.988 | 55.486 |  | 0.01
HE_8 | CIBOLO_ALD1 | 351 | 157 | 102 | 94 | 0 | 0 | 0 | 0 |  | 0.114 | 0.006
HE_8 | MARION_ALD1 | 351 | 351 | 158 | 151 | 133 | 3552.773 | 3900.826 | 3855.57 | 40.649 | 0.01 | 0.01
HE_8 | MIDNT_ALD1 | 351 | 351 | 144 | 207 | 301 | 3552.097 | 3997.09 | 3242.536 | 34.261 | 0.01 | 0.01
HE_8 | OB_ALD1 | 351 | 351 | 139 | 212 | 342 | 4101.934 | 4495.144 | 3844.121 | 33.424 | 0.01 | 0.01
HE_8 | SANSM_ALD1 | 351 | 351 | 142 | 209 | 343 | 3970.131 | 4348.121 | 3713.316 | 32.957 | 0.01 | 0.01
HE_8 | WEBBS_ALD1 | 351 | 351 | 316 | 20 | 0 | 460.684 | 300 | 300 |  | 0.05 | 0.052
HE_9 | AR_ALD1 | 365 | 365 | 308 | 70 | 0 | 454.521 | 300 | 300 |  | 0.007 | 0.032
HE_9 | BAR_ALD1 | 365 | 0 | 0 | 0 | 0 | 0
HE_9 | BOERNE_ALD1 | 365 | 365 | 0 | 249 | 83 | 45.266 |  | 46.01 | 49.219 |  | 0.01
HE_9 | CIBOLO_ALD1 | 365 | 160 | 104 | 101 | 0 | 0 | 0 | 0 |  | 0.017 | 0.012
HE_9 | MARION_ALD1 | 365 | 365 | 69 | 249 | 189 | 4126.551 | 4383.45 | 4419.166 | 32.178 | 0.01 | 0.01
HE_9 | MIDNT_ALD1 | 365 | 365 | 63 | 295 | 313 | 3695.322 | 4205.467 | 3670.772 | 29.579 | 0.01 | 0.01
HE_9 | OB_ALD1 | 365 | 365 | 59 | 296 | 328 | 4175.612 | 4649.328 | 4230.563 | 28.359 | 0.01 | 0.01
HE_9 | SANSM_ALD1 | 365 | 365 | 62 | 294 | 359 | 4064.159 | 4375.203 | 4129.945 | 26.876 | 0.015 | 0.01
HE_9 | WEBBS_ALD1 | 365 | 365 | 313 | 72 | 0 | 454.521 | 300 | 300 |  | 0.008 | 0.031
HE_10 | AR_ALD1 | 357 | 357 | 279 | 44 | 0 | 457.983 | 300 | 300 |  | 0.005 | 0.043
HE_10 | BAR_ALD1 | 357 | 0 | 0 | 0 | 0 | 0
HE_10 | BOERNE_ALD1 | 357 | 357 | 0 | 249 | 68 | 45.785 |  | 46.489 | 42.445 |  | 0.01
HE_10 | CIBOLO_ALD1 | 357 | 157 | 91 | 85 | 0 | 0 | 0 | 0 |  | 0.017 | 0.01
HE_10 | MARION_ALD1 | 357 | 357 | 34 | 275 | 175 | 4226.35 | 3855.515 | 4600.817 | 29.027 | 0.01 | 0.01
HE_10 | MIDNT_ALD1 | 357 | 357 | 14 | 343 | 321 | 3856.662 | 4395.949 | 3834.651 | 26.372 | 0.01 | 0.01
HE_10 | OB_ALD1 | 357 | 357 | 17 | 340 | 302 | 4424.603 | 4876.395 | 4402.013 | 23.593 | 0.01 | 0.01
HE_10 | SANSM_ALD1 | 357 | 357 | 22 | 335 | 326 | 4281.961 | 4838.905 | 4245.385 | 20.933 | 0.01 | 0.01
HE_10 | WEBBS_ALD1 | 357 | 357 | 279 | 44 | 0 | 457.983 | 300 | 300 |  | 0.005 | 0.043
HE_11 | AR_ALD1 | 354 | 343 | 283 | 16 | 0 | 303.955 | 300 | 300 |  | 0.008 | 0.059
HE_11 | BAR_ALD1 | 354 | 0 | 0 | 0 | 0 | 0
HE_11 | BOERNE_ALD1 | 354 | 354 | 0 | 247 | 65 | 45.43 |  | 46.862 | 40.025 |  | 0.01
HE_11 | CIBOLO_ALD1 | 354 | 158 | 104 | 81 | 0 | 0 | 0 | 0 |  | 0.052 | 0.011
HE_11 | MARION_ALD1 | 354 | 354 | 73 | 241 | 122 | 4361.816 | 4533.801 | 4634.833 | 30.96 | 0.01 | 0.01
HE_11 | MIDNT_ALD1 | 354 | 354 | 54 | 298 | 316 | 3932.731 | 4434.869 | 3837.597 | 23.384 | 0.01 | 0.01
HE_11 | OB_ALD1 | 354 | 354 | 54 | 300 | 314 | 4451.974 | 4631.09 | 4419.733 | 22.928 | 0.01 | 0.01
HE_11 | SANSM_ALD1 | 354 | 354 | 43 | 311 | 299 | 4274.266 | 4456.843 | 4249.022 | 19.181 | 0.01 | 0.01
HE_11 | WEBBS_ALD1 | 354 | 343 | 284 | 54 | 0 | 303.955 | 300 | 300 |  | 0.008 | 0.018
HE_12 | AR_ALD1 | 361 | 349 | 301 | 0 | 0 | 290.028 | 300 |  |  | 0.005
HE_12 | BAR_ALD1 | 361 | 0 | 0 | 0 | 0 | 0
HE_12 | BOERNE_ALD1 | 361 | 361 | 0 | 255 | 85 | 44.55 |  | 45.446 | 38.823 |  | 0.01
HE_12 | CIBOLO_ALD1 | 361 | 160 | 118 | 100 | 0 | 0 | 0 | 0 |  | 0.073 | 0
HE_12 | MARION_ALD1 | 361 | 361 | 100 | 228 | 96 | 4561.229 | 4618.141 | 4789.433 | 27.659 | 0.01 | 0.01
HE_12 | MIDNT_ALD1 | 361 | 361 | 102 | 256 | 311 | 4197.256 | 4214.157 | 4184.745 | 23.828 | 0.01 | 0.01
HE_12 | OB_ALD1 | 361 | 361 | 105 | 255 | 313 | 4349.299 | 4483.825 | 4291.763 | 24.875 | 0.01 | 0.01
HE_12 | SANSM_ALD1 | 361 | 361 | 100 | 260 | 297 | 4311.384 | 4103.105 | 4389.184 | 17.35 | 0.01 | 0.01
HE_12 | WEBBS_ALD1 | 361 | 349 | 301 | 102 | 0 | 290.028 | 300 | 300 |  | 0.005 | 0.003
HE_13 | AR_ALD1 | 357 | 345 | 278 | 0 | 0 | 289.916 | 300 |  |  | 0.003
HE_13 | BAR_ALD1 | 357 | 0 | 0 | 0 | 0 | 0
HE_13 | BOERNE_ALD1 | 357 | 357 | 0 | 254 | 102 | 43.564 |  | 43.946 | 35.283 |  | 0.01
HE_13 | CIBOLO_ALD1 | 357 | 157 | 104 | 100 | 0 | 0 | 0 | 0 |  | 0.016 | 0
HE_13 | MARION_ALD1 | 357 | 357 | 169 | 161 | 73 | 4469.52 | 4606.179 | 4751.842 | 30.769 | 0.01 | 0.01
HE_13 | MIDNT_ALD1 | 357 | 357 | 178 | 179 | 249 | 4202.089 | 4109.286 | 4294.374 | 25.26 | 0.01 | 0.01
HE_13 | OB_ALD1 | 357 | 357 | 178 | 179 | 327 | 4444.434 | 4430.921 | 4457.87 | 23.858 | 0.01 | 0.01
HE_13 | SANSM_ALD1 | 357 | 357 | 171 | 178 | 312 | 4224.8 | 4103.685 | 4508.663 | 17.978 | 0.01 | 0.01
HE_13 | WEBBS_ALD1 | 357 | 345 | 278 | 157 | 0 | 289.916 | 300 | 300 |  | 0.003 | 0.002
HE_14 | AR_ALD1 | 356 | 344 | 283 | 0 | 0 | 289.888 | 300 |  |  | 0.001
HE_14 | BAR_ALD1 | 356 | 0 | 0 | 0 | 0 | 0
HE_14 | BOERNE_ALD1 | 356 | 356 | 0 | 222 | 117 | 43.062 |  | 45.681 | 44.624 |  | 0.01
HE_14 | CIBOLO_ALD1 | 356 | 158 | 101 | 100 | 0 | 0 | 0 | 0 |  | 0.004 | 0
HE_14 | MARION_ALD1 | 356 | 356 | 170 | 155 | 104 | 4354.382 | 4590.193 | 4524.539 | 41.489 | 0.01 | 0.01
HE_14 | MIDNT_ALD1 | 356 | 356 | 164 | 192 | 253 | 4228.291 | 4389.839 | 4090.302 | 29.059 | 0.01 | 0.01
HE_14 | OB_ALD1 | 356 | 356 | 166 | 190 | 325 | 4270.207 | 4430.235 | 4130.394 | 30.327 | 0.01 | 0.01
HE_14 | SANSM_ALD1 | 356 | 345 | 145 | 179 | 293 | 4196.402 | 4157.567 | 4613.47 | 20.048 | 0.01 | 0.01
HE_14 | WEBBS_ALD1 | 356 | 344 | 283 | 180 | 0 | 289.888 | 300 | 300 |  | 0.001 | 0
HE_15 | AR_ALD1 | 358 | 346 | 284 | 0 | 0 | 293.296 | 304.225 |  |  | 0
HE_15 | BAR_ALD1 | 358 | 0 | 0 | 0 | 0 | 0
HE_15 | BOERNE_ALD1 | 358 | 358 | 0 | 210 | 133 | 40.453 |  | 43.38 | 54.582 |  | 0.01
HE_15 | CIBOLO_ALD1 | 358 | 161 | 113 | 104 | 0 | 0 | 0 | 0 |  | 0 | 0
HE_15 | MARION_ALD1 | 358 | 358 | 139 | 167 | 104 | 4086.764 | 4408.039 | 4436.373 | 49.651 | 0.01 | 0.01
HE_15 | MIDNT_ALD1 | 358 | 358 | 156 | 190 | 252 | 4085.796 | 4083.365 | 4154.251 | 34.051 | 0.01 | 0.01
HE_15 | OB_ALD1 | 358 | 358 | 155 | 199 | 321 | 4251.986 | 4203.274 | 4380.419 | 34.741 | 0.01 | 0.01
HE_15 | SANSM_ALD1 | 358 | 357 | 155 | 184 | 303 | 4323.898 | 4150.595 | 4630.17 | 22.673 | 0.01 | 0.01
HE_15 | WEBBS_ALD1 | 358 | 346 | 284 | 194 | 0 | 293.304 | 304.235 | 306.2 |  | 0 | 0
HE_16 | AR_ALD1 | 364 | 352 | 290 | 0 | 0 | 296.703 | 307.586 |  |  | 0
HE_16 | BAR_ALD1 | 364 | 0 | 0 | 0 | 0 | 0
HE_16 | BOERNE_ALD1 | 364 | 364 | 0 | 199 | 178 | 38.789 |  | 43.773 | 54.409 |  | 0.01
HE_16 | CIBOLO_ALD1 | 364 | 166 | 130 | 123 | 0 | 1.648 | 4.615 | 4.878 |  | 0 | 0
HE_16 | MARION_ALD1 | 364 | 364 | 104 | 226 | 110 | 4131.697 | 4234.77 | 4421.609 | 42.041 | 0.01 | 0.01
HE_16 | MIDNT_ALD1 | 364 | 364 | 116 | 240 | 261 | 4093.425 | 3990.272 | 4200.474 | 34.354 | 0.01 | 0.01
HE_16 | OB_ALD1 | 364 | 364 | 109 | 243 | 344 | 4212.283 | 4122.048 | 4365.106 | 36.413 | 0.01 | 0.01
HE_16 | SANSM_ALD1 | 364 | 364 | 110 | 237 | 342 | 4153.632 | 4243.503 | 4232.204 | 29.51 | 0.01 | 0.01
HE_16 | WEBBS_ALD1 | 364 | 352 | 290 | 166 | 0 | 296.705 | 307.588 | 313.253 |  | 0 | 0
HE_17 | AR_ALD1 | 368 | 356 | 285 | 1 | 0 | 296.739 | 307.719 | 300 |  | 0 | 0
HE_17 | BAR_ALD1 | 368 | 0 | 0 | 0 | 0 | 0
HE_17 | BOERNE_ALD1 | 368 | 368 | 0 | 186 | 202 | 37.109 |  | 43.453 | 55.915 |  | 0.01
HE_17 | CIBOLO_ALD1 | 368 | 161 | 125 | 125 | 0 | 0 | 0 | 0 |  | 0 | 0
HE_17 | MARION_ALD1 | 368 | 368 | 59 | 267 | 130 | 4093.003 | 3993.865 | 4477.196 | 54.748 | 0.01 | 0.01
HE_17 | MIDNT_ALD1 | 368 | 368 | 61 | 306 | 303 | 3981.152 | 3887.136 | 4005.157 | 41.365 | 0.01 | 0.01
HE_17 | OB_ALD1 | 368 | 368 | 61 | 304 | 341 | 4354.806 | 4011.776 | 4419.869 | 33.834 | 0.01 | 0.01
HE_17 | SANSM_ALD1 | 368 | 368 | 60 | 298 | 345 | 4100.203 | 3999.615 | 4225.169 | 32.199 | 0.01 | 0.01
HE_17 | WEBBS_ALD1 | 368 | 356 | 286 | 166 | 0 | 296.739 | 307.692 | 313.253 |  | 0 | 0
HE_18 | AR_ALD1 | 365 | 353 | 300 | 0 | 0 | 296.712 | 307.333 |  |  | 0
HE_18 | BAR_ALD1 | 365 | 0 | 0 | 0 | 0 | 0
HE_18 | BOERNE_ALD1 | 365 | 365 | 0 | 0 | 203 | 35.092 |  |  | 69.075
HE_18 | CIBOLO_ALD1 | 365 | 161 | 126 | 126 | 0 | 0.822 | 2.381 | 2.381 |  | 0 | 0
HE_18 | MARION_ALD1 | 365 | 365 | 70 | 272 | 133 | 4217.19 | 4170.966 | 4456.568 | 50.231 | 0.01 | 0.01
HE_18 | MIDNT_ALD1 | 365 | 365 | 74 | 283 | 316 | 4085.035 | 3760.119 | 4185.24 | 43.381 | 0.01 | 0.01
HE_18 | OB_ALD1 | 365 | 365 | 72 | 283 | 331 | 4412.378 | 4356.088 | 4468.372 | 35.47 | 0.01 | 0.01
HE_18 | SANSM_ALD1 | 365 | 365 | 69 | 274 | 334 | 4285.91 | 4189.113 | 4420.481 | 36.67 | 0.01 | 0.01
HE_18 | WEBBS_ALD1 | 365 | 353 | 298 | 150 | 5 | 297.103 | 307.61 | 314.725 | 368.65 | 0 | 0
HE_19 | AR_ALD1 | 365 | 353 | 288 | 0 | 6 | 292.014 | 302.302 |  | 386.815 | 0.012
HE_19 | BAR_ALD1 | 365 | 0 | 0 | 0 | 0 | 0
HE_19 | BOERNE_ALD1 | 365 | 365 | 0 | 0 | 237 | 32.74 |  |  | 83.712
HE_19 | CIBOLO_ALD1 | 365 | 166 | 132 | 128 | 0 | 0 | 0 | 0 |  | 0.017 | 0
HE_19 | MARION_ALD1 | 365 | 365 | 203 | 149 | 117 | 4437.179 | 4384.627 | 4640.435 | 63.921 | 0.01 | 0.01
HE_19 | MIDNT_ALD1 | 365 | 365 | 217 | 146 | 295 | 4203.326 | 4094.907 | 4372.958 | 60.802 | 0.01 | 0.01
HE_19 | OB_ALD1 | 365 | 365 | 211 | 152 | 313 | 4367.267 | 4280.055 | 4500.725 | 52.085 | 0.01 | 0.01
HE_19 | SANSM_ALD1 | 365 | 365 | 200 | 153 | 335 | 4080.825 | 4135.429 | 4197.731 | 73.765 | 0.01 | 0.01
HE_19 | WEBBS_ALD1 | 365 | 353 | 283 | 90 | 16 | 297.075 | 304.257 | 306.667 | 489.727 | 0.012 | 0
HE_20 | AR_ALD1 | 358 | 346 | 269 | 0 | 18 | 293.471 | 300.098 |  | 594.041 | 0.014
HE_20 | BAR_ALD1 | 358 | 0 | 0 | 0 | 0 | 0
HE_20 | BOERNE_ALD1 | 358 | 358 | 0 | 0 | 288 | 28.909 |  |  | 109.027
HE_20 | CIBOLO_ALD1 | 358 | 163 | 133 | 120 | 0 | 0.838 | 2.256 | 2.5 |  | 0.104 | 0
HE_20 | MARION_ALD1 | 358 | 358 | 225 | 96 | 130 | 3980.635 | 4188.847 | 4521.325 | 130.302 | 0.01 | 0.01
HE_20 | MIDNT_ALD1 | 358 | 358 | 255 | 99 | 289 | 3804.994 | 3732.255 | 4139.839 | 88.432 | 0.01 | 0.01
HE_20 | OB_ALD1 | 358 | 358 | 251 | 102 | 295 | 3931.662 | 3893.052 | 4188.465 | 93.724 | 0.01 | 0.01
HE_20 | SANSM_ALD1 | 358 | 358 | 247 | 103 | 304 | 3848.681 | 3833.185 | 4154.413 | 114.223 | 0.01 | 0.01
HE_20 | WEBBS_ALD1 | 358 | 346 | 271 | 38 | 19 | 308.202 | 310.807 | 300 | 717.716 | 0.013 | 0.023
HE_21 | AR_ALD1 | 349 | 337 | 277 | 0 | 8 | 303.628 | 314.078 |  | 742.046 | 0.08
HE_21 | BAR_ALD1 | 349 | 0 | 0 | 0 | 0 | 0
HE_21 | BOERNE_ALD1 | 349 | 349 | 0 | 0 | 315 | 24.547 |  |  | 100.358
HE_21 | CIBOLO_ALD1 | 349 | 157 | 127 | 115 | 0 | 0 | 0 | 0 |  | 0.354 | 0.033
HE_21 | MARION_ALD1 | 349 | 349 | 196 | 91 | 135 | 3555.796 | 4208.836 | 3581.945 | 145.029 | 0.01 | 0.01
HE_21 | MIDNT_ALD1 | 349 | 349 | 240 | 101 | 292 | 3541.958 | 3819.923 | 3131.435 | 92.93 | 0.01 | 0.01
HE_21 | OB_ALD1 | 349 | 349 | 235 | 102 | 291 | 3657.376 | 3935.903 | 3429.92 | 94.787 | 0.01 | 0.01
HE_21 | SANSM_ALD1 | 349 | 349 | 237 | 109 | 301 | 3704.495 | 3897.557 | 3387.118 | 111.399 | 0.01 | 0.01
HE_21 | WEBBS_ALD1 | 349 | 337 | 278 | 7 | 1 | 317.386 | 331.009 | 407.631 | 1023.705 | 0.131 | 0.534
HE_22 | AR_ALD1 | 351 | 339 | 292 | 1 | 0 | 306.292 | 319.893 | 300 |  | 0.382 | 0.5
HE_22 | BAR_ALD1 | 351 | 0 | 0 | 0 | 0 | 0
HE_22 | BOERNE_ALD1 | 351 | 351 | 0 | 0 | 326 | 22.928 |  |  | 88.261
HE_22 | CIBOLO_ALD1 | 351 | 159 | 119 | 105 | 0 | 0 | 0 | 0 |  | 0.561 | 0
HE_22 | MARION_ALD1 | 351 | 351 | 111 | 204 | 172 | 3734.083 | 4280.972 | 3838.763 | 103.614 | 0.01 | 0.01
HE_22 | MIDNT_ALD1 | 351 | 351 | 100 | 239 | 297 | 3658.552 | 4429.021 | 3432.903 | 78.041 | 0.01 | 0.01
HE_22 | OB_ALD1 | 351 | 351 | 94 | 239 | 283 | 3599.427 | 4138.764 | 3594.43 | 78.837 | 0.01 | 0.01
HE_22 | SANSM_ALD1 | 351 | 351 | 91 | 236 | 256 | 3621.613 | 4556.786 | 3482.951 | 97.905 | 0.016 | 0.01
HE_22 | WEBBS_ALD1 | 351 | 339 | 290 | 23 | 1 | 320.045 | 336.564 | 300 | 943.471 | 0.235 | 0.022
HE_23 | AR_ALD1 | 351 | 339 | 295 | 2 | 0 | 292.798 | 303.634 | 300 |  | 0.647 | 0.23
HE_23 | BAR_ALD1 | 351 | 0 | 0 | 0 | 0 | 0
HE_23 | BOERNE_ALD1 | 351 | 351 | 0 | 0 | 319 | 23.291 |  |  | 55.864
HE_23 | CIBOLO_ALD1 | 351 | 159 | 128 | 94 | 0 | 0 | 0 | 0 |  | 0.928 | 0
HE_23 | MARION_ALD1 | 351 | 351 | 154 | 169 | 189 | 3759.568 | 3783.503 | 4119.455 | 61.052 | 0.01 | 0.01
HE_23 | MIDNT_ALD1 | 351 | 351 | 129 | 215 | 293 | 3676.838 | 3699.366 | 3718.235 | 50.958 | 0.01 | 0.01
HE_23 | OB_ALD1 | 351 | 351 | 119 | 219 | 259 | 3778.114 | 4096.219 | 3712.547 | 46.378 | 0.01 | 0.01
HE_23 | SANSM_ALD1 | 351 | 351 | 130 | 211 | 245 | 3844.362 | 4070.034 | 3833.962 | 50.211 | 0.014 | 0.01
HE_23 | WEBBS_ALD1 | 351 | 339 | 295 | 18 | 0 | 300.254 | 312.506 | 300 |  | 0.647 | 0.026
HE_24 | AR_ALD1 | 349 | 337 | 292 | 4 | 1 | 298.596 | 311.678 | 300 | 343.865 | 0.3 | 0.428
HE_24 | BAR_ALD1 | 349 | 0 | 0 | 0 | 0 | 0
HE_24 | BOERNE_ALD1 | 349 | 0 | 0 | 0 | 0 | 0
HE_24 | CIBOLO_ALD1 | 349 | 157 | 114 | 100 | 0 | 0 | 0 | 0 |  | 0.205 | 0
HE_24 | MARION_ALD1 | 349 | 349 | 167 | 133 | 139 | 4064.608 | 4368.593 | 4304.199 | 40.268 | 0.01 | 0.01
HE_24 | MIDNT_ALD1 | 349 | 349 | 163 | 164 | 292 | 3834.516 | 3847.895 | 3958.957 | 34.327 | 0.01 | 0.01
HE_24 | OB_ALD1 | 349 | 349 | 160 | 166 | 289 | 3976.058 | 4107.692 | 4020.248 | 36.686 | 0.01 | 0.01
HE_24 | SANSM_ALD1 | 349 | 349 | 164 | 163 | 278 | 4086.618 | 4281.439 | 4044.178 | 35.309 | 0.012 | 0.01
HE_24 | WEBBS_ALD1 | 349 | 337 | 293 | 25 | 1 | 299.477 | 311.664 | 300 | 350.782 | 0.33 | 0.068