| Date: | September 7, 2026 |
| --- | --- |
| To: | Board of Directors |
| From: | Caitlin Smith, Technical Advisory Committee (TAC) Chair |
| Subject: | Unopposed Revision Requests Recommended by TAC for Approval |

## Issue for the ERCOT Board of Directors

ERCOT Board of Directors Meeting Date: September 14 – 15, 2026 Item No.: 16.1

Issue: Consideration of the following Revision Requests: Nodal Protocol Revision Requests (NPRRs), Load Profiling Guide Revision Requests (LPGRRs), Nodal Operating Guide Revision Requests (NOGRRs), Planning Guide Revision Requests (PGRRs), Retail Market Guide Revision Requests (RMGRRs), Resource Registration Glossary Revision Request (RRGRR), Settlement Metering Operating Guide Revision Request (SMOGRR), Commercial Operations Market Guide Revision Request (COPMGRR), and Verifiable Cost Manual Revision Request (VCMRR) (with no opposing votes recorded): - NPRR1214, Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk - NPRR1286, Establish Multi-Value Criteria for Resiliency-Related Transmission Project Evaluation - NPRR1292, Granular Product Type for CRR TOU - NPRR1301, Align Protocols to Constraint Activation Procedure - NPRR1319, Clarification to Seasonal Mothball Evaluation Process - NPRR1320, Reserve Margin Reporting and Miscellaneous Changes for the Report on Capacity, Demand, and Reserves in the ERCOT Region (CDR) - NPRR1326, Add Energy Storage Resource (ESR) State of Charge (SOC) Information to the Ancillary Services Capacity Monitor - NPRR1328, Establishment of Generation Firming Program - NPRR1329, Resource Entity Requirements for Self-Limiting Facilities - NPRR1331, Unannounced Generation Capacity Testing - NPRR1335, Implementation of PUCT Changes to Firm Fuel Supply Service for Phase 3 - NPRR1336, Language Clean-up for NPRR1188 Implementation - NPRR1337, ERS Enhancements - NPRR1338, Restructure Long-Term Auction Sequence Auctions to Six Monthly Optimizations - NPRR1339, Protocol Clean Up and Alignment with RTC+B Implementation - NPRR1341, Related to LPGRR077, Profile Decision Tree Excel-to-Word Conversion - NPRR1342, Mitigated Offer Caps for Contract for Capacity Resources – URGENT - NPRR1344, Move OBD to Section 19 – Texas Market Test Plan – URGENT - COPMGRR051, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program - LPGRR076, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program - LPGRR077, Profile Decision Tree Excel-to-Word Conversion - NOGRR273, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program - NOGRR286, Addition of 765-kV Operational Voltage Limits - NOGRR287, Load Shed Provisions to Identify and Minimize Overlap of Essential Loads - PGRR123, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program - PGRR128, Regional Planning Group Discussion of Grid Enhancing Technologies - RMGRR182, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program - RMGRR186, Related to LPGRR077, Profile Decision Tree Excel-to-Word Conversion - RRGRR038, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program - SMOGRR031, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program - VCMRR043, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote; (ii) for NPRRs, ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Board Review is required of all TAC Reports and Impact Analyses (Protocol Section 21.3.10) - NPRR1214, Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk Sponsor: Rainbow Energy Marketing Corporation, DC Energy, Hunt Energy Network, Voltus, Inc. (“Joint Sponsors”) Revision Description: This NPRR revises the Real-Time On-Line Reliability Deployment Price Adder (RTRDPA) to send appropriate locational price signals that avoid counterproductive Load and Resource responses under Real-Time Co-optimization (RTC); limit Resource payments to the actual indifference payment, thereby reducing associated uplift; eliminate the future need for Ancillary Service Imbalance Payment/Charge (ASIP/C)-type indifference payments associated with RTRDPA; provide Resources an indifference payment under RTC to eliminate the incentive to ignore Base Point instructions; and provide a stronger locational price signal around Resources committed by the Reliability Unit Commitment (RUC) process or other reliability actions for congestion. Impact Analysis: Between $900K and $1.2M Proposed Effective Date: Upon system implementation – Priority 2027; Rank 4940 TAC Report/Decision: On 8/26/26, TAC voted unanimously to recommend approval of NPRR1214 as recommended by PRS in the 8/12/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1214. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1214 and believes the market impact for NPRR1214 introduces a Reliability Deployment Indifference Payment/Charge, which is intended to make Resources indifferent to any difference between their dispatch levels from the Security-Constrained Economic Dispatch (SCED) dispatch run and the SCED pricing run. Independent Market Monitor (IMM) Opinion: IMM supports NPRR1214. (See 6/22/26 IMM comments) Key Documents (including comments, ballots, reports and impact analyses) - NPRR1286, Establish Multi-Value Criteria for Resiliency-Related Transmission Project Evaluation Sponsor: ERCOT Revision Description: This NPRR establishes new planning criteria to address the process for determining whether a project that addresses a resiliency issue provides sufficient benefit balanced with economic savings or reliability benefits, in accordance with 16 Texas Administrative Code (TAC) § 25.101(b)(3)(A)(iii). Impact Analysis: No impact Proposed Effective Date: The first of the month following Public Utility Commission of Texas (PUCT) approval TAC Report/Decision: On 7/29/26, TAC voted unanimously to recommend approval of NPRR1286 as recommended by PRS in the 7/15/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1286. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1286 and believes that it provides a positive market impact by leading industry grid reliability and resilience through the establishment of new planning criteria to address the process for determining whether a project that addresses a resiliency issue provides sufficient benefit balanced with economic savings or reliability benefits. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1286. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1292, Granular Product Type for CRR TOU Sponsor: Vistra Operations Company LLC Revision Description: This NPRR creates the granular Congestion Revenue Right (CRR) Time Of Use (TOU) blocks to align with the current resource mix and improve auction speed and efficiency. Currently, CRRs are traded as weekday/weekend peak and off-peak, with no opportunity to further shape hedges. New additional granular CRR TOU blocks will divide weekday/weekend peak between solar and non-solar hours, to create a more targeted hedging product. Impact Analysis: Between $1.2M and $1.6M Proposed Effective Date: Upon system implementation – Priority 2027; Rank 4930 TAC Report/Decision: On 7/29/26, TAC voted unanimously to recommend approval of NPRR1292 as recommended by PRS in the 6/10/26 PRS Report. Credit Review: ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1292 and believe the proposed changes to the Protocol language referencing the proposed time of use blocks in the calculation of Future Credit Exposure (FCE) as well as system changes do not change the calculation methodology. These changes could still result in either a higher or lower FCE depending on the portfolio held by the CRR Account Holder. (See 3/18/26 CFSG comments) ERCOT Opinion: ERCOT supports approval of NPRR1292. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1292 and believes it provides a positive market impact by creating more efficient hedging products to align with the current Resource mix and address changing generation and congestion patterns. Independent Market Monitor (IMM) Opinion: IMM supports NPRR1292. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1301, Align Protocols to Constraint Activation Procedure Sponsor: LCRA Revision Description: This NPRR aligns the Protocols to ERCOT’s Transmission Security and Operating Procedure for constraint activation. Impact Analysis: No impact Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 7/29/26, TAC voted unanimously to recommend approval of NPRR1301 as recommended by PRS in the 7/15/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1301. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1301 and believes it aligns the ERCOT Protocols with ERCOT's Transmission Security and Operating Procedure by clarifying the criteria for constraint activation, improving transparency, and reducing unnecessary congestion management costs associated with redundant constraint activation. Independent Market Monitor (IMM) Opinion: IMM supports NPRR1301. (See 7/9/26 IMM comments) Key Documents (including comments, ballots, reports and impact analyses) - NPRR1319, Clarification to Seasonal Mothball Evaluation Process Sponsor: ERCOT Revision Description: This NPRR clarifies ERCOT’s next steps after a Generation Resource proposal to be placed on seasonal mothball status has been evaluated. The current language in some cases requires ERCOT to prepare and post a Must-Run Alternative (MRA) “Request for Proposal” (RFP). Given that a request to seasonally mothball a Resource can be submitted as little as 90 days before the season begins, if ERCOT studies indicate a reliability concern of the seasonal mothball request, in most cases there is not enough time to effectively go through the MRA process and receive operational alternatives in a timely manner. This NPRR clarifies that ERCOT may, but is not required to, go through the MRA RFP process when it receives notice to place a unit on seasonal mothball status. Impact Analysis: No impact Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 7/29/26, TAC voted unanimously to recommend approval of NPRR1319 as recommended by PRS in the 7/15/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1319. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1319 and believes it provides a positive market impact by clarifying that ERCOT may, but is not required to, go through the MRA RFP process upon notice of a seasonal mothball request, and also clarifying ERCOT’s next steps after the seasonal mothball request has been evaluated. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1319. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1320, Reserve Margin Reporting and Miscellaneous Changes for the Report on Capacity, Demand, and Reserves in the ERCOT Region (CDR) Sponsor: ERCOT Revision Description: This NPRR formalizes reporting of alternative Planning Reserve Margin (PRM) scenarios in the Report on Capacity, Demand, and Reserves in the ERCOT Region (CDR), requiring a range of PRM scenarios to be included in future CDRs. Impact Analysis: No impact Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 7/29/26, TAC voted unanimously to recommend approval of NPRR1320 as recommended by PRS in the 7/15/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1320. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1320 and believes it provides a positive market impact by codifying the practice of including alternative reserve margin scenarios in the CDR as a best practice for resource adequacy risk assessment. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1320. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1326, Add Energy Storage Resource (ESR) State of Charge (SOC) Information to the Ancillary Services Capacity Monitor Sponsor: Reliant Energy Retail Solutions LLC Revision Description: This NPRR adds State of Charge (SOC) information for Energy Storage Resources (ESRs) in the ERCOT region to the Ancillary Services Capacity Monitor. Impact Analysis: Between $100K and $150K Proposed Effective Date: Upon system implementation – Priority 2026; Rank 4830 TAC Report/Decision: On 7/29/26, TAC voted unanimously to recommend approval of NPRR1326 as recommended by PRS in the 7/15/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1326. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1326 and believes it provides a positive market impact by increasing transparency of aggregate ESR SOC information in Real-Time and efficient market response to system conditions. Independent Market Monitor (IMM) Opinion: IMM supports NPRR1326. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1328, Establishment of Generation Firming Program Sponsor: ERCOT Revision Description: This NPRR incorporates the new Generation Firming Program requirements, as required by Public Utility Regulatory Act (PURA) § 39.1592 and the PUCT rule adopted in 16 Texas Administrative Code § 25.65; and provides details on the administration of the Generation Firming Program, including definitions, timing requirements, processes for submitting Firming Transfers to ERCOT, specific calculations for measuring performance and applying exemptions, and associated market-facing reporting. Impact Analysis: $1.0M and $1.5M Proposed Effective Date: Upon system implementation – Priority 2026; Rank 460 TAC Report/Decision: On 7/29/26, TAC voted unanimously to recommend approval of NPRR1328 as recommended by PRS in the 7/15/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1328. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1328 and believes the market impact for NPRR1328 implements the new Generation Firming Program as required under 16 Tex. Admin. Code § 25.65. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1328 since it is statutory. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1329, Resource Entity Requirements for Self-Limiting Facilities Sponsor: NextEra Energy Resources, LLC Revision Description: This NPRR establishes a framework whereby two Resource Entities and their associated Qualified Scheduling Entities (QSEs) may jointly share the responsibility for managing the injection and withdrawal limits at a Point of Interconnection (POI) and formalizes the responsible QSE functions through an attestation process that is deemed acceptable to ERCOT. Impact Analysis: Between $150K and $250K Proposed Effective Date: Upon system implementation – Priority 2028; Rank 5110 TAC Report/Decision: On 8/26/26, TAC voted unanimously to recommend approval of NPRR1329 as recommended by PRS in the 8/12/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1329. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1329 and believes it provides a positive market impact by supporting coordinated grid operations and reliability with joint accountability between Resource Entities and their QSEs for injection or withdrawal limits at the POI, and an attestation that ensures both parties fulfill compliance requirements and maintain system integrity. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1329. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1331, Unannounced Generation Capacity Testing Sponsor: Constellation Energy Generation Revision Description: This NPRR aligns the allowed timeframe for “Combined Cycle Generators” during an unannounced generation capacity test with their observed performance. Impact Analysis: Less than $20K Operations & Maintenance (O&M) Proposed Effective Date: Upon system implementation TAC Report/Decision: On 8/26/26, TAC voted unanimously to recommend approval of NPRR1331 as recommended by PRS in the 8/12/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1331. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1331 and believes that it provides a positive market impact through process improvement by aligning the allowed timeframe for “Combined Cycle Generators” during an unannounced generation capacity test with their observed operational performance, while preserving the reliability purpose of the unannounced High Sustained Limit (HSL) tests. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1331. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1335, Implementation of PUCT Changes to Firm Fuel Supply Service for Phase 3 Sponsor: ERCOT Revision Description: This NPRR aligns the Protocols with the PUCT’s recent adoption of a rule to govern Firm Fuel Supply Service (FFSS): 16 Texas Administrative Code (TAC) § 25.520; updates the criteria for a Resource to participate in the FFSS program; describes how ERCOT must calculate the FFSS Offer Caps as a function of maximum hours per deployment, heat rate, and fuel price; includes an ERCOT requirement to establish a single market clearing price mechanism for Resources eligible to provide FFSS under the on-site FFSS category and the Resource-controlled FFSS category; and establishes an FFSS Agreement, as directed by 16 TAC § 25.520, and adds that the Agreement itself is not considered Protected Information under the Protocols. Impact Analysis: Less than $10K (O&M) Proposed Effective Date: The day following PUCT approval TAC Report/Decision: On 8/26/26, TAC voted unanimously to recommend approval of NPRR1335 as recommended by PRS in the 8/12/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1335. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1335 and believes the market impact for NPRR1335 ensures that the Protocols are consistent with the PUCT’s FFSS rule as required by 16 TAC § 25.520(j). Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1335. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1336, Language Clean-up for NPRR1188 Implementation Sponsor: ERCOT Revision Description: This NPRR corrects several Protocol references tied to NPRR1188, Implement Nodal Dispatch and Energy Settlement for Controllable Load Resources, implementation, including replacing Updated Desired Base Points with Updated Desired Set Points (UDSPs), fixing a Controllable Load Resource (CLR) meter price formula, clarifying treatment of Unaccounted For Energy in bill determinants, aligning MEBR variable definitions, and clarifying Settlement of unmeasured ESR auxiliary Load. Impact Analysis: No impact (There are no additional impacts to this NPRR beyond what was captured in the Impact Analysis for NPRR1188.) Proposed Effective Date: Upon implementation of NPRR1188 TAC Report/Decision: On 8/26/26, TAC voted unanimously to recommend approval of NPRR1336 as recommended by PRS in the 8/12/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1336. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1336 and believes it provides process improvements by correcting language related to the implementation of NPRR1188. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1336. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1337, ERS Enhancements Sponsor: ERCOT Revision Description: This NPRR implements an ERS Alternate Baseline test (“ABT”) to determine if an Emergency Response Service (ERS) Resource can qualify to have its performance based on the ERS Alternate Baseline and changes the availability performance metric from a QSE Portfolio Factor combining all ERS Time Periods to having an individual QSE Portfolio Factor for each ERS Time Period. Impact Analysis: Less than $20K (O&M) Proposed Effective Date: Upon system implementation TAC Report/Decision: On 8/26/26, TAC voted unanimously to recommend approval of NPRR1337 as recommended by PRS in the 8/12/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1337. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1337 and believes it increases for the ERCOT System the benefit of the ERS program by enhancing qualification testing and performance evaluation of participating Resources. Independent Market Monitor (IMM) Opinion: IMM supports NPRR1337. (See 8/11/26 IMM comments) Key Documents (including comments, ballots, reports and impact analyses) - NPRR1338, Restructure Long-Term Auction Sequence Auctions to Six Monthly Optimizations Sponsor: ERCOT Revision Description: This NPRR restructures the Long-Term Auction Sequence auctions, currently structured as three time-of-use optimizations, to six single-month optimizations. Impact Analysis: $750K and $1.25M Proposed Effective Date: Upon system implementation – Priority 2027; Rank 4930 TAC Report/Decision: On 8/26/26, TAC voted unanimously to recommend approval of NPRR1338 as recommended by PRS in the 8/12/26 PRS Report. ERCOT Opinion: ERCOT supports the approval of NPRR1338. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1338 and believes restructuring the Long-Term Auction Sequence auctions to six single-months optimizations will increase optimization efficiency by defining credit constraints for each month, rather than the current credit constraint that spans all six months of the time-of-use. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1338. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1339, Protocol Clean Up and Alignment with RTC+B Implementation Sponsor: ERCOT Revision Description: This NPRR corrects misalignment of Protocol language with the Real-Time Co-optimization plus Batteries (RTC+B) implementation, including correcting the duration requirement of ERCOT Contingency Reserve Service (ECRS), removing Fast-Responding Regulation Service (FRRS) references, removing the requirement for ESRs to telemeter the next Operating Hour Ancillary Service Responsibilities, replacing the Ancillary Service Responsibilities with Ancillary Service awards wherever applicable, and removing the Real-Time Reserve Price for On-Line Reserves (RTRSVPOR) from the equation used to calculate Financial Attested Losses Allowed per QSE per Generation Resource. Impact Analysis: No impact Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 8/26/26, TAC voted unanimously to recommend approval of NPRR1339 as recommended by PRS in the 8/12/26 PRS Report as amended by the 8/14/26 ERCOT comments. ERCOT Opinion: ERCOT supports the approval of NPRR1339. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1339 and believes this revision will have a positive impact on the market. By updating and clarifying these sections, we ensure consistency with operational practices and eliminate outdated references that could otherwise lead to confusion. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1339. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1341, Related to LPGRR077, Profile Decision Tree Excel-to-Word Conversion Sponsor: ERCOT Revision Description: This NPRR relocates select terms from Load Profiling Guide Section 19.1, Definitions, to Protocol Section 2.1, Definitions, removes the term ‘Time of Use Schedule (TOUS)’, and updates section references related to the Profile Decision Tree. Impact Analysis: No impact (There are no additional impacts to this NPRR beyond what was captured in the Impact Analysis for LPGRR077, Profile Decision Tree Excel-to-Word Conversion.) Proposed Effective Date: Upon implementation of LPGRR077 TAC Report/Decision: On 8/26/26, TAC voted unanimously to recommend approval of NPRR1341 as recommended by PRS in the 8/12/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1341. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1341 and believes that it provides a positive market impact through process improvement by aligning the Protocols with edits proposed in LPGRR077. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1341. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1342, Mitigated Offer Caps for Contract for Capacity Resources – URGENT Sponsor: ERCOT Revision Description: This NPRR creates a new process for determining the Mitigated Offer Cap (MOC) for Contract for Capacity (C4C) Resources procured through Section 6.5.1.1, ERCOT Control Area Authority. This NPRR proposes using market design principles to allow the C4C Resource to be Dispatched but still be above other Resources that solve the same constraint. This NPRR uses the “last-in-line” principle from NPRR826, Mitigated Offer Caps for RMR Resources, to set the MOC for C4C Resources and minimize their effect on market competition. This NPRR sets clear requirements for using this method. If those requirements aren't fulfilled, mitigation of the C4C Resource is determined by cost. Impact Analysis: Between $250K and $350K Proposed Effective Date: Upon system implementation – Priority 2026; Rank 2970 TAC Report/Decision: On 8/26/26, TAC voted unanimously to recommend approval of NPRR1342 as recommended by PRS in the 8/12/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1342. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1342 and believes that it provides a positive market impact and general process improvement by creating a new process for determining the MOC for C4C Resources procured through Section 6.5.1.1. Independent Market Monitor (IMM) Opinion: IMM supports NPRR1342. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1344, Move OBD to Section 19 – Texas Market Test Plan – URGENT Sponsor: ERCOT Revision Description: This NPRR incorporates the Other Binding Document “Texas Market Test Plan (TMTP)” into the Protocols to standardize the approval process. Impact Analysis: No impact Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 8/26/26, TAC voted unanimously to recommend approval of NPRR1344 as recommended by PRS in the 8/12/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1344. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1344 and believes it has a positive market impact by updating and clarifying the existing processes set forth in the TMTP, and incorporating the TMTP into the Protocols. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1344. Key Documents (including comments, ballots, reports and impact analyses) - COPMGRR051, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program Sponsor: TEBA, Goff Policy Revision Description: This COPMGRR modifies what an Entity may be affected by in order to qualify to submit RMGRRs, in alignment with Protocol changes made by NPRR1264. Impact Analysis: No impact (There are no additional impacts to this COPMGRR beyond what was captured in the Impact Analysis for NPRR1264.) Proposed Effective Date: Upon implementation of NPRR1264 TAC Report/Decision: On 7/29/26, TAC voted unanimously to recommend approval of COPMGRR051 as recommended by WMS in the 6/3/26 WMS Report. ERCOT Opinion: ERCOT supports approval of COPMGRR051. ERCOT Market Impact Statement: ERCOT Staff has reviewed COPMGRR051 and believes that it provides a positive market impact by enhancing the ERCOT region’s economic competitiveness through the modification of what an Entity may be affected by in order to qualify to submit COPMGRR, in alignment with Protocol changes made by NPRR1264. Independent Market Monitor (IMM) Opinion: IMM has no opinion on COPMGRR051. Key Documents (including comments, ballots, reports and impact analyses) - LPGRR076, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program Sponsor: TEBA, Goff Policy Revision Description: This LPGRR modifies what an Entity may be affected by in order to qualify to submit LPGRRs, in alignment with current Protocol language and Protocol changes made by NPRR1264. Impact Analysis: No impact (There are no additional impacts to this LPGRR beyond what was captured in the Impact Analysis for NPRR1264.) Proposed Effective Date: Upon implementation of NPRR1264, Creation of a New Energy Attribute Certificate Program. TAC Report/Decision: On 7/29/26, TAC voted unanimously to recommend approval of LPGRR076 as recommended by RMS in the 7/10/26 RMS Report. ERCOT Opinion: ERCOT supports approval of LPGRR076. ERCOT Market Impact Statement: ERCOT Staff has reviewed LPGRR076 and believes that it provides a positive market impact by enhancing the ERCOT region’s economic competitiveness through the modification of what an Entity may be affected by in order to qualify to submit LPGRRs, in alignment with Protocol changes made by NPRR1264. Independent Market Monitor (IMM) Opinion: IMM has no opinion on LPGRR076. Key Documents (including comments, ballots, reports and impact analyses) - LPGRR077, Profile Decision Tree Excel-to-Word Conversion Sponsor: ERCOT Revision Description: This LPGRR relocates the majority of the Profile Decision Tree from its current Excel format into the Load Profiling Guide, itself, with the exception of the Profile Decision Tree’s ZipToZone, DG Template, and Valid Profile IDs worksheets; and updates language to align with current practices. Impact Analysis: No impact Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 8/26/26, TAC voted unanimously to recommend approval of LPGRR077 as recommended by RMS in the 8/11/26 RMS Report. ERCOT Opinion: ERCOT supports approval of LPGRR077. ERCOT Market Impact Statement: ERCOT Staff has reviewed LPGRR077 and believes that it provides a positive market impact through process improvement by relocating the majority of the Profile Decision Tree from its current Excel format into the Load Profiling Guide and updating language to align with current practices. Independent Market Monitor (IMM) Opinion: IMM has no opinion on LPGRR077. Key Documents (including comments, ballots, reports and impact analyses) - NOGRR273, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program Sponsor: TEBA; Goff Policy Revision Description: This NOGRR modifies what an Entity may be affected by in order to qualify to submit NOGRRs, in alignment with Protocol changes made by NPRR1264. Impact Analysis: No impact (There are no additional impacts to this NOGRR beyond what was captured in the Impact Analysis for NPRR1264.) Proposed Effective Date: Upon implementation of NPRR1264 TAC Report/Decision: On 7/29/26, TAC voted unanimously to recommend approval of NOGRR273 as recommended by ROS in the 6/4/26 ROS Report. ERCOT Opinion: ERCOT supports approval of NOGRR273. ERCOT Market Impact Statement: ERCOT Staff has reviewed NOGRR273 and believes that it provides a positive market impact by enhancing the ERCOT region’s economic competitiveness through the modification of what an Entity may be affected by in order to qualify to submit NOGRRs, in alignment with Protocol changes made by NPRR1264. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NOGRR273. Key Documents (including comments, ballots, reports and impact analyses) - NOGRR286, Addition of 765-kV Operational Voltage Limits Sponsor: LCRA, Oncor, AEP Revision Description: This NOGRR defines necessary operational guidelines to support the reliable operation of 765-kV equipment. Impact Analysis: Less than $10K (O&M) Proposed Effective Date: Upon system implementation TAC Report/Decision: On 7/29/26, TAC voted unanimously to recommend approval of NOGRR286 as recommended by ROS in the 7/9/26 ROS Report. ERCOT Opinion: ERCOT supports approval of NOGRR286. ERCOT Market Impact Statement: ERCOT Staff believe NOGRR286 specifies the necessary operational guidelines to support the reliable operation of 765-kV equipment by defining default voltage limits to plan and promote the reliable operation of the system. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NOGRR286. Key Documents (including comments, ballots, reports and impact analyses) - NOGRR287, Load Shed Provisions to Identify and Minimize Overlap of Essential Loads Sponsor: ERCOT Revision Description: This NOGRR establishes guidelines for Transmission Operators (TOs) and Transmission and/or Distribution Service Providers (TDSPs) to collaborate in identifying and prioritizing critical natural gas infrastructure Loads essential for the reliability of the ERCOT System. Furthermore, this NOGRR outlines provisions for TOs and TDSPs to minimize overlaps between circuits designated for manual Load shedding, Under-Voltage Load Shedding (UVLS), and Under-Frequency Load Shedding (UFLS), and those circuits identified as critical Loads necessary for maintaining reliability of the ERCOT System. Impact Analysis: No impact Proposed Effective Date: April 1, 2027 TAC Report/Decision: On 7/29/26, TAC voted unanimously to recommend approval of NOGRR287 as recommended by ROS in the 6/4/26 ROS Report. ERCOT Opinion: ERCOT supports approval of NOGRR287. ERCOT Market Impact Statement: ERCOT Staff believe NOGRR287 is necessary to establish provisions requiring TOs and TDSPs to collaborate in identifying and prioritizing critical natural gas infrastructure Loads that are essential to the reliability of the ERCOT System. The proposed revisions align with the EOP-011-4 requirements by ensuring that North American Reliability Corporation (NERC)-registered entities have clear provisions applicable to the ERCOT System and by clarifying each entity’s responsibilities for coordinating the identification of critical natural gas Loads and implementing the prioritization of those Loads during Energy Emergency Alert (EEA) Level 3 Load shed event. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NOGRR287. Key Documents (including comments, ballots, reports and impact analyses) - PGRR123, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program Sponsor: TEBA, Goff Policy Revision Description: This PGRR modifies what an Entity may be affected by in order to qualify to submit PGRRs, in alignment with Protocol changes made by NPRR1264. Impact Analysis: No impact (There are no additional impacts to this PGRR beyond what was captured in the Impact Analysis for NPRR1264.) Proposed Effective Date: Upon implementation of NPRR1264 TAC Report/Decision: On 7/29/26, TAC voted unanimously to recommend approval of PGRR123 as recommended by ROS in the 6/4/26 ROS Report. ERCOT Opinion: ERCOT supports approval of PGRR123. ERCOT Market Impact Statement: ERCOT Staff has reviewed PGRR123 and believes that it provides a positive market impact by enhancing the ERCOT region’s economic competitiveness through the modification of what an Entity may be affected by in order to qualify to submit PGRRs, in alignment with Protocol changes made by NPRR1264. Independent Market Monitor (IMM) Opinion: IMM has no opinion on PGRR123. Key Documents (including comments, ballots, reports and impact analyses) - PGRR128, Regional Planning Group Discussion of Grid Enhancing Technologies Sponsor: TEBA, Goff Policy Revision Description: This Planning Guide Revision Request (PGRR) suggests ERCOT should host an annual forum to discuss advanced transmission technologies, commonly referred to as grid enhancing technologies (“GETs”) and high performance conductors (“HPCs”). Impact Analysis: No impact Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 7/29/26, TAC voted unanimously to recommend approval of PGRR128 as recommended by ROS in the 7/9/26 ROS Report. All Market Segments were present for the vote. ERCOT Opinion: ERCOT supports approval of PGRR128. ERCOT Market Impact Statement: ERCOT supports approval of PGRR128. ERCOT Staff has reviewed PGRR128 and believes it provides a positive market impact by way of an annual workshop to discuss the use of emerging technologies for the ERCOT Transmission Grid. Independent Market Monitor (IMM) Opinion: IMM has no opinion on PGRR128. Key Documents (including comments, ballots, reports and impact analyses) - RMGRR182, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program Sponsor: TEBA, Goff Policy Revision Description: This RMGRR modifies what an Entity may be affected by in order to qualify to submit RMGRRs, in alignment with Protocol changes made by NPRR1264. Impact Analysis: No impact (There are no additional impacts to this RMGRR beyond what was captured in the Impact Analysis for NPRR1264.) Proposed Effective Date: Upon implementation of NPRR1264 TAC Report/Decision: On 7/29/26, TAC voted unanimously to recommend approval of RMGRR182 as recommended by RMS in the 6/25/26 RMS Report. ERCOT Opinion: ERCOT supports approval of RMGRR182. ERCOT Market Impact Statement: ERCOT Staff has reviewed RMGRR182 and believes that it provides a positive market impact by enhancing the ERCOT region’s economic competitiveness through the modification of what an Entity may be affected by in order to qualify to submit RMGRR, in alignment with Protocol changes made by NPRR1264. Independent Market Monitor (IMM) Opinion: IMM has no opinion on RMGRR182. Key Documents (including comments, ballots, reports and impact analyses) - RMGRR186, Related to LPGRR077, Profile Decision Tree Excel-to-Word Conversion Sponsor: ERCOT Revision Description: This RMGRR updates references to the Profile Decision Tree in alignment with LPGRR077. Impact Analysis: No impact (There are no additional impacts to this RMGRR beyond what was captured in the Impact Analysis for LPGRR077.) Proposed Effective Date: Upon implementation of LPGRR077 TAC Report/Decision: On 8/26/26, TAC voted unanimously to recommend approval of RMGRR186 as recommended by RMS in the 8/11/26 RMS Report. ERCOT Opinion: ERCOT supports approval of RMGRR186. ERCOT Market Impact Statement: ERCOT Staff has reviewed RMGRR186 and believes that it provides a positive market impact through process improvement by aligning the Retail Market Guide with edits proposed in LPGRR077. Independent Market Monitor (IMM) Opinion: IMM has no opinion on RMGRR186. Key Documents (including comments, ballots, reports and impact analyses) - RRGRR038, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program Sponsor: TEBA, Goff Policy Revision Description: This RRGRR modifies what an Entity may be affected by in order to qualify to submit RRGRRs, in alignment with Protocol changes made by NPRR1264. Impact Analysis: No impact (There are no additional impacts to this RRGRR beyond what was captured in the Impact Analysis for NPRR1264.) Proposed Effective Date: Upon implementation of NPRR1264 TAC Report/Decision: On 7/29/26, TAC voted unanimously to recommend approval of RRGRR038 as recommended by ROS in the 6/4/26 ROS Report. ERCOT Opinion: ERCOT supports approval of RRGRR038. ERCOT Market Impact Statement: ERCOT Staff has reviewed RRGRR038 and believes that it provides a positive market impact by enhancing the ERCOT region’s economic competitiveness through the modification of what an Entity may be affected by in order to qualify to submit RRGRRs, in alignment with Protocol changes made by NPRR1264. Independent Market Monitor (IMM) Opinion: IMM has no opinion on RRGRR038. Key Documents (including comments, ballots, reports and impact analyses) - SMOGRR031, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program Sponsor: TEBA, Goff Policy Revision Description: This SMOGRR modifies what an Entity may be affected by in order to qualify to submit SMOGRRs, in alignment with Protocol changes made by NPRR1264. Impact Analysis: No impact (There are no additional impacts to this SMOGRR beyond what was captured in the Impact Analysis for NPRR1264.) Proposed Effective Date: Upon implementation of NPRR1264 TAC Report/Decision: On 7/29/26, TAC voted unanimously to recommend approval of SMOGRR031 as recommended by WMS in the 6/3/26 WMS Report. ERCOT Opinion: ERCOT supports approval of SMOGRR031. ERCOT Market Impact Statement: ERCOT Staff has reviewed SMOGRR031 and believes that it provides a positive market impact by enhancing the ERCOT region’s economic competitiveness through the modification of what an Entity may be affected by in order to qualify to submit SMOGRRs, in alignment with Protocol changes made by NPRR1264. Independent Market Monitor (IMM) Opinion: IMM has no opinion on SMOGRR031. Key Documents (including comments, ballots, reports and impact analyses) - VCMRR043, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program Sponsor: TEBA, Goff Policy Revision Description: This VCMRR modifies what an Entity may be affected by in order to qualify to submit VCMRRs, in alignment with Protocol changes made by NPRR1264. Impact Analysis: No impact (There are no additional impacts to this VCMRR beyond what was captured in the Impact Analysis for NPRR1264.) Proposed Effective Date: Upon implementation of NPRR1264 TAC Report/Decision: On 7/29/26, TAC voted unanimously to recommend approval of VCMRR043 as recommended by WMS in the 6/3/26 WMS Report. ERCOT Opinion: ERCOT supports approval of VCMRR043. ERCOT Market Impact Statement: ERCOT Staff has reviewed VCMRR043 and believes that it provides a positive market impact by enhancing the ERCOT region’s economic competitiveness through the modification of what an Entity may be affected by in order to qualify to submit VCMRRs, in alignment with Protocol changes made by NPRR1264. Independent Market Monitor (IMM) Opinion: IMM has no opinion on VCMRR043. Key Documents (including comments, ballots, reports and impact analyses)

Key Factors Influencing Issue: The PRS met, discussed the issues, and submitted reports to TAC regarding NPRRs 1214, 1286, 1292, 1301, 1319, 1320, 1326, 1328, 1329, 1331, 1335, 1336, 1337, 1338, 1339, 1341, 1342, and 1344. The ROS met, discussed the issues, and submitted reports to TAC regarding NOGRRs 273, 286, and 287; PGRRs 123 and 128; and RRGRR038. The RMS met, discussed the issues, and submitted reports to TAC regarding LPGRRs 076 and 077; and RMGRRs 182 and 186. The WMS met, discussed the issues, and submitted reports to TAC regarding COPMGRR051, SMOGRR031, and VCMRR043.

Conclusion/Recommendation: As more specifically described above, TAC recommends that the Board recommend approval of NPRRs 1214, 1286, 1292, 1301, 1319, 1320, 1326, 1328, 1329, 1331, 1335, 1336, 1337, 1338, 1339, 1341, 1342, and 1344; NOGRRs 273, 286, and 287; PGRRs 123 and 128; RRGRR038; LPGRRs 076 and 077; RMGRRs 182 and 186; COPMGRR051; SMOGRR031; and VCMRR043.

## ELECTRIC RELIABILITY COUNCIL OF TEXAS, INC.

## BOARD OF DIRECTORS RESOLUTION

WHEREAS, after due consideration of the alternatives, the Board of Directors (Board) of Electric Reliability Council of Texas, Inc. (ERCOT) deems it desirable and in the best interest of ERCOT to approve the following Nodal Protocol Revision Requests (NPRRs), Commercial Operations Market Guide Revision Request (COPMGRR), Load Profiling Guide Revision Requests (LPGRRs), Nodal Operating Guide Revision Requests (NOGRRs), Planning Guide Revision Requests (PGRRs), Retail Market Guide Revision Requests (RMGRRs), Resource Registration Glossary Revision Request (RRGRR), Settlement Metering Operating Guide Revision Request (SMOGRR), and Verifiable Cost Manual Revision Request (VCMRR):

- NPRR1214, Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk

- NPRR1286, Establish Multi-Value Criteria for Resiliency-Related Transmission Project Evaluation

- NPRR1292, Granular Product Type for CRR TOU

- NPRR1301, Align Protocols to Constraint Activation Procedure

- NPRR1319, Clarification to Seasonal Mothball Evaluation Process

- NPRR1320, Reserve Margin Reporting and Miscellaneous Changes for the Report on Capacity, Demand, and Reserves in the ERCOT Region (CDR)

- NPRR1326, Add Energy Storage Resource (ESR) State of Charge (SOC) Information to the Ancillary Services Capacity Monitor

- NPRR1328, Establishment of Generation Firming Program

- NPRR1329, Resource Entity Requirements for Self-Limiting Facilities

- NPRR1331, Unannounced Generation Capacity Testing

- NPRR1335, Implementation of PUCT Changes to Firm Fuel Supply Service for Phase 3

- NPRR1336, Language Clean-up for NPRR1188 Implementation

- NPRR1337, ERS Enhancements

- NPRR1338, Restructure Long-Term Auction Sequence Auctions to Six Monthly Optimizations

- NPRR1339, Protocol Clean Up and Alignment with RTC+B Implementation

- NPRR1341, Related to LPGRR077, Profile Decision Tree Excel-to-Word Conversion

- NPRR1342, Mitigated Offer Caps for Contract for Capacity Resources – URGENT

- NPRR1344, Move OBD to Section 19 – Texas Market Test Plan – URGENT

- COPMGRR051, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

- LPGRR076, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

- LPGRR077, Profile Decision Tree Excel-to-Word Conversion

- NOGRR273, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

- NOGRR286, Addition of 765-kV Operational Voltage Limits

- NOGRR287, Load Shed Provisions to Identify and Minimize Overlap of Essential Loads

- PGRR123, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

- PGRR128, Regional Planning Group Discussion of Grid Enhancing Technologies

- RMGRR182, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

- RMGRR186, Related to LPGRR077, Profile Decision Tree Excel-to-Word Conversion

- RRGRR038, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

- SMOGRR031, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

- VCMRR043, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

THEREFORE, BE IT RESOLVED, that the ERCOT Board hereby recommends approval of NPRRs 1214, 1286, 1292, 1301, 1319, 1320, 1326, 1328, 1329, 1331, 1335, 1336, 1337, 1338, 1339, 1341, 1342, and 1344; NOGRRs 273, 286, and 287; PGRRs 123 and 128; COPMGRR051; RRGR038; LPGRRs 076 and 077; RMGRRs 182 and 186; SMGRR031; and VCMRR043.

## CORPORATE SECRETARY’S CERTIFICATE

I, Brandon Gleason, Assistant Corporate Secretary of ERCOT, do hereby certify that, at its ___________ meeting, the Board passed a motion approving the above Resolution by ______.

IN WITNESS WHEREOF, I have hereunto set my hand this ___ day of ______________, 2026.

______________________________

Brandon Gleason

Assistant Corporate Secretary