## Slide 1: LLWG Straw Poll
Batch 1 Plus

## Slide 2: Straw Poll
We will take several straw polls at this LLWG as outlined below.
  We ask that you represent yourself, and the company you worked for 6 months ago or expect to 6 months from now. ERCOT will be doing a formal RFI to the companies – one company one vote, this straw poll is not that!
  We want to hear what you as an individual think, if you do not have an opinion that is fine, don’t vote.
  Votes are non-binding just to get a flavor of what LLWG participants are thinking.
  We are attempting to prioritize what we would like ERCOT to develop.

## Slide 3: WL PUN
W1- Allow a WLPUN Load to cancel the Generation project(s) if Batch studies do not limit the Load.
W2 - Add generation to an existing/planned standalone Large Load so that it becomes a WLPUN
W3 - Add more generation to an existing/planned WLPUN site
W4 - Calculate WLPUN withdrawal limits dynamically in real-time
W5 - Allow a WLPUN to use Settlement Only generation
W6 - Define a WLPUN exit plan

## Slide 4: PUN
P1 - Allow Self-Limiting Facility (SLF) Private Use Networks (PUN)
P2 - Define Netted Network
P3 - Develop rules for Multiple POIs and/or Customer Owned Substations – Same substation same voltage.
P4 - Allow a mix of different resource types at a PUN, i.e., Generation Resources AND Settlement Only
P5 - Define process for temporary generation until the transmission is built to reliably serve the Large Load

## Slide 5: Batteries
B1 - Define battery registration for batteries that are only used for meeting operational requirements, e.g., voltage-ride through
B2 - Develop rules for batteries that are added for operational requirements that also want to sell Ancillary Services
B3 - Develop rules for using a battery at a PCLR

## Slide 6: Alternatives
A1 - Allow a Large Load to connect without going through the batch study process if the load will never consume from the grid, i.e., use the GINR process
A2 - Define Standards for islanded configurations who may want to connect to grid in future.
A3 - Define process for grid connection of islanded configurations
A4 - Allow BYOG when generation is at a different location from the Large Load