| PGRR Number | 128 | PGRR Title | Regional Planning Group Discussion of Grid Enhancing Technologies |
| --- | --- | --- | --- |
| Date of Decision |  | September 15, 2026 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Estimated Impacts |  | Cost/Budgetary: None Project Duration: No project required |  |
| Proposed Effective Date |  | The first of the month following Public Utility Commission of Texas (PUCT) approval |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Planning Guide Sections Requiring Revision |  | #### 3.1.1.2, Regional Transmission Plan #### 3.1.2.1, All Projects #### 3.1.10, Other Activities (new) |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) suggests ERCOT should host an annual forum to discuss advanced transmission technologies, commonly referred to as grid enhancing technologies (“GETs”) and high performance conductors (“HPCs”). |  |
| Reason for Revision |  | Strategic Plan Objective 1 – Be an industry leader for grid reliability and resilience Strategic Plan Objective 2 - Enhance the ERCOT region’s economic competitiveness with respect to trends in wholesale power rates and retail electricity prices to consumers Strategic Plan Objective 3 - Advance ERCOT, Inc. as an independent leading industry expert and an employer of choice by fostering innovation, investing in our people, and emphasizing the importance of our mission General system and/or process improvement(s) Regulatory requirements ERCOT Board/PUCT Directive (please select ONLY ONE – if more than one apply, please select the ONE that is most relevant) |  |
| Justification of Reason for Revision and Market Impacts |  | An annual forum to discuss the use of advanced transmission technologies, including GETs, could provide ERCOT and Transmission Service Providers (TSPs) with information about emerging technologies that could improve operations across the full transmission system at lower cost to consumers. |  |
| ROS Decision |  | On 7/10/25, ROS voted unanimously to table PGRR128 and refer the issue to the Planning Working Group (PLWG). All Market Segments participated in the vote. On 6/4/26, ROS voted unanimously to recommend approval of PGRR128 as amended by the 5/12/26 PLWG comments. All Market Segments participated in the vote. On 7/9/26, ROS voted unanimously to endorse and forward to TAC the 6/4/26 ROS Report and 6/30/26 Impact Analysis for PGRR128. All Market Segments participated in the vote. |  |
| Summary of ROS Discussion |  | On 7/10/25, participants reviewed PGRR128. On 6/4/26, participants reviewed the 5/12/26 PLWG comments. On 7/9/26, participants reviewed the 6/30/26 Impact Analysis. |  |
| TAC Decision |  | On 7/29/26, TAC voted unanimously to recommend approval of PGRR128 as recommended by ROS in the 7/9/26 ROS Report. All Market Segments were present for the vote. |  |
| Summary of TAC Discussion |  | On 7/29/26, TAC reviewed the items below. Some participants expressed concern for the potential precedent of requiring ERCOT workshops in the Protocols; other participants noted that PRR128 suggests rather than requires a workshop for grid enhancing technologies, and that the language could be removed in the future if another natural forum on a regular cadence develops. |  |
| TAC Review/Justification of Recommendation |  | Revision Request ties to Reason for Revision as explained in Justification Impact Analysis reviewed and impacts are justified as explained in Justification Opinions were reviewed and discussed Comments were reviewed and discussed (if applicable) Other: (explain) |  |
| ERCOT Board Decision |  | On 9/15/26, the ERCOT Board voted unanimously to recommend approval of PGRR128 as recommended by TAC in the 7/29/26 TAC Report. |  |

| Opinions |  |
| --- | --- |
| Credit Review | Not applicable |
| Independent Market Monitor Opinion | IMM has no opinion on PGRR128. |
| ERCOT Opinion | ERCOT supports approval of PGRR128. |
| ERCOT Market Impact Statement | ERCOT supports approval of PGRR128. ERCOT Staff has reviewed PGRR128 and believes it provides a positive market impact by way of an annual workshop to discuss the use of emerging technologies for the ERCOT Transmission Grid. |

| Sponsor |  |
| --- | --- |
| Name | Bryn Baker; Eric Goff |
| E-mail Address | BBaker@cebuyers.org; eric@goffpolicy.com |
| Company | Texas Energy Buyers Alliance (TEBA) |
| Phone Number |  |
| Cell Number | 512-632-7013 |
| Market Segment | Not Applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-225-7027 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Oncor 081925 | Opposed the creation of a blanket framework, either for the Regional Transmission Plan and/or for the Regional Planning Group (RPG) process, that would require ERCOT (and/or TSPs) to evaluate the entire universe of grid enhancing technologies for appropriate use in every transmission project, and recommended PGRR128 be withdrawn |
| WATT AMP TTP 091525 | Recommended more specific terminology be included in PGRR128 to reflect standard definitions of grid enhancing technologies and high performance conductors; and argued that PGRR128 is a starting point for ERCOT and TSPs for advanced transmission technologies, and that ERCOT and utilities should collaborate to study and deploy available technologies |
| Smart Wires 091525 | Opined that industry and technology changes threaten system reliability and affordability for ratepayers via rapid Load growth, variable renewable generation, and capital and timeline constraints; and that grid enhancing technologies provide a bridge solution, are scalable and relocatable, are easy to model, and provide consumer value and system reliability |
| ERCOT 100125 | Opposed the PGRR128 proposal to require ERCOT to evaluate grid enhancing technologies and advanced conductors in the Regional Transmission Plan, noting that without such a requirement, the current ERCOT Regional Planning Group process has the flexibility to consider grid enhancing technologies or advanced conductors in transmission project evaluation |
| Joint 101525 | Opposed the creation of a mandatory evaluation framework targeted to a specific set of technologies and use cases; noted ERCOT and TSPs routinely evaluate the transmission system to identify future needs and may propose alternative solutions to address those needs; opined that grid enhancing technologies and advanced conductors are specialized assets and not applicable for every identified need or use case; and argued that PGRR128 proposes unreasonably burdensome and inefficient requirements and should be withdrawn. |
| Google 102325 | Disagreed with the 8/19/25 Oncor comments and the 10/1/25 ERCOT comments, stating that PGRR128 does not require transmission utilities to justify the exclusion of grid enhancing technologies from their Regional Transmission Plan projects but instead requests utilities establish transparent screening criteria for evaluating grid enhancing technologies, and urged the adoption of PGRR128 |
| TEBA 121025 | Proposed language to increase transparency by introducing a minimal reporting requirement on how TSPs plan for Advanced Transmission Technologies in the Regional Planning Group process |
| TEBA 033026 | Proposed an annual forum to discuss the technologies discussed in PGRR128 |
| TEBA 050826 | Proposed repositioning new language to a new section and revised the description of the proposed annual forum |
| PLWG 051226 | Recommended clarifying Section 3.1.10, Other Activities, by replacing “transmission system” with the defined term ERCOT Transmission Grid |
| Treaty Oak 072826 | Supported PGRR128 and recommended working groups develop additional language pertaining to implementation |

Market Rules Notes

Please note the baseline Planning Guide language in the following section has been updated to reflect the incorporation of the following PGRR:

- PGRR145, Batch Zero Process for Large Load Interconnections (unboxed 7/11/26)

  - Section 3.1.2.1

Proposed Guide Language Revision

#### 3.1.1.2	Regional Transmission Plan

(1)	The Regional Transmission Plan is developed annually by ERCOT, in coordination with the RPG and Transmission Service Providers (TSPs).  The Regional Transmission Plan addresses regional and ERCOT-wide reliability and economic transmission needs and the planned improvements to meet those needs for the upcoming six years starting with the SSWG base cases.  These planned improvements include projects previously approved by the ERCOT Board, projects previously reviewed by the RPG, new projects that will be refined at the appropriate time by TSPs in order to complete RPG review, and the local projects currently planned by TSPs.  Combined, these projects represent ERCOT’s plan which addresses the reliability and efficiency of the ERCOT System in order to meet North American Electric Reliability Corporation (NERC) Reliability Standards, the Protocols, Nodal Operating Guides and this Planning Guide.  Projects that are included in the Regional Transmission Plan are not considered to have been endorsed by ERCOT until they have undergone the appropriate level of RPG Project Review as outlined in Protocol Section 3.11.4, Regional Planning Group Project Review Process, if required.  The process used by ERCOT to develop the Regional Transmission Plan is outlined in Section 3.1.4, Regional Transmission Plan Development Process.

(2)	ERCOT shall post the Regional Transmission Plan by December 31 of each year as follows:

(a)	Versions that include ERCOT Critical Energy Infrastructure Information (ECEII) shall be posted on the Market Information System (MIS) Secure Area;

(b)	Versions that include both ECEII and Protected Information shall be posted on the MIS Certified Area for TSPs only; and

(c)	Versions redacted of ECEII and Protected Information shall be posted on the ERCOT website.

(3)	ERCOT shall include in the Regional Transmission Plan report a list of Transmission Facilities that are loaded above 95% of their applicable Ratings for the following conditions:

(a)	Normal system conditions; or

(b)	Following the contingency loss of a single generating unit, transmission circuit, transformer, or common tower outage.

#### 3.1.2.1	All Projects

(1)	The submittal of each transmission project (60 kV and above) for RPG Project Review, except for the Transmission Facility improvements submitted based on Section 9.5, Batch Zero Study Refinement and Delivery of Transmission Plan, should include the following elements:

(a)	The proposed project description including expected cost, feasible alternative(s) considered, transmission topology and Transmission Facility modeling parameter data, and all study cases used to generate results supporting the need for the project in electronic format (powerflow data should be in PTI Power System Simulator for Engineering (PSS/E) RAWD format).  Also, the submission should include accurate maps and one-line diagrams showing locations of the proposed project and feasible alternatives;

(b)	Identification of the SSWG, Dynamics Working Group (DWG), or Regional Transmission Plan powerflow cases used as a basis for the study and any associated changes that describe and allow accurate modeling of the proposed project;

(c)	Description and data for all changes made to the SSWG base cases or Regional Transmission Plan cases used to identify the need for the project, such as Resource unavailability and area peak load forecast;

(d)	A description of the reliability and/or economic problem that is being solved;

(e)	Information that supports any load values that differ from the load forecast used in the base cases identified in item (b) above, including any relevant historical load information or evidence demonstrating that a submitted load value is Substantiated Load;

(f)	A description of the Subsynchronous Resonance (SSR) impact of the proposed project to the generation Facilities in the system pursuant to Protocol Section 3.22.1, Subsynchronous Resonance Vulnerability Assessment, and potential SSR Countermeasure plan for any identified SSR vulnerability, if applicable;

(g)	Desired/needed in-service date for the project, and feasible in-service date, if different;

(h)	The phone number and email address of the single point of contact who can respond to ERCOT and RPG participant questions or requests for additional information necessary for stakeholder review;

(i)	Analysis of rejected alternatives, including cost estimates, and other factors considered in the comparison of alternatives with the proposed project;

(2)	Both transmission and distribution solutions to performance deficiencies may be considered where applicable.

(3)	If there is any other information, not included above, that the submitting party believes is relevant to consideration of the need for any submitted project, the submitting party should include that information in the project submission.

3.1.10 	Other Activities

(1) 	At least annually, ERCOT should schedule a workshop for TSPs, ERCOT, and other Market Participants to learn more about emerging technologies for the ERCOT Transmission Grid that could address congestion costs, stability, planning, or operations.