| NPRR Number | 1332 | NPRR Title | Related to PGRR146, Rename Quarterly Stability Assessment and Modify the Assessment Schedule |
| --- | --- | --- | --- |
| Date of Decision |  | September 16, 2026 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Estimated Impacts |  | Cost/Budgetary: None Project Duration: No project required |  |
| Proposed Effective Date |  | Upon implementation of Planning Guide Revision Request (PGRR) 146, Rename Quarterly Stability Assessment and Modify the Assessment Schedule |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Planning Guide Sections Requiring Revision |  | 3.10.7.6, Use of Generic Transmission Constraints and Generic Transmission Limits |  |
| Related Documents Requiring Revision/Related Revision Requests |  | PGRR146, Rename Quarterly Stability Assessment and Modify the Assessment Schedule |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) renames the stability assessment from quarterly stability assessment to qualifying stability assessment. |  |
| Reason for Revision |  | Strategic Plan Objective 1 – Be an industry leader for grid reliability and resilience Strategic Plan Objective 2 - Enhance the ERCOT region’s economic competitiveness with respect to trends in wholesale power rates and retail electricity prices to consumers Strategic Plan Objective 3 - Advance ERCOT, Inc. as an independent leading industry expert and an employer of choice by fostering innovation, investing in our people, and emphasizing the importance of our mission General system and/or process improvement(s) Regulatory requirements ERCOT Board/PUCT Directive (please select ONLY ONE – if more than one apply, please select the ONE that is most relevant) |  |
| Justification of Reason for Revision and Market Impacts |  | This NPRR conforms the name of the stability assessment in the Nodal Protocols to the change initiated by PGRR146. |  |
| PRS Decision |  | On 6/10/26, PRS voted unanimously to table NPRR1332. All Market Segments participated in the vote. On 8/12/26, PRS voted unanimously to recommend approval of NPRR1332 as submitted. All Market Segments participated in the vote. On 9/16/26, PRS voted unanimously to endorse and forward to TAC the 8/12/26 PRS Report and 5/20/26 Impact Analysis for NPRR1332. All Market Segments participated in the vote. |  |
| Summary of PRS Discussion |  | On 6/10/26, ERCOT Staff provided an overview of NPRR1332. Participants expressed concern for fewer stability assessment periods per year and potential impacts to generator interconnection. On 8/12/26, participants noted ROS recently recommended approval of PGRR146. Some participants expressed concern for delays to interconnection and suggested that the implementation project parameterize months and durations to minimize future IT changes. On 9/16/26, participants noted that NPRR1332 carries no impacts. |  |

| Opinions |  |
| --- | --- |
| Credit Review | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1332 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |
| Independent Market Monitor Opinion | To be determined |
| ERCOT Opinion | ERCOT supports approval of NPRR1332. |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed NPRR1332 and believes it has a positive market impact because aligns the name of the stability assessment to the change initiated by PGRR146. |

| Sponsor |  |
| --- | --- |
| Name | Yunzhi Cheng; Atiqul Islam |
| E-mail Address | yunzhi.cheng@ercot.com; atiqul.islam@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3130; 512-248-6668 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-225-7027 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

None

Proposed Guide Language Revision

3.10.7.6	Use of Generic Transmission Constraints and Generic Transmission Limits

(1)	For the sole purpose of creating transmission flow constraints between areas of the ERCOT Transmission Grid in ERCOT applications that are unable to recognize non-thermal operating limits (such as system stability limits and voltage limits on Electrical Buses), ERCOT may create new Generic Transmission Constraints (GTCs) or modify existing GTCs for use in reliability and market analysis.  GTCs created or modified as described in this Section shall be used in the SCED application.  ERCOT shall not use GTCs in ERCOT applications to replace other constraints already capable of being directly modeled in the SCED application.

(2) 	During the ERCOT qualifying stability assessment, performed pursuant to Planning Guide Section 5.3.5, ERCOT Qualifying Stability Assessment, if ERCOT determines a GTC is necessary for a new Generation Resource, ESR, or SOTSG due to localized stability issues associated with the output of the interconnecting Generation Resource, ESR, or SOTSG, the GTL for the GTC shall be set to the lowest non-zero limit for all system conditions outside those in which the limit is zero.

(3)	Except as provided in paragraph (6) below, ERCOT shall post a description of each new or modified GTC to the MIS Secure Area as soon as possible, but no later than the day prior to the GTC or GTC modification becoming effective in any ERCOT application.  Posting of each new or modified GTC shall include:

(a) 	The description of the new or modified GTC including the GTL or description of the data and studies used to calculate the GTL associated with each new or modified GTC;

(b)	The effective date of the new or modified GTC;

(c)	The identity of all constrained Transmission Elements that make up the GTC, including the defined interface where applicable; and

(d)	Detailed information on the development of each GTC, including the defined constraint or interface where applicable; and data and studies used for development of each new or modified GTC, including the GTL associated with each new or modified GTC.  This information shall be redacted or omitted to protect the confidentiality of certain stability-related GTCs.

(4)	Market Participants may review and comment on each new or modified GTC.  Within seven days following receipt of any comments, ERCOT shall post the comments to the MIS Secure Area as part of the information related to the subject GTC.  ERCOT shall review any comments and may modify any part of a given GTC in response to any comments received.

(5)	Anticipated GTLs, except those determined pursuant to paragraph (6) below, shall be posted to the MIS Secure Area no later than one day before the Operating Day.

(6)	If an unexpected change to ERCOT System conditions requires the creation of a new GTC or the modification of an existing GTC to manage ERCOT System reliability, and the GTC has not been posted pursuant to paragraph (3) above, ERCOT shall issue an Operating Condition Notice (OCN) and post on the MIS Secure Area the new or modified GTC and its associated GTL(s), including the detailed information described in paragraphs (3) and (5) above.  ERCOT shall include an explanation regarding why it did not post the GTC or modification on the previous day.

(7)	No later than 180 days after the effective date of a new GTC, ERCOT shall post a report listing alternatives for exiting the GTC to the MIS Secure Area.  The listed alternatives may include but are not limited to the implementation or modification of a RAS or a transmission improvement project.