## Slide 1: Comprehensive Transmission Planning and Batch 1+
September 24, 2026
Version 2:
Slide 4 placeholder updated with new PUCT 58481 summary content
Slide 74 graphic edited
Stakeholder workshop #2

## Slide 2
1. Antitrust admonition
2. PUCT Project 58481 update
3. Share update on CTP / Batch 1+
4. Conduct Batch study focus session
5. Discuss Batch reporting/transparency
6. Conduct CTP focus session
7. Discuss format and timing options for next meeting
2
On the agenda
PUBLIC

## Slide 3
1. Antitrust admonition
2. PUCT Project 58481 update
3. Share update on CTP / Batch 1+
4. Conduct Batch study focus session
5. Discuss Batch reporting/transparency
6. Conduct CTP focus session
7. Discuss format and timing options for next meeting
3
On the agenda
PUBLIC

## Slide 4: PUCT Project 58481: Approved and Summary of Process flow
ILLE sends request to TSP / DSP
ILLE and TSP / DSP enters into intermediate agreement*
Interconnecting TSP / DSP submit to ERCOT to initiate interconnection study
ERCOT initiates interconnection study
ERCOT provides updates on interconnection study
60 working days
Inform ILLE
5 working days
Inform ILLE
5 working days
Inform ILLE
5 working days / update
Interconnecting TSP / DSP, or ERCOT provides timely notification of transmission capacity allocated to the ILLE
Execute and fund the SLLIA1 (including disclosure updates)
Post security, pay CIAC in cash, and agree to pay large load minimum billing demand
*Intermediate agreement requirements:
TSP/DSP study fee ($100K)
ERCOT study fee (TBD)
Financial security for system upgrades ($50K/MW)
Disclosures, including site control, similar interconnection requests, site progress, phased energization schedules, water usage, state and local regulatory approvals, backup generation / onsite facilities, controllability, plans for power supply
ERCOT Batch study
60 working days
Process flow
Other major topics
This rule standardizes interconnection requests for all load types
If an ILLE does not hit milestones (e.g., energizing within time period), they will lose allocated capacity; refund terms have also been changed
All curtailment is outside of this rule
Competitively sensitive information is treated as protected
Every process step is subject to audit and verification
Batch Zero implications
Load applications need to enter SLLIA (Standard Large Load Interconnection Agreement) post-security

## Slide 5
1. Antitrust admonition
2. PUCT Project 58481 update
3. Share update on CTP / Batch 1+
4. Conduct Batch study focus session
5. Discuss Batch reporting/transparency
6. Conduct CTP focus session
7. Discuss format and timing options for next meeting
5
On the agenda
PUBLIC

## Slide 6: Progress on CTP and Batch 1+
In the last workshop (Aug 31), we discussed initial perspectives on CTP, including changes in Batch 1+
Since then, we have received 74 survey responses with your actionable feedback
We are comparing your feedback with proposed approaches to CTP and Batch 1+ for discussion today
We will continue to engage in workshops to discuss and narrow down the design elements for near-term Revision Request(s)

## Slide 7: Stakeholder roadmap: We are in the second stakeholder workshop
We are here
Stakeholder workshops
Initial process design & TSP interviews
Initial NPRR/PGRR draft package
Board consideration and transition
TAC and Board consider the package for approval; ERCOT transitions to the new CTP process
Draft rule package released for stakeholder review; full engagement sessions continue
ERCOT engages TSPs and stakeholders to understand preferences and pain points in depth
ERCOT scoped the early process design and completed initial TSP touchpoints

## Slide 8: Stakeholder roadmap: Workshops are on the path to revision requests
Forums
ROS
2026
2027
Q3
Q4
Q1
Jul
Aug
Sep
Oct
Nov
Dec
Jan
PRS
Workshops and working groups
Formally present CTP and Batch 1 PGRRs/NPRRs for approval
ERCOT Board
Objective
Interview TSP planning staff on CTP scope
Engage with Protocol Revisions Subcommittee on NPRR(s)
Engage with Reliability and Operations Subcommittee on PGRR(s)
TAC
Review/endorse combined NPRR/PGRR package for Board approval
ROS 11/5
ROS 12/3
PUCT OM
Provide updates to Commission on progress/emerging policy considerations
Conduct stakeholder workshops on CTP process design and Batch 1+
Stakeholder engagement
Meeting
Targeted date
July 16 – late August
Workshop 1 8/31
LLWG
Engage with Large Load Working Group on Batch 1+
LLWG 8/21
LLWG 9/17
LLWG 11/19
LLWG 12/17
Workshop 2 9/24
Draft scope from ERCOT
Workshop 3 10/14
Workshop 5 12/2
Workshop 4 11/9
Further scoping details discussion
Details of design elements discussion
Review Revision Requests and market comments
April Board approval
11/1 File initial Revision Requests
7/8 ERCOT market notice
March TAC approval
Feb
Mar
Apr
Q2
ROS 1/7
ROS 2/4
ROS 3/4
ROS 4/8
ROS 10/1
Board 12/7-8
Board 2/8-9
Board 4/12-13
PRS 10/14
PRS 11/11
PRS 12/9
PRS 1/12
PRS 2/16
PRS 3/10
PRS 4/14
LLWG 10/15
TAC 10/28
TAC 11/18
TAC 1/20
TAC 8/28
TAC 7/29
TAC 2/24
TAC 3/24
TAC 4/28
As needed
Specific sessions to be selected for updates
Preliminary
Discuss future workshop timing and format later in meeting

## Slide 9
1. Antitrust admonition
2. PUCT Project 58481 update
3. Share update on CTP / Batch 1+
4. Conduct Batch study focus session
  Review Batch study survey results
  ERCOT update: Handling of project changes
  ERCOT update: Dynamic model review and SSO studies
  ERCOT update: Short Circuit analysis and Batch process
  New stakeholder concepts for Batch
5. Discuss Batch reporting/transparency
6. Conduct CTP focus session
7. Discuss format and timing options for next meeting
9
On the agenda
PUBLIC

## Slide 10
1. Antitrust admonition
2. PUCT Project 58481 update
3. Share update on CTP / Batch 1+
4. Conduct Batch study focus session
  Review Batch study survey results
  ERCOT update: Handling of project changes
  ERCOT update: Dynamic model review and SSO studies
  ERCOT update: Short Circuit analysis and Batch process
  New stakeholder concepts for Batch
5. Discuss Batch reporting/transparency
6. Conduct CTP focus session
7. Discuss format and timing options for next meeting
10
On the agenda
PUBLIC

## Slide 11: Batch processes: Key takeaways from the survey
PUBLIC
Topic
Takeaways
POI determination
Majority of TSPs (62%) believe TSPs should select a load’s POI; ILLEs are more evenly split between TSPs and ILLEs as the selector
Batch re-study proposals
Most survey participants support ERCOT's proposals for ILLEs with unfulfilled ramps (76%), uncommitted large loads (73%), and large loads excluded from Batch Zero (76%)
Batch screening
Most TSPs support POI identification (80%) and minimum interconnection identification (87%) prior to Batch study qualification. ILLEs are more divided, with 61% supporting POI identification and 48% supporting minimum interconnection identification
Batch enhancement prioritization
Respondents support prioritizing the following Batch enhancements in the near term:
Large load self-supply outside of Batch (24 respondents)
BYOG at a different location (21 respondents)
WLPUN exit plan (18 respondents)
Define operational battery registration (17 respondents)
Develop rules for using an interconnected battery as part of PCLR (16 respondents)

## Slide 12: Batch processes: Point of Interconnection (POI) identification
XX
# of respondents
PUBLIC
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 15 blank responses).
Q1: Which entity should select a load’s POI? % of respondents
Chart: 
 | 61.5385 | 41.3793 | 29.4118 | 42.3729
 | 15.3846 | 41.3793 | 47.0588 | 37.2881
 | 15.3846 | 6.8966 | 11.7647 | 10.1695
 | 7.6923 | 3.4483 | 0 | 3.3898
 | 0 | 6.8966 | 11.7647 | 6.7797
0%
TSP
ILLE
Others
Total
TSP
ILLE
DSP
ERCOT
No Opinion
13
29
17
59
Respondent
Majority of TSPs (62%) believe TSPs should select a load’s POI; ILLEs are more evenly split between TSPs and ILLEs as the selector

## Slide 13: Batch processes: TSP POI modeling timing
Q2: After a TSP signs an Intermediate Agreement with a Large Load, how long should it take for the TSP to submit to ERCOT the POI and modeling information (steady state only)? (free response)
Common themes (# of responses)
Observations
Converge on ~30 days as the default (9)
Plurality landed on 30 days, with some allowing up to 45 for complex configurations
Tier the deadline by complexity (10)
For simple POIs, respondents accept deadlines in the order of days. Complex POIs needing steady-state analysis seen as meriting 6-8 weeks. Several noted "workload" and case-specific factors as legitimate drivers of variance
Flexibility around delays (3)
If the TSP misses the deadline for reasons outside the ILLE's control, the project shouldn't lose its Batch slot. Any extension should come with a documented, revised binding date
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 27 blank responses).
PUBLIC

## Slide 14: Batch processes: Pre-Batch feasibility screens
80%
61%
87%
48%
40%
26%
33%
32%
0%
13%
Q4: When should pre-Batch feasibility screens be completed and by whom? % of respondents
Q3: What pre-Batch feasibility screens, if any, should TSPs run before loads qualify for a batch study (select all that apply)? # of selections
XX
% of respondent type selecting
PUBLIC
Chart: 
 | 8 | 3 | 7 | 5 | 5 | 1
 | 19 | 15 | 8 | 10 | 1 | 4
 | 12 | 13 | 6 | 5 | 0 | 0
Point of Interconnection Identification
3
Minimum Interconnection Identification
Required Local Screening Study
Optional Local Screening Study
1
None
1
No opinion
39
31
21
20
6
5
TSP
ILLE
Others
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 10 blank responses).
Chart: 
 | 61.5385 | 61.5385 | 86.6667 | 68.5185
 | 38.4615 | 38.4615 | 13.3333 | 31.4815
TSP
ILLE
Others
Total
Prior to Batch application by TSPs
After Batch application and prior to Batch study by TSPs
13
# of respondents
26
15
54
xx
44%
17%
39%
28%
6%
0%
3%
28%
POI and minimum interconnection identification were the most recommended pre-Batch feasibility screens
Majority of respondents (69%) believe pre-batch screens should be completed by TSPs prior to a Batch application

## Slide 15: Batch processes: Platform features
Q5: ERCOT is considering the following features for the proposed load interconnection and registration platform: application tracking, timeline visibility, and document upload and sharing. Are there any other features you would like to be considered in the first release of the platform?
Theme
Survey quotes and suggestions
Automate milestone and deficiency alerts
  "Automated notifications/alerts when milestones are approaching or overdue"
  Notices on "deadlines, status changes, and upcoming milestones"
Make ownership explicit
  "Responsibility matrix identifying each required action and responsible party"
  Visibility into "who is responsible for the next step"
Preserve an audit trail; allow error correction without penalty
  "Time-stamped audit trail of submissions and decisions"
  Version control on documents
  "Correcting administrative errors without losing Batch eligibility”
Extend role-based access and confidentiality to third parties
  "Role-based access with robust confidentiality/permission controls"
  ILLE can "authorize access for its DSP, TSP, consultants“
  "Heavy confidentiality restrictions on all data uploaded"
Enable in-platform messaging and case management
  "Secure messaging between ILLE, TSP and ERCOT"
  "Ticketing and case-management function" to submit, track, resolve questions
Show queue position and attribute delays by party
  "Queue position visibility" within the study pipeline
  "Distinguish ILLE-caused delays from ERCOT/TSP processing time"
Track full project lifecycle, not just intake
  Extend tracking through ramp schedules, security/fee payments, to commissioning and energization
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 31 blank responses).
PUBLIC

## Slide 16: Batch processes: Batch re-study proposals
Q6: ILLEs with unfulfilled ramp: ERCOT is proposing that ILLEs with unfulfilled ramp may request re-study under their original Large Load Batch (LLB) tracking number
Q7: Uncommitted large loads: ERCOT is proposing for large load projects that did not commit in prior Batch, that they may request inclusion in subsequent Batch studies, provided they (i) formally request it and (ii) pay a new study fee. The ILLE’s financial security, intermediate agreement, LL tracking number, and all portal information would carry forward to the new Batch study
Q8: Large loads excluded from Batch Zero: ERCOT is proposing to allow large loads that received a tracking number, but were excluded from Batch Zero, to request inclusion in Batch One. ERCOT will waive the subsequent Batch fee if the interconnecting TSP/DSP attests that the ILLE has already paid at least $100k in study fees for the project. The ILLE must meet all other Batch One study requirements
Q6-8: Do you agree with ERCOT’s proposed approach [to the following issues]? % of respondents
PUBLIC
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 15 blank responses).
Chart: 
 | 66.6667 | 81.8182 | 76 | 87.5 | 76.2712
 | 13.3333 | 9.0909 | 8 | 12.5 | 10.1695
 | 20 | 9.0909 | 16 | 0 | 13.5593
TSP
ILLE
Generators
Others
Total
Yes
No
No Opinion
Chart: 
 | 86.6667 | 54.5455 | 72 | 75 | 72.8814
 | 0 | 36.3636 | 8 | 25 | 13.5593
 | 13.3333 | 9.0909 | 20 | 13.5593
TSP
ILLE
Generators
Others
Total
# of respondents
xx
15
11
25
8
Chart: 
 | 73.3333 | 63.6364 | 76 | 100 | 76.2712
 | 6.6667 | 18.1818 | 24 | 0 | 5.0847
 | 20 | 18.1818 | 18.6441
TSP
ILLE
Generators
Others
5%
Total
59
15
11
25
8
59
15
11
25
8
59
Majority of respondents (73-76%) agree with ERCOT’s three proposed approaches to improve the Batch process

## Slide 17: Batch processes: Priority BYOG enhancements (1/4)
Category
WLPUN registration and lifecycle
WLPUN enhancements
Alternative BYOG enhancements
Enhancement
WLPUN opt-out option during Commitment
WLPUN exit plan
WLPUN generation additions
WLPUN on-ramp for existing Large Load
WLPUN Dynamic Limits
Large load self-supply outside of Batch
WLPUN with Settlement Only Generation
Large Load island transition to grid-connected
BYOG at different location
Description
Allow a Large Load with WLPUN to elect to be a standalone Large Load if the batch study results in full withdrawal capability for the load; i.e., cancel the GINR project without losing the load allocation
Define how a WLPUN can transition to different registration upon completion of energization of planned facilities (load, generation, and transmission upgrades as applicable)
Define how to add more generation to an existing/planned WLPUN site.
Define how to add generation to an existing/planned standalone Large Load so that it becomes a WLPUN
Define how WLPUN withdrawal limits could change from static to dynamic values in real-time
Allow a Large Load with generation to connect before going through the batch if the load ensures that it will not consume from the grid until after it goes through a batch process, i.e., use the GINR process
Allow a WLPUN to use Settlement Only generation
Define process for islanded configurations to become grid-connected
Develop BYOG option for generation at a different location from the Large Load (if selected, provide comment on extent of "different location", such as one station away, or beyond)
1
2
3
4
5
6
7
8
9

## Slide 18: Batch processes: Priority BYOG enhancements (2/4)
Category
Alternative BYOG enhancements cntd.
Battery enhancements
Enhancement
Description
Define and allow Self-Limiting Facility (SLF) Private Use Networks (PUN)
Combine SLF and PUN concepts
10
Pursue BYOG option of Netted Network
Consider in the planning process how Netted Network concept discussed at Aug 21 LLWG would impact allocations if adopted in Operations.
11
Allow Multiple POIs and/or Customer-owned Substations
n/a
12
Allow mix of resources at PUN
Allow a mix of different resource registration categories at a PUN, i.e., Generation Resources AND Settlement Only
13
Allow temporary generation
Allow temporary generation until the transmission is built to reliably serve the Large Load. Generation is planned from the beginning to be temporary without having to go through the RMR process
14
Define operational battery registration
Define battery registration for batteries that are only used for meeting operational requirements, e.g., voltage ride-through
15
Develop rules for market-operating operational batteries
Define rules for batteries that are added for operational requirements, and want to participate in the market
16
Develop rules for using an interconnected battery as part of PCLR
17
n/a

## Slide 19: Batch processes: Priority BYOG enhancements (3/4)
Q9: Select the four highest priority BYOG enhancements that you would like ERCOT to work on in the NEAR TERM, # of selections
PUBLIC
Chart: 
 | 3 | 1 | 7 | 4 | 1 | 4 | 2 | 5 | 1 | 3 | 3 | 1 | 1 | 2 | 2 | 2 | 2 | 4
 | 3 | 5 | 4 | 1 | 2 | 2 | 5 | 1 | 1 | 2 | 2 | 8 | 1 | 3 | 1 | 1 | 0 | 2
 | 16 | 10 | 7 | 7 | 9 | 6 | 7 | 8 | 6 | 8 | 6 | 3 | 6 | 4 | 4 | 0 | 0 | 1
 | 2 | 5 | 0 | 5 | 4 | 3 | 1 | 1 | 5 | 0 | 1 | 0 | 3 | 0 | 0 | 0 | 0 | 3
1
1
2
1
2
1
2
1
1
1
1
2
1
2
1
1
1
2
1
2
1
2
2
1
2
24
21
18
17
16
15
15
15
2
13
12
12
11
13
7
3
2
10
9
1. Defined as Independent Generators (n=13) and Developers (n=20)
Chart: 
 | 2 | 2 | 1 | 1 | 3 | 1 | 4 | 1 | 2 | 5 | 1 | 2 | 2 | 2 | 2 | 1 | 1 | 6
 | 1 | 3 | 1 | 1 | 2 | 2 | 2 | 3 | 1 | 1 | 3 | 0 | 3 | 0 | 0 | 1 | 1 | 3
 | 8 | 11 | 6 | 4 | 4 | 6 | 8 | 5 | 4 | 8 | 10 | 7 | 8 | 2 | 3 | 5 | 1 | 4
 | 2 | 2 | 0 | 3 | 1 | 3 | 1 | 1 | 2 | 3 | 2 | 3 | 1 | 0 | 1 | 1 | 0 | 5
1
(6) Large load self-supply outside of Batch
2
2
(9) BYOG at different location
1
1
(2) WLPUN exit plan
1
1
(15) Define operational battery registration
1
2
(17) Develop rules for using an interconnected battery as part of PCLR
2
1
(14) Allow temporary generation
1
2
(5) WLPUN Dynamic Limits
1
1
(4) WLPUN on-ramp for existing Large Load
2
1
2
(16) Develop rules for market-operating operational batteries
1
(8) Large load island transition to grid-connected
2
1
(3) WLPUN generation additions
2
(12) Allow Multiple POIs and/or Customer-owned Substations
1
2
(11) Pursue BYOG option of Netted Network
2
2
(1) WLPUN opt-out option during Commitment
1
2
(10) Define and allow Self-Limiting Facility (SLF) Private Use Networks (PUN)
1
1
1
(13) Allow mix of resources at PUN
1
1
1
(7) WLPUN with Settlement Only Generation
No opinion
2
18
8
9
10
12
15
10
9
13
16
12
14
4
6
8
3
18
17
Others
Generators1
ILLE
TSP
Q10: Select the four highest priority BYOG enhancements that you would like ERCOT to work on in the LONGER TERM, # of selections
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 3 blank responses).
Survey identified clear differences between near-term and long-term enhancement priorities
Near-term: large load self-supply, BYOG at different locations, WLPUN exit plan, define operational battery registration
Long-term: BYOG at different locations, large load island transition to grid-connected, WLPUN generation additions, WLPUN dynamic limits

## Slide 20: Batch processes: Priority BYOG enhancements (4/4)
Category
Enhancement
WLPUN registration and lifecycle
WLPUN opt-out option during Commitment
1
WLPUN exit plan
2
WLPUN generation additions
3
WLPUN on-ramp for existing Large Load
4
WLPUN enhancements
WLPUN Dynamic Limits
5
Large load self-supply outside of Batch
6
WLPUN with Settlement Only Generation
7
Alternative BYOG enhancements
Large Load island transition to grid-connected
8
BYOG at different location
9
Define and allow Self-Limiting Facility (SLF) Private Use Networks (PUN)
10
Pursue BYOG option of Netted Network
11
Allow Multiple POIs and/or Customer-owned Substations
12
Allow mix of resources at PUN
13
Allow temporary generation
14
Battery enhancements
Define operational battery registration
15
Develop rules for market-operating operational batteries
16
Develop rules for using an interconnected battery as part of PCLR
17
Top 4 short-term priority
Top 4 long-term priority

## Slide 21
1. Antitrust admonition
2. PUCT Project 58481 update
3. Share update on CTP / Batch 1+
4. Conduct Batch study focus session
  Review Batch study survey results
  ERCOT update: Handling of project changes
  ERCOT update: Dynamic model review and SSO studies
  ERCOT update: Short Circuit analysis and Batch process
  New stakeholder concepts for Batch
5. Discuss Batch reporting/transparency
6. Conduct CTP focus session
7. Discuss format and timing options for next meeting
21
On the agenda
PUBLIC

## Slide 22: Potential changes to large loads (1/2)
For ILLE changes to batch projects: ILLE must submit change request in the portal, with the following rules
Preliminary
Treatment / restudy rule1
Potential change
  Restudy in next Batch if in-service date changes to an earlier season/year. Studied load treatment in the earlier seasons/years but keep base load status for prior commitments
  No restudy if date is pushed out but will be reflected in next Batch / CTP study
In-service date (forward or backward)
1
  Restudy in next Batch if MWs increase. Studied load treatment only for the increased MWs but keep base load status for prior commitments
  No restudy if MWs decrease
Project MWs (increase or decrease)
2
  Restudy in next Batch if ramp moves to higher MWs in an earlier season/year. Studied load treatment for the earlier seasons/years but keep base load status for prior commitments
  No restudy if ramp is pushed out but will be reflected in next Batch / CTP study
Change LCP (ramp)
3
  Administrative change
Change ownership
4
  Restudy in next Batch, unless ERCOT determines the new POI is electrically equivalent
Change POI
5
  See "Change load characteristics (dynamics)"
Change type of load
6
1. Restudy detailed on slide 24

## Slide 23: Potential changes to large loads (2/2)
1. Restudy detailed on slide 24
2. Including reactive consumption
For ILLE changes to batch projects: ILLE must submit change request in the portal, with the following rules
Preliminary
Treatment / restudy rule1
Potential change
  See slide 25
Change load characteristics (dynamics)2
7
  Administrative change
Change DSP
8
  Administrative change if no POI change; otherwise see “Change POI”
Change TSP
9
  No restudy if electrically similar; otherwise restudy in next Batch
Split the project into multiple projects
10
  Administrative change
Change disclosure info
11
  No restudy if electrically similar; otherwise restudy in next Batch
Change co-location status
12
  Can cancel and be removed at any time, but there will be a deadline for reflecting that change in the current Batch / CTP study
Cancel
13

## Slide 24: What does “Restudy in the next Batch” mean?
Unless otherwise noted, a restudy means:
The Large Load will forfeit any previously allocated MWs
The Large Load will enter the next Batch as a “studied load”
The Large Load must pay the Batch study fee and meet all other prerequisites for the Batch study, including any relevant deadlines
Preliminary

## Slide 25: Evaluation of Changing Load Characteristics (dynamics)
Evaluation Principle and Guidelines
  If the changes negatively impact dynamic performance, a restudy is needed
  If the changes are equal or better from a dynamic performance perspective, an assessment is needed without affecting the allocation
Load does not need to be restudied in a subsequent batch, but it does need to be assessed in the next batch stability study, which does not affect its allocation but could impact its Initial Energization date
No
No
Yes
Yes
1. VRT/FRT Impact Check
Load must be restudied in a subsequent batch
ERCOT checks the dynamic model to determine if there's an adverse impact on VRT or FRT performance
2. Dynamics Impact Check
Is there an adverse impact on VRT or FRT performance?
Is there a material impact to the dynamics?
No restudy is needed
ERCOT checks the dynamic model to determine if there’s a material impact to the dynamics
Start
VRT = Voltage Ride Through
FRT = Frequency Ride Through
Preliminary

## Slide 26
1. Antitrust admonition
2. PUCT Project 58481 update
3. Share update on CTP / Batch 1+
4. Conduct Batch study focus session
  Review Batch study survey results
  ERCOT update: Handling of project changes
  ERCOT update: Dynamic model review and SSO studies
  ERCOT update: Short Circuit analysis and Batch process
  New stakeholder concepts for Batch
5. Discuss Batch reporting/transparency
6. Conduct CTP focus session
7. Discuss format and timing options for next meeting
26
On the agenda
PUBLIC

## Slide 27: Dynamic model review and SSO studies: Overview
Question
Response
Should TSPs be responsible for determining whether dynamic data submitted by the ILLE is expected to adversely impact the results of the previous stability study, as described in PG9.2.2 Submission of Large Load Information for Batch Zero Process?
ERCOT will be responsible for assessing the impact of dynamic-data updates or changes
Should SSO studies be included in the scope conducted by the lead TSP?
The lead TSP should continue to support the SSO studies as described in NP 3.22.1.4(3)

## Slide 28
1. Antitrust admonition
2. PUCT Project 58481 update
3. Share update on CTP / Batch 1+
4. Conduct Batch study focus session
  Review Batch study survey results
  ERCOT update: Handling of project changes
  ERCOT update: Dynamic model review and SSO studies
  ERCOT update: Short Circuit analysis and Batch process
  New stakeholder concepts for Batch
5. Discuss Batch reporting/transparency
6. Conduct CTP focus session
7. Discuss format and timing options for next meeting
28
On the agenda
PUBLIC

## Slide 29: Short Circuit analysis and Batch process: Problem statement
This timeline is too short for both a short-circuit case to be built and analysis completed
The current Batch Zero process leaves it up to TSPs to build a short-circuit case and conduct analysis on transmission needs for managing fault currents across their system resulting from the proposed expansion plan in 60 days
This is exacerbated by rising fault currents across the system and with commercially available breakers having a maximum interrupting capability of 80 kA. If a bus fault current rises above the TSP’s safety margin, then it needs to be mitigated
These solutions will require updates to the proposed transmission plan
Preliminary

## Slide 30: Short Circuit analysis and Batch process: ERCOT’s plan
This case will be based on the 26_SPWG_2031_FY_06292026_Final.OLR SPWG case published in Jun 2026. It will be conditioned to match the Batch Zero topology and generation
ERCOT will make a short-circuit case corresponding to the last year of the Batch Zero cases (2032) in conjunction with the Batch Zero cases for short-circuit studies
These cases will use the following data sources:
  New Topology
    Project information from Batch Zero
    Generic impedances from TSPs
  New Generation
    Converter Interfaced Resource models for IBRs at 1.1-1.3 PU of fault current
    Conventional generator impedances will be derived from similarly sized units
    Generic MPT impedance used in generator modeling
Preliminary

## Slide 31: Short Circuit analysis and Batch process: Next steps
Next Steps
Feedback Requested
  ERCOT will begin coordinating internally to gather the data needed from the Batch Zero cases to condition the SPWG case
  ERCOT will coordinate with TSP representatives in SPWG on impedances for projects – gather either specific impedances or define default generic impedances
    Five TSPs volunteered to participate in this effort
  Is the 60-day timeline enough to perform short-circuit analysis and devise new projects/modify projects if needed?
    Initial responses suggest this timeline is reasonable if ERCOT provides models. However, if projects must be modified or developed, the timeline may be tight
  If you have other feedback on how we can accelerate the short-circuit screening and evaluation, please share your feedback
    Concerns were raised on modeling fidelity, initial assessment reports, study scope definitions, and applying lessons learned from Batch Zero short-circuit modeling and studies to Batch 1/CTP and beyond
Preliminary

## Slide 32
1. Antitrust admonition
2. PUCT Project 58481 update
3. Share update on CTP / Batch 1+
4. Conduct Batch study focus session
  Review Batch study survey results
  ERCOT update: Handling of project changes
  ERCOT update: Dynamic model review and SSO studies
  ERCOT update: Short Circuit analysis and Batch process
  New stakeholder concepts for Batch
5. Discuss Batch reporting/transparency
6. Conduct CTP focus session
7. Discuss format and timing options for next meeting
32
On the agenda
PUBLIC

## Slide 33: New stakeholder concepts for Batch agenda
Large-load-only network open season concept (Vistra)
Independent PCLR entry through GINR Queue (Agentic)
Conditional PCLR Base Point compliance (Agentic, Compute Heat Rate Project)
Load Sponsored Generation (LSG) (Agentic)
PCLR in Netted Networks (Agentic)
10-15 minutes for each concept
Base Power Whitepaper (Base Power)

## Slide 34
1. Antitrust admonition
2. PUCT Project 58481 update
3. Share update on CTP / Batch 1+
4. Conduct Batch study focus session
5. Discuss Batch reporting/transparency
6. Conduct CTP focus session
7. Discuss format and timing options for next meeting
34
On the agenda
PUBLIC

## Slide 35: Batch reporting/transparency: Overview
NPRR 1267 as a starting point for Large Load transparency (approved June 2025, not implemented)
3.2.7 Large Load Interconnection Status Report
(1) For purposes of this section, a Large Load is inclusive of one or more Facilities at a single site with an aggregate peak Demand greater than or equal to 75 MW behind one or more common Points of Interconnection (POIs) or Service Delivery Points that is seeking interconnection on or after March 25, 2022. ERCOT may expand the criteria for including a Load as a Large Load, provided the defining criteria are clearly stated in the applicable report.
(2) ERCOT must publish a Large Load Interconnection status report each month to the ERCOT website that aggregates Large Load Interconnection requests across multiple dimensions with as much specificity as possible while maintaining the confidentiality of Customer data, including:
(a) Load Zone;
(b) TSP;
(c) Load type (as provided to the TSP, such as refinery, steel mill, data center, etc...);
(d) Calendar quarter and year in which the interconnecting TSP submitted the project to ERCOT;
(e) Requested energization quarter and year;
(f) Size range;
(g) Interconnection status (as defined by ERCOT to differentiate between operational, approved, under study, etc.);
(h) Co-location status.
Preliminary

## Slide 36: Batch reporting/transparency: Overview
NPRR 1267 as a starting point for Large Load transparency (approved June 2025, not implemented)
3.2.7 Large Load Interconnection Status Report
(3) ERCOT shall take actions such as providing ranges of interconnection MW sizes, aggregate loads, and other similar actions to protect, anonymize, and otherwise safeguard confidential and competitively-sensitive Customer data from public disclosure. When aggregating Customer data, ERCOT should ensure that at least five Customers exist in a particular Load type subcategory prior to aggregation, to protect against accidental disclosure. ERCOT may leave a certain category blank or aggregated with other Load types to avoid disclosure.
ERCOT shall report to TAC or its designated subcommittee its methodology for developing the report defined in paragraph (2) above whenever that methodology changes, but at least every two years.
Preliminary

## Slide 37: Batch reporting/transparency: Survey results
PUBLIC
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 41 blank responses).
Preliminary
Q34: NPRR1267 establishes a monthly aggregated Large Load report to improve transparency. The report includes the data elements listed below, with protections to prevent disclosure of confidential information when aggregation levels are not adequate to maintain anonymity. Please list any reporting elements you would like added or modified.
Data elements: Load zone, TSP, load type (as provided to the TSP), TSP submission to ERCOT quarter, requested energization quarter and year size range, interconnection status, co-location status
Data element
Example data element details
Ramp & energization performance detail (11)
  Requested ramp by quarter
  Actual MW energized vs. approved ramp schedule
  Energized MW vs. requested MW
  Average timeline from application to energization
Locational detail (9)
  County and/or city, including geographic coordinates
  Proposed or actual POI
Batch/study & agreement status detail (8)
  Batch or study cohort
  Intermediate Agreement and financial security status
  Commitment status following Batch study
  Standardized readiness milestones (e.g., site control, permits, construction status)
Data-center load-type sub-categorization (2)
  Data center type (e.g., AI training, AI inference, cloud, enterprise, crypto)
Project configuration / technology classification (11)
  BYOG/WLPUN/PCLR election or designation
  Back up generation type (e.g., islanded generation, backup generation, WLPUN/BYOG)
  Generation resource type for co-located projects (solar, wind, BESS, gas)
  Respondents flagged the need to protect confidentiality: Concerns include the ability to identify customers from broad data, lack of appropriate aggregation thresholds, and clarity on data that will not be published

## Slide 38
1. Antitrust admonition
2. PUCT Project 58481 update
3. Share update on CTP / Batch 1+
4. Conduct Batch study focus session
5. Discuss Batch reporting/transparency
6. Conduct CTP focus session
  Review CTP survey results
  Discuss ERCOT CTP proposal
  Discuss priorities based on survey results
7. Discuss format and timing options for next meeting
38
On the agenda
PUBLIC

## Slide 39
1. Antitrust admonition
2. PUCT Project 58481 update
3. Share update on CTP / Batch 1+
4. Conduct Batch study focus session
5. Discuss Batch reporting/transparency
6. Conduct CTP focus session
  Review CTP survey results
  Discuss ERCOT CTP proposal
  Discuss priorities based on survey results
7. Discuss format and timing options for next meeting
39
On the agenda
PUBLIC

## Slide 40: Modeling and case building
PUBLIC

## Slide 41: Modeling and case building: Key takeaways from the survey
Topic
Case building consolidation
Case building frequency
Short circuit consolidation
Case set
Takeaways
Most survey respondents (71%) and all TSPs (100%) support the consolidation of the SSWG and RTP case building processes
45% of TSPs agree an annual CTP case re-build is sufficient, while 36% disagree
TSPs are broadly supportive of combining the short circuit and steady state case building processes (58%), but are divided on whether those cases should match steady state cases
Respondents have suggested expanding the ‘core case set’ to include winter peak cases (9 respondents), as well as no solar cases (6 respondents)
Raw case materials
64% of respondents support (strongly agree or agree) the publishing of raw network case files to allow entities to self-serve and build cases as needed. Respondents are split whether this should be a near-term priority
Preliminary

## Slide 42: Modeling and case building: Case building processes
# of respondents
PUBLIC
Q24: ERCOT will create a CTP case with updated topology, generator, and load forecasts at least annually. Would an annual CTP case re-build be sufficient? % of respondents
Q18: Should ERCOT consolidate the SSWG and RTP processes into a single case-building process? % of respondents
Chart: 
 | 100 | 71.4286 | 50 | 70.9091
 | 3.5714 | 18.75 | 7.2727
 | 25 | 31.25 | 21.8182
TSP
ILLE
Others
Total
Yes, full consolidation case-building process
No, maintain separate case-building processes
No opinion
11
28
16
55
xx
Chart: 
 | 45.4545 | 41.3793 | 46.6667 | 43.6364
 | 36.3636 | 31.0345 | 20 | 29.0909
 | 18.1818 | 27.5862 | 33.3333 | 27.2727
TSP
ILLE
Others
Total
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 19 blank responses).
Yes
No
No opinion
11
29
15
55
All TSPs (100%) support the consolidation of the SSWG and RTP case building processes
TSPs are split on whether an annual CTP case re-build is sufficient, with 45% agreeing and 36% disagreeing

## Slide 43: Modeling and case building: Short circuit cases
# of respondents
PUBLIC
Q23: Should ERCOT produce short circuit cases that match the core set of cases listed in Q19? % of respondents
Q22: Should ERCOT consolidate short circuit case building into the steady state case building processes? % of respondents
Chart: 
 | 58.3333 | 46.4286 | 33.3333 | 45.4545
 | 33.3333 | 3.5714 | 20 | 14.5455
 | 8.3333 | 50 | 46.6667 | 40
TSP
ILLE
Others
Total
Yes, full consolidation
No, maintain separate case-building processes
No opinion
12
28
15
55
xx
Chart: 
 | 33.3333 | 35.7143 | 33.3333 | 34.5455
 | 33.3333 | 10.7143 | 6.6667 | 14.5455
 | 33.3333 | 53.5714 | 60 | 50.9091
TSP
ILLE
Others
Total
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 19 blank responses).
Yes
No
No opinion
12
28
15
55
Most TSPs support combining the short circuit and steady state case building processes (58%), but are evenly split on whether short circuit cases should match core steady state cases

## Slide 44: Modeling and case building: Case set
PUBLIC
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 41 blank responses).
Details
Requested addition (number of responses)
  Winter peak case (9)
  Add winter peak case in response to reliability issues caused by Winter Storm Uri (2021) and Elliott (2022)
  No additions (8)
  Reassess case needs during scoping
  Refine or expand no solar case (6)
  Add no solar related to specific hours (e.g., HE7/8, HE20/21), cold-weather no solar, more no solar case coverage across years
  Expand summer peak coverage (3)
  Add Y4 summer peak so that a case is produced every summer peak
  Add fall / off-peak cases (6)
  Include Y5/Y6 fall peak and a Y5 off-peak case tied to long-term maintenance/N-1-1 planning
Q19: If ERCOT produces the following cases, are there additional essential cases that you would need for planning purposes? If so, why?
8 cases: Y2 summer peak; Y2 no solar; Y3 high renewable minimum load; Y3 regular minimum load; Y3 summer peak; Y5 summer peak; Y5 no solar; Y6 summer peak

## Slide 45: Modeling and case building: Case set
Q21: For cases that are not listed [in Q19], do you agree with ERCOT publishing a minimal core set (e.g., cases listed in Q19) plus raw network-data packages (unsolved cases), so entities can self-serve and build additional cases as needed? % of respondents selecting
PUBLIC
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 18 blank responses).
Chart: 
 | 25 | 20.6897 | 26.6667 | 23.2143
 | 50 | 31.0345 | 53.3333 | 41.0714
 | 8.3333 | 20.6897 | 0 | 10.7143
 | 16.6667 | 3.4483 | 6.6667 | 5.3571
 | 3.4483 | 0 | 1.7857
 | 20.6897 | 13.3333 | 17.8571
TSP
3%
3%
ILLE
Others
2%
Total
Strongly agree
Agree
Neutral
Disagree
Strongly disagree
No opinion
12
29
15
56
# of respondents
xx
Q21a: Would you consider this to be a…? % of respondents
Chart: 
 | 41.6667 | 65.2174 | 46.1538 | 54.1667
 | 58.3333 | 34.7826 | 53.8462 | 45.8333
TSP
ILLE
Others
Total
Near-term issue to be resolved imminently
Longer-term issue to be resolved eventually
12
23
13
48
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 26 blank responses).
64% of respondents support (strongly agree or agree) the publishing of raw network case files to allow entities to self-serve and build cases as needed

## Slide 46: Modeling and case building: Large load modeling
PUBLIC
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 27 blank responses).
Q20a: Would you consider this to be a…? % of respondents
Chart: 
 | 66.6667 | 66.6667 | 63.6364 | 65.9574
 | 33.3333 | 33.3333 | 36.3636 | 34.0426
TSP
ILLE
Others
Total
Near-term issue to be resolved imminently
Longer-term issue to be resolved eventually
12
30
16
58
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 16 blank responses).
Q20: Should ERCOT transition to leading large load modeling into the network operations model (similar to GINR process) to ensure consistent applications of assumptions? % of selections
12
24
11
47
# of respondents
xx
Chart: 
 | 16.6667 | 16.6667 | 31.25 | 20.6897
 | 33.3333 | 43.3333 | 37.5 | 39.6552
 | 25 | 10 | 6.25 | 12.069
 | 8.3333 | 0 | 6.25 | 3.4483
 | 16.6667 | 3.3333 | 0 | 5.1724
 | 26.6667 | 18.75 | 18.9655
TSP
3%
0%
ILLE
Others
3%
Total
Strongly agree
Agree
Neutral
Disagree
Strongly disagree
No opinion
Most respondents (61%) support (strongly agree or agree) ERCOT leading the large load modeling into the network operations model

## Slide 47: Inclusion of medium loads
PUBLIC

## Slide 48: Medium loads: Thresholds and boundaries
PUBLIC
Q13A: What should be the minimum threshold for a large load? % of respondents
Q13B: What should be the minimum threshold for a medium load? % of respondents
Chart: 
 | 14.2857 | 7.4074 | 23.5294 | 13.7931
 | 85.7143 | 37.037 | 23.5294 | 44.8276
 | 29.6296 | 29.4118 | 22.4138
 | 25.9259 | 23.5294 | 18.9655
TSP
ILLE
Others
Total
10 MW
25 MW
50 MW
No opinion
14
27
17
58
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 16 blank responses).
Chart: 
 | 53.3333 | 14.8148 | 15.7895 | 24.5902
 | 46.6667 | 40.7407 | 57.8947 | 47.541
 | 25.9259 | 21.0526 | 18.0328
 | 18.5185 | 5.2632 | 9.8361
TSP
ILLE
Others
Total
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 13 blank responses).
50 MW
75 MW
100 MW
No opinion
15
27
19
61
# of respondents
xx
Majority of respondents (73%) support a minimum large load threshold of 50 or 75 MW, and majority (53%) of TSPs want 50 MW Majority of respondents (59%) and 100% of TSPs support a minimum medium-load threshold of 25MW or less

## Slide 49: Medium loads: Inclusion criteria
93%
39%
50%
87%
39%
47%
67%
44%
43%
67%
33%
20%
60%
28%
20%
Q14: To standardize the process in the future, what evidence, disclosures, and/or securities should medium loads provide to TSPs to be eligible for inclusion in CTP? # of selections
XX
% of respondent type selecting
PUBLIC
Chart: 
 | 7 | 7 | 8 | 6 | 5 | 5
 | 15 | 14 | 13 | 6 | 6 | 7
 | 14 | 13 | 10 | 10 | 9 | 8
Energization schedule
Site control evidence
Study fee
Disclosure of substantially similar interconnection requests
Evidence of financial security on a dollar MW basis
Disclosure of backup generating facilities
36
34
31
22
20
20
53%
28%
23%
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 18 blank responses).
Q14a: Would you consider this to be a…? % of respondents
Chart: 
 | 80 | 59.2593 | 42.8571 | 60.7143
 | 20 | 40.7407 | 57.1429 | 39.2857
TSP
ILLE
Others
Total
Near-term issue to be resolved imminently
Longer-term issue to be resolved eventually
15
27
14
56
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 11 blank responses).
TSPs
ILLEs
Others
TSPs strongly support (>87%) medium loads providing energization schedules and site control evidence for inclusion in CTP; 80% of TSPs view this as a near-term issue to be resolved immediately

## Slide 50: Medium loads: Medium load information collection
PUBLIC
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 20 blank responses).
Q15a: Would you consider this to be a…? % of respondents
Chart: 
 | 80 | 62.5 | 40 | 61.1111
 | 20 | 37.5 | 60 | 38.8889
TSP
ILLE
Others
Total
Near-term issue to be resolved imminently
Longer-term issue to be resolved eventually
15
28
17
60
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 14 blank responses).
Chart: 
 | 33.3333 | 42.8571 | 42.8571 | 41.8182
 | 50 | 28.5714 | 23.8095 | 29.0909
 | 16.6667 | 10.7143 | 4.7619 | 7.2727
 | 3.5714 | 19.0476 | 10.9091
 | 14.2857 | 9.5238 | 10.9091
TSP
ILLE
Others
Total
Medium load portal (similar to large load portal)
Included by TSPs during case-building process
Periodic RFIs
Planning model change request
No opinion
Q15: How should information about medium loads be collected? % of selections
15
24
15
54
# of respondents
xx
Slight preference (42%) among all respondents for a medium load portal to collect information on medium loads; 50% of TSPs would prefer to collect during the case-building process

## Slide 51: Future Batch processes and Reliability studies survey results
PUBLIC

## Slide 52: Future Batch processes and Reliability studies: Key takeaways from the survey
Topic
Tier 3 and 4 expansion
Project tiering
Planner-to-planner sessions
Insight
Project alternative testing
Most respondents (61%) support (strongly agree or agree) the introduction of a project alternative testing process within CTP
Most respondents (55%) and TSPs (84%) support the expansion of Tier 3 and Tier 4 to include more in-kind, aging infrastructure and storm-hardening projects
Most respondents (71%) support revisiting project tiering, supporting the inclusion of regional impact in addition to cost as a tiering criterion
TSPs (100%) are fully supportive of establishing planner-to-planner sessions to review preliminary transmission solutions
TSP-ERCOT collaboration model
Most TSPs (58%) would like 60 days to identify preliminary solutions. TSPs also prefer recurring meetings to review solutions (59%)
Future Batch scope
Most survey participants support fewer Batch study years with a faster Batch process (65%)

## Slide 53: Future Batch processes: Planning guide vs scoping document
# of respondents
PUBLIC
Q11: Should study requirements (study years) be prescribed in the Planning Guide, or be provided by ERCOT in the scoping document based on future risks and system attributes at the time of study? % of respondents
Chart: 
 | 40 | 50 | 46.6667 | 46.5517
 | 53.3333 | 32.1429 | 33.3333 | 37.931
 | 6.6667 | 17.8571 | 20 | 15.5172
TSP
ILLE
Others
Total
Prescribed in Planning Guide
Provided in scoping document
No opinion
15
28
15
58
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 16 blank responses).
xx
Slight majority of TSPs (53%) prefer study requirements to be prescribed in scoping documents
Overall, however, more respondents prefer study requirements to be prescribed in the Planning Guide (47%)

## Slide 54: Future Batch processes: Cadence for future Batch studies
# of respondents
PUBLIC
xx
Chart: 
 | 26.6667 | 17.8571 | 14.2857 | 19.2982
 | 66.6667 | 60.7143 | 71.4286 | 64.9123
 | 6.6667 | 21.4286 | 14.2857 | 15.7895
TSP
ILLE
Others
Total
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 14 blank responses).
Y2, Y3, Y4, Y5, and Y6 – more studies, slower batch process
Y2, Y5, Y6 – fewer studies, faster batch process
No opinion
15
29
16
60
Majority of respondents (65%) favor speed: a “fewer studies, faster Batch process” approach
Q12: Which years should ERCOT study (i.e., identify transmission projects) in Batch study? As a point of reference, Batch Zero studies Y2, Y4, and Y6 (three years). End-to-end time to execute the Batch study (and the overall CTP process) will take longer if more years are studied, % of respondents

## Slide 55: Future Batch processes: Interconnection request process exceptions
Q16a: Would you consider this to be a…? % of respondents
Chart: 
 | 75 | 62.5 | 50 | 62
 | 25 | 37.5 | 50 | 38
TSP
ILLE
Others
Total
Near-term issue to be resolved imminently
Longer-term issue to be resolved eventually
12
24
14
50
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 24 blank responses).
Load type
Details
No/minimal transmission impact loads
Co-located w/ generation and no transmission or generation upgrades needed
Critical infrastructure & emergency
Hospitals, water/wastewater treatment, public-good facilities
Industrial/manufacturing projects
Projects with different development profiles compared to computational loads
Small/medium loads below threshold
Small and medium load projects can be handled via DSP or existing FAC-002-4 studies
In-flight legacy loads
Projects that already have study results, executed FEA, regulatory approvals, or under construction.
Policy-driven/state-designated exceptions
Good Cause exceptions for job creation, economic development
Q16: What type of load interconnection requests (if any) merit an exception to be processed outside of the CTP cycle? (free response)
PUBLIC
  Opposition and governance
  Narrow exceptions: Some respondents remarked that exceptions need to be narrow and follow published criteria
  Opposition: A minority of respondents opposed any exceptions, suggesting that all medium and large loads should go through the CTP process

## Slide 56: Reliability studies: Project alternative testing
Q25: Because projects associated with reliability and large loads will be processed through the CTP, ERCOT is considering escalating some projects for project alternative testing and public comment (as RPG does today). This process would run in parallel with CTP. In your view, would this be an acceptable way to test reliability and large load projects? % of respondents
Q26: What projects, other than projects associated with reliability and large loads, should be included in the project alternative testing process described above? (number of responses)
PUBLIC
Chart: 
 | 33.3333 | 11.1111 | 26.6667 | 20.3704
 | 33.3333 | 44.4444 | 40 | 40.7407
 | 16.6667 | 18.5185 | 13.3333 | 16.6667
 | 16.6667 | 7.4074 | 6.6667 | 5.5556
 | 7.4074 | 13.3333 | 3.7037
 | 11.1111 | 12.963
TSP
ILLE
Others
4%
Total
Strongly agree
Agree
Neutral
Disagree
Strongly disagree
No opinion
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 20 blank responses)
# of respondents
xx
12
27
15
54
  Economic / economically-driven transmission projects (9)
  Major ROW acquisition, new high-voltage/voltage-class corridors, or material regional/interregional impact (3)
  Gen-tie lines / GTC exit-plan projects (2)
  No additions - current scope (reliability + large load) is sufficient (2)
  One-off suggestions (11)
61% of respondents support (strongly agree or agree) the introduction of project alternative testing process within CTP

## Slide 57: Reliability studies: Tier 3 and 4 criteria
Q27: Would you agree with expanding tier 3 and 4 criteria to include more in-kind, aging infrastructure, and storm-hardening projects? (e.g., by changing cost thresholds), % of respondents
PUBLIC
Chart: 
 | 66.6667 | 7.1429 | 23.0769 | 24.5283
 | 16.6667 | 42.8571 | 15.3846 | 30.1887
 | 8.3333 | 17.8571 | 23.0769 | 16.9811
 | 8.3333 | 32.1429 | 38.4615 | 0
 | 0
 | 28.3019
TSP
ILLE
Others
Total
Strongly agree
Agree
Neutral
Disagree
Strongly disagree
No opinion
# of respondents
xx
12
28
13
53
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 21 blank responses)
Q27a: Would you consider this to be a…? % of respondents
Chart: 
 | 54.5455 | 28.5714 | 44.4444 | 39.0244
 | 45.4545 | 71.4286 | 55.5556 | 60.9756
TSP
ILLE
Others
Total
Near-term issue to be resolved imminently
Longer-term issue to be resolved eventually
11
21
9
41
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 33 blank responses)
Most respondents (55%) and TSPs (84%) support the expansion of Tier 3 and Tier 4 to include more in-kind, aging infrastructure and storm-hardening projects

## Slide 58: Reliability studies: Legacy RPG and local projects
PUBLIC
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 51 blank responses, 8 non-answers / No opinion).
Q28: What other projects, if any, should be considered through the legacy RPG process?
  Economic-driven projects (6)
Details
Requested addition (number of responses)
  Projects not yet captured by CTP cases, or already materially advanced under the existing process
  Non-large-load / lower-impact / tier-based projects (4)
  Tier 2/3/4 projects, TSP planning-criteria violations, projects that don't materially affect CTP assumptions
  Reliability projects independent of load interconnection (3)
  Aging infrastructure, substation upgrades below the CTP cost threshold, local reliability studies
  Policy/job-creation/public-support driven projects (1)
  Projects driven by public benefit, such as domestic manufacturing and projects reducing foreign import reliance
  None - transition everything to CTP (1)
  Sole dissent from keeping anything in legacy RPG
Q29: Should more local projects (i.e., projects entirely within one TSP’s jurisdiction) be studied as Tier 3 and 4 projects? If so, how would you want to modify the tiering criteria?
  Yes - expand Tier 3/4 to more local projects (8)
Details
Position (number of responses)
  Proposed criteria: voltage level (e.g., 345 kV or below), no new ROW needed, no impact on neighboring systems, revisit cost thresholds for today's equipment/labor costs
  Conditional yes - but gate on impact, not jurisdiction (4)
  Local status alone shouldn't qualify a project. Projects cannot have material impact on adjacent TSP systems or regional reliability
  No - jurisdiction doesn't determine impact (7)
  Projects entirely within one TSP's footprint can still change regional power flows, transfer capability, or ratepayer costs
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 50 blank responses, 5 non-answers / No opinion).

## Slide 59: Reliability studies: Project tiering
PUBLIC
Q30: As part of the introduction of CTP, do you believe that ERCOT should revisit the project tiering framework? % of respondents
Chart: 
 | 80 | 68 | 70 | 71.1111
 | 20 | 32 | 30 | 28.8889
TSP
ILLE
Others
Total
Yes
No
# of respondents
xx
10
25
10
45
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 37 blank responses)
If so, on what basis should project tiers be defined? % of respondents
Q30a: Would you consider this to be a…? % of respondents
Chart: 
 | 66.6667 | 66.6667 | 63.6364 | 65.9574
 | 33.3333 | 33.3333 | 36.3636 | 34.0426
TSP
ILLE
Others
Total
Near-term issue to be resolved imminently
Longer-term issue to be resolved eventually
12
24
11
47
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 29 blank responses)
Chart: 
 | 22.2222 | 30 | 25 | 27.027
 | 44.4444 | 15 | 25 | 24.3243
 | 33.3333 | 5 | 12.5 | 5.4054
 | 15 | 12.5 | 10.8108
 | 35 | 25 | 32.4324
TSP
ILLE
Others
Total
Regional versus interregional system impact
Cost thresholds only and new ROW, as today
No changes
Voltage level
No opinion
9
20
8
37
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 29 blank responses)
Most respondents (71%) support revisiting project tiering, supporting the inclusion of regional impact in addition to cost as a tiering criterion

## Slide 60: Reliability studies: TSP engagement (1/3)
Q31: Would there be value to establishing planner-to-planner (ERCOT and TSP) sessions to review preliminary solutions on an ongoing basis? % of respondents
PUBLIC
Chart: 
 | 100 | 71.4286 | 50 | 72.2222
 | 7.1429 | 21.4286 | 9.2593
 | 21.4286 | 28.5714 | 18.5185
TSP
ILLE
Others
Total
12
28
14
54
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 20 blank responses)
Yes, establish planner-to-planner sessions
No, please explain
No opinion
# of respondents
xx
TSPs (100%) are fully supportive of establishing planner-to-planner sessions to review preliminary transmission solutions

## Slide 61: Reliability studies: TSP engagement (2/3)
XX
# of respondents
PUBLIC
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 14 blank responses).
Q17: How much time should TSPs be given to identify preliminary steady state solutions and complete a feasibility review (excluding cost estimates) for preliminary solutions during the Batch study? % of respondents
Chart: 
 | 14.2857 | 50 | 62.5 | 45
 | 35.7143 | 26.6667 | 6.25 | 23.3333
 | 42.8571 | 10 | 6.25 | 16.6667
 | 7.1429 | 13.3333 | 25 | 15
TSP
ILLE
Others
Total
30 days
45 days
60 days
No opinion
14
30
16
60
79% of TSPs believe they should have >45 days to identify preliminary steady state solutions and complete feasibility reviews; >50% of non-TSP respondents believe TSPs should have 30 days

## Slide 62: Reliability studies: TSP engagement (3/3)
Q32: How much time should TSPs be given to identify preliminary solutions and complete a feasibility review for preliminary solutions during the Reliability study? % of respondents
Q33: How should TSP feedback be structured during the Reliability study to finalize solutions? % of respondents
PUBLIC
Chart: 
 | 16.6667 | 50 | 50 | 42.3077
 | 16.6667 | 28.5714 | 16.6667 | 23.0769
 | 58.3333 | 7.1429 | 8.3333 | 19.2308
 | 8.3333 | 14.2857 | 25 | 15.3846
TSP
ILLE
Others
Total
35 days
45 days
60 days
No opinion
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 22 blank responses)
12
28
12
52
Chart: 
 | 16.6667 | 8 | 21.4286 | 13.7255
 | 41.6667 | 32 | 21.4286 | 31.3725
 | 33.3333 | 8 | 21.4286 | 5.8824
 | 8.3333 | 20 | 7.1429 | 3.9216
 | 32 | 28.5714 | 19.6078
 | 25.4902
TSP
ILLE
Others
4%
Total
Recurring 1wk windows
Recurring 2wk windows
Recurring 4wk windows
Continuous / rolling
Milestone-based
No opinion
Source: CTP TSP survey, fielded 09/15–09/21 (n = 74 respondents; 23 blank responses)
12
25
14
51
# of respondents
xx
Most TSPs (58%) would like 60 days to identify preliminary solutions. TSPs also prefer recurring meetings to review solutions (59%)

## Slide 63
1. Antitrust admonition
2. PUCT Project 58481 update
3. Share update on CTP / Batch 1+
4. Conduct Batch study focus session
5. Discuss Batch reporting/transparency
6. Conduct CTP focus session
  Review CTP survey results
  Discuss ERCOT CTP proposal
  Discuss priorities based on survey results
7. Discuss format and timing options for next meeting
63
On the agenda
PUBLIC

## Slide 64: Recap: As a starting point, ERCOT will integrate Batch process, streamline modeling and planning processes, and define clear governance handoffs
Scope for Comprehensive Transmission Planning Process development
Define the future role of Batch within the annual planning cycle
Determine the technical study required to support Large Load commitment decisions
Design the transition from Batch study outputs to the CTP planning process
Batch-CTP integration
Establish a planning-led source of truth for planning models and assumptions
Develop a standardized planning model framework and taxonomy
Standardize planning cases, assumptions, and study methodology
Clarify ERCOT and TSP responsibilities for case development, model conditioning, and study execution
Modeling and planning
Define the stakeholder engagement and endorsement process for CTP
Clarify ERCOT and TSP roles in project identification and solution development
Establish governance, milestones, and response timelines for transmission plan development
TSP/stakeholder process and governance
Illustrative – for discussion

## Slide 65: Recap: In the last workshop, we discussed the following elements in the end-to-end conceptual flow
TPL and Alternative Project Analytics
Short circuit
Single source of truth
Batch process
Consolidated modeling and reliability study
Streamlined endorsement
Stakeholder engagement and public comment (e.g., via monthly updates, to define stakeholder gates)
RIOO
MOD, TPIT
Base Load Economic Forecast, TSP RFI
Batch model build
Post commitment & CTP Year N Model
Final model snapshot
Gen. data
Topology data
Remaining load data
(medium, economic)
Large load data (from TSPs)
ILLE large load data
Commit-ment window
Actionable Trans. Plan
Endorsed Trans. Plan
Data inputs
Batch study
Modeling
Endorsement
TPL1
Dynamic
Economic
SC2
RPG-like analysis
Reliability study
CTP assessment
Batch study
TSP engagement
Key Design Change:
Post-commitment in Batch Zero proceeds to Batch Refinement Study/RPG
Post commitment in Batch 1+ feeds into full Planning Studies
Illustrative – for discussion

## Slide 66: Previously shared conceptual flow may result in a longer (>18-month) end-to-end process due to:
Repeated study of similar cases in Batch and Reliability study
Studies are effectively conducted twice if most Batch loads commit
Separate study of large loads and base load growth
We are exploring alternative approaches that avoid these inefficiencies and deliver a faster end-to-end process
Illustrative – for discussion

## Slide 67: Today, we want to discuss modified proposals on sequencing, scope, analysis parallelization, and RPG evolution
Sequencing: Consolidated Batch/Reliability study
Scope: Years and cases studied
ERCOT is considering studying all load requests and reliability needs in a combined study to consolidate planning activities
ERCOT currently studies 15 Batch cases and ~7 reliability cases. ERCOT is considering a combined 15-17 planning cases for a combined study to meet all requirements on an accelerated timeframe
1
2
Parallel processing: Analyses and handoffs
RPG evolution: Project transparency and alternative evaluation
ERCOT is parallelizing analyses and coordinating handoffs within the end-to-end process flow to shorten the planning timeline
RTP and RPG are potentially redundant. ERCOT is proposing a project transparency & alternative evaluation pathway within CTP to limit restudy
3
4
Illustrative – for discussion

## Slide 68
Sequencing: We are considering combining Batch & Reliability studies
1
RIOO
MOD, TPIT
Base Load Economic Forecast, TSP RFI
Batch model build
Post commitment & CTP Year N Model
Final model snapshot
Gen. data
Topology data
Remaining load data
(medium, economic)
Large load data (from TSPs)
ILLE large load data
Commit-ment window
Actionable Trans. Plan
Endorsed Trans. Plan
Data inputs
Batch study
Modeling
Endorsement
TPL1
Dynamic
Economic
SC2
RPG-like analysis
Reliability study
CTP assessment
Batch study
Combined Batch and Reliability study that:
  Allocates MW by year to each interconnecting load
  Meets NERC TPL requirements
  to accelerate and streamline the study process
Single modeling process that occurs at the beginning
Illustrative – for discussion
PUBLIC

## Slide 69
Sequencing: This allows acceleration of the process, especially if commitment window project drop-off is small
1
RIOO
MOD, TPIT
Base Load Economic Forecast, TSP RFI
Steady state analysis
CTP Year N Model
Final model snapshot
Gen. data
Topology data
Remaining load data
(medium, economic)
Large load data (from TSPs)
ILLE large load data
Data inputs
Combined batch & reliability study
Modeling
Illustrative – for discussion
Dynamic analysis
Short circuit analysis
Project transparency & alternative analysis
Refinement study
Endorsement TBD
PUBLIC
Commitment window
Combined Batch and Reliability study that:
  Allocates MW by year to each interconnecting load
  Meets NERC TPL requirements
  to accelerate and streamline the study process
Refinement study to produce actionable transmission plan – would be brief if the commitment window project drop-off is small

## Slide 70
Scope: For this new process, we want to analyze a streamlined set of cases that meet allocation and TPL requirements
2
RIOO
MOD, TPIT
Base Load Economic Forecast, TSP RFI
Steady state analysis
CTP Year N Model
Gen. data
Topology data
Remaining load data
(medium, economic)
Large load data (from TSPs)
ILLE large load data
Data inputs
Combined Batch & Reliability study
Modeling
Illustrative – for discussion
Dynamic analysis
Short circuit analysis
Project transparency & alternative analysis
PUBLIC
All years studied
15-17 cases created for combined Batch & Reliability study
Final model snapshot
Refinement study
Endorsement TBD
Commitment window

## Slide 71: Scope: ERCOT is considering studying all five years, with 17 cases to fulfill both capacity allocation and NERC TPL requirements
2
Process step
Combined Batch + Reliability
1
Item
Scope
Cost allocation
Y6
Cases
17 cases: Summer peak, summer peak - no solar, and fall peak for all five years
Y3 HRML and Y3 min load
MW allocation
All five years (Y2, Y3, Y4, Y5, Y6)
Transmission plan
Y2, Y5, Y6
Refinement
2
Transmission project updates
Update transmission projects to match committed load needs, utilizing projects identified in the Combined Batch and Reliability study as a project library
Deep dive follows
Illustrative – for discussion

## Slide 72: Scope – deep dive: 17 cases for Batch and Reliability requirements
Batch
TPL
Y3
Y4
Y5
Y6
Y2
2
Fall peak
Summer peak
No solar
Min load
HRML
Illustrative – for discussion

## Slide 73
Source: ERCOT Extended Work Sessions for Comprehensive Transmission Planning
Deep dive follows
Batch process
Modeling
Reliability study
Beginning of next Batch + CTP cycle
Model prep
Core model build
Stability model build
Commit. window (60 days)
Steady state analysis
Short circuit analysis
Stability (dynamic) study
Refinement steady state analysis
Project transparency & alternative analysis
Secured cases
Solved cases
Proposed projects
Actionable transmission plan
Combined Batch and Reliability study
Refinement study
Duration varies by # projects and commitment window drop-off
Remaining model builds
Parallel processing: Steady state, dynamic, and short circuit studies are conducted at the same time
3
Illustrative – for discussion

## Slide 74
Full transmission plan
Full study allocation
Create 15 cases
1
1
  Create 15 PowerWorld cases for summer peak, summer no solar, and fall peak
2
  Resolve N-1, GX, Set 2, and N-1-1 violations by introducing new transmission projects. Determine ISDs based on need year analysis for Y4/Y2 and projected project build time. Additional local projects may be identified based on near-term need
3
  Determine available transmission projects using in-service dates for transmission projects. Allocate capacity for the year by studying all contingencies. Y6 allocation will only be done when a transmission solution is not feasible
4
  Determine available transmission projects using in-service dates for transmission projects. Allocate capacity for the year by studying subset of problematic contingencies identified in previous years
5
  Adjust capacity allocations to ensure that capacity allocations are increasing over time, and that minimum allocations are fulfilled per PGRR 145
Y6 summer peak
2
Preliminary capacity allocation
Transmission plan with in-service dates
5
Partial study allocation
For projects identified in Y6, Y4 study (in collaboration with TSPs) determines need year
For projects identified in Y6, Y2 study (in collaboration with TSPs) determines need year
N-1-1
Y6 fall
N-1, GX, Set 2, and N-1-1 Y6 study
Transmission plan creation
Y6 pk
Y6 fall
Y6 NS
Illustrative – preliminary based on Batch Zero
Case
Analysis
Capacity allocation adjustments
N-1, GX, Set 2, and N-1-1 Y4 study
Y4 pk
Y4 fall
Y4 NS
N-1, GX, Set 2, and N-1-1 Y2 study
Y2 pk
Y2 fall
Y2 NS
3
N-1, GX, Set 2, and N-1-1 Y5 study
Y5 pk
Y5 fall
Y5 NS
N-1, GX, Set 2, and N-1-1 Y3 study
Y3 pk
Y3 fall
Y3 NS
Final capacity allocation
3
3
4
4
5
Note: pk = summer peak, NS = no-solar, fall = fall peak
N-1
GX
Set 2
Y6 no solar
N-1
GX
Set 2
Parallel processing: Within each study, complex set of cases and analyses are sequenced
3
Ongoing TSP engagement to develop potential solutions
Additional study and sensitivities required for cost allocation
Additional sensitivities may be required to accommodate BYOG and WLPUN proposals

## Slide 75
Source: ERCOT Extended Work Sessions for Comprehensive Transmission Planning
Deep dive follows
Batch process
Modeling
Reliability study
Beginning of next Batch + CTP cycle
Model prep
Core model build
Stability model build
Commit. window (60 days)
Steady state analysis
Short circuit analysis
Stability (dynamic) study
Refinement steady state analysis
Project transparency & alternative analysis
Secured cases
Solved cases
Proposed projects
Actionable transmission plan
Combined Batch and Reliability study
Refinement study
Duration varies by # projects and commitment window drop-off
Remaining model builds
RPG evolution: Because load and reliability projects go through CTP, considering project transparency & alternative analysis
4
Illustrative – for discussion

## Slide 76: RPG evolution: Considering many projects go through CTP, ERCOT proposes pathways to balance project transparency & alternative analysis
Batch process
Modeling
Reliability study
Model prep
Model build
Commit window
Refinement study
Combined Batch + Reliability study
Qualified load and reliability projects
A
Within CTP
Feedback into topology
RPG-eligible projects (storm-hardening, economic, TSP criteria, in-kind, aging infrastructure, and resiliency projects)
CTP - Project Transparency and Alternatives (PTA) Provides transparency and potentially evaluates project alternatives
RPG projects injected into CTP
B
RPG 2.0 pathway
RPG 2.0 Provides transparency and potentially evaluates project alternatives
RPG 2.0 Provides transparency and potentially evaluates project alternatives
Unresolved PTA projects can progress into RPG 2.0 process
PUBLIC
RPG 2.0 Provides transparency and potentially evaluates project alternatives
4
Illustrative – for discussion

## Slide 77: RPG evolution: Pathway for a given project is determined based on project type
Current pathway
RPG
Project type
Economic
  In-kind
TSP criteria
Resiliency
Load growth
  Reliability
Proposed pathway
RPG 2.0
CTP Project Transparency and Alternatives (can continue processing in RPG 2.0 if not complete by the end of CTP)
Project identified in CTP?
PUBLIC
4
  Storm-hardening
  Aging infrastructure
Illustrative – for discussion
Notes: RPG – there are two pathways All load

## Slide 78: RPG evolution: Each pathway will create stakeholder transparency, in addition to potentially evaluating project alternatives
RPG charter text
Applicability
  The RPG is the primary mechanism through which stakeholder communication related to planning activities in the ERCOT Region is accomplished
  [Goal is] allowing an opportunity for Market Participants, consumers, and other stakeholders to review significant proposed transmission project additions
  All projects across both pathways are subject to stakeholder transparency
Objective
Collect stakeholder feedback from all stakeholders
Evaluate project alternatives
ERCOT evaluates project alternatives based on cost-effectiveness, long-term system needs, and other factors
[Goal is] preventing inefficient solutions to regional problems through a coordinated effort and resolving the needs of the interconnected transmission systems while ensuring a reliable and adequate network
  A subset of projects across both pathways are subject to a project alternative analysis
PUBLIC
4
Illustrative – for discussion

## Slide 79: RPG evolution: Project eligibility mapping for PTA and RPG 2.0 projects
Alternative testing
Stakeholder transparency
RPG review and comments
RPG with ERCOT Independent Review
Does project meet materiality threshold?
Project type
RPG 2.0
Storm-hardening
Aging infrastructure
In-kind
Economic
Resiliency
CTP Project Transparency only
CTP Project Transparency and Alternatives
Yes
No
Is a full project alternative analysis needed?
PTA
Load growth project identified through CTP
Reliability project identified through CTP
PUBLIC
4
Yes
No
Illustrative – for discussion

## Slide 80
1. Antitrust admonition
2. PUCT Project 58481 update
3. Share update on CTP / Batch 1+
4. Conduct Batch study focus session
5. Discuss Batch reporting/transparency
6. Conduct CTP focus session
  Review CTP survey results
  Discuss ERCOT CTP proposal
  Discuss priorities based on survey results
7. Discuss format and timing options for next meeting
80
On the agenda
PUBLIC

## Slide 81: CTP survey results are informing future process design
Dimension
What we heard from you
Topic
Batch process
Modeling and case building
Reliability study
Most survey participants support fewer Batch study years with a faster Batch process (65%)
Batch scope
Most survey participants support ERCOT's proposals for ILLEs with unfulfilled ramps (76%), uncommitted large loads (73%), and large loads excluded from Batch Zero (76%)
Batch re-study proposals
Majority of TSPs (62%) believe TSPs should select a load’s POI; ILLEs are more evenly split between TSPs and ILLEs as the selector
POI determination
Most survey respondents (71%) and all TSPs (100%) support the consolidation of the SSWG and RTP case building processes
Case building consolidation
45% of TSPs agree an annual CTP case re-build is sufficient, while 36% disagree
Case building frequency
Respondents have suggested expanding the core case set to include winter peak cases (9 respondents), as well as no-solar cases (6 respondents)
Case set
Most respondents (61%) support (strongly agree or agree) the introduction of a project alternative testing process within CTP
Project alternative testing
Most respondents (55%) and TSPs (84%) support the expansion of Tier 3 and Tier 4 to include more in-kind, aging infrastructure and storm-hardening projects
Tier 3 and 4 expansion
TSPs (100%) are fully supportive of establishing planner-to-planner sessions to review preliminary transmission solutions
Planner-to-planner sessions
PUBLIC
Preliminary

## Slide 82
1. Antitrust admonition
2. PUCT Project 58481 update
3. Share update on CTP / Batch 1+
4. Conduct Batch study focus session
5. Discuss Batch reporting/transparency
6. Conduct CTP focus session
7. Discuss format and timing options for next meeting
82
On the agenda
PUBLIC

## Slide 83: Two models for next meeting (and future meetings)
  Single combined meeting: Morning Batch session with afternoon Planning session
  Separate meetings: Dedicated Batch/BYOG/PCLR deep dive & Dedicated TSP planning deep dive
Discussion

## Slide 84: Thank you