## Slide 1: September PLWG Update
Mina Turner, Chair
Kiran Kota, Vice-Chair
Evan Neel, Vice-Chair
October 1st , 2026

## Slide 2
Scheduling an In-Person GETs Workshop (PGRR128)
  GETS workshop is scheduled to be on October 19th and will be in-person and Webex at the ERCOT MET center.
  TEBA has organized the agenda for the GETS workshop and agenda has been published online.
  Invitations have been sent out, but speaker confirmations are pending.
  Interested parties for speaking or topic additions should contact Eric Goff or the Callie Boggs.

## Slide 3
PGRR 122 – Reliability Performance Criteria for Loss of Load
  ERCOT submitted comments and language revisions based on stakeholder feedback at DWG and PLWG.
  Based on Oncor and other TSP feedback, transmission facility improvements and $200 million capital cost limitation was removed. Transmission improvements will be addressed through existing planning process.
  Concern from stakeholders that the operational limit of 85 % of 3200 MW (2720 MW) and whether there would be a conflict between operational limit and planning criteria. ERCOT will bring further information regarding operational limit.
  Consensus at PLWG that the PGRR can be moved to ROS for a vote.
  PGRR is being sent to ROS for a vote.

## Slide 4
PGRR 147 - Allowable Non-Consequential Load Loss Alignment -Rayburn County Electric Cooperative – continued
  Rayburn had a meeting with LCRA and Oncor, and they plan to review and possibly revise the PGRR. They aim to submit comments before the next meeting.
  PGRR tabled for further language proposals.
Tabled Items
PGRR 124 - ESR Maintenance Exception to Modifications- Sponsor is having internal discussions and would like to continue to table the PGRR at PLWG.

## Slide 5: Questions ?