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[bookmark: _Toc241049164]Report Highlights 
The unofficial ERCOT peak load for August 2026 was 90,817 MW and occurred on 08/24/2026 during hour ending 18:00, this is 7,110 MW higher than the August 2025 peak demand of 83,707 MW on 08/18/2025.
On 15-minute settlement interval basis, maximum demand of 91,055 MW occurred on 8/24/2026 during interval ending 17:00 and minimum demand of 53,602 MW occurred on 8/02/2026 during interval ending 07:15. 
There were 2 frequency events.
There were no events which required automatic/manual deployment of Load Resources that were controlled by an Under-Frequency Relays.
There were 2 DC Tie Curtailment Notices for the DC_R due to transmission congestion and faulty equipment.
There was 1 DC Tie Curtailment Notice for the DC_E due to transmission congestion.
There was 1 OCN issued for an extreme hot weather event due to predicted high temperatures in the ERCOT North Central and South Central regions.
There were 0 Advisories.
There were 0 Watches.
There were 0 Emergency Notices.
There were 119 RUC commitments.
A Renewable Generation Record of 53,029 MW was set on 08/13/2026 at 10:25.
The following GTCs saw congestion in August: 
	GTC
	Days Congestion

	South Texas Export Pawnee - Spruce
	30

	Nelson Sharpe - Rio Hondo
	29

	East Texas
	28

	South Texas Export Pawnee - Tango
	28

	North Edinburg - Lobo
	24

	North - Houston
	15

	Panhandle
	14

	West Texas
	11

	McCamey
	7

	Kinney
	1

	North – Far West
	1



[bookmark: _Toc241049165]Frequency Control
[bookmark: _Toc241049166]Frequency Events
The ERCOT Interconnection experienced 2 frequency events.
A summary of the frequency events is provided below. The reported frequency events meet one of the following criteria: Delta Frequency is 60 mHz or greater; the MW loss is 350 MW or greater; resource trip event triggered ECRS deployment. Frequency events that have been identified as Frequency Measurable Events (FME) for purposes of BAL-001-TRE-2 analysis are highlighted in blue. When analyzing frequency events, ERCOT evaluates PMU data according to industry standards. Events with an oscillating frequency of less than 1 Hz are inter-area, while higher frequencies indicate local events. Industry standards specify that damping ratio for inter-area oscillations should be 3.0% or greater. For the frequency event listed below, the ERCOT system met these standards and transitioned well after the disturbance. In the case of negative delta frequency, the MW Loss column could refer to load loss.

	Date and Time
	Delta Frequency
	Max/
Min Frequency
	[bookmark: RANGE!D1]Duration of Event
	[bookmark: RANGE!E1]PMU Data 
	MW Loss
	Load
	IRR
	Inertia

	
	[bookmark: RANGE!B2](Hz)
	(Hz)
	
	Oscillation Mode (Hz)
	Damping Ratio
	
	(MW)
	% 
	[bookmark: RANGE!J2](MW-s)

	8/7/2026 13:16:28
	0.056
	59.961
	00:06:59
	0.64
	14%
	757
	    83,512 
	47%
	  312,477 

	8/18/2026 5:57:15
	0.049
	59.961
	00:04:43
	0.71
	5%
	626
	    60,415 
	26%
	  327,739 
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[bookmark: _Toc90113254][bookmark: _Toc90367425](Note: All data on this graph encompasses frequency event analysis based on BAL-001-TRE-2.)

[bookmark: _Toc241049167]Automatic/Manual Load Resource Deployments
There were no events which required automatic/manual deployment of Load Resources that were controlled by an Under-Frequency Relays.

[bookmark: _Toc241049168]Reliability Unit Commitment
ERCOT reports on Reliability Unit Commitments (RUC) monthly. Commitments are reported grouped by operating day and weather zone. The total number of hours committed is the sum of the hours for all the units in the specified region. Additional information on RUC commitments can be found on the MIS secure site at Grid  Generation  Reliability Unit Commitment.
There were 119 RUC commitments.
	Resource Location
	# of Resources
	Operating Day
	Total # of Hours Committed
	 Total MWhs 
	Reason for Commitment

	 NORTH_CENTRAL, SOUTH_CENTRAL 
	7
	August 1, 2026
	49
	 6,188.0 
	 Capacity AS, E_PASP 

	 NORTH_CENTRAL 
	6
	August 2, 2026
	68
	 6,130.0 
	 Capacity AS 

	 NORTH_CENTRAL 
	7
	August 4, 2026
	47
	 8,448.0 
	 Capacity AS 

	 NORTH_CENTRAL 
	7
	August 5, 2026
	52
	 15,316.0 
	 Capacity AS 

	 COAST, EAST, NORTH, NORTH_CENTRAL 
	9
	August 6, 2026
	59
	 16,678.0 
	 Capacity AS, DCDHTVW5, Min Run Time 

	 COAST, EAST, NORTH_CENTRAL 
	11
	August 7, 2026
	65
	 10,066.0 
	 Capacity AS 

	 EAST, NORTH_CENTRAL 
	10
	August 8, 2026
	104
	 24,654.0 
	 Capacity AS 

	 EAST, NORTH_CENTRAL 
	4
	August 9, 2026
	13
	 4,927.0 
	 Capacity AS 

	 EAST 
	1
	August 10, 2026
	4
	 2,008.0 
	 DCDHTVW5 

	 EAST, NORTH_CENTRAL 
	2
	August 12, 2026
	8
	 3,656.0 
	 DCDHTVW5 

	 NORTH_CENTRAL 
	7
	August 16, 2026
	48
	 3,896.0 
	 Capacity AS 

	 NORTH_CENTRAL 
	1
	August 17, 2026
	4
	 48.0 
	 Capacity AS 

	 NORTH_CENTRAL 
	6
	August 18, 2026
	31
	 2,197.0 
	 Capacity AS 

	 COAST, NORTH_CENTRAL 
	5
	August 19, 2026
	35
	 2,126.0 
	 Capacity AS, Min Run Time 

	 NORTH_CENTRAL 
	1
	August 20, 2026
	3
	 321.0 
	 Min Run Time 

	 NORTH_CENTRAL 
	2
	August 22, 2026
	12
	 408.0 
	 Capacity AS 

	 COAST, NORTH_CENTRAL, SOUTHERN 
	7
	August 23, 2026
	42
	 4,122.0 
	 Capacity AS 

	 NORTH_CENTRAL 
	4
	August 24, 2026
	28
	 1,824.0 
	 Capacity AS 

	 NORTH_CENTRAL 
	3
	August 25, 2026
	20
	 864.0 
	 Capacity AS 

	 NORTH_CENTRAL 
	4
	August 27, 2026
	31
	 1,244.0 
	 Capacity, Capacity AS 

	 NORTH_CENTRAL 
	2
	August 28, 2026
	8
	 192.0 
	 Capacity AS 

	 EAST, NORTH_CENTRAL 
	4
	August 30, 2026
	16
	 2,876.0 
	 Capacity AS 

	 EAST, NORTH_CENTRAL 
	9
	August 31, 2026
	74
	 17,859.0 
	 Capacity AS 





[bookmark: _Toc241049169]IRR, Wind, and Solar Generation as a Percent of Load
[bookmark: _Hlk83634375]The graph below shows the maximum, minimum and average aggregate solar, wind and IRR output as a percentage of total ERCOT load when evaluated as 10-minute averaged intervals, over the past 13 months. Current wind and solar generation and penetration records are listed in the footnote below[footnoteRef:2]. Maximum IRR penetration for August 2026 was 73.62% on 8/13/2026 interval ending 10:00 and minimum IRR penetration for August 2026 was 3.57% on 8/28/2026 interval ending 07:00. [2:  Current Wind Generation Record: 29,031 MW on 06/29/2026 at 02:00 | Current Wind Penetration Record: 69.15% on 04/10/2022 at 01:43
  Current Solar Generation Record: 35,427 MW on 07/30/2026 at 13:33 | Current Solar Penetration Record: 72.74% on 05/02/2026 at 11:28] 

[image: ]
During the hour of peak load for the month, hourly integrated wind generation was 7,405 MW and solar generation was 29,705 MW. The graph below shows the wind and solar penetration percentage during the hour of the peak load in the last 13 months.
[image: ]

Lastly, the graph below shows the minimum wind, solar, and IRR output during the peak load hour as a percentage of the daily peak load for every day in the month.
[image: ]

[bookmark: _Toc241049170]Energy Storage Resource (ESR) Output and State of Charge (SOC) Profile
The graph below shows how ESR SOC varies by Hour Ending (HE). The SOC is generally higher during the day and lower during night. During the month of August 2026, ESRs operated below 20% SOC for 26.49% of the time and below 10% SOC for 2.30% of the time. The minimum observed SOC was 6.96% on 8/26/2026 at interval ending 22:51, while the maximum was 94.63% on 8/28/2026 at interval ending 18:16.
[image: ]
The chart below shows the maximum ESR output as a percentage of the total ERCOT Net Load. ESR penetration reached a maximum of 18.85% on 8/13/2026 at interval ending 20:10. The net load reached a peak of about 75702 MW on 8/26/2026 at interval ending 20:06.
[image: ]


[bookmark: _Toc241049171][bookmark: _Hlk80277108][bookmark: _Hlk130892461]Largest Net-Load Ramps
The net-load ramp is defined as the change in net-load (load minus wind and PVGR generation) during the defined time horizon. Such a variation in net-load needs to be accommodated in grid operations to ensure that the reliability of the grid is satisfactorily maintained. The largest net-load ramps over 5-minute, 10-minute, 15-minute, 30-minute, and 60-minute intervals in August 2026 were 1,777 MW, 3,348 MW, 4,671 MW, 8,447 MW, and 15,338 MW respectively. A comparison with historical values is provided in the table below.
	Month and Year
	5 min
	10 min
	15 min
	30 min
	60 min

	14-Aug
	674 MW
	1,169 MW
	1,589 MW
	2,854 MW
	5,201 MW

	15-Aug
	776 MW
	1,231 MW
	1,754 MW
	3,303 MW
	6,260 MW

	16-Aug
	834 MW
	1,350 MW
	1,881 MW
	3,230 MW
	6,319 MW

	17-Aug
	797 MW
	1,421 MW
	1,953 MW
	3,167 MW
	5,798 MW

	18-Aug
	1,333 MW
	1,854 MW
	2,780 MW
	3,205 MW
	6,604 MW

	19-Aug
	830 MW
	1,460 MW
	2,084 MW
	3,795 MW
	7,375 MW

	20-Aug
	954 MW
	1,536 MW
	2,221 MW
	4,101 MW
	7,690 MW

	21-Aug
	1,323 MW
	1,596 MW
	2,081 MW
	3,614 MW
	6,761 MW

	22-Aug
	977 MW
	1,837 MW
	2,664 MW
	4,529 MW
	7,716 MW

	23-Aug
	1,230 MW 
	1,793 MW 
	2,519 MW 
	4,733 MW 
	8,650 MW 

	24-Aug
	1,128 MW
	2,011 MW
	2,837 MW
	4,671 MW
	7,772 MW

	25-Aug
	1,540 MW
	2,799 MW
	4,108 MW
	6,875 MW
	11,090 MW

	 
	1,777 MW
	3,348 MW
	4,671 MW
	8,447 MW
	15,338 MW

	26-Aug
	8/16/2026
	8/27/2026
	8/27/2026
	8/20/2026
	8/16/2026

	 
	(IE 19:07)
	(IE 18:51)
	(IE 18:56)
	(IE 19:09)
	(IE 19:34)

	All Months in 2014-2026
	3,797 MW
	3,562 MW
	4,671 MW
	8,901 MW
	16,522 MW

	
	5/28/2025
	5/28/2025
	8/27/2026
	1/29/2024
	1/29/2024

	
	(IE 10:27)
	(IE 10:27)
	(IE 18:56)
	(IE 17:11)
	(IE 17:17)



[bookmark: _Toc241049172]Congestion Analysis
[bookmark: _Toc241049173]Notable Constraints
[bookmark: _Hlk92804220]Nodal protocol section 3.20 specifies that ERCOT shall identify transmission constraints that are binding in Real-Time three or more Operating Days within a calendar month. As part of this process, ERCOT reports congestion that meets this criterion to ROS. In addition, ERCOT also highlights notable constraints that have an estimated congestion rent exceeding $1,000,000 for a calendar month. These constraints are detailed in the table below, including approved transmission upgrades from TPIT that may provide some congestion relief based on ERCOT’s engineering judgement. Rows highlighted in blue indicate the congestion was affected by one or more outages. For a list of all constraints activated in SCED, please see Appendix A at the end of this report.

	Element Key
	Contingency Name
	Overloaded Element
	Contingency Desc
	Overloaded Element Desc
	# of Days Constraint Binding
	Congestion Rent
	Transmission Project

	STP_WAP_STPWAP39_1
	DWPWFWP5
	STPWAP39_1
	TWR(345) WAP-WLF64 & WAP-WLY72
	South Texas Project - Wa Parish 345kV
	29
	$23,951,154.74
	 

	HWRDTP_WELLBR_378T387_1
	DHUTGEA8
	378T387_1
	HUTTO TO RNDRK 138 AND HUTTO TO GEORSO 138 DBLCKT
	Wells Branch - Howard Lane 138kV
	8
	$16,829,440.01
	 

	SAMSW_VENSW_35055__A
	SVENFTS5
	35055__A
	FORT SMITH SWITCH to FORT SMITH SWITCH LIN _B
	Sam Switch - Venus Switch 345kV
	22
	$12,777,641.88
	Venus Switch to Sam Switch 345-kV Line Project (24RPG017)

	TMPSW_FRYSW_1715__B
	DSALHUT5
	1715__B
	SALSW - HUTTO 345KV
	Temple Switch - Fryers Creek 138kV
	22
	$11,970,869.48
	Temple Area Project (24RPG001). Note that Fryers Creek is named Boggy Creek in planning cases.

	MGSES_CATSW_6945__A
	SRGRMGS5
	6945__A
	MORGAN CREEK SES to RANGER CAMP SWITCH LIN _A
	Morgan Creek Ses - Cattleman Switch 345kV
	16
	$8,634,183.25
	West Texas 345-kV Infrastructure Rebuild Project (23RPG034)

	PGTP1_PDSES_3610__G
	DWTRWLV5
	3610__G
	WTRML TO WLVEE and TO SARRD 345KV
	Parkdale Switch - Pleasant Grove Tap 1 138kV
	5
	$5,397,693.91
	 

	MARSW_DEVIT_6293__C
	DEVRHLS8
	6293__C
	EVRSW TO HLSES 138 DBLCKT
	Marrs Switch - Devitt Sub 138kV
	6
	$5,208,416.77
	 

	PAWNEE_CALAVERS_PAWNEE_SPRUCE_1
	DELMSAN5
	PAWNEE_SPRUCE_1
	Elmcreek-Sanmigl 345kV
	Pawnee Switching Station - Calaveras 345kV
	24
	$4,938,475.58
	San Antonio South Reliability II Project (23RPG032) : Project rebuilds the existing Pawnee to Spruce 345-kV line with normal and emergency rating of 1746MVA

	SEA_SEA_SEA_AAT1
	DFRYTM58
	SEA_AAT1
	DOUBLE FRYSW-TMPSW 138 & KNBSW-SALSW 345
	Seaton 138kV
	17
	$4,854,982.78
	 

	TMPSW_TMPSE_610__B
	DPPRTEC8
	610__B
	PEPPER CREEK SW TO TEMPLE ELM CREEK 138 KV DOUBLE
	Temple Switch - Temple Southeast 138kV
	3
	$4,234,655.23
	Temple Area Project (24RPG001). 

	HKBRY_VLYRN_1160__A
	MCYPHKB8
	1160__A
	MANUAL CYPSW-HKBRY 138 LINE 747
	Hackberry - Valley Ranch 138kV
	4
	$3,806,611.27
	 

	VICTORIA_MAGRUDER_MAGRUD_VICTOR2_1
	XVIC89
	MAGRUD_VICTOR2_1
	VICTORIA TRX 69A2 138/69
	Magruder - Victoria 138kV
	9
	$3,188,594.88
	 

	TYPRK_PLYAM_6200__F
	DCDHTVW5
	6200__F
	TVWSW TO CDHSW 345 AND CDHSW TO VENSW 345 DBLCKT
	Poly-America - Tyre Park Sub 138kV
	13
	$3,112,691.57
	 

	MV_HBRG4_MV_WESL4_WESLCO_HIDLBRG_1
	MHARNED5
	WESLCO_HIDLBRG_1
	Manual dbl ckt for NEDIN-BONILLA 345kV & RIOH-PRIM138kV
	Heidelburg Sub - Weslaco Sub 138kV
	26
	$3,063,738.29
	STEC_71928_Heidelberg_AEPWeslaco_Upgrade (MOD 71928)

	JN_BI_BI_JN_64_A
	DWAP_BI5
	BI_JN_64_A
	TWR (345) WAP-BI50 & SMITHERS-BI98
	Bellaire - Jeanetta 345kV
	17
	$3,026,966.72
	TPIT#87479 upgrades this line Normal and emergency ratings of 1614 MVA and 1792 MVA

	SEA_SEA_SEA_AAT1
	DFRYBC58
	SEA_AAT1
	DOUBLE KNBSW-SALSW 345 & FRYSW-BELCNTY 138
	Seaton 138kV
	5
	$2,866,245.23
	 

	HKBRY_VLYRN_1160__A
	SCYPHKB8
	1160__A
	CYPRESS WATERS SWITCH to HACKBERRY LIN _A
	Hackberry - Valley Ranch 138kV
	3
	$2,831,527.73
	 

	SMPST_BNTDR_3170__B
	DWTRWLV5
	3170__B
	WTRML TO WLVEE and TO SARRD 345KV
	Buntin Drive - Simpson Stuart 138kV
	1
	$2,829,780.30
	 

	n/a_n/a_EASTEX
	BASE CASE
	EASTEX
	Basecase
	EASTEX GTC
	22
	$2,790,831.63
	 

	BLTON_BLTSW_630__A
	DSALKLN5
	630__A
	SALSW TO KLNSW 345 DBLCKT
	Belton - Belton Southwest 138kV
	2
	$2,779,981.03
	Oncor Temple Area Project (24RPG001)

	VICTORIA_MAGRUDER_MAGRUD_VICTOR2_1
	DELMSAN5
	MAGRUD_VICTOR2_1
	Elmcreek-Sanmigl 345kV
	Magruder - Victoria 138kV
	14
	$2,710,169.13
	 

	BRUNI_BRUNI_BRUNI_69_1
	DFOAVLO5
	BRUNI_69_1
	FOWLERTON to LOBO & AVANZADA
	Bruni Sub 138kV
	25
	$2,558,675.95
	 

	SALDS_SONTERRA_1710__A
	DSALHUT5
	1710__A
	SALSW - HUTTO 345KV
	Salado South - Sonterra 138kV
	10
	$2,555,489.45
	Oncor & LCRA TSC Resubmission for Salado Switch to Hutto Switch 138-kV Line Project (25RPG006, TPIT #80546D)

	BALLINGE_BALLINGE_BALLINGE_FMRL
	SCOLBAL8
	BALLINGE_FMRL
	BALLINGER to COLEMAN LAKE IVIE TAP LIN 1
	Ballinger 69kV
	14
	$2,365,857.96
	 

	WAP_OB_OB_WAP98_A
	SOBWAP5
	OB_WAP98_A
	WA PARISH to OBRIEN LIN A
	Wa Parish - Obrien 345kV
	13
	$2,332,284.48
	 

	CHIEBR_GEORGE_221T355_1
	SGEOHU48
	221T355_1
	ROUND ROCK to GEORGETOWN SOUTH LIN _B
	Chief Brady - Georgetown 138kV
	5
	$2,309,723.77
	 

	LPLMK_LPLNE_LPLMK_LPLNE_1
	SBWDDBM5
	LPLMK_LPLNE_1
	BLACKWATER DRAW SWITCH to DOUBLE MOUNTAIN SWITCH LIN 1
	Mackenzie Substation - Northeast Substation 115kV
	16
	$2,263,561.78
	 

	SCRCV_KNAPP_6437__F
	DMTSCOS5
	6437__F
	DMTSW TO SCOSW 345 DBLCKT
	Knapp - Scurry Chevron 138kV
	17
	$2,263,171.06
	Dermott Area 138 kV Like Upgrades (26RPG014)

	n/a_n/a_NELRIO
	BASE CASE
	NELRIO
	Basecase
	NELRIO GTC
	27
	$2,224,779.04
	The Lower Rio Grande Valley (LRGV) System Enhancement Project (21RPG017) 

	MEXTP_ITALY_2270__B
	SBLURDH8
	2270__B
	BLUM to RED HILL SWITCH LIN _G
	Milford Exxon Tap - Italy 69kV
	28
	$2,206,061.74
	 

	n/a_n/a_WESTEX
	BASE CASE
	WESTEX
	Basecase
	WESTEX GTC
	6
	$2,031,818.36
	Permian Basin Relibility Plan (765-kV import paths) (The PUCT approved ,helps improve, but not fully exit, the GTC yet.)

	CDCSW_OKCLS_3160__A
	DCDHMCS8
	3160__A
	MCSES TO CDHSW 138 DBLCKT
	Cedar Crest Switch - Oak Cliff South 138kV
	4
	$2,011,062.80
	 

	n/a_n/a_NE_LOB
	BASE CASE
	NE_LOB
	Basecase
	NE_LOB GTC
	18
	$1,761,942.99
	San Antonio South Reliability I Project (22RPG048)
LRGV Transmission Improvement Project (21RPG017)
San Antonio South Reliability II Project (23RPG032)

	WAP_OB_OB_WAP99_A
	SOBWA2P5
	OB_WAP99_A
	WA PARISH to OBRIEN LIN A
	Wa Parish - Obrien 345kV
	1
	$1,620,971.53
	 

	TREADWEL_YELWJCKT_TREADW_YELWJC1_1
	DBIGKEN5
	TREADW_YELWJC1_1
	Bighil-Kendal 345kV
	Yellow Jacket - Treadwell 138kV
	11
	$1,518,265.43
	 

	LKPNT_LWVTI_591_B_1
	SLWSLW28
	591_B_1
	HIGHLANDS TNP to HIGHLANDS TNP LIN 1
	Ti Tnp - Lakepointe Tnp 138kV
	1
	$1,398,448.77
	 

	n/a_n/a_E_PASP
	BASE CASE
	E_PASP
	Basecase
	E_PASP GTC
	25
	$1,360,764.31
	San Antonio South Reliability I Project (22RPG048)
LRGV Transmission Improvement Project (21RPG017)
San Antonio South Reliability II Project (23RPG032)

	HLSES_RMTPW_6405__C
	DBRHLIG8
	6405__C
	LIGGETT SWITCH to EXECUTIVE PARKWAY and  INTERNATIONAL AIRPORT
	Handley Ses - Randol Mill Tap West 138kV
	3
	$1,333,390.37
	 

	LONG_LIPAN_MIL_LIPAN_1
	SGRSMNW8
	MIL_LIPAN_1
	GRINDSTONE SWITCH to MILLER LIN _C
	Lipan - Long 138kV
	6
	$1,230,760.85
	RW Miller Area Improvement Project (26RPG002)

	FLTSW_PRSSW_1545__A
	SPRSPAR8
	1545__A
	PARIS SWITCH to PARIS LIN _A
	Paris Switch - Flying Tiger Switch 138kV
	28
	$1,128,486.68
	 

	VERS_SANDROAD_SANDRO_VERS1_1
	SVEROK28
	SANDRO_VERS1_1
	OKLAUNION to OKLAUNION LIN 1
	Southwest Vernon - Sand Road 69kV
	4
	$1,125,372.27
	 

	HOWARD_LEON_CRK_D5_S1_1
	SP5CAG8
	D5_S1_1
	CAGNON to CAGNON LIN 1
	Leon Creek - Howard 138kV
	13
	$1,086,393.17
	 

	COMFOR_RAYBAR_122T122_1
	SCOMCYP8
	122T122_1
	COMFORT to CYPRESS CREEK LIN 1
	Raymond F Barker - Comfort 138kV
	1
	$1,064,320.09
	 

	WLY_WAP_WAPWLY72_A
	DBLW2JC5
	WAPWLY72_A
	TWR (345) JCK-WAT62 & BLY-JCK57
	Wa Parish - Whaley 345kV
	16
	$1,008,963.72
	 

	SOLSTICE_SOLSTICE_SOLSTICE_PST1
	STARLEO8
	SOLSTICE_PST1
	LEON CREEK TNP to TARBUSH TNP LIN 1
	Solstice 138kV
	28
	$964,475.21
	Fort Stockton Switch: Expand 345 kV Station (MOD 93226)

	n/a_n/a_PNHNDL
	BASE CASE
	PNHNDL
	Basecase
	PNHNDL GTC
	10
	$946,472.75
	 

	ORNGROV_SNDIEGS_SND_ORAN_1
	SCALBAN9
	SND_ORAN_1
	BANQUETE to BANQUETE LIN 1
	San Diego Sub - Orange Grove Switching Station 69kV
	7
	$741,488.04
	 

	DUNLAP_DECKER_CKT_1027_1
	SDAFAUS8
	CKT_1027_1
	AUSTROP to DAFFIN GIN LIN 1
	Decker Power Plant - Aen Dunlap 138kV
	7
	$661,212.50
	 

	COLLEGE_JUPITER_COLLE_JUPIT_1
	SWALNAA8
	COLLE_JUPIT_1
	NAAMAN to NAAMAN LIN 1
	College - Jupiter 138kV
	3
	$639,951.71
	GPL_TPIT_110751_WylieSW_LCP_Upgrades_Jupiter_College_Line (MOD 110751)

	KNBSW_SALSW_36040__A
	DSNDBGR5
	36040__A
	DOUBLE SNDSW TO BCESW & BGRSW
	Salado Switch - Knob Creek Switch 345kV
	6
	$634,454.08
	 

	WAP_BI_BI_WAP50_A
	DWAP_JN5
	BI_WAP50_A
	TWR (345) JN-WAP64 & JN-WAP72
	Bellaire - Wa Parish 345kV
	6
	$630,629.01
	 

	ZEN_THW_THWZEN98_A
	DRNS_TB5
	THWZEN98_A
	Rns-Rtw & Sng-Tb 345kV
	Th Wharton - Zenith 345kV
	12
	$629,150.89
	 

	BGRSW_SNDSW_455__A
	SBCESN35
	455__A
	BELL COUNTY EAST SWITCH to BELL COUNTY EAST SWITCH LIN _A
	Badger Switch - Sandow Switch 345kV
	16
	$610,410.24
	 

	CMNSW_CMNTP_651__B
	SCMNCPS5
	651__B
	COMANCHE SWITCH (Oncor) to COMANCHE PEAK SES LIN _A
	Comanche Tap - Comanche Switch (Oncor) 138kV
	8
	$604,101.80
	 

	BCKSW_CGRSW_6215__A
	DSCOTKW5
	6215__A
	SCOSW TO TKWSW 345 DBLCKT
	Bluff Creek Switch - China Grove Switch 138kV
	4
	$590,779.84
	 

	BCESW_SNDSW_421__A
	SSNDBGR5
	421__A
	SANDOW SWITCH to BADGER SWITCH LIN _A
	Sandow Switch - Bell County East Switch 345kV
	15
	$576,194.73
	 

	DILLEYSW_DILLEYSW_DILLEYSW_XF1H
	XPEA89
	DILLEYSW_XF1H
	PEARSALL SWITCHING STATION TRX 69_4 138/69
	Dilley Switch Aep 138kV
	14
	$537,084.03
	 

	NUECES_B_WHITE_PT_NUECES_WHITE_2_1
	SMAYWHI8
	NUECES_WHITE_2_1
	GILA to MAYO LIN 1
	Nueces Bay - Whitepoint 138kV
	14
	$478,519.26
	 

	PRSSW_VLYSO_403__A
	SPACVLS5
	403__A
	PACIFIC SWITCH to VALLEY SES LIN _B
	Paris Switch - Valley South 345kV
	4
	$459,513.43
	 

	GABRIE_GABRIE_GABRIE_AT1
	DSALHUT5
	GABRIE_AT1
	SALSW - HUTTO 345KV
	Gabriel 138kV
	6
	$445,753.17
	 

	CRDSW_OLNEY_6830__B
	DGRMGRS8
	6830__B
	FIREROCK TO BRNWD 138 AND FIREROCK TO BANGS 69 DBLCKT
	Cottonwood Road Switch - Olney Pod 69kV
	15
	$430,451.03
	 

	I_DUPSW_RESNIK_I_DUPS_RESNIK3_3
	SI_2RES8
	I_DUPS_RESNIK3_3
	DUPONT SWITCH - INGLESIDE to RESNIK LIN 1
	Dupont Switch - Ingleside - Resnik 138kV
	8
	$412,882.45
	 

	BEVO_CARIZOS_CARIZOSPG_BEVO_1
	XASH89
	CARIZOSPG_BEVO_1
	ASHERTON TRX 69A1 138/69
	Carrizo Springs Sub - Bevo 69kV
	9
	$403,219.52
	 

	SAMSW_FVLSW_35045__A
	MBULNAV5
	35045__A
	Mnaual single contingency BULLOCK-NAVARRO 345kV
	Sam Switch - Files Valley Switch 345kV
	3
	$362,366.19
	 

	STP_WAP_STPWAP39_1
	DBLBYWF5
	STPWAP39_1
	TWR (345) BLU-BLY72 & HLJ-WLF64
	South Texas Project - Wa Parish 345kV
	3
	$350,813.47
	 

	DUNLAP_DECKER_CKT_1027_1
	DSTOGAR8
	CKT_1027_1
	DOUBLE STONEY_R-GARFIELD and EASTONPA-GARFIELD 138KV 138KV
	Decker Power Plant - Aen Dunlap 138kV
	3
	$328,643.92
	 

	n/a_n/a_E_PATA
	BASE CASE
	E_PATA
	Basecase
	E_PATA GTC
	12
	$326,716.19
	 

	BRUNI_BRUNI_BRUNI_69_1
	SLAQLOB8
	BRUNI_69_1
	LAQUINTA to LOBO LIN 1
	Bruni Sub 138kV
	28
	$312,389.72
	 

	TWINBU_HARGROVE_HARGRO_TWINBU1_1
	DBAKCED5
	HARGRO_TWINBU1_1
	BAKESW-CEDACA 345kV & BAKESW-CEDACA 345kV
	Hargrove - Twin Buttes 138kV
	4
	$306,147.07
	 

	ENWSW_TMPTN_940__A
	SPEBTRU8
	940__A
	GAMMA to GAMMA LIN _D
	Ennis West Switch - Templeton 138kV
	14
	$296,741.65
	 

	FMRVL_RYSSW_381__A
	SFMRRY25
	381__A
	Farmersville Switch to ROYSE SWITCH LIN _A
	Farmersville Switch - Royse Switch 345kV
	5
	$282,950.84
	 

	CMNSW_CMNTP_651__B
	DMBDRKC5
	651__B
	MBDSW-CMBSW & MBDSW-RKCRK 345_DBLCKT
	Comanche Tap - Comanche Switch (Oncor) 138kV
	6
	$281,049.95
	 

	MDO_PHR_MDOPHR99_A
	DWAP_OB5
	MDOPHR99_A
	TWR (345) OB-WAP98 & OB-WAP99
	Meadow - Ph Robinson 345kV
	4
	$279,398.01
	CNP_28TPIT103344_PH_Robinson_to_WA_Parish_Hardening (MOD 103344 Phase 103435, 25RPG028)

	FMRVL_RYSSW_400__A
	SFMRRYS5
	400__A
	Farmersville Switch to Farmersville Switch LIN _A
	Royse Switch - Farmersville Switch 345kV
	6
	$274,019.25
	 

	ABNTHWST_ABNTHWST_ABNTHW_SERDEV1_1
	SABSBLU8
	ABNTHW_SERDEV1_1
	BLUFF CREEK to ABILENE SOUTH LIN 1
	#N/A Missing Value
	4
	$262,335.74
	 

	PEARSALL_POTEETS_POT_PEAR_1
	SMOOPEA8
	POT_PEAR_1
	MOORE SWITCHING STATION to MOORE SWITCHING STATION LIN 1
	Poteet Sub - Pearsall Switching Station 69kV
	15
	$257,707.10
	 

	LA_PALMA_HAINE_DR_HAINE__LA_PAL1_1
	MHARNED5
	HAINE__LA_PAL1_1
	Manual dbl ckt for NEDIN-BONILLA 345kV & RIOH-PRIM138kV
	Haine Drive - La Palma 138kV
	8
	$241,899.78
	 

	RS_FB_FB_RS_60_A
	SEBATH8
	FB_RS_60_A
	Athena to EAST BERNARD LIN A
	Fort Bend - Rosenberg 138kV
	15
	$236,148.55
	 

	FRONTERA_S_MISSIN_BENTS_FRTER_1B_1
	SSHAFRO8
	BENTS_FRTER_1B_1
	FRONTERA to SHARYLAND LIN 1
	Frontera - South Mission 138kV
	15
	$235,214.52
	 

	BRUNI_BRUNI_BRUNI_69_1
	DLOFOAV5
	BRUNI_69_1
	Double LOBO - FOWLERTON & AVANZADA
	Bruni Sub 138kV
	5
	$231,360.53
	 

	CRDSW_OLNEY_6830__B
	SGRMGRS8
	6830__B
	GRAHAM EAST to GRAHAM EAST LIN _A
	Cottonwood Road Switch - Olney Pod 69kV
	3
	$203,230.17
	 

	WEAVERRD_GREENLK_GREENL_WEAVER1_1
	MJOSPO89
	GREENL_WEAVER1_1
	Manual double contingency JOSLIN - NCARBIDE 138 & POINT COMFORT - BROOKHOLLOW 69
	Greenlake - Weaver Road 69kV
	4
	$196,093.37
	 

	GT_MID_MIDGT_90_A
	DWO5_EU8
	MIDGT_90_A
	TWR (345/138) EU-SF09 & WO-JN72
	Midtown - Garrott 138kV
	3
	$191,184.75
	 

	TNNALVIN_ALVIN_138_ALV_NAL_1
	SMDOPHR5
	138_ALV_NAL_1
	MEADOW to PH ROBINSON LIN A
	North Alvin Tnp - Alvin Tnp 138kV
	17
	$177,807.00
	 

	WLY_WAP_WAPWLY72_A
	DOASSEB5
	WAPWLY72_A
	TWR(345) DOW-OAS 18 & OAS-SEB 27
	Wa Parish - Whaley 345kV
	5
	$174,873.68
	 

	BERGHE_BERGHE_BERGHE_AT1H
	DZORHAY5
	BERGHE_AT1H
	ZORN - HAYSEN 345KV
	Bergheim 345kV
	4
	$174,036.46
	 

	GN_PZ_GN_PZ_08_A
	SMDOOAS5
	GN_PZ_08_A
	MEADOW to OASIS LIN A
	Grant - Plaza 138kV
	5
	$170,406.76
	 

	PALOUSE_WOLFCAMP_PALOUS_WOLFCA1_1
	DBIGSCH5
	PALOUS_WOLFCA1_1
	Big Hill - Schneeman Draw & Big Hill - Schneeman Draw 2
	Palouse - Wolfcamp 138kV
	4
	$169,549.81
	 

	FRONTERA_S_MISSIN_BENTS_FRTER_1B_1
	SBENS_M8
	BENTS_FRTER_1B_1
	SOUTH MCALLEN to BENTSEN LIN 1
	Frontera - South Mission 138kV
	22
	$166,024.69
	 

	MRVLY_ESTLD_6635__G
	SCLCGTN8
	6635__G
	COLONY CREEK to GHOST TOWN SWITCH LIN _A
	Morton Valley (Oncor) - Eastland 69kV
	5
	$160,892.63
	 

	PALOUSE_WOLFCAMP_PALOUS_WOLFCA1_1
	DBIGKEN5
	PALOUS_WOLFCA1_1
	Bighil-Kendal 345kV
	Palouse - Wolfcamp 138kV
	3
	$145,251.32
	 

	MDO_PHR_MDOPHR99_A
	DPHRCTR5
	MDOPHR99_A
	Ctr-Phr&Cby 345kV
	Meadow - Ph Robinson 345kV
	3
	$144,428.32
	CNP_28TPIT103344_PH_Robinson_to_WA_Parish_Hardening (MOD 103344 Phase 103435, 25RPG028)

	FRWYPARK_MAINLAND_138_FWP_MNL_1
	SALVTNN8
	138_FWP_MNL_1
	ALVIN TNP to ALVIN TNP LIN 1
	Mainland Tnp - Freeway Park Tnp 138kV
	7
	$143,855.84
	 

	CMNSW_CMNTP_651__B
	DBUCRGP5
	651__B
	MANUAL DOUBLE RGPSW - KLNSW 345 KV & BUCSW - KLNSW 345 KV
	Comanche Tap - Comanche Switch (Oncor) 138kV
	5
	$142,134.06
	 

	PILONCIL_NLARSW_NLARSW_PILONC1_1
	DLOFOAV5
	NLARSW_PILONC1_1
	Double LOBO - FOWLERTON & AVANZADA
	North Laredo Switch - Piloncillo 138kV
	3
	$140,484.77
	 

	ORNGROV_ORNGROV_ORNGROV_69_1
	SGEOORN8
	ORNGROV_69_1
	GEORGE WEST to GEORGE WEST LIN 1
	Orange Grove Switching Station 138kV
	5
	$140,092.45
	 

	REVEILLE_COTULLA_COTULL_REVEIL1_1
	DFOWSMG5
	COTULL_REVEIL1_1
	FOWLRTON TO SAN MIGUEL DOUBLE CIRCUIT CONTINGENCY
	Cotulla - Reveille 138kV
	8
	$137,762.40
	 

	LA_PALMA_HAINE_DR_HAINE__LA_PAL1_1
	SRAYRI38
	HAINE__LA_PAL1_1
	LAS PULGAS to RAYMONDVILLE 2 LIN 1
	Haine Drive - La Palma 138kV
	13
	$137,154.20
	 

	ASHERTON_CATARINA_ASHERT_CATARI1_1
	DLOFOAV5
	ASHERT_CATARI1_1
	Double LOBO - FOWLERTON & AVANZADA
	Asherton - Catarina 138kV
	9
	$112,979.79
	 

	MV_HBRG4_MV_WESL4_WESLCO_HIDLBRG_1
	DCC1DUKE
	WESLCO_HIDLBRG_1
	Loss of DUKE (train)
	Heidelburg Sub - Weslaco Sub 138kV
	3
	$108,896.34
	STEC_71928_Heidelberg_AEPWeslaco_Upgrade (MOD 71928)

	AE_STR_AE_STR26_A
	SPETSNU8
	AE_STR26_A
	PETSON to Snug LIN A
	Angleton - Stratt 138kV
	3
	$100,482.08
	 

	LAKENASW_SAMATHIS_LAKENA_SAMATH1_1
	DBAKCED5
	LAKENA_SAMATH1_1
	BAKESW-CEDACA 345kV & BAKESW-CEDACA 345kV
	Lake Nasworthy - San Angelo Mathis Field 69kV
	3
	$100,098.92
	 

	MADDUX_TREADWEL_MADDUX_TREADW1_1
	DBIGKEN5
	MADDUX_TREADW1_1
	Bighil-Kendal 345kV
	Maddux - Treadwell 138kV
	4
	$82,828.69
	 

	POTEETS_OAKS9_POT_OAKS_1
	DELMSAN5
	POT_OAKS_1
	Elmcreek-Sanmigl 345kV
	Poteet Sub - Oaks Sub 69kV
	3
	$77,136.75
	 

	PALOUSE_CROSSOVE_CROSSO_PALOUS1_1
	SWOLPAL8
	CROSSO_PALOUS1_1
	PALOUSE to Wolfcamp LIN 1
	Crossover - Palouse 138kV
	4
	$75,119.61
	 

	NVKSW_ANARN_6840__B
	DMGSRIC8
	6840__B
	DBL_CKT_GRSES-RICSW_138 kV and GRSES-SGRAS_138 kV
	Anarene - Navy Kickapoo Switch 69kV
	6
	$71,175.15
	 

	FBRSW_THSES_505__B
	SSAMTCR5
	505__B
	SAM SWITCH to TIGER CREEK SWITCH LIN _B
	Tradinghouse Ses - Four Brothers Switch 345kV
	3
	$62,773.81
	 

	YELWJCKT_FORTMA_FORTMA_YELWJC1_1
	DBIGKEN5
	FORTMA_YELWJC1_1
	Bighil-Kendal 345kV
	Yellow Jacket - Fort Mason 138kV
	8
	$56,415.24
	 

	FURHMAN_MOURSUND_MOURSUND_FUR_1
	SFURVAN8
	MOURSUND_FUR_1
	FURHMAN to VANDERBILT SWITCHING STATION LIN 1
	Moursund - Furhman 138kV
	12
	$56,168.74
	 

	MEXTP_ITALY_2270__B
	SBLAWDB8
	2270__B
	BLANTON to WOODBURY SWITCH LIN _C
	Milford Exxon Tap - Italy 69kV
	8
	$55,267.73
	 

	HECKER_RESNIK_HECKER_RESNIK1_1
	DMCDUPS8
	HECKER_RESNIK1_1
	MCCAMPBE - RESNIK & I_DUPSW 138kV
	Hecker - Resnik 138kV
	6
	$39,373.64
	 

	DILLEYSW_DILLEYSW_DILLEYSW_XF1H
	DDILCOT8
	DILLEYSW_XF1H
	Dilleysw-Sanmgsw&Cotulas 138kV
	Dilley Switch Aep 138kV
	4
	$38,424.72
	 

	WC_DA_DA_WC_89_A
	SEBHUG8
	DA_WC_89_A
	EAST BERNARD to EAST BERNARD LIN A
	Damon - West Columbia 138kV
	4
	$35,800.77
	 

	WDBSW_HLSBR_1275__A
	SBLURDH8
	1275__A
	BLUM to RED HILL SWITCH LIN _G
	Hillsboro - Woodbury Switch 138kV
	13
	$30,329.51
	 

	FTST_LEONCRK_138_FTS_LNC_1
	DTNFBCA8
	138_FTS_LNC_1
	TNFXTAIL TO TARBUSH to BCATOKA 138KV
	Leon Creek Tnp - Fort Stockton Plant 138kV
	13
	$18,279.19
	 

	IH20_TNCOLIET_138_IH2_COT_1
	SSTAWIC8
	138_IH2_COT_1
	STAGHORN TNP to WICKETT TNP LIN 1
	Ih 20 Tnp - Collie Field Tap Tnp 138kV
	16
	$17,275.24
	 

	YELWJCKT_HEXT_HEXT_YELWJC1_1
	SJUNYEL9
	HEXT_YELWJC1_1
	MENARD PHILLIPS TAP to MENARD PHILLIPS TAP LIN 1
	Yellow Jacket - Hext Lcra 69kV
	6
	$14,131.00
	 

	YELWJCKT_HEXT_HEXT_YELWJC1_1
	DYETRJU8
	HEXT_YELWJC1_1
	Double for YellowJacket - Treadwell & Junction
	Yellow Jacket - Hext Lcra 69kV
	7
	$13,919.75
	 

	TREADWEL_YELWJCKT_TREADW_YELWJC1_1
	DBIGSCH5
	TREADW_YELWJC1_1
	Big Hill - Schneeman Draw & Big Hill - Schneeman Draw 2
	Yellow Jacket - Treadwell 138kV
	3
	$13,715.70
	 

	FTST_LEONCRK_138_FTS_LNC_1
	STNFTAR8
	138_FTS_LNC_1
	FOXTAIL TNP to TARBUSH TNP LIN 1
	Leon Creek Tnp - Fort Stockton Plant 138kV
	3
	$5,988.67
	 

	ANGLETON_WCOLLOCL_G138_15_1
	SWCOWCO8
	G138_15_1
	WEST COLUMBIA MAIN TNP to ANGLETON TNP LIN 1
	West Columbia Local Tnp - Angleton Tnp 138kV
	19
	$5,639.82
	 

	LON_HILL_CLARK_WD_CLARK__LON_HI1_1
	SCITWEI8
	CLARK__LON_HI1_1
	CHAMPLIN to CHAMPLIN LIN 1
	Clarkwood - Lon Hill 138kV
	8
	$5,261.88
	 

	FTST_LEONCRK_138_FTS_LNC_1
	BASE CASE
	138_FTS_LNC_1
	Basecase
	Leon Creek Tnp - Fort Stockton Plant 138kV
	4
	$5,049.60
	 

	GAILS_KEYSB_6217__B
	SBUZHMP8
	6217__B
	BUZZARD DRAW SWITCH to HARDY MORGAN POI LIN _B
	Mushaway Peak Poi - Key Sub 138kV
	5
	$961.05
	 

	NLARSW_PILONCIL_NLARSW_PILONC1_1
	DFOAVLO5
	NLARSW_PILONC1_1
	FOWLERTON to LOBO & AVANZADA
	North Laredo Switch - Piloncillo 138kV
	3
	$809.03
	 

	MPPOI_KEYSB_6217__B
	SBUZHMP8
	6217__B
	BUZZARD DRAW SWITCH to HARDY MORGAN POI LIN _B
	Mushaway Peak Poi - Key Sub 138kV
	5
	$168.12
	 

	FTST_LEONCRK_138_FTS_LNC_1
	DALASOA8
	138_FTS_LNC_1
	Manual From ALAMO_ST To SOAPTREE  138kV
	Leon Creek Tnp - Fort Stockton Plant 138kV
	3
	$140.86
	 



[bookmark: _Toc241049174][bookmark: _Hlk219801104]Generic Transmission Constraint Congestion
	GTC
	Days Congestion

	South Texas Export Pawnee - Spruce
	30

	Nelson Sharpe - Rio Hondo
	29

	East Texas
	28

	South Texas Export Pawnee - Tango
	28

	North Edinburg - Lobo
	24

	North - Houston
	15

	Panhandle
	14

	West Texas
	11

	McCamey
	7

	Kinney
	1

	North – Far West
	1



There was no activity on the remaining GTCs during the month.
Note: This is how many times a constraint has been activated to avoid exceeding a GTC limit, it does not imply an exceedance of the GTC occurred or that the GTC was binding.
[bookmark: _Toc241049175][bookmark: _Hlk164677736]Manual Overrides
· None
[bookmark: _Toc241049176]Congestion Costs for Calendar Year 2026
The following table represents the top twenty active constraints for the calendar year based on the estimated congestion rent attributed to the congestion. ERCOT updates this list on a monthly basis.
	Contingency Name
	Overloaded Element
	# of 5-min SCED
	Estimated
	Transmission

	BASE CASE
	WESTEX
	17792
	$99,043,641.23
	Permian Basin Reliability Plan (765-kV import paths) (The PUCT approved ,helps improve, but not fully exit, the GTC yet.)

	DWPWFWP5
	STPWAP39_1
	9307
	$61,823,676.79
	

	MHCKRA25
	HCKSW_MR2L
	1363
	$51,703,803.38
	

	DBAKCED5
	6965__A
	13081
	$50,101,641.18
	Oncor_FW_81268_Longshore – Consavvy 345 kV Double-Circuit Line Rebuild (MOD 81268)

	BASE CASE
	EASTEX
	10922
	$38,266,878.31
	

	MRNKDHM5
	587__A
	6658
	$34,162,852.87
	

	SVENFTS5
	35055__A
	5381
	$33,375,648.24
	Venus Switch to Sam Switch 345-kV Line Project (24RPG017)

	SRGRMGS5
	6945__A
	5981
	$32,947,892.34
	West Texas 345-kV Infrastructure Rebuild Project (23RPG034)

	DSALKLN5
	641__A
	2796
	$31,304,486.27
	ONCOR_SE_87703_Belton_Killeen_138 kV Line (via Nolanville) (MOD 87703, 24RPG001)

	SBWDDBM5
	LPLMK_LPLNE_1
	9110
	$31,234,483.38
	

	DNAVOUT5
	50__A
	504
	$26,063,843.65
	ONCOR_SE_99622_PIN_OAK_SWITCH (MOD 99622, 25RPG004)

	DSALHUT5
	1715__B
	4345
	$25,346,029.49
	Temple Area Project (24RPG001). Note that Fryers Creek is named Boggy Creek in planning cases.

	DBAKCED5
	HARGRO_TWINBU1_1
	5089
	$23,430,138.42
	

	DMTSCOS5
	6437__F
	12996
	$23,389,759.05
	Oncor_FW_102849_Union 138 kV Switch (MOD 102849)

	BASE CASE
	NE_LOB
	22448
	$22,485,318.12
	San Antonio South Reliability I Project (22RPG048)
LRGV Transmission Improvement Project (21RPG017)
San Antonio South Reliability II Project (23RPG032)

	BASE CASE
	E_PASP
	11681
	$21,822,567.41
	San Antonio South Reliability I Project (22RPG048)
LRGV Transmission Improvement Project (21RPG017)
San Antonio South Reliability II Project (23RPG032)

	BASE CASE
	HHGTOM_1
	9100
	$21,147,903.99
	

	DSALKLN5
	630__B
	3897
	$18,080,705.66
	ONCOR_SE_87699_Belton - Killeen 138 kV_Line (MOD 87699, 24RPG001)

	BASE CASE
	NELRIO
	25129
	$17,549,792.65
	The Lower Rio Grande Valley (LRGV) System Enhancement Project (21RPG017)

	DHUTGEA8
	378T387_1
	499
	$16,829,440.01
	Howard Lane_Wells Branch_TL_Upgrade (TPIT #91404)



[bookmark: _Toc241049177][bookmark: _Hlk219797360]System Events
[bookmark: _Toc241049178]ERCOT Peak Load
The unofficial ERCOT peak load for August 2026 was 90,817 MW and occurred on 08/24/2026 during hour ending 18:00, this is 7,110 MW greater than the August 2025 demand of 83,707 MW on 08/18/2025 during hour ending 18:00. Instantaneous peak for August 2026 was 91,048 MW. Actual instantaneous peak for the same month last year was 84,312 MW.
[bookmark: _Toc241049179]Load Shed Events
· None.
[bookmark: _Toc241049180]Stability Events
· None.
[bookmark: _Toc241049181]Notable PMU Events
ERCOT analyzes PMU data for any significant system disturbances that do not fall into the Frequency Events category reported in section 2.1. The results are summarized in this section once the analysis has been completed.
There were no PMU events outside of those reported in section 2.1.
[bookmark: _Toc241049182]DC Tie Curtailment
	[bookmark: _Hlk164863863]Date
	DC Tie
	Curtailing Period
	# of Tags Curtailed
	Initiating Event
	Curtailment Reason2,3

	8/01/2026
	DC_R
	 01:24 – 02:59
	1
	Transmission Security Violation
	Transmission congestion

	8/06/2026
	DC_R
	20:11 – 21:01
	3
	Faulty equipment
	Bring tie within limit

	8/17/2026
	DC_E
	19:10 – 20:02
	5
	Transmission Security Violation
	Transmission congestion


[bookmark: _Toc241049183][bookmark: _Hlk141082606][bookmark: _Hlk135641502]TRE/DOE Reportable Events
· [bookmark: _Toc13724670]Oncor submitted an EOP-004 for 08/24/2026 for Damage or destruction of a Facility.
· Oncor submitted a DOE-417 for 08/24/2026 for Damage or destruction of a Facility.

[bookmark: _Toc241049184]New/Updated Constraint Management Plans
· MOD: MP_2025_45_REV3, MP_2025_42_REV3, ON_SHELF_MP_2025_31_REV5, ON_SHELF_MP_2024_06_REV7, MP_2025_26_REV2, MP_2025_24_REV2, MP_2025_14_REV2, MP_2025_12_REV5, MP_2025_10_REV3, MP_2024_10_REV3, MP_2024_08_REV3

[bookmark: _Toc241049185]New/Modified/Removed RAS
· None
[bookmark: _Toc241049186]New Procedures/Forms/Operating Bulletins
	[bookmark: _Hlk207973620]Date
	Subject
	Bulletin No.

	8/31/2026
	Transmission and Security Desk Operating Procedure V2 Rev 8
	2038

	8/31/2026
	Shift Supervisor V2 Rev 4
	2037

	8/31/2026
	Scripts V2 Rev 3
	2036

	8/31/2026
	Reliability Unit Commitment V2 Rev 5
	2035

	8/31/2026
	Real Time Desk V2 Rev 5
	2034



[bookmark: _Toc241049187][bookmark: _Hlk164863872]Emergency Conditions
[bookmark: _Toc241049188]OCNs
	Date and Time
	Message

	August 19, 2026 10:00
	ERCOT is issuing an OCN for an extreme hot weather event due to predicted high temperatures in the ERCOT North Central and South Central Regions starting Thursday, August 20th through Tuesday, August 25th, 2026.


[bookmark: _Toc241049189]Advisories
· None 
[bookmark: _Toc241049190]Watches
· None
[bookmark: _Toc241049191]Emergency Notices
· None
[bookmark: _Toc241049192]Application Performance
[bookmark: _Toc241049193]TSAT/VSAT Performance Issues
· None.
[bookmark: _Toc241049194]Communication Issues
· None.
[bookmark: _Toc241049195][bookmark: _Hlk164863883]Market System Issues
· None.

[bookmark: _Toc241049196]Model Updates
The Downstream Production Change (DPC) process allows ERCOT to make changes in the one-line Network Operations Model without loading a completely new model.  The purpose of this process is to allow for reliable grid operations as system conditions change between designated Network Operations Model database loads.  The DPC process is limited in scope to just those items listed below, with equipment ratings updates being the most common.  ERCOT has seen a rise in the use of the DPC process to make on-line updates to the Network Operations Model in recent years, instead of through the standard Network Operations Model Change Request process.
· Static Line ratings (Interim Update)
· Dynamic Line ratings (non-Interim Update)
· Autotransformer ratings (non-Interim Update)
· Breaker and Switch Normal status (Interim Update)
· Contingency Definitions (Interim Update)
· RAP and RAS changes or additions (Interim Update)
· Net Dependable and Reactive Capability (NDCRC) values (Interim Update)
· Impedance Updates (non-Interim)
[image: ]

A total of 24 DPCs were implemented in August 2026. 334 DPCs have been implemented year to date. DPCs submitted by TDSPs are mainly updates to transmission element ratings. DPCs submitted by ERCOT are mainly updates to manual contingency definitions. 
	Transmission Operator
	Number of DPCs

	AEP TEXAS COMPANY (TDSP)
	5

	BRAZOS ELECTRIC POWER CO OP INC (TDSP)
	1

	BROWNSVILLE PUBLIC UTILITIES BOARD (TDSP)
	0

	BRYAN TEXAS UTILITIES (TDSP)
	0

	CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP)
	3

	CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP)
	0

	CITY OF COLLEGE STATION (TDSP)
	0

	CITY OF GARLAND (TDSP)
	0

	CPS ENERGY (TDSP)
	0

	CROSS TEXAS TRANSMISSION LLC (TSP))
	0

	DENTON MUNICIPAL ELECTRIC (TDSP)
	0

	ELECTRIC TRANSMISSION TEXAS LLC (TDSP)
	1

	ERCOT
	2

	LCRA TRANSMISSION SERVICES CORPORATION (TDSP)
	10

	LONE STAR TRANSMISSION LLC (TSP)
	0

	ONCOR ELECTRIC DELIVERY COMPANY LLC (TDSP)
	2

	PEDERNALES ELECTRIC CO OP INC (TDSP)
	0

	RAYBURN COUNTRY CO OP DBA RAYBURN ELECTRIC (TDSP)
	0

	SHARYLAND UTILITIES LP (TDSP)
	0

	SOUTH TEXAS ELECTRIC CO OP INC (TDSP)
	0

	TEXAS MUNICIPAL POWER AGENCY (TDSP)
	0

	TEXAS-NEW MEXICO POWER CO (TDSP)
	0

	WIND ENERGY TRANSMISSION TEXAS LLC (TSP)
	0




[bookmark: _Toc241049197]Appendix A: Real-Time Constraints
The following is a complete list of constraints activated in SCED. Full contingency descriptions can be found in the Standard Contingencies List located on the MIS secure site at Grid  Generation  Reliability Unit Commitment.
	Year
	Month
	Contingency Name
	Overloaded Element
	From Station
	To Station
	Count of Days

	2026
	August
	SLAQLOB8
	BRUNI_69_1
	BRUNI
	BRUNI
	30

	2026
	August
	BASE CASE
	E_PASP
	n/a
	n/a
	30

	2026
	August
	SBLURDH8
	2270__B
	MEXTP
	ITALY
	29

	2026
	August
	BASE CASE
	NELRIO
	n/a
	n/a
	29

	2026
	August
	DWPWFWP5
	STPWAP39_1
	STP
	WAP
	29

	2026
	August
	BASE CASE
	EASTEX
	n/a
	n/a
	28

	2026
	August
	STARLEO8
	SOLSTICE_PST1
	SOLSTICE
	SOLSTICE
	28

	2026
	August
	BASE CASE
	E_PATA
	n/a
	n/a
	28

	2026
	August
	SPRSPAR8
	1545__A
	FLTSW
	PRSSW
	28

	2026
	August
	DFOAVLO5
	BRUNI_69_1
	BRUNI
	BRUNI
	27

	2026
	August
	SFURVAN8
	MOURSUND_FUR_1
	FURHMAN
	MOURSUND
	27

	2026
	August
	SFURVAN8
	MOURSUND_FUR_1
	MOURSUND
	FURHMAN
	27

	2026
	August
	MHARNED5
	WESLCO_HIDLBRG_1
	MV_HBRG4
	MV_WESL4
	26

	2026
	August
	DELMSAN5
	PAWNEE_SPRUCE_1
	PAWNEE
	CALAVERS
	26

	2026
	August
	DSALHUT5
	1715__B
	TMPSW
	FRYSW
	25

	2026
	August
	SBENS_M8
	BENTS_FRTER_1B_1
	FRONTERA
	S_MISSIN
	24

	2026
	August
	SVENFTS5
	35055__A
	SAMSW
	VENSW
	24

	2026
	August
	BASE CASE
	NE_LOB
	n/a
	n/a
	24

	2026
	August
	SWCOWCO8
	G138_15_1
	ANGLETON
	WCOLLOCL
	24

	2026
	August
	DBLW2JC5
	WAPWLY72_A
	WLY
	WAP
	23

	2026
	August
	SSTAWIC8
	138_IH2_COT_1
	IH20
	TNCOLIET
	20

	2026
	August
	SBWDDBM5
	LPLMK_LPLNE_1
	LPLMK
	LPLNE
	20

	2026
	August
	SEBATH8
	FB_RS_60_A
	RS
	FB
	19

	2026
	August
	SBCESN35
	455__A
	BGRSW
	SNDSW
	18

	2026
	August
	DMTSCOS5
	6437__F
	SCRCV
	KNAPP
	18

	2026
	August
	SMDOPHR5
	138_ALV_NAL_1
	TNNALVIN
	ALVIN
	18

	2026
	August
	DWAP_BI5
	BI_JN_64_A
	JN
	BI
	18

	2026
	August
	DFRYTM58
	SEA_AAT1
	SEA
	SEA
	18

	2026
	August
	SRGRMGS5
	6945__A
	MGSES
	CATSW
	18

	2026
	August
	DSALHUT5
	1710__A
	SALDS
	SONTERRA
	17

	2026
	August
	SSHAFRO8
	BENTS_FRTER_1B_1
	FRONTERA
	S_MISSIN
	17

	2026
	August
	SRAYRI38
	HAINE__LA_PAL1_1
	LA_PALMA
	HAINE_DR
	17

	2026
	August
	SBLURDH8
	1275__A
	WDBSW
	HLSBR
	17

	2026
	August
	SSNDBGR5
	421__A
	BCESW
	SNDSW
	17

	2026
	August
	DFOWSMG5
	COTULL_REVEIL1_1
	REVEILLE
	COTULLA
	17

	2026
	August
	DELMSAN5
	MAGRUD_VICTOR2_1
	VICTORIA
	MAGRUDER
	16

	2026
	August
	DGRMGRS8
	6830__B
	CRDSW
	OLNEY
	16

	2026
	August
	SMAYWHI8
	NUECES_WHITE_2_1
	NUECES_B
	WHITE_PT
	16

	2026
	August
	SP5CAG8
	D5_S1_1
	HOWARD
	LEON_CRK
	16

	2026
	August
	SOBWAP5
	OB_WAP98_A
	WAP
	OB
	16

	2026
	August
	SPEBTRU8
	940__A
	ENWSW
	TMPTN
	15

	2026
	August
	BASE CASE
	N_TO_H
	n/a
	n/a
	15

	2026
	August
	XPEA89
	DILLEYSW_XF1H
	DILLEYSW
	DILLEYSW
	15

	2026
	August
	DTNFBCA8
	138_FTS_LNC_1
	FTST
	LEONCRK
	15

	2026
	August
	SMOOPEA8
	POT_PEAR_1
	PEARSALL
	POTEETS
	15

	2026
	August
	SALVTNN8
	138_FWP_MNL_1
	FRWYPARK
	MAINLAND
	14

	2026
	August
	BASE CASE
	PNHNDL
	n/a
	n/a
	14

	2026
	August
	SCOLBAL8
	BALLINGE_FMRL
	BALLINGE
	BALLINGE
	14

	2026
	August
	DRNS_TB5
	THWZEN98_A
	ZEN
	THW
	14

	2026
	August
	DCDHTVW5
	6200__F
	TYPRK
	PLYAM
	13

	2026
	August
	BASE CASE
	FTST_SOLSTI1_1
	FTST
	SOLSTICE
	13

	2026
	August
	DYETRJU8
	HEXT_YELWJC1_1
	YELWJCKT
	HEXT
	12

	2026
	August
	BASE CASE
	138_FTS_LNC_1
	LEONCRK
	FTST
	12

	2026
	August
	DYETRJU8
	HEXT_YELWJC1_1
	HEXT
	YELWJCKT
	12

	2026
	August
	DBIGKEN5
	TREADW_YELWJC1_1
	TREADWEL
	YELWJCKT
	12

	2026
	August
	BASE CASE
	138_FTS_LNC_1
	FTST
	LEONCRK
	12

	2026
	August
	DLOFOAV5
	ASHERT_CATARI1_1
	ASHERTON
	CATARINA
	12

	2026
	August
	SBUZHMP8
	6217__B
	GAILS
	KEYSB
	11

	2026
	August
	SBUZHMP8
	6217__B
	MPPOI
	KEYSB
	11

	2026
	August
	XASH89
	CARIZOSPG_BEVO_1
	BEVO
	CARIZOS
	11

	2026
	August
	BASE CASE
	WESTEX
	n/a
	n/a
	11

	2026
	August
	SJUNYEL9
	HEXT_YELWJC1_1
	YELWJCKT
	HEXT
	11

	2026
	August
	SCLCGTN8
	6635__G
	MRVLY
	ESTLD
	10

	2026
	August
	MHARNED5
	HAINE__LA_PAL1_1
	LA_PALMA
	HAINE_DR
	10

	2026
	August
	DBIGKEN5
	FORTMA_YELWJC1_1
	YELWJCKT
	FORTMA
	9

	2026
	August
	SCITWEI8
	CLARK__LON_HI1_1
	LON_HILL
	CLARK_WD
	9

	2026
	August
	XVIC89
	MAGRUD_VICTOR2_1
	VICTORIA
	MAGRUDER
	9

	2026
	August
	DSALHUT5
	GABRIE_AT1
	GABRIE
	GABRIE
	8

	2026
	August
	DHUTGEA8
	378T387_1
	HWRDTP
	WELLBR
	8

	2026
	August
	DMCDUPS8
	HECKER_RESNIK1_1
	HECKER
	RESNIK
	8

	2026
	August
	DWAP_OB5
	MDOPHR99_A
	MDO
	PHR
	8

	2026
	August
	DFOAVLO5
	NLARSW_PILONC1_1
	NLARSW
	PILONCIL
	8

	2026
	August
	SCMNCPS5
	651__B
	CMNSW
	CMNTP
	8

	2026
	August
	SDAFAUS8
	CKT_1027_1
	DUNLAP
	DECKER
	8

	2026
	August
	SI_2RES8
	I_DUPS_RESNIK3_3
	I_DUPSW
	RESNIK
	8

	2026
	August
	SBLAWDB8
	2270__B
	MEXTP
	ITALY
	8

	2026
	August
	SHLSWDB8
	810__G
	RDHSW
	BLUMS
	7

	2026
	August
	SCALBAN9
	SND_ORAN_1
	ORNGROV
	SNDIEGS
	7

	2026
	August
	DMGSRIC8
	6840__B
	NVKSW
	ANARN
	7

	2026
	August
	DSNDBGR5
	36040__A
	KNBSW
	SALSW
	7

	2026
	August
	BASE CASE
	MCCAMY
	n/a
	n/a
	7

	2026
	August
	SMDOOAS5
	GN_PZ_08_A
	GN
	PZ
	7

	2026
	August
	MSNDWCR5
	SNDSW_MR1H
	SNDSW
	SNDSW
	7

	2026
	August
	DLOFOAV5
	BRUNI_69_1
	BRUNI
	BRUNI
	7

	2026
	August
	DEVRHLS8
	6293__C
	MARSW
	DEVIT
	7

	2026
	August
	DMBDRKC5
	651__B
	CMNSW
	CMNTP
	6

	2026
	August
	DBIGKEN5
	MADDUX_TREADW1_1
	MADDUX
	TREADWEL
	6

	2026
	August
	SGEOORN8
	ORNGROV_69_1
	ORNGROV
	ORNGROV
	6

	2026
	August
	DFRYBC58
	SEA_AAT1
	SEA
	SEA
	6

	2026
	August
	SGEOHU48
	221T355_1
	CHIEBR
	GEORGE
	6

	2026
	August
	DCDHMCS8
	3160__A
	CDCSW
	OKCLS
	6

	2026
	August
	SVEROK28
	SANDRO_VERS1_1
	VERS
	SANDROAD
	6

	2026
	August
	DWAP_JN5
	BI_WAP50_A
	WAP
	BI
	6

	2026
	August
	DOASSEB5
	WAPWLY72_A
	WLY
	WAP
	6

	2026
	August
	DALASOA8
	138_FTS_LNC_1
	FTST
	LEONCRK
	6

	2026
	August
	DWTRWLV5
	3610__G
	PGTP1
	PDSES
	6

	2026
	August
	SFMRRYS5
	400__A
	FMRVL
	RYSSW
	6

	2026
	August
	DWO5_EU8
	MIDGT_90_A
	GT
	MID
	6

	2026
	August
	SGRSMNW8
	MIL_LIPAN_1
	LONG
	LIPAN
	6

	2026
	August
	DPHRCTR5
	MDOPHR99_A
	MDO
	PHR
	6

	2026
	August
	SFMRRY25
	381__A
	FMRVL
	RYSSW
	5

	2026
	August
	DDILCOT8
	DILLEYSW_XF1H
	DILLEYSW
	DILLEYSW
	5

	2026
	August
	SABSBLU8
	ABNTHW_SERDEV1_1
	ABNTHWST
	ABNTHWST
	5

	2026
	August
	DRYSALN5
	COLLE_JUPIT_1
	COLLEGE
	JUPITER
	5

	2026
	August
	BASE CASE
	SOLSTICE_PST1
	SOLSTICE
	SOLSTICE
	5

	2026
	August
	DBUCRGP5
	651__B
	CMNSW
	CMNTP
	5

	2026
	August
	SHONF38
	HON_DEVI_1
	HONDOCK
	DEVINESW
	5

	2026
	August
	DBAKCED5
	LAKENA_SAMATH1_1
	LAKENASW
	SAMATHIS
	5

	2026
	August
	SWALNAA8
	COLLE_JUPIT_1
	COLLEGE
	JUPITER
	5

	2026
	August
	SPACVLS5
	403__A
	PRSSW
	VLYSO
	4

	2026
	August
	DELMSAN5
	POT_OAKS_1
	POTEETS
	OAKS9
	4

	2026
	August
	DBIGKEN5
	PALOUS_WOLFCA1_1
	PALOUSE
	WOLFCAMP
	4

	2026
	August
	SFURVAN8
	RAYBURN_69_2
	RAYBURN
	RAYBURN
	4

	2026
	August
	DFOAVLO5
	ASHERT_CATARI1_1
	CATARINA
	ASHERTON
	4

	2026
	August
	DLOFOAV5
	NLARSW_PILONC1_1
	PILONCIL
	NLARSW
	4

	2026
	August
	SEBHUG8
	DA_WC_89_A
	WC
	DA
	4

	2026
	August
	DBIGSCH5
	PALOUS_WOLFCA1_1
	PALOUSE
	WOLFCAMP
	4

	2026
	August
	MCYPHKB8
	1160__A
	HKBRY
	VLYRN
	4

	2026
	August
	MTRYBRO8
	6217__B
	MPPOI
	KEYSB
	4

	2026
	August
	DBRHLIG8
	6405__C
	HLSES
	RMTPW
	4

	2026
	August
	MJOSPO89
	GREENL_WEAVER1_1
	WEAVERRD
	GREENLK
	4

	2026
	August
	DBAKCED5
	HARGRO_TWINBU1_1
	TWINBU
	HARGROVE
	4

	2026
	August
	DBLBYWF5
	STPWAP39_1
	STP
	WAP
	4

	2026
	August
	DWPWFCK5
	STPWAP39_1
	STP
	WAP
	4

	2026
	August
	DPPRTEC8
	610__B
	TMPSW
	TMPSE
	4

	2026
	August
	DSCOTKW5
	6215__A
	BCKSW
	CGRSW
	4

	2026
	August
	SWOLPAL8
	CROSSO_PALOUS1_1
	PALOUSE
	CROSSOVE
	4

	2026
	August
	DLOFOAV5
	NLARSW_PILONC1_1
	NLARSW
	PILONCIL
	4

	2026
	August
	DZORHAY5
	BERGHE_AT1H
	BERGHE
	BERGHE
	4

	2026
	August
	XPRS58
	1561__C
	HWKSW
	DPREA
	3

	2026
	August
	SL_4RAY8
	RAYBURN_69_2
	RAYBURN
	RAYBURN
	3

	2026
	August
	SGRMGRS8
	6830__B
	CRDSW
	OLNEY
	3

	2026
	August
	SPETSNU8
	AE_STR26_A
	AE
	STR
	3

	2026
	August
	DCHBJO25
	CBYCVN86_A
	CBY
	CVN
	3

	2026
	August
	SBRAPIN8
	ESCOND_GANSO1_1
	ESCONDID
	GANSO
	3

	2026
	August
	SFTLMES8
	PALOUS_WOLFCA1_1
	PALOUSE
	WOLFCAMP
	3

	2026
	August
	DBIGSCH5
	TREADW_YELWJC1_1
	TREADWEL
	YELWJCKT
	3

	2026
	August
	DVENFTS5
	810__G
	RDHSW
	BLUMS
	3

	2026
	August
	XFTS89
	ALPINE_BRONCO1_1
	BRONCO
	ALPINE
	3

	2026
	August
	DCC1DUKE
	WESLCO_HIDLBRG_1
	MV_HBRG4
	MV_WESL4
	3

	2026
	August
	SCYPHKB8
	1160__A
	HKBRY
	VLYRN
	3

	2026
	August
	MBULNAV5
	35045__A
	SAMSW
	FVLSW
	3

	2026
	August
	SBRABND8
	FAI_COLL_1
	FAIRDALE
	COLLEGE
	3

	2026
	August
	SBGLTWI8
	LAKENA_SAMATH1_1
	LAKENASW
	SAMATHIS
	3

	2026
	August
	DSTOGAR8
	CKT_1027_1
	DUNLAP
	DECKER
	3

	2026
	August
	SBRAPIN8
	ESCOND_GANSO1_1
	GANSO
	ESCONDID
	3

	2026
	August
	STNFTAR8
	138_FTS_LNC_1
	FTST
	LEONCRK
	3

	2026
	August
	SBWDDBM5
	LPLNW_LPLMD_1
	LPLNW
	LPLMD
	3

	2026
	August
	SBLURDH8
	1210__B
	HUBRD
	HAN1
	3

	2026
	August
	SSAMTCR5
	505__B
	FBRSW
	THSES
	3

	2026
	August
	SSOLALM8
	COCS_FTST1_1
	FTST
	COCS
	2

	2026
	August
	DELMSAN5
	FURHMAN_VANDB_1
	FURHMAN
	VANBLTSS
	2

	2026
	August
	DFOWSMG5
	FWLRTN_TILDEN_1
	FOWLRTON
	TILDEN
	2

	2026
	August
	DYETRJU8
	HEXT_MASONS1_1
	HEXT
	MASONSW
	2

	2026
	August
	SOXYIN28
	I_DUPP_I_DUPS2_1
	I_DUPP1
	I_DUPSW
	2

	2026
	August
	BASE CASE
	RANDAD_ZAPATA1_1
	RANDADO
	ZAPATA
	2

	2026
	August
	DSALKLN5
	630__A
	BLTON
	BLTSW
	2

	2026
	August
	DLONPK25
	6375__A
	GRSES
	GRMES
	2

	2026
	August
	DBLUBUF8
	ABNTHW_SERDEV1_1
	ABNTHWST
	ABNTHWST
	2

	2026
	August
	SBENRAI8
	BENTS_FRTER_1B_1
	FRONTERA
	S_MISSIN
	2

	2026
	August
	XLAS95
	COCS_FTST1_1
	FTST
	COCS
	2

	2026
	August
	DBIGSCH5
	CROSSO_NORTMC1_1
	NORTMC
	CROSSOVE
	2

	2026
	August
	SFURVAN8
	RAY_L_46_1
	RAYBURN
	L_463S
	2

	2026
	August
	SODETES5
	6052__C
	QALSW
	TESSW
	2

	2026
	August
	SOXYIN28
	I_DUPP_I_DUPS2_1
	I_DUPSW
	I_DUPP1
	2

	2026
	August
	STARLEO8
	138_FTS_LNC_1
	LEONCRK
	FTST
	2

	2026
	August
	DTHSFBR5
	35045__A
	SAMSW
	FVLSW
	2

	2026
	August
	SECRDMT8
	6215__A
	BCKSW
	CGRSW
	2

	2026
	August
	DCPSST58
	651__B
	CMNSW
	CMNTP
	2

	2026
	August
	SSTPESP8
	BLESSI_PAVLOV1_1
	BLESSING
	PAVLOV
	2

	2026
	August
	DJN_RO28
	CE_OB_25_A
	OB
	CE
	2

	2026
	August
	SBRAHAM8
	ESCOND_GANSO1_1
	ESCONDID
	GANSO
	2

	2026
	August
	SAEDAB8
	FW_WEB04_A
	FW
	WEB
	2

	2026
	August
	BASE CASE
	X5_ALAMO1_1
	OCI_ALM1
	X5
	2

	2026
	August
	DFRYTM58
	630__A
	BLTON
	BLTSW
	2

	2026
	August
	DSALKLN5
	630__B
	KLNSW
	HHSTH
	2

	2026
	August
	DZORHAY5
	BERGHE_AT1L
	BERGHE
	BERGHE
	2

	2026
	August
	SCOLPAW5
	MAGRUD_VICTOR2_1
	VICTORIA
	MAGRUDER
	2

	2026
	August
	STULBAS8
	MAGRUD_VICTOR2_1
	VICTORIA
	MAGRUDER
	2

	2026
	August
	SSNYCGR8
	SNYDR_FMR1
	SNYDR
	SNYDR
	2

	2026
	August
	DWLDSCO5
	6217__B
	MPPOI
	KEYSB
	2

	2026
	August
	SJOSBRO8
	GREENL_WEAVER1_1
	WEAVERRD
	GREENLK
	2

	2026
	August
	DBIGKEN5
	NEVILL_NORTMC_1
	NEVILLSW
	NORTMC
	2

	2026
	August
	SFTSFVL5
	35055__A
	SAMSW
	VENSW
	2

	2026
	August
	SBRAHAM8
	ESCOND_GANSO1_1
	GANSO
	ESCONDID
	2

	2026
	August
	DELMSAN5
	F2_11_1
	KENEDSW
	F2
	2

	2026
	August
	DCRLLSW5
	LWSSW_FMR2
	LWSSW
	LWSSW
	2

	2026
	August
	SFURVAN8
	RAY_MOURSUND_1
	MOURSUND
	RAYBURN
	2

	2026
	August
	DWPWFWP5
	SN_STR26_A
	SN
	STR
	2

	2026
	August
	MDWTRWT5
	30__A
	RCHBR
	BBSES
	2

	2026
	August
	DBUCRGP5
	651__C
	CMNTP
	SHILO
	2

	2026
	August
	DSTPSTA5
	BLESSING_1382
	BLESSING
	BLESSING
	2

	2026
	August
	XDIL89
	DILLEYSW_XF1H
	DILLEYSW
	DILLEYSW
	2

	2026
	August
	DFOAVLO5
	FREER_LOBO1_1
	LOBO
	FREER
	2

	2026
	August
	DRENPLH8
	COLLE_JUPIT_1
	COLLEGE
	JUPITER
	2

	2026
	August
	STNAALA8
	138_FTS_LNC_1
	FTST
	LEONCRK
	1

	2026
	August
	DTVWJON5
	151__A
	CPSES
	WOFHO
	1

	2026
	August
	SHWKLBL8
	1545__A
	FLTSW
	PRSSW
	1

	2026
	August
	SPRAWAL8
	155T217_1
	BELLSO
	PT
	1

	2026
	August
	DSNDBGR5
	2340__D
	MCFSW
	MARAK
	1

	2026
	August
	STHSVE65
	35045__A
	SAMSW
	FVLSW
	1

	2026
	August
	SSPRVAL8
	595__A
	BNTSW
	DCATR
	1

	2026
	August
	MTRYBRO8
	6217__D
	KEYSB
	LMESA
	1

	2026
	August
	DKLNRGP5
	651__B
	CMNSW
	CMNTP
	1

	2026
	August
	DRGRPRM5
	6945__A
	MGSES
	CATSW
	1

	2026
	August
	SWAPWLY5
	CE_OB_25_A
	OB
	CE
	1

	2026
	August
	BASE CASE
	COCS_FTST1_1
	FTST
	COCS
	1

	2026
	August
	BASE CASE
	FURHMAN_VANDB_1
	FURHMAN
	VANBLTSS
	1

	2026
	August
	SSPJFS8
	GP_NM_94_A
	NM
	GP
	1

	2026
	August
	SRAYRI28
	HAINE__LA_PAL1_1
	LA_PALMA
	HAINE_DR
	1

	2026
	August
	SRAYRI38
	HAINE__OLEAND1_1
	HAINE_DR
	OLEANDER
	1

	2026
	August
	DBIGSCH5
	NEVILL_NORTMC_1
	NEVILLSW
	NORTMC
	1

	2026
	August
	SMOOPEA8
	PALDRO_DILLEY_1
	PALODURO
	DILLEYSW
	1

	2026
	August
	STNFTAR8
	SOLSTICE_PST1
	SOLSTICE
	SOLSTICE
	1

	2026
	August
	MJOSPO89
	VAN_VNDB_1
	VANBLTSS
	VANBLT69
	1

	2026
	August
	DDOWSEB5
	WAPWLY72_A
	WLY
	WAP
	1

	2026
	August
	MDWRTR25
	30__A
	RCHBR
	BBSES
	1

	2026
	August
	DFER_WI8
	37T187_1
	FERGUS
	SHERSH
	1

	2026
	August
	DDHMLWS5
	583__D
	DCRSW
	ALISN
	1

	2026
	August
	SMGIENW8
	921__F
	SHKSW
	GAMMA
	1

	2026
	August
	SCARFRI8
	ATSO_SONR1_1
	SONR
	ATSO
	1

	2026
	August
	DBAKCED5
	FORTMA_YELWJC1_1
	FORTMA
	YELWJCKT
	1

	2026
	August
	BASE CASE
	I_FW_N
	n/a
	n/a
	1

	2026
	August
	MCPRJCK8
	SN_STR26_A
	SN
	STR
	1

	2026
	August
	BASE CASE
	YELWJCKT_PS_1
	YELWJCKT
	YELWJCKT
	1

	2026
	August
	DBUCRGP5
	325__A
	BLFSW
	TMPCR
	1

	2026
	August
	DVLSPAC5
	389__A
	WDDSW
	MNSES
	1

	2026
	August
	SMYRSPR8
	583__D
	DCRSW
	ALISN
	1

	2026
	August
	SANGSTA5
	BLESSING_1382
	BLESSING
	BLESSING
	1

	2026
	August
	SDOWMOO8
	DOWNIES_AX1H
	DOWNIES
	DOWNIES
	1

	2026
	August
	SWAATH8
	FB_RS_60_A
	RS
	FB
	1

	2026
	August
	STARLEO8
	FTST_SOLSTI1_1
	FTST
	SOLSTICE
	1

	2026
	August
	SLGDSAP8
	LAKENA_SAMATH1_1
	LAKENASW
	SAMATHIS
	1

	2026
	August
	DBIGSCH5
	SANTAR_WOLFCA1_1
	WOLFCAMP
	SANTARIT
	1

	2026
	August
	MSNDWEY5
	SNDSW_MR1H
	SNDSW
	SNDSW
	1

	2026
	August
	MBONNED5
	WESLCO_HIDLBRG_1
	MV_HBRG4
	MV_WESL4
	1

	2026
	August
	SCYPCOM8
	122T122_1
	COMFOR
	RAYBAR
	1

	2026
	August
	DTCRTHS5
	35045__A
	SAMSW
	FVLSW
	1

	2026
	August
	DSALHUT5
	431__B
	BCESW
	BGRSW
	1

	2026
	August
	SVEAW_L5
	6217__B
	GAILS
	KEYSB
	1

	2026
	August
	XSNY89
	6690__D
	SSFTP
	SCURY
	1

	2026
	August
	SANACN25
	835__G
	GTRSW
	EPPOI
	1

	2026
	August
	SPEBTRU8
	940__B
	TMPTN
	WXHCH
	1

	2026
	August
	MAIRDAV8
	AIRLIN_B_DAVI2_1
	B_DAVIS
	AIRLINE
	1

	2026
	August
	DDUNLOS5
	AUSTRO_AT2H
	AUSTRO
	AUSTRO
	1

	2026
	August
	SDAFDES8
	CKT_1027_1
	DUNLAP
	DECKER
	1

	2026
	August
	DBAKCED5
	CROSSO_PALOUS1_1
	PALOUSE
	CROSSOVE
	1

	2026
	August
	DFOWSMG5
	GEO_SIG_1
	GEOWEST
	SIGMOR
	1

	2026
	August
	SCT2CAR8
	HAMILT_MAXWEL1_1
	MAXWELL
	HAMILTON
	1

	2026
	August
	SSTILOM8
	LA_PAL_VCAVAZ1_1
	LA_PALMA
	VCAVAZOS
	1

	2026
	August
	XMGS658
	MGSES_MR4H
	MGSES
	MGSES
	1

	2026
	August
	DOASSEB5
	SN_STR26_A
	SN
	STR
	1

	2026
	August
	BASE CASE
	138_ALV_NAL_1
	TNNALVIN
	ALVIN
	1

	2026
	August
	DWTRWLV5
	3170__B
	SMPST
	BNTDR
	1

	2026
	August
	DSALHUT5
	455__A
	BGRSW
	SNDSW
	1

	2026
	August
	XCMB58
	651__B
	CMNSW
	CMNTP
	1

	2026
	August
	SRYSCOM8
	870__C
	CMBTP
	CLKPT
	1

	2026
	August
	SSANFER8
	CORONA_AT4
	CORONA
	CORONA
	1

	2026
	August
	DVICEDN8
	FURHMAN_VANDB_1
	FURHMAN
	VANBLTSS
	1

	2026
	August
	SSTPESP8
	LAN_CT_PAVLOV1_1
	PAVLOV
	LAN_CTY
	1

	2026
	August
	XPRS58
	1561__A
	DPREA
	RCSES
	1

	2026
	August
	MSTBELB5
	31__A
	RCHBR
	TRSES
	1

	2026
	August
	SLWSLW28
	591_B_1
	LKPNT
	LWVTI
	1

	2026
	August
	SHOCHOC8
	BL_TAP05_1
	BL
	BL
	1

	2026
	August
	DB_DAIR8
	B_DAVI_PHARAO1_1
	B_DAVIS
	PHARAOH
	1

	2026
	August
	SILLFTL8
	CARVER_TINSLE1_1
	CARVER
	TINSLEY
	1

	2026
	August
	DFERWIR8
	CORONA_AT4
	CORONA
	CORONA
	1

	2026
	August
	DCAGMED8
	D5_S1_1
	HOWARD
	LEON_CRK
	1

	2026
	August
	DADJNBY8
	DT_PK_91_A
	PK
	DT
	1

	2026
	August
	SESPK8
	DT_PK_91_A
	PK
	DT
	1

	2026
	August
	SBVFB8
	FB_FL_60_A
	FB
	FL
	1

	2026
	August
	DGABGEA8
	GABRIE_AT1
	GABRIE
	GABRIE
	1

	2026
	August
	SSPJFS8
	GP_NM_94_A
	GP
	NM
	1

	2026
	August
	SHPDT9
	HOC_AT1
	HOC
	HOC
	1

	2026
	August
	BASE CASE
	KINNEY
	n/a
	n/a
	1

	2026
	August
	SMCEABS8
	MKLT_TRNT1_1
	TRNT
	MKLT
	1

	2026
	August
	DLOFOAV5
	SND_ORAN_1
	ORNGROV
	SNDIEGS
	1

	2026
	August
	SDIMBEV8
	UVALDE_W_BATE1_1
	W_BATESV
	UVALDE
	1

	2026
	August
	SWCOW2C8
	_WC_WCO_1
	WC
	WCOLMAIN
	1

	2026
	August
	SFRWMAI8
	138_ALV_NAL_1
	TNNALVIN
	ALVIN
	1

	2026
	August
	DTRSTRC5
	1852__A
	TRSES
	NPKTP
	1

	2026
	August
	DMLSE123
	31__A
	RCHBR
	TRSES
	1

	2026
	August
	SBCEBGR5
	421__A
	BCESW
	SNDSW
	1

	2026
	August
	BASE CASE
	455__A
	BGRSW
	SNDSW
	1

	2026
	August
	BASE CASE
	BAKRFLD_CEDCAN_1
	CEDACA
	BAKESW
	1

	2026
	August
	BASE CASE
	BENTS_FRTER_1B_1
	FRONTERA
	S_MISSIN
	1

	2026
	August
	MKNGSTE5
	BENTS_FRTER_1B_1
	FRONTERA
	S_MISSIN
	1

	2026
	August
	SPALFRO8
	BENTS_FRTER_1B_1
	FRONTERA
	S_MISSIN
	1

	2026
	August
	BASE CASE
	BL_TAP05_1
	BL
	BL
	1

	2026
	August
	DWAP_JN5
	CE_OB_25_A
	OB
	CE
	1

	2026
	August
	DSKYCAL5
	D5_S1_1
	HOWARD
	LEON_CRK
	1

	2026
	August
	DCALBEC8
	N3_U2_1
	CALAVERS
	BRAUNIG
	1

	2026
	August
	SMOOPEA8
	POT_OAKS_1
	POTEETS
	OAKS9
	1

	2026
	August
	SWALWLN8
	SABIN_NEVAD_1
	NEVADA
	SABNCRKT
	1

	2026
	August
	MDOGLN8
	SND_ORAN_1
	ORNGROV
	SNDIEGS
	1

	2026
	August
	SRAYHAR8
	WESLCO_HIDLBRG_1
	MV_HBRG4
	MV_WESL4
	1

	2026
	August
	SCOMCYP8
	122T122_1
	COMFOR
	RAYBAR
	1

	2026
	August
	DPHRAL58
	138_ALV_NAL_1
	TNNALVIN
	ALVIN
	1

	2026
	August
	DWPWFWP5
	155T217_1
	BELLSO
	PT
	1

	2026
	August
	DSALHUT5
	1710__B
	SONTERRA
	JREST
	1

	2026
	August
	DSNDBGR5
	2340__D
	MARAK
	MCFSW
	1

	2026
	August
	DWCSRAM5
	35100__A
	PKRSW
	HCKSW
	1

	2026
	August
	DVENFTS5
	505__B
	FBRSW
	THSES
	1

	2026
	August
	STCRTHS5
	505__B
	FBRSW
	THSES
	1

	2026
	August
	DCDHTVW5
	6200__E
	PRKRW
	TYPRK
	1

	2026
	August
	SRICGRS8
	6840__B
	NVKSW
	ANARN
	1

	2026
	August
	DBAKCED5
	6965__A
	LNGSW
	PRLSW
	1

	2026
	August
	XSA4N89
	BALLINGE_FMRL
	BALLINGE
	BALLINGE
	1

	2026
	August
	SHONMOO8
	FER_DOWNI_1
	DOWNIES
	FERRISW
	1

	2026
	August
	SSCJFS8
	GP_NM_94_A
	GP
	NM
	1

	2026
	August
	SBRAPIN8
	HAMILT_MAVERI1_1
	HAMILTON
	MAVERICK
	1

	2026
	August
	DRNS_TB5
	MIDGT_90_A
	GT
	MID
	1

	2026
	August
	SOBWA2P5
	OB_WAP99_A
	WAP
	OB
	1
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