## Slide 1: WMWG update to wms October 7, 2026 Amanda Frazier, WMWG Chair

## Slide 2: AGENDA
NPRRS ready for WMS vote:
  NPRR1340 – DRRS WITH ESR Participation
NPRRs Still with WMWG
  NPRR1278 – Establishing Advanced Grid Support Service as an Ancillary Service
  NPRR1333 – Establish an Incentive Program for Advanced Grid Support
Other Business
  Discussion on COP SOC
  Fall RUC A/S deployment factors
  Discussion on FPA §202(c) Orders
  Ader pilot phase 4

## Slide 3
Discussion of Revision Requests
NPRR1340 – Dispatchable Reliability Reserve Service Ancillary Service Involving Energy Storage Resource Participation
ERCOT clarified that their 9/24 comments were limited to typo corrections related to NPRR1309 and did not include any substantive changes to the NPRR1340 ESR-related content.
ERCOT reminded stakeholders of the December Board of Directors voting timeline required to support implementation of DRRS with ESRs at initial launch.
Stakeholders were generally supportive of advancing the NPRR at both the August and September WMWG meetings.

## Slide 4
Discussion of Revision Requests
  NPRR1278 - Establishing Advanced Grid Support Service as an Ancillary Service – Tabled for additional discussion
  NPRR1333 - Establish an Incentive Program for Advanced Grid Support – Tabled for additional discussion
  Updates were not provided at the August or September meetings. ERCOT requested stakeholder feedback on NPRR1333 but reported that comments were not received.

## Slide 5
Other Business
  Update on COP SOC RUC Issue
  ERCOT completed its first round of outreach and education efforts to reduce flat COP HBSOC submissions. Results showed a dramatic reduction in flat HBSOC submissions.
    A May 28 snapshot showed 43% of submissions with flat profiles while a September 15 snapshot showed only 12% of submissions with flat profiles.
  ERCOT has updated the Business Practice Manual on “COP Practices by QSEs” to clarify the ESR COP HBSOC submission expectations.
  ERCOT will continue monitoring RUC activity drivers, HBSOC submissions and their impact on RUC. They will continue necessary outreach effort and have not ruled out further actions if flat submissions continue.
  The IMM suggested that improving HBSOC submissions alone will not fully resolve the issue and proposed optimizing battery SOC directly within RUC, which would require potentially significant system changes.
  Some market participants expressed support for the IMM’s recommended approach, and asked ERCOT to evaluate whether there is any interim or bridge solution short of implementing significant system changes.
  DAM ESR Behavior Analysis
  ERCOT also analyzed ESR DAM offer behavior throughout 2026, comparing to 2025 data. The analysis found no broad shift in ESR offer strategies between TPO and AS offers. Increased EEO activity was largely attributed to specific speculative activity and two settlement points.
  ERCOT found no clear evidence linking DAM ESR offer behavior to increased summer RUC activity.
Notes: Flat-COP-HBSOC-submission-update.pdf

## Slide 6
Other Business
  Fall 2026 RUC Ancillary Service Deployment Factors
  ERCOT presented the fall RUC ASDFs, noting that the same methodology from the winter, spring and summer will apply to the fall season.
    The fall factors generally follow prior seasonal patterns, with non zero ECRS and Non-Spin ASDFs in morning hours and increased factors beginning in HE16 and extending through HE1.
    The Regulation ASDF table did not change, but ERCOT highlighted the slight uptick in Fall Reg-Up deployment factors in HE13-HE14 and increase in Reg-Down deployment factors in HE19-HE21.
  Discussion focused on how deployment factors affect the representation of battery capability and the allocation of energy and ancillary services in RUC.

## Slide 7
Other Business
  Update on FPA §202(c) Orders
  LCRA internally investigated the feasibility of ERCOT issuing an RFI to improve visibility into available backup generation capacity.
    LCRA suggested an RFI for existing large loads with aggregated backup generation minimum size threshold of 10 MW; future loads could provide information through the Batch Process.
  Questions remain regarding how participants would indicate their willingness to support voluntary deployment and whether participation could overlap with the Large Load Demand Management program.
  ERCOT plans to examine the DWG survey for potential backup generation capacity information and will continue working on other open items.
  Looking for WMS champion to replace Blake Holt for this topic.

## Slide 8
Other Business
  ADER Pilot Phase 4
  ERCOT provided an update on ADER Pilot Phase 4, which would introduce an ADESR model for aggregated distributed storage. ADESRs would be registered, modeled, and dispatched similarly to DESRs using a single CIM load.
  ERCOT noted that existing ALR and NCLR participation options would remain unchanged, including their current participation caps, while the proposed ADESR model would not initially be subject to a system-wide energy participation cap.
  ERCOT and stakeholders discussed nodal dispatch and zonal settlement for ADESRs, and nodal settlement was identified as a future objective of the pilot program.
  ERCOT plans to continue stakeholder and DSP discussions, with the Phase 4 governing document publishing targeted for October 12 and DSWG review on October 19. Board approval is targeted for December.

## Slide 9: THANK YOU