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	Comments


Respondent supports the concepts advanced in Nodal Protocol Revision Request (NPRR) 1348 and other Large Load Working Group (LLWG) proposals that enable load customers to finance net new, reliable generation. ERCOT should advance rules that make these investments possible.
Respondent acknowledges ERCOT’s concerns about complexity and competing priorities, and its request to table NPRR1348.[1] Respondent notes, however, that the Withdrawal-Limited Private Use Network (WLPUN) and Provisional Controllable Load Resource (PCLR) constructs previously introduced in Planning Guide Revision Request (PGRR) 145, Batch Zero Process for Large Load Interconnections, for Batch Zero are only half the solution and are widely viewed by stakeholders as insufficient to drive load customer investment in generation.
Customers cannot bring their own generation unless they receive credit through accelerated energization and the ability to use that generation to manage their own flexibility in real-time operations. 
Generation should be credited in planning studies, operations, or ideally both, subject to commissioning and demonstrated deliverability. Luminary and Cipher’s comments support addressing curtailment risk with verified performance, enforceable operating obligations, and safeguards against double counting.[2,3]
Absent a framework that allows load customers to finance generation, Respondent believes 1) WLUN/PCLR constructs will be largely unutilized by the market, 2) ERCOT’s confidence that the generation interconnection queue can meet future customer load needs will continue to decline, and 3) the share of customer load that can be served by committed generation will remain stagnant. This would miss an opportunity to link investment in net new generation to demand and avoid malinvestment.
Respondent believes ERCOT’s reluctance to advance these constructs will eventually be at odds with state leadership and Public Utility Commission of Texas (PUCT) direction supporting customers bringing their own generation.[5,6] State leaders, the PUCT, and stakeholders will ultimately demand rules that enable new load-sponsored generation. Tabling NPRR1348 will only defer the discussion unnecessarily.
ERCOT should complete a focused review of this concept and report back at the next PRS meeting.[3,4] Planning concepts for load-sponsored generation should proceed in parallel with NPRR1348 and other proposals for real-time operations.
References
[1] ERCOT comments, October 6, 2026.
[2] Luminary Strategies comments, October 6, 2026.
[3] Cipher Digital comments, October 8, 2026.
[4] Global Capacity Alliance comments, October 7, 2026.
[5] Office of the Governor, data center audit directive, August 3, 2026; data center standards announcement, August 18, 2026.
[6] ERCOT, PUCT approval of Batch Zero, June 18, 2026.
	Revised Cover Page Language


None.
	Revised Proposed Protocol Language


None.
1348NPRR-06 Schaper Energy Consulting Comments 100926	Page 1 of 2
PUBLIC
