## Slide 1: Nodal Protocol Revision Requests
NPRR1340, Dispatchable Reliability Reserve Service Ancillary Service with Energy Storage Resource Participation. This Nodal Protocol Revision Request (NPRR) adds Energy Storage Resource (ESR) participation to the Dispatchable Reliability Reserve Service (DRRS) Ancillary Service. In addition to eligible Off-Line Generation Resources and On-Line Generation Resources, this provides the framework for ESRs to provide DRRS. ESR participation in DRRS would only be permitted using the discharge capability, not the charging capability (i.e., positive High Sustained Limit (HSL)).
Comments: ERCOT Credit Staff does has reviewed the NPRR and determine that it does not involve any changes to the methodology of calculating Total Potential Exposure (TPE) / Estimated Aggregate Liability (EAL)/Minimum Current Exposure (MCE). It does require changes to Section 16.11.4, Determination and Monitoring of Counter-Party Credit Exposure, to include in the Unbilled Day-Ahead Amounts (UDAA) and Real-Time Liability Completed and Not Settled (RTLCNS) components of the EAL and MCE to account for any payments or charges arising from the introduction of the Dispatchable Reliability Reserve Service (DRRS) Ancillary Service(under NPRR1309). This may result in either a higher or lower TPE.
NPRR1343, Introduction of PTP Obligation Bid Fee in DAM. This Nodal Protocol Revision Request (NPRR) proposes the introduction of a bid fee for each inefficient hourly Point-to-Point (PTP) Obligation bid in the Day-Ahead Market (DAM). The fee will be assessed per inefficient PTP hourly bid and will be modifiable. Changes to the fee will be recommended by WMS, approved by TAC, and communicated to Market Participants in advance of the DAM run in which the change will take effect.
Comments: ERCOT Credit Staff does has reviewed the NPRR and determine that it does not involve any changes to the methodology of calculating Total Potential Exposure (TPE) / Estimated Aggregate Liability (EAL). It does require changes to Section 16.11.4, Determination and Monitoring of Counter-Party Credit Exposure, to include in the Unbilled Day-Ahead Amounts (UDAA) component of the EAL to account for any charges arising from the introduction of PTP Obligation Bid Fee in DAM. This may result in an increase in TPE.

## Slide 2: Nodal Protocol Revision Requests
NPRR1350, Revisions to Section 22 Attachments A through N for the Market Participant Service Portal (MPSP). This Nodal Protocol Revision Request (NPRR) continues the automation of outdated email-based form submissions by Market Participants to ERCOT, facilitating streamlined digital processing of these submissions via the Market Participant Service Portal (MPSP). These previously emailed forms will now be entered by MPs directly into the new portal.
Comments: ERCOT Credit Staff has reviewed the NPRR and does not believe it requires any changes to credit monitoring activities or the calculation of liability.
NPRR1351, Revisions to Section 23 Forms for the Market Participant Service Portal (MPSP). This Nodal Protocol Revision Request (NPRR) continues the automation of outdated email-based form submissions by Market Participants to ERCOT, facilitating streamlined digital processing of these submissions via the Market Participant Service Portal (MPSP). These previously emailed forms will now be entered by MPs directly into the new portal. The forms themselves will remain in the Protocols so that stakeholders can see a visual of the information they will be prompted to enter into the portal and make revisions to the forms as needed
Comments: ERCOT Credit Staff has reviewed the NPRR and does not believe it requires any changes to credit monitoring activities or the calculation of liability.