## Slide 1: Generation Resource Energy and Regulation Deployment Performance Report September 2026
Outline:
NON-IRR GREDP
IRR GREDP
IRR ≥ 95%, Scored Intervals ≥ 100
IRR < 95%, Scored Intervals ≥ 100

## Slide 2: Non-IRR GREDP – September 2026
Resource Name | Total Intervals Passed | Total Intervals Scored | Std. Dev. (GREDP MW) | GREDP Monthly Score
Unit 289 | 6679 | 8157 | 5.26 | 81.88
Non-IRR Resources below the 85% threshold, September 2026:

## Slide 3: IRR GREDP – September 2026
IRR | Fleet | GREDP < 95% | Intervals ≥ 100, GREDP < 95%
GREDP Average (%) | 83.05 | 67.40 | 75.45
GREDP Median (%) | 87.01 | 75.51 | 75.94
Total Intervals Scored | 31758 | 15976 | 13154
Units with ≥ 100 Intervals Scored | 109 | 54 | 54
Total Intervals Scored Average | 127 | 244 | 244
IRR Resource Metrics, September 2026:

## Slide 4: IRR ≥ 95%, Scored Intervals ≥ 100 – September 2026
Resource Name | Total Intervals Passed | Total Intervals Scored | Monthly GREDP Score
Unit 2 | 434 | 447 | 97.09
Unit 10 | 211 | 219 | 96.35
Unit 12 | 154 | 159 | 96.86
Unit 23 | 128 | 131 | 97.71
Unit 24 | 716 | 717 | 99.86
Unit 27 | 532 | 532 | 100
Unit 44 | 188 | 188 | 100
Unit 45 | 191 | 191 | 100
Unit 46 | 317 | 319 | 99.37
Unit 53 | 132 | 132 | 100
Unit 54 | 126 | 126 | 100
Unit 64 | 211 | 214 | 98.6
Unit 65 | 212 | 214 | 99.07
Unit 79 | 179 | 182 | 98.35
Unit 88 | 276 | 285 | 96.84
Unit 89 | 364 | 364 | 100
Unit 116 | 211 | 211 | 100
Unit 120 | 132 | 137 | 96.35
Unit 126 | 289 | 289 | 100
Unit 134 | 113 | 113 | 100
Unit 135 | 111 | 114 | 97.37
Unit 138 | 291 | 296 | 98.31
Unit 139 | 275 | 278 | 98.92
Unit 144 | 266 | 266 | 100

## Slide 5: IRR ≥ 95%, Scored Intervals ≥ 100 – September 2026
Resource Name | Total Intervals Passed | Total Intervals Scored | Monthly GREDP Score
Unit 146 | 153 | 159 | 96.23
Unit 152 | 399 | 402 | 99.25
Unit 153 | 122 | 123 | 99.19
Unit 155 | 132 | 132 | 100
Unit 163 | 130 | 130 | 100
Unit 167 | 281 | 285 | 98.6
Unit 171 | 122 | 127 | 96.06
Unit 172 | 198 | 205 | 96.59
Unit 179 | 104 | 104 | 100
Unit 188 | 111 | 116 | 95.69
Unit 190 | 154 | 154 | 100
Unit 192 | 267 | 277 | 96.39
Unit 196 | 310 | 313 | 99.04
Unit 198 | 159 | 165 | 96.36
Unit 200 | 221 | 221 | 100
Unit 207 | 102 | 105 | 97.14
Unit 208 | 102 | 105 | 97.14
Unit 209 | 208 | 210 | 99.05
Unit 210 | 805 | 813 | 99.02
Unit 211 | 175 | 176 | 99.43
Unit 213 | 113 | 113 | 100
Unit 215 | 657 | 659 | 99.7
Unit 220 | 334 | 334 | 100

## Slide 6: IRR ≥ 95%, Scored Intervals ≥ 100 – September 2026
Resource Name | Total Intervals Passed | Total Intervals Scored | Monthly GREDP Score
Unit 221 | 294 | 308 | 95.45
Unit 226 | 112 | 112 | 100
Unit 228 | 145 | 145 | 100
Unit 232 | 96 | 100 | 96
Unit 233 | 182 | 185 | 98.38
Unit 234 | 1268 | 1300 | 97.54
Unit 242 | 122 | 122 | 100
Unit 245 | 286 | 293 | 97.61

## Slide 7: IRR < 95%, Scored Intervals ≥ 100 – September 2026
Resource Name | Total Intervals Passed | Total Intervals Scored | Monthly GREDP Score
Unit 1 | 133 | 228 | 58.33
Unit 3 | 214 | 231 | 92.64
Unit 5 | 411 | 951 | 43.22
Unit 6 | 97 | 123 | 78.86
Unit 7 | 58 | 154 | 37.66
Unit 9 | 175 | 235 | 74.47
Unit 19 | 59 | 110 | 53.64
Unit 21 | 135 | 178 | 75.84
Unit 26 | 124 | 137 | 90.51
Unit 28 | 125 | 146 | 85.62
Unit 34 | 139 | 183 | 75.96
Unit 35 | 154 | 183 | 84.15
Unit 41 | 80 | 163 | 49.08
Unit 42 | 91 | 107 | 85.05
Unit 55 | 226 | 253 | 89.33
Unit 94 | 112 | 203 | 55.17
Unit 95 | 100 | 117 | 85.47
Unit 98 | 200 | 242 | 82.64
Unit 100 | 91 | 109 | 83.49
Unit 101 | 31 | 113 | 27.43
Unit 105 | 114 | 171 | 66.67
Unit 106 | 181 | 191 | 94.76
Unit 107 | 340 | 382 | 89.01

## Slide 8: IRR < 95%, Scored Intervals ≥ 100 – September 2026
Resource Name | Total Intervals Passed | Total Intervals Scored | Monthly GREDP Score
Unit 108 | 532 | 567 | 93.83
Unit 109 | 522 | 561 | 93.05
Unit 111 | 137 | 150 | 91.33
Unit 112 | 247 | 262 | 94.27
Unit 115 | 189 | 255 | 74.12
Unit 117 | 64 | 152 | 42.11
Unit 121 | 359 | 387 | 92.76
Unit 129 | 148 | 158 | 93.67
Unit 145 | 200 | 211 | 94.79
Unit 158 | 159 | 211 | 75.36
Unit 159 | 172 | 213 | 80.75
Unit 162 | 540 | 669 | 80.72
Unit 170 | 244 | 421 | 57.96
Unit 183 | 24 | 199 | 12.06
Unit 195 | 273 | 298 | 91.61
Unit 197 | 149 | 224 | 66.52
Unit 199 | 110 | 131 | 83.97
Unit 203 | 46 | 188 | 24.47
Unit 204 | 86 | 111 | 77.48
Unit 205 | 170 | 186 | 91.4
Unit 206 | 474 | 568 | 83.45
Unit 214 | 80 | 163 | 49.08
Unit 219 | 184 | 195 | 94.36

## Slide 9: IRR < 95%, Scored Intervals ≥ 100 – September 2026
Resource Name | Total Intervals Passed | Total Intervals Scored | Monthly GREDP Score
Unit 222 | 163 | 205 | 79.51
Unit 223 | 182 | 219 | 83.11
Unit 224 | 232 | 255 | 90.98
Unit 227 | 185 | 223 | 82.96
Unit 237 | 148 | 160 | 92.5
Unit 239 | 167 | 224 | 74.55
Unit 240 | 196 | 239 | 82.01
Unit 241 | 217 | 239 | 90.79

## Slide 10: Thank you!