APPROVED

Minutes of the Technical Advisory Committee (TAC) Meeting – Webex Only

Wednesday, August 26, 2026 – 9:30 a.m.

| TAC Representatives: |  |  |
| --- | --- | --- |
| Bonskowski, Ned | Vistra Operations Company (Vistra) |  |
| Campo, Curtis | Garland Power & Light System (GP&L) |  |
| Carpenter, Jeremy | Tenaska Power Services (Tenaska) |  |
| Cochran, Seth | Vitol Inc |  |
| Coleman, Diana | City Public Service Board (CPS Energy) | Alt. Rep. for David Kee |
| Fehrenbach, Nick | City of Dallas |  |
| Garza, Beth | TAC Residential Consumer |  |
| Gaytan, Jose | Denton Municipal Electric (DME) |  |
| Haley, Ian | Trafigura Trading LLC |  |
| Harpole, Jay | APG&E |  |
| Helton, Bob | Engie North America (Engie) |  |
| Hendrix, Chris | Demand Control 2 |  |
| Henson, Martha | Oncor Electric Delivery (Oncor) |  |
| Holt, Blake | Lower Colorado River Authority (LCRA) |  |
| John, Ebby | CenterPoint Energy (CNP) |  |
| Kent, Garret | CMC Steel Texas (CMC Steel) |  |
| Loving, Alicia | Austin Energy |  |
| Minnix, Kyle | Brazos Electric Power Cooperative (Brazos) |  |
| Nix, Keith | Texas-New Mexico Power Company (TNMP) |  |
| Rasmussen, Erin | American Electric Power Service Corporation (AEPSC) |  |
| Reid, Mike | Air Liquide |  |
| Rurode, Will | Office of Public Utility Council (OPUC) |  |
| Sams, Bryan | Constellation Energy Generation (Constellation) |  |
| Schmitt, Jennifer | Rhythm Ops |  |
| Smith, Caitlin | Jupiter Power |  |
| Thomas, Shane | Shell Energy North America (SENA) | Alt Rep. for Resmi Surendran |
| Turner, Lucas | South Texas Electric Cooperative (STEC) | Alt. Rep. for John Packard |
| Wilson, Joe Dan | Golden Spread Electric Cooperative (GSEC) | Alt. Rep. for Mike Wise |

The following proxies were assigned:

- Chris Brewster to Beth Garza

- Bill Barnes to Jennifer Schmitt

Guests:

| Ahuja, Manan |  |  |
| --- | --- | --- |
| Aldridge, Ryan | AB Power |  |
| Anderson, Connor | AB Power Advisors |  |
| Anderson, Kevin |  |  |
| Ashley, Kristy | Customized Energy Solutions (CES) |  |
| Banerjee, Ruchira | FID |  |
| Barati, Camron |  |  |
| Barkley, Benjamin | OPUC |  |
| Barrett, Jeffrey | Apex Clean Energy |  |
| Barretto, Chantelle | LCRA |  |
| Basaran, Harika | Public Utility Commission of Texas (PUCT) |  |
| Bateman, Brett |  |  |
| Beckmann, Kara | NextEra |  |
| Bertin, Suzanne |  |  |
| Bevill, Robert |  |  |
| Bigbee, Nathan |  |  |
| Blakey, Eric | PEC |  |
| Blankenship, David |  |  |
| Blevins-Cipher, Bill |  |  |
| Borkar, Sandeep | EPE |  |
| Brammah, Jonny | Voltus |  |
| Brasel, Kade | CPS Energy |  |
| Briggs, Lindsay | EPE |  |
| Brown, Chris | PUCT |  |
| Bruce, Mark |  |  |
| Bueno, Michael |  |  |
| Bulzak, Jacob | PUCT |  |
| Burke, Tom | Intersect |  |
| Burkhead, Brett |  |  |
| Burnett, Chad |  |  |
| Cardiel, Jonathan | PUCT |  |
| Carswell, Cory W |  |  |
| Claiborn-Pinto, Shawnee |  |  |
| Clark, Georgia | HEN |  |
| Coan, Rusty A. |  |  |
| Cockrell, Justin | DC Energy |  |
| Coelho, Henrique |  |  |
| Cole, Paul |  |  |
| Corrales, Susana | RWE |  |
| Crist, Kelly | Total Energies |  |
| Curtis, James | CES |  |
| DiPastena, Phil |  |  |
| Dollar, Zachary | PUCT |  |
| Endress, Eric |  |  |
| Fan, Rio |  |  |
| Ferreira, Heverton | GridMonitor |  |
| Filho, Renato |  |  |
| Forman, Owen |  |  |
| Funsten, Melissa |  |  |
| Gallagher, Anneliese |  |  |
| Gauldin, Julie | PUCT |  |
| Gayhart, Chris | CIM View |  |
| Ghoshal, Orijit |  |  |
| Gianni, Juliana | Goff Policy |  |
| Gilman, Portia | Yes Energy |  |
| Gleason, William | PUCT |  |
| Gontijo, Bianca | Serena |  |
| Green, Alex | Mercuria |  |
| Greth, Nolan |  |  |
| Grimes, Jordan |  |  |
| Gross, Katherine |  |  |
| Hanson, Kevin | Invenergy Energy Management |  |
| Hathiyaldeniye, Thilini | EPE |  |
| Hemmeline, Charlie | ACP |  |
| Henderson, Ricky |  |  |
| Hering, David | BTU |  |
| Hobbs, Kristi |  |  |
| Holland, Anthony |  |  |
| Hopley, George |  |  |
| Jalan, Raunakk |  |  |
| Kata, Naresh |  |  |
| Kee, David | CPS Energy |  |
| Keefer, Andrew | Intersect |  |
| Keller, Jenna | PUCT |  |
| Kemp, Sarah |  |  |
| Kester, Erin |  |  |
| Khodabakhsh, Fred |  |  |
| King, Marc | CenterPoint Energy |  |
| King, Tristan |  |  |
| Kinser, Glenn | TotalEnergies (TGPNA) |  |
| Kirby, Brandon |  |  |
| Kleckner, Tom |  |  |
| Klug, Jack | City of Eastland |  |
| Kremling, Barry |  |  |
| Kumar, Shilpi Sunil | MARA |  |
| Lacina, Bryan |  |  |
| Lee, Jim | CenterPoint Energy |  |
| Leverett, Travis |  |  |
| Levine, Jonathan |  |  |
| Lewis, Lauren | Texas Industrial Energy Consumers (TIEC) |  |
| Li, Jialin |  |  |
| Lim, Eddy |  |  |
| London, Joshua |  |  |
| Lundry, LaRissa | AEP |  |
| Macias, Jesse | AEP Texas |  |
| Maggio, Dave |  |  |
| Majidi, Mohammad | COP |  |
| Marakani, Hrishi | OPUC |  |
| Martin, Loretto | Reliant |  |
| McClellan, Suzi |  |  |
| McDonald, Jeff | Potomac Economics |  |
| McElroy, Randall | OPUC |  |
| McGraw, Dan | MLP |  |
| McKeever, Debbie | Oncor |  |
| Mendoza, Albert | OxyChem |  |
| Mohapatra, Durga |  |  |
| Moser, Jesse |  |  |
| Mushtaq, Basit | ZEG |  |
| Nelson, Declan |  |  |
| Nicholson, Tyler | PUCT |  |
| Noffsinger, Jesse |  |  |
| Northup, Chris |  |  |
| Novosad, Dilan | ZEG |  |
| Orta, Joey |  |  |
| Parekh, Vaibhav | New Project Media |  |
| Parlin, Elliot |  |  |
| Patel, Kevin |  |  |
| Pearson, Arthur |  |  |
| Pearson, Kelsey | Longhorn Power |  |
| Pham, Linh |  |  |
| Poursoltan, Cameron | Data Center Coalition |  |
| Pullela, Suma |  |  |
| Ramirez, Joshua | Repsol |  |
| Ratliff, Shannon |  |  |
| Ravulapati, Bharath | Crusoe |  |
| Reed, Ronald |  |  |
| Reedy, Steve | CIM View |  |
| Reid, Anna |  |  |
| Reimers, Andrew | Potomac Economics |  |
| Reinisch, Michael | Potomac Economics |  |
| Rich, Katie | Vistra Operations Company |  |
| Richmond, Michele |  |  |
| Richter, Jeffrey |  |  |
| Rochelle, Jenni | CES |  |
| Rosel, Austin |  |  |
| Roth, Werner |  |  |
| Ryall, Jean |  |  |
| Saeed, Hasan |  |  |
| Sauers, Victor | TKO Energy Capital |  |
| Schatz, John | Vistra |  |
| Schubert, Eric |  |  |
| Schwarz, Brad | Sharyland |  |
| Sersen, Juliana |  |  |
| Sharma, Sandip |  |  |
| Siddiqi, Shams | Crescent Power Consulting |  |
| Silva, Patricio | Enel |  |
| Singh, Rinny |  |  |
| Sipple, Chris | Sagefield Capital |  |
| Smith, Rachel |  |  |
| Snyder, Bill | AEP Texas |  |
| Spalek, Matt | AEP |  |
| Stanton, Jim |  |  |
| Stark, Melissa |  |  |
| Sweeney, Cara | CPS Energy |  |
| Tay, Sing |  |  |
| Teng, Shuye | Constellation Energy Generation |  |
| Thompson, David L. |  |  |
| Tierney-Lloyd, Mona |  |  |
| True, Roy | ACES |  |
| Tucker, Travis |  |  |
| Tulenko, Tyler |  |  |
| Velasquez, Ivan |  |  |
| Villanueva, Luisa |  |  |
| Wagner, Julia | PUCT |  |
| Walker, Floyd | PUCT |  |
| Ward, Nicole |  |  |
| Ward, Spencer | Digital Infrastructure Network |  |
| Ware, Kip |  |  |
| Watson, Markham |  |  |
| Westphal, Igor |  |  |
| Willard, Daniel | Austin Energy |  |
| Williams, John |  |  |
| Williams, Wes | Bryan Texas Utilities |  |
| Willmann, Sarah | CIM View |  |
| Winegeart, Michael | Lubbock Power & Light |  |
| Winker, Anjie |  |  |
| Withrow, Kent |  |  |
| Wittmeyer, Bob |  |  |
| Woods, Brad | Texas Reliability Entity, Inc. (Texas RE) |  |
| Wyman, Constance McD |  |  |
| Yepo, Fabian |  |  |
| Young, Jack |  |  |
| Young, Tyler |  |  |
| Zang, Hailing |  |  |
| Zhang, Bryan |  |  |
| Zhang, Wanjing |  |  |
| Zito, David | Gabel Associates |  |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  |  |
| Anderson, Troy |  |  |
| Arni, Samia |  |  |
| Arth, Matthew |  |  |
| Azeredo, Chris |  |  |
| Bauld, Mandy |  |  |
| Bhatia, Nisha |  |  |
| Bhattarai, Bishnu prasad |  |  |
| Billo, Jeff |  |  |
| Boren, Ann |  |  |
| Callender, Wayne |  |  |
| Cantu, Jorge |  |  |
| Chen, Jian |  |  |
| Chu, Zhengguo |  |  |
| Collins, Keith |  |  |
| Dashnyam, Sanchir |  |  |
| Deller, Art |  |  |
| Drake, Gordon |  |  |
| Du, Pengwei |  |  |
| El-Madhoun, Mohamed |  |  |
| Fabricant, Sam |  |  |
| Fiset, Alexandre |  |  |
| Fohn, Douglas |  |  |
| Garcia, Freddy |  |  |
| Gari, Abhilash Masanna |  |  |
| Garza, Thelma |  |  |
| Golen, Robert |  |  |
| Gonzalez, Ino |  |  |
| Gravois, Patrick |  |  |
| Gusman, Amy |  |  |
| Gwinn, Diane |  |  |
| Hailu, Ted |  |  |
| Hartmann, Jimmy |  |  |
| Hinojosa, Jose Luis |  |  |
| Holden, Curry |  |  |
| Huang, Fred |  |  |
| Hunsucker, Brett |  |  |
| Insall, Jerry |  |  |
| Jessett, Nicholas |  |  |
| Johnson, Daniel Jr |  |  |
| Kansal, Prashant |  |  |
| King, Ryan |  |  |
| Klinglesmith, William |  |  |
| Lightener, Debbie |  |  |
| Liu, Hesen |  |  |
| Loera, Amy |  |  |
| Lowe, William |  |  |
| Magarinos, Marcelo |  |  |
| Mago, Nitika |  |  |
| Mantena, Dan |  |  |
| Matlock, Robert |  |  |
| McDowell, Matthew |  |  |
| Mereness, Matt |  |  |
| Michelsen, David |  |  |
| Miller, Megan |  |  |
| Modarresi, Sadegh |  |  |
| Mohanadhas, Thinesh Devadhas |  |  |
| Morales, Elizabeth |  |  |
| Nguyen, Betty |  |  |
| Pagano, Elizabeth |  |  |
| Parakkuth, Jayapal |  |  |
| Parthasarathy, Priyanka |  |  |
| Patterson, Mark |  |  |
| Petro, Nick |  |  |
| Phillips, Cory |  |  |
| Ramthun, Eli |  |  |
| Schmall, John |  |  |
| Schmidt, Matthew |  |  |
| Shanks, Magie |  |  |
| Sheets, Jarod |  |  |
| Sills, Alex |  |  |
| Smith, Ira |  |  |
| Solchaga, Jose |  |  |
| Stewart, Tammy |  |  |
| Stroope, Barbara |  |  |
| Sumruld, Lisa |  |  |
| Switzer, Christina |  |  |
| Thatte, Anupam |  |  |
| Troublefield, Jordan |  |  |
| White, Camden |  |  |
| Woodfin, Dan |  |  |
| Zapanta, Zaldy |  |  |
| Zerwas, Rebecca |  |  |
| Zhang, Lin |  |  |
| Zhou, Xiaolu |  |  |
| Parakkuth, Jayapal |  |  |
| Parthasarathy, Priyanka |  |  |
| Patterson, Mark |  |  |
| Petro, Nick |  |  |
| Phillips, Cory |  |  |
| Ramthun, Eli |  |  |
| Schmall, John |  |  |
| Schmidt, Matthew |  |  |
| Shanks, Magie |  |  |
| Sheets, Jarod |  |  |
| Sills, Alex |  |  |
| Smith, Ira |  |  |
| Solchaga, Jose |  |  |
| Stewart, Tammy |  |  |
| Stroope, Barbara |  |  |
| Sumruld, Lisa |  |  |
| Switzer, Christina |  |  |
| Thatte, Anupam |  |  |
| Troublefield, Jordan |  |  |
| White, Camden |  |  |
| Woodfin, Dan |  |  |
| Zapanta, Zaldy |  |  |
| Zerwas, Rebecca |  |  |
| Zhang, Lin |  |  |
| Zhou, Xiaolu |  |  |

Unless otherwise indicated, all Market Segments participated in the votes.

Caitlin Smith called the August 26, 2026 meeting to order at 9:33 a.m.

Antitrust Admonition

Ms. Smith directed attention to the displayed Antitrust Admonition and noted that the Antitrust Guidelines are available for review on the ERCOT website.

Approval of TAC Meeting Minutes (see Key Documents)

July 29, 2026

Participants reviewed the minutes; there were no revisions offered.  Ms. Smith noted there were no objections to including these items on the Combined Ballot.

Meeting Updates

Ms. Smith noted the day’s TAC meeting was the last opportunity to advance items for consideration at the September Board meeting and potential approval by the Public Utility Commission of Texas (PUCT) before year’s end.

PUCT Open Meeting Updates

Harika Basaran thanked stakeholders for the State of the Market annual workshop, and for communications regarding the Ancillary Service Methodology options.  Ms. Basaran requested timely stakeholder input for Project 34677, Reports of the Independent Market Monitor for the ERCOT Region; 59550, Quinquennial Review of the System-Wide Offer Cap Programs under 16 TAC Section 25.509(d), and Project 58555, ERCOT Ancillary and Reliability Services Cost Allocation Study Pursuant to PURA 39.1593.

Review of Revision Request Summary/ERCOT Market Impact Statement/Opinions (See Key Documents)

Ann Boren presented a Revision Request Summary, including the ERCOT Market Impact Statements, ERCOT Opinions, IMM Opinions, Credit Finance Sub Group (CFSG) review, budgetary impacts, and reasons for revisions for Revision Requests to be considered by TAC.

Protocol Revision Subcommittee (PRS) (See Key Documents)

Diana Coleman reviewed PRS activities and presented Revision Requests for TAC consideration.

Nodal Protocol Revision Request (NPRR) 1214, Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk

Participants reviewed the 8/11/26 Revised Impact Analysis for NPRR1214 and discussed a potential  phased implementation so that the Real-Time Reliability Deployment Price Adder (RTRDPA) portion of NPRR1214 could be implemented first.  Ms. Smith noted there were no objections to including this item on the Combined Ballot.

NPRR1329, Resource Entity Requirements for Self-Limiting Facilities

Ms. Smith noted there were no objections to including this item on the Combined Ballot.

NPRR1331, Unannounced Generation Capacity Testing

Ms. Smith noted there were no objections to including this item on the Combined Ballot.

NPRR1335, Implementation of PUCT Changes to Firm Fuel Supply Service for Phase 3 – URGENT

Ms. Smith noted there were no objections to including this item on the Combined Ballot.

NPRR1336, Language Clean-up for NPRR1188 Implementation – URGENT

Ms. Smith noted there were no objections to including this item on the Combined Ballot.

NPRR1337, ERS Enhancements – URGENT

Ms. Smith noted there were no objections to including this item on the Combined Ballot.

NPRR1338, Restructure Long-Term Auction Sequence Auctions to Six Monthly Optimizations

Participants reviewed the 5/29/26 Impact Analysis for NPRR1338.  Ms. Smith noted there were no objections to including this item on the Combined Ballot.

NPRR1339, Protocol Clean Up and Alignment with RTC+B Implementation

Ino Gonzalez reviewed the 8/14/26 ERCOT comments correcting the misalignment of the Constraint Management Plan Cost Recover Payment equation.  Ms. Smith noted there were no objections to including this item on the Combined Ballot.

NPRR1341, Related to LPGRR077, Profile Decision Tree Excel-to-Word Conversion

Ms. Smith noted there were no objections to including this item on the Combined Ballot.

NPRR1342, Mitigated Offer Caps for Contract for Capacity Resources – URGENT Combo

Participants reviewed the 6/30/26 Impact Analysis for NPRR1342; and discussed the plan to implement NPRR1342 in conjunction with NPRR826, Mitigated Offer Caps for RMR Resources.  Ms. Smith noted there were no objections to including this item on the Combined Ballot.

NPRR1344, Move OBD to Section 19 – Texas Market Test Plan – URGENT

Ms. Smith noted there were no objections to including this item on the Combined Ballot.

Retail Market Subcommittee (RMS) Report (See Key Documents)

John Schatz reviewed RMS activities and presented Revision Requests for TAC consideration.

Load Profiling Guide Revision Request (LPGRR) 077, Profile Decision Tree Excel-to-Word Conversion

Ms. Smith noted there were no objections to including this item on the Combined Ballot.

Retail Market Guide Revision Request (RMGRR) 186, Related to LPGRR077, Profile Decision Tree Excel-to-Word Conversion

Ms. Smith noted there were no objections to including this item on the Combined Ballot.

Reliability and Operations Subcommittee (ROS) Report (See Key Documents)

Shane Thomas reviewed ROS activities and presented a Revision Request for TAC consideration.

Planning Guide Revision Request (PGRR) 144, Dynamic Model Submission and Review Requirements for Large Loads including Large Computational Loads

Lauran Lewis presented the 8/3/26 TIEC comments, expressed concern for the risk of new design requirements for Industrial Consumers without a demonstrated reliability need, and proposed limiting requirements to Large Computational Loads (LCLs).  Participants discussed PGRR144 being independent of the “Batch Zero” process, opined that the model submission process is increasingly challenging, and debated whether dynamic modeling requirements should be limited to LCLs.  Fred Huang confirmed that PGRR144 is intended as a complement to Nodal Operating Guide Revision Request (NOGRR) 282, Board Priority – Large Computational Load Ride-Through Requirements, offered that a holistic review of model submission should be undertaken, and requested that TAC advance PGRR144 while discussions continue.

Blake Holt moved to recommend approval of PGRR144 as recommended by ROS in the 8/6/26 ROS Report.  Chris Hendrix seconded the motion.  The motion carried with three opposing votes from the Consumer (CMC Steel, Air Liquide, City of Dallas) Market Segment, and four abstentions from the Consumer (3) (Residential, OPUC, City of Eastland), and Independent Retail Electric Provider (IREP) (APG&E) Market Segments.  All Market Segments participated in the vote. (Please see ballot posted with Key Documents.)

Wholesale Market Subcommittee (WMS) Report (See Key Documents)

Mr. Holt provided an update on WMS activities, noting WMS discussion of ERCOT’s proposed 2027 Ancillary Services Methodology and concerns raised including risk credits, forecast inaccuracies, and increased forced Outages.

2027 Ancillary Services Methodology (see Key Documents)

Luis Hinojosa presented ERCOT’s 2027 Ancillary Services Methodology, previously discussed at ROS and WMS, along with new analysis regarding event probability, with no changes for Regulation Service or Responsive Reserve (RRS) Service methodologies but using updated 2026 data.  Mr. Hinojosa noted that ERCOT proposed a measured update to the risk credit parameter in probabilistic methodology to compute ERCOT Contingency Reserve Service (ECRS) and Non-Spinning Reserve Service (Non-Spin) requirements, reflecting increased historic headroom observed under Real-Time Co-optimization plus Batteries (RTC+B) and growth in installed solar and Energy Storage Resources (ESRs) capacity.  Participants proposed revisions to the proposed methodology to use a zero percent risk credit.

Ned Bonskowski moved to endorse the 2027 Ancillary Services Methodology as presented by ERCOT as revised by TAC.  Mr. Holt seconded the motion.  Participants considered revisions to the proposed methodology to use a zero percent risk credit.  The motion failed with 14 opposing votes from the Consumer (5) (CMC Steel, Air Liquide, Residential Consumer, OPUC, City of Eastland),  Independent Power Marketer (IPM) (Vitol), IREP (Rhythm Ops), Investor Owned Utility (IOU) (3) (Oncor, TNMP, CNP) and Municipal (4) (CPS Energy, Austin Energy, DME, GP&L) Market Segments, and six abstentions from the Consumer (City of Dallas), IPM (Tenaska), IREP (3) (APG&E, Demand Control 2, Reliant), and IOU (AEPSC) Market Segments.  All Market Segments participated in the vote.  (Please see ballot posted with Key Documents.)

Participants debated whether TAC should remand discussion of the 2027 Ancillary Services Methodology back to the subcommittees and discussed the Hunt Energy Network comments to the methodology, as well as the Independent Market Monitor’s (IMM’s) memorandum of August 25, 2026.  Participants proposed additional revisions to the 2027 Ancillary Services Methodology to use a zero percent risk credit and not procure to backfill Regulation.

Mr. Helton moved to endorse the 2027 Ancillary Services Methodology as presented by ERCOT as revised by TAC.  Mr. Bonskowski seconded the motion.  Participants considered revisions to the proposed methodology to use a zero percent risk credit and remove Regulation Up from minimum reserve criteria.  The motion failed with 15 opposing votes from the Consumer (6) (CMC Steel, Air Liquide, Residential Consumer, OPUC, City of Dallas, City of Eastland), Cooperative (LCRA), IREP (Rhythm Ops), IOU (3) (Oncor, TNMP, CNP) and Municipal (4) (CPS Energy, Austin Energy, DME, GP&L) Market Segments, and nine abstentions from the Cooperative (2) (GSEC, STEC), IPM (3) (Tenaska, Vitol, Trafigura Trading), IREP (3) (APG&E, Demand Control 2, Reliant), and IOU (AEPSC) Market Segments.  All Market Segments participated in the vote.  (Please see ballot posted with Key Documents.)

Mr. Holt moved to endorse the 2027 Ancillary Services Methodology as presented by ERCOT.  Ms. Henson seconded the motion.  The motion failed with six opposing votes from the Consumer (5) (CMC Steel, Air Liquide, Residential Consumer, OPUC, City of Eastland), and IREP (Rhythm Ops) Market Segments, and eight abstentions from the IPM (4) (Tenaska, Vitol, SENA, Trafigura Trading), IREP (2) (APG&E, Demand Control 2), and Municipal (2) (CPS Energy, Austin Energy) Market Segments.  All Market Segments participated in the vote.  (Please see ballot posted with Key Documents.)

Ms. Basaran asked whether ERCOT and stakeholders would be able to agree on an alternate version of the methodology, and participants discussed how the PUCT might revise it or direct that effort.  ERCOT agreed to make additional considerations when developing ERCOT Board and PUCT material. Some participants expressed concern for using Reliability Unit Commitment (RUC) to address Ancillary Services, citing the proposal’s late disclosure; others noted that ERCOT has acknowledged using RUC, and that it had been widely discussed in stakeholder meetings and referenced by the Independent Market Monitor (IMM).

Large Load Issues (see Key Documents)

Batch Zero Update

Jeff Billo provided a Batch Zero update, summarizing ERCOT’s response to Governor Greg Abbott’s August 3, 2026 directive, and ERCOT’s Good Cause Exceptions and process updates.  Christina Switzer reported ERCOT’s planned activities to carry out Governor Abbott’s directive, including verification that large loads included in Batch Zero met the eligibility requirements, and a separate audit of the state and community impact of large and medium data center loads, and reported that provisional classifications would be communicated to Transmission Service Providers.

Large Load Working Group (LLWG) Report

Bob Wittmeyer reviewed recent LLWG activities, reported that the North American Electric Reliability Corporation (NERC) would file new or modified Reliability Standards to address the reliability risks associated with the integration of LCLs, including any associated Glossary definitions, by December 31, 2026, and requested assistance from developers and vendors in understanding solutions for voltage ride-through.

Update on Workshops for Comprehensive Transmission Planning and Batch 1+

Matt Mereness provided a brief update on the scope of comprehensive transmissions planning, which proposes to integrate the batch process, streamline modeling and planning processes, and define clear governance handoffs.

ERCOT Reports (see Key Documents)

Stakeholder Engagement for September Board

Ms. Boren reported that the stakeholder engagement topic for the September ERCOT Board meeting would be comprehensive transmission planning.  Ms. Boren also reminded participants that TAC leadership is seeking a TAC member to speak at the annual ERCOT Membership meeting in December 2026, and that past speakers came from the Cooperative, IOU, and Consumer Market Segments.

ERCOT.com Redesign Update

Priyanka Parthasarathy provided an update on the redesign of ERCOT.com and requested stakeholder feedback via a provided SurveyMonkey link or QR code.

Grid Research Innovation and Transformation (GRIT) Update

Prashant Kansal provided an update on ERCOT GRIT initiatives and requested feedback on white papers and proofs-of-concept, available on the GRIT landing page of ERCOT.com.  Market Participants identified cross-related issues with voltage ride-through and suggested engaging the LLWG.

Identity and Access Management Program and Market Participant Service Portal (IAM/MPSP)

Ted Hailu and Nick Jessup presented how ERCOT is modernizing its interactions with Market Participants through two related programs that change how users are authenticated and authorized to access ERCOT systems and automate many manual processes through a MPSP and announced a September 21, 2026 workshop.

Other Business (See Key Documents)

December 7, 2026 Annual Membership Meeting TAC Speaker

Ms. Henson reminded participants of the opportunity to deliver a presentation at the Annual Membership Meeting.

Action Items List Review

Ms. Henson reviewed the open action item list and recommended removing Item 2 as TAC had placed recommended approval of NPRR1337 on the Combined Ballot.  TAC closed the item and removed it from the Open Action Items list:

2.  Review pre-deployment and participation of price-responsive loads in ERS (NPRR1337)

Combined Ballot

Ms. Smith moved to approve the Combined Ballot as follows:

- To approve the July 29, 2026 Meeting Minutes as presented

- To recommend approval of NPRR1214 as recommended by PRS in the 8/12/26 PRS Report

- To recommend approval of NPRR1329 as recommended by PRS in the 8/12/26 PRS Report

- To recommend approval of NPRR1331 as recommended by PRS in the 8/12/26 PRS Report

- To recommend approval of NPRR1335 as recommended by PRS in the 8/12/26 PRS Report

- To recommend approval of NPRR1336 as recommended by PRS in the 8/12/26 PRS Report

- To recommend approval of NPRR1337 as recommended by PRS in the 8/12/26 PRS Report

- To recommend approval of NPRR1338 as recommended by PRS in the 8/12/26 PRS Report

- To recommend approval of NPRR1339 as recommended by PRS in the 8/12/26 PRS Report as amended by the 8/14/26 ERCOT comments

- To recommend approval of NPRR1341 as recommended by PRS in the 8/12/26 PRS Report

- To recommend approval of NPRR1342 as recommended by PRS in the 8/12/26 PRS Report

- To recommend approval of NPRR1344 as recommended by PRS in the 8/12/26 PRS Report

- To recommend approval of LPGRR077 as recommended by RMS in the 8/11/26 RMS Report

- To recommend approval of RMGRR186 as recommended by RMS in the 8/11/26 RMS Report

Mr. Holt seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Ms. Henson adjourned the August 26, 2026 TAC meeting at 4:21 p.m.

# Key Documents referenced in these minutes may be accessed on the ERCOT website at:

# https://www.ercot.com/calendar/08262026-TAC-Meeting-_-Webex