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	Validation for ROS Standing Representatives
	Suzy Clifton 
	  9:15 a.m. 

	[bookmark: OLE_LINK1][bookmark: OLE_LINK2][bookmark: OLE_LINK3][bookmark: OLE_LINK4] 1.
	Antitrust Admonition
	Shane Thomas 
	  9:30 a.m.

	 2. 
	Agenda Review
	Shane Thomas
	

	 3.
	Approval of ROS Meeting Minutes (Vote)
	Shane Thomas
	

	
	· October 1, 2026
	
	

	 4. 
	Technical Advisory Committee (TAC) Update
	Shane Thomas
	

	 5.
	ERCOT Reports and Updates 
	
	  9:40 a.m. 

	
	· Operations Report   
	Alex Lee
	

	
	· System Planning Report   
	Ping Yan  
	

	 6.
	Protocol Revision Subcommittee (PRS) Referrals (Vote) 
· NPRR1349, 765 kV Transmission Outage Priority and Modeling Timelines
	
	  9:50 a.m. 

	 7.
	ROS Revision Requests (Vote)
	Shane Thomas
	  10:00 a.m. 

	
	Impact Analysis
	
	

	
	· NOGRR288, Related to NPRR1340, Dispatchable Reliability Reserve Service Ancillary Service with Energy Storage Resource Participation
	
	

	
	Language Review (None)
	
	

	  8.
	Dynamics Working Group (DWG)
	Aditi Upadhyay
	  10:10 a.m. 

	
	· DWG Leadership – Vice Chair Amir Exir, Pedernales Electric Cooperative (Vote) 
	
	

	  9.
	Revision Requests Tabled without Referral (Possible Vote)
	Shane Thomas
	  10:20 a.m. 

	
	NOGRRs
	
	

	
	· NOGRR284, Related to NPRR1310, Dispatchable Reliability Reserve Service Plus Energy Storage Resource Participation and Release Factor
	
	

	
	· NOGRR289, Extension for LCL Cooling Load Ride-Through Compliance (Urgent) 
	
	

	
	PGRRs
	
	

	
	· PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions  
	
	

	
	· PGRR122, Reliability Performance Criteria for Loss of Load (DWG/PLWG have concluded discussion) 
	
	  

	
	NPRRs (None) 
	
	

	10. 
	Combo Ballot (Vote)
	Shane Thomas
	10:50 a.m. 

	
	Break
	
	10:55 a.m.

	11. 
	Operations Training Working Group (OTWG)
	Manuel Sanchez
	11:05 a.m. 

	12.
	Network Data Support Working Group (NDSWG)
	Teddi Flessner
	11:15 a.m. 

	13. 
	Steady State Working Group (SSWG)
	Chris Ramirez
	11:25 a.m. 

	14.
	Voltage Profile Working Group (VPWG)
	Charles Aleman
	11:35 a.m. 

	15.
	Other Business
	Shane Thomas
	11:45 a.m.  

	
	· 2027 ERCOT Membership / Segment Representative Elections
	Suzy Clifton
	

	
	· Review Open Action Items List
	
	

	
	· No Report
	
	

	
	· Black Start Working Group (BSWG) 
	
	

	
	· Inverter-Based Resource Working Group (IBRWG)
	
	

	
	· Meter Working Group (MWG)
	
	

	
	· Operations Working Group (OWG)
· NPRR1278, Establishing Advanced Grid Support Service as an Ancillary Service (OWG) 
	
	

	
	· Performance, Disturbance, Compliance Working Group (PDCWG)
	
	

	
	· Planning Working Group (PLWG) (Possible Vote) 
	
	

	
	· PGRR124, ESR Maintenance Exception to Modifications (DWG, PLWG)  
	
	

	
	· PGRR142, In-kind Definition for Generation (DWG, PLWG)  
	
	

	
	· PGRR147, Allowable Non-Consequential Load Loss Alignment (PLWG)
	
	

	
	· System Protection Working Group (SPWG)
	
	

	
	Adjourn

	Shane Thomas
	  11:50 p.m. 

	
	Future ROS Meetings
	
	

	
	· December 3, 2026
	
	

	
	· January 7, 2027
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	Item
	Open Action Items
	Responsible 
	Notes
	Assigned 

	1
	Develop guidance and recommendations for adjusting transmission reclosing and sectionalizing schemes that would significantly improve the IBR ride through probability and be reasonable to accomplish. Examples to look at would be no reclosing on 3 phase faults and adding current sensing directional intelligence on sectionalizing schemes to reduce number of times system is hit with faults.
	IBRWG
SPWG
	
	03/07/2023

	2
	ERCOT Nodal ICCP Communication Handbook – update to include review of what is binding and what is nonbinding, consider what is in reference material, OBD and Operating Guide, and then figure out repository

	NDSWG
	Update:  Leadership started reviewing at 4/16/24 NDSWG meetings
David Blankenship has asked NDSWG leadership for update.  Aug 2022 NDSWG meeting appears to be last action on this item since update on 04/01/2021
Update:  effort restarted and being reviewed next few meetings
	05/02/2024


11/02/2023

04/01/2021 
05/02/2019
04/04/2019

	3
	[bookmark: _Hlk180755361]Align the use of the terms “load” and “Load” in the Planning Guide with the defined term in Protocol Section 2.
	PLWG
	Dylan Preas provided update – reviewing Planning Guide
PLWG leadership brought forward challenges, noting that no one committed to take up.  Ms. Rich confirmed the scope is limited to the Planning Guide.  ERCOT Staff committed to review the issues, but due to the significant effort, are unable to commit to a timeline for a holistic approach.  Participants discussed and were in consensus that ERCOT Staff efforts to review term alignment in RRs moving forward as a more appropriate solution to the issues. 
	01/09/2025 

10/03/2024









09/09/2024
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