Nodal Operating Guide Revision Request
	NOGRR Number
	290
	NOGRR Title
	Update to Section 1.5.4, ERCOT Severe Weather Drill

	Date Posted
	November 10, 2026

	
	

	Requested Resolution 
	Normal

	Nodal Operating Guide Sections Requiring Revision 
	1.5.4, ERCOT Severe Weather Drill

	Related Documents Requiring Revision/Related Revision Requests
	None

	Revision Description
	This Nodal Operating Guide Revision Request (NOGRR) revises Section 1.5.4 to align language for the annual severe weather drill with current practices. Specifically, the revision: 
(1) replaces references to the Operations Working Group (OWG) in paragraphs (1)(a) and (1)(c) of Section 1.5.4 with references to “the working group designated by the Reliability and Operations Subcommittee (ROS),” reflecting that ERCOT develops the annual severe weather drill with the Working Group designed by ROS, currently, the Operations Training Working Group (OTWG);
(2) clarifies the obligation in the existing language by relocating the scheduling and communication-function testing of the primary or backup control centers from paragraph (1) of Section 1.5.4 to paragraph (2); and
(3) removes obligations in paragraph (3) of Section 1.5.4 that are more appropriately addressed in the applicable stakeholder group’s Scope document.

	Reason for Revision
	[image: ]  Strategic Plan Objective 1 – Be an industry leader for grid reliability and resilience
[image: ]  Strategic Plan Objective 2 - Enhance the ERCOT region’s economic competitiveness with respect to trends in wholesale power rates and retail electricity prices to consumers
[image: ]  Strategic Plan Objective 3 - Advance ERCOT, Inc. as an independent leading industry expert and an employer of choice by fostering innovation, investing in our people, and emphasizing the importance of our mission
  General system and/or process improvement(s)
[image: ]  Regulatory requirements
[image: ]  ERCOT Board/PUCT Directive

(please select ONLY ONE – if more than one apply, please select the ONE that is most relevant)


	Justification of Reason for Revision and Market Impacts
	ERCOT identified through an internal compliance review that the annual severe weather drill development and reporting activities described in Section 1.5.4 are, in current practice, carried out through the OTWG rather than the OWG, and that the working group responsible for this function has changed over time at the direction of the ROS from the OWG to the OTWG (both of which report to ROS) without a corresponding update to Section 1.5.4. 
This NOGRR replaces the specific working group name in paragraphs (1)(a) and (1)(c) of Section 1.5.4 with a generic reference to "the working group designated by ROS." This approach allows ROS to reassign this function among its working groups without requiring a future Revision Request each time the assignment changes.
Furthermore, relocating the obligation language of scheduling and communication-function testing of the primary or backup control centers from paragraph (1) of Section 1.5.4 to paragraph (2) clarifies that Transmission Operators (TOs) and Qualified Scheduling Entities (QSEs) that represent Generation Resources or Energy Storage Resources (ESRs) attend the annual severe weather drill in order to test the scheduling and communication functions of their respective primary or backup control centers. This corrects the current language, which could be interpreted as ERCOT being responsible for testing those functions on behalf of TOs and QSEs that represent Generation Resources or ESRs. 
Finally, this NOGRR deletes paragraph (3) of Section 1.5.4, which requires a stakeholder working group to review and critique the results of completed drills, recommend changes as necessary to ERCOT, and report those drill results to ROS, as stakeholder group obligations are more appropriately included in the applicable stakeholder group’s Scope document. This NOGRR does not change which Entities are required to participate in the severe weather drill and does not impose any new or additional obligation beyond the existing attendance and testing requirements.



	Opinions

	Credit Review
	To be determined

	Independent Market Monitor Opinion
	To be determined

	ERCOT Opinion
	ERCOT supports approval of NOGRR290.

	ERCOT Market Impact Statement
	ERCOT Staff believes NOGRR290 aligns current severe weather drill practices by clarifying the working group involved in drill development with ERCOT and clarifying the responsibilities of TOs and QSEs that represent Generation Resources or ESRs for testing the scheduling and communication functions of their respective primary or backup control centers.



	Sponsor

	Name
	Aaron Ballew; Shane Herrera

	E-mail Address
	Aaron.Ballew@ercot.com; Shane.Herrera@ercot.com 

	Company
	ERCOT

	Phone Number
	512-248-3099; 512-248-3819

	Cell Number
	

	Market Segment
	Not Applicable



	Market Rules Staff Contact

	Name
	Elizabeth Morales

	E-Mail Address
	Elizabeth.morales@ercot.com

	Phone Number
	210-420-1722



	Proposed Guide Language Revision


1.5.4	ERCOT Severe Weather Drill 
(1)	An annual severe weather drill will be held to test the scheduling and communication functions of the primary and/or backup control centers and to train operators in emergency procedures.  On an annual basis, ERCOT shall:
(a)	Develop and coordinate the severe weather drill, with assistance from the  working group designated by the Reliability and Operations Subcommittee (ROS)Operations Working Group (OWG), the severe weather drill;
(b)	Conduct a severe weather drill; and
(c)	Verify and rReport Entity participation attendance in the severe weather drill separately to the working group designated by ROS (in an anonymized and aggregated fashion)OWG, the Reliability Monitor (on an Entity level), and the NERC Regional Entity (on an Entity level).
(2)	TOs and QSEs that represent Generation Resources and/or ESRs are required to participate inattend the annual severe weather drill and test the scheduling and communication functions of their respective primary or backup control centers.
(3)	On an annual basis, OWG shall:
(a)	Review and critique the results of completed severe weather drills to ensure effectiveness and recommend changes as necessary to ERCOT; and
(b)	Report results of the severe weather drill to the Reliability and Operations Subcommittee (ROS).
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