# ERCOT Operations Bulletin 13

Revised the Day Ahead section of the Operating Procedure Manual.  Most changes were made to incorporate TCNs added since the last revision in April 2002.  Some changes were made to improve the readability of certain procedure steps without changing the activity.

Summary Of Changes To The Frequency Desk Operating Procedure

For Version 2.0, Rev 2

| Current Page | New Page | Current Task # | New Task # | Comment |
| --- | --- | --- | --- | --- |
| 4 | 5 | 1.3 | 1.3 | Added Definition “Block Load Transfer” |
| 5 | 6 | 1.3 | 1.3 | Added Definition “Non-spinning reserve, QSE, SCE.” |
| 5 | 6 | 1.3 | 1.3 | Added Definition “QSE” |
| 5 | 6 | 1.3 | 1.3 | Added Definition “SCE” |
| 6 | 8 | 2.1.1 Note |  | Updated Appendix Number |
| 6 | 8 | 2.1.1.2b |  | Reference display not needed “FD3, FD6” |
| 7 | 9 | 2.1.1.4 |  | Frequency Desk deploys Non-Spin not the Operating Period Desk “Changed Operating Period to Frequency Desk.” |
| 7 | 9 | 2.1.1.5 |  | Reference display not needed “FD3” |
| 7 | 9 | 2.1.1 Note |  | Removed note. Have a display showing LaaRs (FD20) |
| 7 | 9 | 2.1.1.6 |  | Added Reference display “FD20” |
| 7 | 9 | 2.1.1.7 |  | Change “Document” to “LOG” to be consist with other parts of the Procedure |
| 8 | 10 | 2.2.1 Note |  | Added Instructions on creating a VDI number. Steve Myers memo |
| 8 | 11 | 2.1.2.1 |  | Correct Spelling and added Appendix number |
| 11 | 13 | 2.1.3 Note |  | Added information for Operator “See Appendix 7” |
| 11 | 13 | 2.1.3.2 |  | Corrected reference display number and added a new reference display. Removed FD16 Replaced with FD19 and added FD21” |
| 11 | 13 | 2.1.3.6 |  | Changed wording to be consistence with other parts of Procedure |
| 12 | 14 | 2.2.1 |  | Added instruction for making QSE Hot Line Test |
| 13 | 15 | 2.2.1 |  | Added instruction for making QSE Hot Line Test |
| 14 | 16 | 2.3.1.1 |  | Incorporated feedback from operators and corrected date in Example |
| 15 | 17 | 2.4.1.1 | 2.4.1.3 | Changed to reflect actual process |
| 15 | 17 | 2.4.1.5 |  | TCN change on 08/21/02 Steve Myers |
| 15 | 17 | 2.4.1 | 2.4.1.8 | Added logging information |
| 16 | 18 | 2.4.2 | 2.4.2.5 | Added logging information |
|  | 19 |  | 2.4.3 | Moved Procedure from Day A Head Desk to Frequency Desk TCN 07/29/02 Steve Myers |
|  | 20 |  | 2.4.4 | Added Monitor load Forecast to Frequency Desk. |
| 17 | 21 | 2.4.3 | 2.4.5.2 | TCN change 08/20/02 John Adams “Added examples” |
| 18 | 22 | 2.5.1.3 |  | Removed Reference display not needed |
| 18 | 22 | 2.5.1.7 |  | Added information for logging. |
| 19 | 23 | 2.5.2.3 | 2.5.2 Note | Removed (OCN) OCN does not apply to this step. |
| 19 | 23 | 2.5.2 | 2.5.2.3 | Added ENS to Notify Market Participants |
| 19 | 23 | 2.5.2.4 |  | Added Logging Information “Removed OCN and changed Document to LOG” |
| 20 | 24 | 2.5.3.1 |  | Added information to help define task. |
| 20 | 24 | 2.5.3.4 | 2.5.3.3 | Added wording to improve meaning of task. |
| 20 | 24 | 2.5.3.5 | 2.5.3.4 | Changed wording to improve meaning of task |
| 20 | 24 | 2.5.3.6 | 2.5.3.5 | Changed wording to improve intent of task |
| 20 | 24 |  | 2.53 | Added script for step 4 |
| 21 | 26 | 2.6.1 |  | Removed line due to redundancy with next line “Objectives: Never Operate with Frequency ~” |
| 21 | 26 | 2.6.1.2 |  | Changed values per TCN 10/01/02 John Adams |
| 20 | 27 |  | 2.6.1.5 | Added logging |
| 24 | 28 | 2.6.3.5 |  | Remove “Hotline” added group or individual calls, added explanation of why 30 minute notice. |
| 24 | 28 | 2.6.3.7 |  | Added wording to match Steve Myers memo |
| 24 | 29 |  | 2.6.3.8 | Per NERC guidelines |
| 24 | 29 | 2.6.3.8 | 2.6.3.9 | Added wording to match Steve Myers memo |
| 24 | 29 | 2.6.3.8 | 2.6.3.10 | Changed wording to be consistent with rest of procedures |
| 26 | 31 | 2.7.2 Note |  | Remove “Typically” explanation per TCN 08/08/02 Steve Myers |
| 28 | 32 | 2.7.2 Note |  | Remove explanation per TCN 08/08/02 Steve Myers |
| 30 | 33 | 2.7.3.1 |  | Added reference display “FD20” |
| 30 | 33 | 2.7.3.1a |  | Added “unit trip, unit limitation” |
| 30 | 33 | 2.7.3.1b |  | Added Columbus Control Area in SPP (DC tie Operator) |
| 31 | 34 |  | 2.7.3.1c | Changed wording to have Frequency Desk Notify Southwest Power Pool |
| 31 | 34 | 2.7.3 | 2.7.3.2b | Incorporated feedback from operators |
| 32 | 35 | 2.7.3.2e | 2.7.3.2f | Added appendix number |
| 32 | 35 |  | 2.7.3.3b | Incorporated feedback from operators |
| 32 | 36 |  | 2.7.3.4b | Incorporated feedback from operators |
| 33 | 37 | 2.7.4 | NOTE | Added reference display “FD20” |
| 35 | 39 | 2.7.4.1c | 2.7.4.1c | Added security coordinator |
| 36 | 40 |  | 2.8.1.1 | Changed wording to improve meaning of step. Changed IF to WHEN. |
| 36 | 40 |  | 2.8.1.2 | Added wording to improve meaning of task |
| 36 | 40 |  | 2.8.1.3 | Added wording to improve meaning of task |
|  | 45 |  | 3.3 | Added Appendix 3 Block Load Transfer |
| 40 | 46 | 3.3 | 3.4 | Updated Load Shed Table |
| 41 | 47 | 3.4 | 3.5 | Changed wording Per Jessica Bian Memo 07/16/02 |
| 43 | 49 | 3.5 | 3.6 | Replaced VDI form with new VDI form per TCN 04/22/02 HSM.01 Steve Myers |
|  | 51 |  | 3.8 | Added appendix 8 Methodology for Determining NSRS |
|  | 52 |  | 3.9 | Added appendix 9 QSE requirement report for Day Ahead |
|  | 53 |  | 3.10 | Corrected mapping of reference displays |
|  | 53 |  | 3.10 | Added FD20 Load Acting As Resource |
|  | 53 |  | 3.10 | Added FD21 QSE Summary |
|  | 53 |  | 3.10 | Added FD22 Ancillary Service Market |
|  | 53 |  | 3.10 | Added Daily Operation Plan |
|  | 53 |  | 3.10 | Added Appendix 11 Market Participants |

A copy of this document is located at: http://www.ercot.com/AboutERCOT/PublicDisclosure/ERCOTProcedures.htm