# ERCOT Operations Bulletin 60

TC # 89 – Verbal Dispatch Exception

# Effective Date:  January 12, 2004

# Expiration Date:  September 30, 2004

## Transmission and Security Desk

NOTE: This is a workaround until the EMMS is modified to automatically perform this function.

1.  A VDE shall be granted to a QSE starting in the interval in which the VDE was requested by the QSE and continuing until the OOME instruction has expired.  Accept a VDE request received before or during the first interval of the OOME instruction.  A VDE shall not include any interval prior to the requested interval.

2.  Document this Exception on the Verbal Dispatch Exception form.

3.  ENSURE a copy of the VDE form, with appendages, is forwarded to Settlements and

Market Operations.  File the original in the daily logs.

## Verbal Dispatch Exception (Typical)

| ###### VDE#__________________________ |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| VERBAL DISPATCH EXCEPTION |  |  |  |  |  |  |  |  |
| Operating Day_________________ |  |  |  |  |  |  |  |  |
| ERCOT System Operator ______________________________ issued a |  |  |  |  |  |  |  |  |
| (ERCOT system operator) |  |  |  |  |  |  |  |  |
| Verbal Dispatch EXCEPTION to ____________________________, |  |  |  |  |  |  |  |  |
| (Requesting Entity) |  |  |  |  |  |  |  |  |
| Operator, ________________________ at _________________________, |  |  |  |  |  |  |  |  |
| (Requesting Entity’s Operator) (Time and Date) |  |  |  |  |  |  |  |  |
| UNIT NAME: _______________________________________________________ |  |  |  |  |  |  |  |  |
| Interval Ending_____________ through Interval Ending____________ |  |  |  |  |  |  |  |  |
| Verified Entity Operator has repeated Instruction _____________________ |  |  |  |  |  |  |  |  |
| (ERCOT Operator Initials) |  |  |  |  |  |  |  |  |
| ____________________________________________ |  |  |  |  |  |  |  |  |
| (ERCOT Operator’s Signature) |  |  |  |  |  |  |  |  |