# ERCOT Operations Bulletin 61

ERCOT has revised the Shift Supervisor section of the Operating Procedure Manual.

V2R0

2.1.2	 ERCOT Procedure To Allow Unit Testing When Constraints Are Active.

Accommodation shall include:

- Removing unit from constraints to control local congestion.

- OOME other units to control local congestion in place of the testing unit.

- Allowing the QSE testing to set the unit minimum/maximum equal in the market

- deployment system.

- Issuing Verbal Dispatch Instructions to the testing unit to hold maximum/or specific output.

## Unscheduled Generation Procedure – DELETED

## 2.1.4	Supervise Overall Condition of the Power System in Order to Maintain System Security is now 2.1.3

## V2R1

2.1.2	 ERCOT Procedure To Allow Unit Testing When Constraints Are Active.

Accommodation shall include:

- Removing unit from constraints to control local congestion.

- OOME other units to control local congestion in place of the testing unit.

- Allowing the QSE testing to set the unit minimum/maximum equal in the market deployment system.