# ERCOT Operations Bulletin 163

ERCOT has revised the Shift Supervisor Desk section of the Operating Procedure Manual.

Changes include incorporating new section 2.2.12 “Geomagnetic Disturbance Reporting.”

| 2.2.12 Geomagnetic Disturbance Reporting |
| --- |
|  | Procedural Steps |
| NOTE: | Each Interconnection shall designate an operating entity (e.g. a Reliability Coordinator) to receive geomagnetic disturbance watches, alerts, and warnings. All K-7 or higher GMD warnings and alerts shall be routed by established procedures to operating entities within the applicable Interconnection. |
| 1 | Periodically during the day, monitor the NERC Reliability Coordinator Information System. https://www.nerc.net/scis/scis.asp |
| 2 | When alerts and warnings are issued and received at ERCOT for K-7 or higher GMD, Enter the information into the MOI Emergency Notification System Log the information. |

A copy of the updated procedure, Shift Supervisor V3R13, is available at http://www.ercot.com/AboutERCOT/PublicDisclosure/ERCOTProcedures.htm.