# ERCOT Operations Bulletin #75

ERCOT has revised the Shift Supervisor section of the Operating Procedure Manual.

The updated is located in section 2.7.2, step 5.

V2R5

| ## 2.7.2 Reporting RTUs, ICCP, Web Portal, and API Failures |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | ACKNOWLEDGE RTU, ICCP, Web Portal or API alarms, events, failures, or incidents that affect normal operations. |
| 2 | CONTACT the ERCOT IT Help Desk immediately at extension 6800 or (512) 248-6800. |
| 3 | DISCUSS alarms, events, failures, or incident with the Help Desk staff. |
| 4 | DETERMINE criticality and impact of the alarms, events, failures, or incident jointly with the Help Desk staff. |
| 5 | If it is determined that the Web Portal will be unavailable for longer than 15 minutes, have the QSEs notified by a hotline call. Include in the message: - The estimated duration of the portal unavailability - Any actions the TOs and QSEs should take |
| 6 | IF the criticality and impact of the alarms, events, failures, or incident is such that Market Operations are or will be affected before the problem can be resolved, THEN REQUEST additional assistance from other support staff, OTHERWISE Go To step 7. |
| 7 | RECORD the following in the shift log: - Date - Time of event - Description of system alarms, events, failures, or incident - Actions taken and resolution - Time of system or function restoration |
| 8 | DONE. |

V2R4

| ### Reporting RTUs, ICCP, Web Portal, and API Failures |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | ACKNOWLEDGE RTU, ICCP, Web Portal or API alarms, events, failures, or incidents that affect normal operations. |
| 2 | CONTACT the ERCOT IT Help Desk immediately at extension 6800 or (512) 248-6800. |
| 3 | DISCUSS alarms, events, failures, or incident with the Help Desk staff. |
| 4 | DETERMINE criticality and impact of the alarms, events, failures, or incident jointly with the Help Desk staff. |
| 5 | IF the criticality and impact of the alarms, events, failures, or incident is such that Market Operations are or will be affected before the problem can be resolved, THEN REQUEST additional assistance from other support staff, OTHERWISE Go To step 6. |
| 6 | RECORD the following in the shift log: - Date - Time of event - Description of system alarms, events, failures, or incident - Actions taken and resolution - Time of system or function restoration |
| 7 | DONE. |

A copy of the procedure, Shift Supervisor V2R5, is attached.