# ERCOT Operations Bulletin #77

## TC# 112

Interrupted Outages

Effective Date:  April 8, 2004

Expiration Date:  May 31, 2004

Transmission and Security Desk

Temporary change for section 2.3.3 regarding Interrupted Outages due to computer software program unable to execute procedure.

When a continuous outage is in progress, but due to weather, the TO wants to close it back for a day, perform the following steps:

- Ensure the switching is within the approved timeframe of the original outage

- Record in the Transmission & Security log the following information:

–	The name of the TO

–	Original start date

–	Date outage was restored

–	Reason for restoration