# Power Operations Bulletin #81

TC#115 – Procedure When OOMEing Combined Cycle Units Off Line

Effective Date:  April 23, 2004

Expiration Date:  August 1, 2004

Transmission & Security Desk

Purpose

To prevent the owner of a combined cycle plant from being penalized when only one CT unit must be taken of line and the result is an unavoidable reduction in the Steam unit’s output.

Procedure

When system conditions require one CT of a Combined Cycle Plant to be OOMED off line, use the following steps:

- Contact the QSE and determine which CT should receive the OOME.

- Obtain from the QSE the MW output impact the CT’s OOME will have on the steam unit.

- OOME the required CT off line.

- Send an OOME equal to the amount the steam unit will produce when the CT is shut down. The intervals for both OOMEs should be the same.

Note:

Combustion Turbines (CTs) and Gas Turbines (GTs) are the same type of turbines.  Both names are also used in the Resource Plan.  An Example is at Duke they are GTs and at Rio Nogales they are CTs.