# Power Operations Bulletin #84

ERCOT has revised the Shift Supervisor section of the Operating Procedure Manual.

Added new section 2.1.3 to address initial synchronization of new resources.

| ### Initial Synchronization of New Resource |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | When notified by a QSE that they will be synchronizing a resource to the ERCOT grid for the first time: - Notify the respective Transmission Operator, and - Issue a “Settlements Only” VDI to indicate that ERCOT was notified by the QSE |

A copy of the procedure, Shift Supervisor Desk V2R8, is attached.