# Power Operations Bulletin #85

ERCOT has revised the Transmission & Security section of the Operating Procedure Manual.

Changes include revision for consistent process for OC1 changes needed to support outages; section 2.2.1 changed step two verbiage from a constraint to a CSC.

| ### 2.2.1 Monitor Outages (CSC) |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | Review Daily Outage notes and Engineering Support notes to determine which outages need monitoring. |
| 2 | Adjust OC1 limits as required to support an outage. 2.1 If flow across a CSC is already below the limit required to support an outage, then it is permissible to wait and adjust the OC1 limit at the scheduled start time of the outage. 2.2 IF flow across a CSC is above the limit required to support an outage, then adjust the OC1 limits for intervals preceding the scheduled outage start time such that flow across the constraint is gradually reduced to at or below the limit required to support the specific outage. - While this action might result in over-constraining for a brief period, it is preferable to the negative effects of a sudden reduction in the OC1 limit. |

A copy of the procedure, Transmission & Security Desk V2R23, is attached.